## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1133 | HI96779B-0 | CP-R25 | W 31/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chlorine Dioxide Reagent B | 2027-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2527 | 1133
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-05-01 | 2027-07-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-08-22 | 2025-09-18 | 1 HEAD |  |  |  | 1015
[6 empty] | Expiration A | Expiration B | Expiration D
2027-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97779 | CTO-651
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-781
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.10 |  | CM357 |  | 0.10 | & | 5% | 100%
3 | 1.65 | 1.47 | 1.83 | [8 empty] | 6.0 | 5.7 | 6.3
2 | 0.55 | 0.42 | 0.68
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97779 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old B | 2025-08-22 | 11:48 | 2025-08-22 | 10:35 | DORINA | 4 | 0.02 | 0.00 | / | / | 0.010 |  |  |  | 1.68 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 2 | Old B | 2025-08-22 | 11:48 | 2025-08-22 | 10:35 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 1.01 |  | 1 | Kinga |  | 3 | 1
3 | 1.65 | 3 | Old B | 2025-08-22 | 12:18 | 2025-08-22 | 10:35 | DORINA | 4 | 1.72 | 1.71 | / | / | 0.305 |  |  |  | 0.63 |  | 1 | Kinga |  | 3 | 3
3 | 1.65 | 4 | Old B | 2025-08-22 | 12:19 | 2025-08-22 | 10:35 | DORINA | 4 | 1.73 | 1.73 | / | / | 0.307 |  |  |  | 0.90 |  | 1 | Kinga |  | 3 | 3
2 | 0.55 | 5 | Old B | 2025-08-22 | 12:22 | 2025-08-22 | 10:35 | DORINA | 4 | 0.59 | 0.59 | / | / | 0.110 |  |  |  | 0.99 |  | 1 | Kinga |  | 3 | 2
2 | 0.55 | 6 | Old B | 2025-08-22 | 12:23 | 2025-08-22 | 10:35 | DORINA | 4 | 0.58 | 0.57 | / | / | 0.108 |  |  |  | 0.87 |  | 1 | Kinga |  | 3 | 2
1 | 0.00 | 7 | P/FINAL | 2025-08-22 | 12:27 | 2025-08-22 | 10:35 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  | 5.887 |  | 0.27 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 8 | P/FINAL | 2025-08-22 | 12:28 | 2025-08-22 | 10:35 | DORINA | 4 | 0.02 | 0.01 | / | / | 0.011 |  |  |  | 0.28 |  | 1 | Kinga |  | 3 | 1
3 | 1.65 | 9 | P/FINAL | 2025-08-22 | 12:32 | 2025-08-22 | 10:35 | DORINA | 4 | 1.70 | 1.69 | / | / | 0.300 |  |  |  | 0.35 | 117 | 1 | Kinga |  | 3 | 3
3 | 1.65 | 10 | P/FINAL | 2025-08-22 | 12:33 | 2025-08-22 | 10:35 | DORINA | 4 | 1.67 | 1.76 | / | / | 0.296 |  | 5.896 |  | 0.53 | 117 | 1 | Kinga |  | 3 | 3
3 | 1.65 | 11 | P/FINAL | 2025-08-22 | 12:33 | 2025-08-22 | 10:35 | DORINA | 4 | 1.67 | 1.68 | / | / | 0.295 |  |  |  | 1.07 | 103 | 1 | Kinga |  | 3 | 3
2 | 0.55 | 12 | P/FINAL | 2025-08-22 | 12:36 | 2025-08-22 | 10:35 | DORINA | 4 | 0.60 | 0.56 | / | / | 0.111 |  |  |  | 0.39 | 111 | 1 | Kinga |  | 3 | 2
2 | 0.55 | 13 | P/FINAL | 2025-08-22 | 12:37 | 2025-08-22 | 10:35 | DORINA | 4 | 0.51 | 0.54 | / | / | 0.097 |  | 5.983 |  | 0.24 |  | 1 | Kinga |  | 3 | 2
2 | 0.55 | 14 | P/FINAL | 2025-08-22 | 12:38 | 2025-08-22 | 10:35 | DORINA | 4 | 0.64 | 0.56 | / | / | 0.117 |  |  |  | 0.38 |  | 1 | Kinga |  | 3 | 2
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.01 mg/L | 2 | 4 | 0.01 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.7 mg/L | 3 | 6 | 1.7 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.57 mg/L | 3 | 6 | 0.57 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.10 | 0.01 | YES
0.55 | 0.42 ÷ 0.68 | 0.57 | YES
1.65 | 1.47 ÷ 1.83 | 1.70 | YES
Validation Date | by