## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0858 | MI526-0 | CP-R25 | W 49/1 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2026-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARA | 2025-01-08 | 2025-01-08 | 1HEAD |  |  | 0637
[6 empty] | Expiration A | Expiration B | Expiration D
2026-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.46 | 0.55 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 2.00 | 1.91 | 2.09
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | P/Final | 2025-01-08 | 15:41 | 2025-01-08 | 14:34 | MARA | 1 | 0.51 | 0.49 | / | / | 0.267 |  |  |  | 0.35 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 2 | P/Final | 2025-01-08 | 15:42 | 2025-01-08 | 14:34 | MARA | 1 | 0.51 | 0.49 | / | / | 0.268 |  |  |  | 0.18 |  |  | Kinga |  | 3 | 2
3 | 2.00 | 3 | P/Final | 2025-01-08 | 15:45 | 2025-01-08 | 14:34 | MARA | 1 | 2.00 | 2.03 | / | / | 1.015 |  |  |  | 0.15 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 4 | P/Final | 2025-01-08 | 15:45 | 2025-01-08 | 14:34 | MARA | 1 | 1.99 | 2.02 | / | / | 1.009 |  |  |  | 0.23 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 5 | P/Final | 2025-01-08 | 15:47 | 2025-01-08 | 14:34 | MARA | 1 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 1.88 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 6 | P/Final | 2025-01-08 | 15:48 | 2025-01-08 | 14:34 | MARA | 1 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.40 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 7 | P/Final | 2025-01-09 | 15:21 | 2025-01-09 | 14:35 | MARA | 4 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.15 | 83 |  | Brigitta P |  | 3 | 1
1 | 0.00 | 8 | P/Final | 2025-01-09 | 15:22 | 2025-01-09 | 14:35 | MARA | 4 | 0.00 | 0.00 | / | / | 0.003 | 5.971 |  |  | 0.58 | 101 |  | Brigitta P |  | 3 | 1
2 | 0.50 | 9 | P/Final | 2025-01-09 | 15:22 | 2025-01-09 | 14:35 | MARA | 4 | 0.49 | 0.47 | / | / | 0.258 | 6.067 |  |  | 0.20 | 105 |  | Brigitta P |  | 3 | 2
2 | 0.50 | 10 | P/Final | 2025-01-09 | 15:23 | 2025-01-09 | 14:35 | MARA | 4 | 0.50 | 0.47 | / | / | 0.265 |  |  |  | 0.20 |  |  | Brigitta P |  | 3 | 2
2 | 0.50 | 11 | P/Final | 2025-01-09 | 15:23 | 2025-01-09 | 14:35 | MARA | 4 | 0.50 | 0.50 | / | / | 0.264 |  |  |  | 0.26 |  |  | Brigitta P |  | 3 | 2
3 | 2.00 | 12 | P/Final | 2025-01-09 | 15:24 | 2025-01-09 | 14:35 | MARA | 4 | 2.03 | 2.08 | / | / | 1.030 | 6.067 |  |  | 0.17 | 103 |  | Brigitta P |  | 3 | 3
3 | 2.00 | 13 | P/Final | 2025-01-09 | 15:24 | 2025-01-09 | 14:35 | MARA | 4 | 2.03 | 2.07 | / | / | 1.029 |  |  |  | 0.15 | 105 |  | Brigitta P |  | 3 | 3
3 | 2.00 | 14 | P/Final | 2025-01-09 | 15:24 | 2025-01-09 | 14:35 | MARA | 4 | 2.00 | 2.02 | / | / | 1.013 |  |  |  | 1 |  |  | Brigitta P |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0.49 mg/L | 5 | 10 | 0.49 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 2.03 mg/L | 5 | 10 | 2.03 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.46 ÷ 0.55 | 0.49 | YES
2.00 | 1.91 ÷ 2.09 | 2.03 | YES
Validation Date | by