## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0911 | MI526-0 | CP-R25 | W 05/3 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-02-10 | 2025-02-11 | 1HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.46 | 0.55 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 2.00 | 1.91 | 2.09
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | P/Prod | 2025-02-10 | 15:26 | 2025-02-10 | 14:32 | TAMARA |  | 0.49 | 0.50 | / | / | 0.260 |  |  |  | 0.22 | 127 |  | Kinga |  | 3 | 2
2 | 0.50 | 2 | P/Prod | 2025-02-10 | 15:27 | 2025-02-10 | 14:32 | TAMARA |  | 0.47 | 0.47 | / | / | 0.248 |  |  |  | 0.28 | 123 |  | Kinga |  | 3 | 2
2 | 0.50 | 3 | P/Prod | 2025-02-10 | 15:27 | 2025-02-10 | 14:32 | TAMARA |  | 0.51 | 0.46 | / | / | 0.270 |  |  |  | 0.44 | 129 |  | Kinga |  | 3 | 2
3 | 2.00 | 4 | P/Prod | 2025-02-10 | 15:28 | 2025-02-10 | 14:32 | TAMARA |  | 1.99 | 1.99 | / | / | 1.010 |  |  |  | 0.43 | 133 |  | Kinga |  | 3 | 3
3 | 2.00 | 5 | P/Prod | 2025-02-10 | 15:28 | 2025-02-10 | 14:32 | TAMARA |  | 1.91 | 1.91 | / | / | 0.970 |  |  |  | 2.59 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 6 | P/Prod | 2025-02-10 | 15:28 | 2025-02-10 | 14:32 | TAMARA |  | 1.88 | 1.89 | / | / | 0.956 |  |  |  | 1.50 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 7 | P/Prod | 2025-02-10 | 15:29 | 2025-02-10 | 14:32 | TAMARA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.16 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 8 | Old A | 2025-02-11 | 09:16 | 2025-02-11 | 06:51 | MARA |  | 0.49 | 0.46 | / | / | 0.260 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 2
1 | 0.00 | 9 | Old A | 2025-02-11 | 09:17 | 2025-02-11 | 06:51 | MARA |  | 0.02 | 0.00 | / | / | 0.018 |  |  |  | 0.36 |  |  | Kinga |  | 3 | 1
3 | 2.00 | 10 | Old A | 2025-02-11 | 09:22 | 2025-02-11 | 06:51 | MARA |  | 1.96 | 1.91 | / | / | 0.958 |  |  |  | 0.24 |  |  | Kinga |  | 3 | 3
2 | 0.50 | 11 | P/Prod | 2025-02-11 | 09:25 | 2025-02-11 | 06:51 | MARA |  | 0.48 | 0.46 | / | / | 0.251 | 6.207 |  |  | 0.18 | 107 |  | Kinga |  | 3 | 2
2 | 0.50 | 12 | P/Prod | 2025-02-11 | 09:26 | 2025-02-11 | 06:51 | MARA |  | 0.47 | 0.46 | / | / | 0.248 |  |  |  | 0.16 | 81 |  | Kinga |  | 3 | 2
1 | 0.00 | 13 | P/Prod | 2025-02-11 | 09:39 | 2025-02-11 | 06:51 | MARA |  | 0.00 | 0.00 | / | / | 0.008 | 6.140 |  |  | 0.28 | 96 |  | Kinga |  | 3 | 1
1 | 0.00 | 14 | P/Prod | 2025-02-11 | 09:40 | 2025-02-11 | 06:51 | MARA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 1.24 | 109 |  | Kinga |  | 3 | 1
3 | 2.00 | 15 | P/Prod | 2025-02-11 | 09:55 | 2025-02-11 | 06:51 | MARA |  | 1.99 | 2.00 | / | / | 1.008 | 6.265 |  |  | 0.48 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 16 | P/Prod | 2025-02-11 | 09:55 | 2025-02-11 | 06:51 | MARA |  | 1.98 | 2.08 | / | / | 1.009 |  |  |  | 0.53 |  |  | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0.48 mg/L | 5 | 10 | 0.48 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 1.96 mg/L | 5 | 10 | 1.96 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0 mg/L | 3 | 6 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.46 ÷ 0.55 | 0.48 | YES
2.00 | 1.91 ÷ 2.09 | 1.96 | YES
Validation Date | by