## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
0971 | MI526-0 | CP-R25 | W12 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-03-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-03-24 | 2025-03-24 | 1HEAD |  |  | 0858
[6 empty] | Expiration A | Expiration B | Expiration D
2026-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.46 | 0.55 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 2.00 | 1.91 | 2.09
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | P/Prod | 2025-03-24 | 15:58 | 2025-03-24 |  | NINA | 1 | 0.51 | 0.48 | / | / | 0.266 |  |  |  | 1.35 |  |  | Kinga |  | 3 | 2 | 121914
3 | 2.00 | 2 | Old A | 2025-03-24 | 15:58 | 2025-03-24 |  | NINA | 1 | 2.03 | 2.05 | / | / | 1.028 |  |  |  | 3.10 |  |  | Kinga |  | 3 | 3 | 121914
3 | 2.00 | 3 | P/Prod | 2025-03-24 | 15:59 | 2025-03-24 |  | NINA | 1 | 1.97 | 1.98 | / | / | 1.00 |  |  |  | 0.46 |  |  | Kinga |  | 3 | 3 | 121914
3 | 2.00 | 4 | P/Prod | 2025-03-24 | 15:59 | 2025-03-24 |  | NINA | 1 | 1.92 | 1.92 | / | / | 0.974 |  |  |  | 0.72 |  |  | Kinga |  | 3 | 3 | 121914
1 | 0.00 | 5 | Old A | 2025-03-24 | 16:00 | 2025-03-24 |  | NINA | 1 | 0.00 | 0.00 | / | / | 0.008 | 6.258 |  |  | 2.38 | 90 |  | Kinga |  | 3 | 1 | 121914
1 | 0.00 | 6 | P/Prod | 2025-03-24 | 16:02 | 2025-03-24 |  | NINA | 1 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 1.25 | 123 |  | Kinga |  | 3 | 1 | 121914
1 | 0.00 | 7 | P/Prod | 2025-03-24 | 16:02 | 2025-03-24 |  | NINA | 1 | 0.00 | 0.00 | / | / | 0.003 | 6.217 |  |  | 0.71 | 116 |  | Kinga |  | 3 | 1 | 121914
2 | 0.50 | 8 | P/Prod | 2025-03-24 | 16:03 | 2025-03-24 |  | NINA | 1 | 0.47 | 0.48 | / | / | 0.250 |  |  |  | 1.23 | 113 |  | Kinga |  | 3 | 2 | 121914
2 | 0.50 | 9 | P/Prod | 2025-03-24 | 16:03 | 2025-03-24 |  | NINA | 1 | 0.48 | 0.46 | / | / | 0.254 | 6.057 |  |  | 0.36 | 113 |  | Kinga |  | 3 | 2 | 121914
2 | 0.50 | 10 | P/Prod | 2025-03-25 | 07:55 | 2025-03-25 | 07:01 | FLORICA | 1 | 0.48 | 0.48 | / | / |  |  |  |  | 0.36 |  |  | Brigitta P |  | 3 | 2 | 121914
2 | 0.50 | 11 | P/Prod | 2025-03-25 | 07:56 | 2025-03-25 | 07:01 | FLORICA | 1 | 0.48 | 0.48 | / | / | 0.254 | 6.165 |  |  | 0.17 | 116 |  | Brigitta P |  | 3 | 2 | 121914
1 | 0.00 | 12 | P/Prod | 2025-03-25 | 07:56 | 2025-03-25 | 07:01 | FLORICA | 1 | 0.00 | 0.00 | / | / | -0.003 | 6.490 |  |  | 0.15 | 123 |  | Brigitta P |  | 3 | 1 | 121914
3 | 2.00 | 13 | P/Prod | 2025-03-25 | 07:57 | 2025-03-25 | 07:01 | FLORICA | 1 | 2.04 | 2.05 | / | / | 1.030 | 6.209 |  |  | 0.25 | 121 |  | Brigitta P |  | 3 | 3 | 121914
3 | 2.00 | 14 | P/Prod | 2025-03-25 | 07:58 | 2025-03-25 | 07:01 | FLORICA | 1 | 2.04 | 2.06 | / | / | 1.033 |  |  |  | 0.27 | 112 |  | Brigitta P |  | 3 | 3 | 121914
2 | 0.50 | 15 | P/Prod | 2025-03-25 | 15:35 | 2025-03-25 | 14:11 | TAMARA | 2 | 0.46 | 0.47 | / | / | 0.250 | 6.455 |  |  | 0.36 | 110 |  | Kinga |  | 3 | 2
2 | 0.50 | 16 | P/Prod | 2025-03-25 | 15:36 | 2025-03-25 | 14:11 | TAMARA | 2 | 0.49 | 0.49 | / | / | 0.257 |  |  |  | 0.39 | 115 |  | Kinga |  | 3 | 2
3 | 2.00 | 17 | P/Prod | 2025-03-25 | 15:37 | 2025-03-25 | 14:11 | TAMARA | 2 | 2.03 | 2.04 | / | / | 1.025 | 6.273 |  |  | 0.25 | 114 |  | Kinga |  | 3 | 3
3 | 2.00 | 18 | P/Prod | 2025-03-25 | 15:37 | 2025-03-25 | 14:11 | TAMARA | 2 | 2.06 | 2.08 | / | / | 1.033 |  |  |  | 0.24 | 124 |  | Kinga |  | 3 | 3
1 | 0.00 | 19 | P/Prod | 2025-03-25 | 15:38 | 2025-03-25 | 14:11 | TAMARA | 2 | 0.00 | 0.00 | / | / | 0.007 | 6.273 |  |  | 0.18 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 20 | P/Prod | 2025-03-25 | 15:39 | 2025-03-25 | 14:11 | TAMARA | 2 | 0.00 | 0.00 | / | / | 0.003 | 6.266 |  |  | 0.16 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 21 | P/Prod | 2025-03-26 | 08:02 | 2025-03-26 |  | FLORICA | 1 | 0.47 | 0.44 | / | / | 0.249 | 6.260 |  |  | 0.28 | 105 |  | Brigitta P |  | 3 | 2 | 121914
2 | 0.50 | 22 | P/Prod | 2025-03-26 | 08:02 | 2025-03-26 |  | FLORICA | 1 | 0.47 | 0.46 | / | / | 0.247 |  |  |  | 0.28 | 114 |  | Brigitta P |  | 3 | 2 | 121914
3 | 2.00 | 23 | P/Prod | 2025-03-26 | 08:03 | 2025-03-26 |  | FLORICA | 1 | 1.98 | 1.95 | / | / | 1.003 | 6.220 |  |  | 0.25 | 112 |  | Brigitta P |  | 3 | 3 | 121914
3 | 2.00 | 24 | P/Prod | 2025-03-26 | 08:03 | 2025-03-26 |  | FLORICA | 1 | 1.95 | 1.92 | / | / | 0.990 |  |  |  | 0.17 | 113 |  | Brigitta P |  | 3 | 3 | 121914
1 | 0.00 | 25 | P/Prod | 2025-03-26 | 08:03 | 2025-03-26 |  | FLORICA | 1 | 0.01 | 0.00 | / | / | 0.009 | 6.21 |  |  | 0.14 | 115 |  | Brigitta P |  | 3 | 1 | 121914
2 | 0.50 | 26 | P/Prod | 2025-03-26 | 15:54 | 2025-03-26 | 14:21 | TAMARA | 1 | 0.47 | 0.48 | / | / | 0.249 | 6.257 |  |  | 0.19 | 91 |  | Kinga |  | 3 | 2
2 | 0.50 | 27 | P/Prod | 2025-03-26 | 15:54 | 2025-03-26 | 14:21 | TAMARA | 1 | 0.48 | 0.48 | / | / | 0.249 |  |  |  | 0.42 | 107 |  | Kinga |  | 3 | 2
2 | 0.50 | 28 | P/Prod | 2025-03-26 | 15:55 | 2025-03-26 | 14:21 | TAMARA | 1 | 0.48 | 0.49 | / | / | 0.253 |  |  |  | 0.38 | 116 |  | Kinga |  | 3 | 2
3 | 2.00 | 29 | P/Prod | 2025-03-26 | 15:56 | 2025-03-26 | 14:21 | TAMARA | 1 | 1.97 | 1.92 | / | / | 1.000 | 6.298 |  |  | 0.26 | 110 |  | Kinga |  | 3 | 3
3 | 2.00 | 30 | P/Prod | 2025-03-26 | 15:57 | 2025-03-26 | 14:21 | TAMARA | 1 | 1.99 | 1.97 | / | / | 1.012 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 31 | P/Prod | 2025-03-26 | 15:58 | 2025-03-26 | 14:21 | TAMARA | 1 | 1.94 | 1.94 | / | / | 0.986 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 32 | P/Prod | 2025-03-26 | 15:58 | 2025-03-26 | 14:21 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.38 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 33 | P/Prod | 2025-03-26 | 15:58 | 2025-03-26 | 14:21 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.005 | 6.204 |  |  | 0.26 |  |  | Kinga |  | 3 | 1
3 | 2.00 | 34 | Old A | 2025-03-27 | 08:21 | 2025-03-27 | 06:50 | FLORICA |  | 2.02 | 2.03 | / | / | 1.026 |  |  |  | 1.33 |  |  | Kinga |  | 3 | 3 | 12914
2 | 0.50 | 35 | Old A | 2025-03-27 | 08:22 | 2025-03-27 | 06:50 | FLORICA |  | 0.49 | 0.46 | / | / | 0.256 |  |  |  | 1.98 |  |  | Kinga |  | 3 | 2 | 12914
1 | 0.00 | 36 | Old A | 2025-03-27 | 08:24 | 2025-03-27 | 06:50 | FLORICA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 7.55 |  |  | Kinga |  | 3 | 1 | 12914
2 | 0.50 | 37 | P/Prod | 2025-03-27 | 08:28 | 2025-03-27 | 06:50 | FLORICA |  | 0.48 | 0.47 | / | / | 0.251 | 6.249 |  |  | 0.75 |  |  | Kinga |  | 3 | 2 | 12914
2 | 0.50 | 38 | P/Prod | 2025-03-27 | 08:28 | 2025-03-27 | 06:50 | FLORICA |  | 0.50 | 0.47 | / | / | 0.265 |  |  |  | 0.84 | 122 |  | Kinga |  | 3 | 2 | 12914
3 | 2.00 | 39 | P/Prod | 2025-03-27 | 08:31 | 2025-03-27 | 06:50 | FLORICA |  | 2.01 | 2.03 | / | / | 1.017 | 6.276 |  |  | 3.18 | 114 |  | Kinga |  | 3 | 3 | 12914
3 | 2.00 | 40 | P/Prod | 2025-03-27 | 08:32 | 2025-03-27 | 06:50 | FLORICA |  | 2.03 | 2.04 | / | / | 1.030 |  |  |  | 0.24 | 117 |  | Kinga |  | 3 | 3 | 12914
1 | 0.00 | 41 | P/Prod | 2025-03-27 | 08:35 | 2025-03-27 | 06:50 | FLORICA |  | 0.00 | 0.00 | / | / | 0.004 | 6.117 |  |  | 0.45 | 115 |  | Kinga |  | 3 | 1 | 12914
1 | 0.00 | 42 | P/Prod | 2025-03-27 | 08:35 | 2025-03-27 | 06:50 | FLORICA |  | 0.02 | 0.00 | / | / | 0.014 |  |  |  | 2.28 | 132 |  | Kinga |  | 3 | 1 | 12914
2 | 0.50 | 43 | P/FINAL | 2025-03-27 | 15:00 | 2025-03-27 | 14:09 | TAMARA |  | 0.47 | 0.46 | / | / | 0.250 |  |  |  | 0.33 | 119 |  | Kinga |  | 3 | 2 | 121914
2 | 0.50 | 44 | P/FINAL | 2025-03-27 | 15:01 | 2025-03-27 | 14:09 | TAMARA |  | 0.47 | 0.49 | / | / | 0.248 |  |  |  | 0.29 | 118 |  | Kinga |  | 3 | 2 | 121914
3 | 2.00 | 45 | P/FINAL | 2025-03-27 | 15:02 | 2025-03-27 | 14:09 | TAMARA |  | 1.94 | 1.98 | / | / | 0.984 | 6.370 |  |  | 0.39 | 119 |  | Kinga |  | 3 | 3 | 121914
3 | 2.00 | 46 | P/FINAL | 2025-03-27 | 15:03 | 2025-03-27 | 14:09 | TAMARA |  | 1.97 | 1.97 | / | / | 0.999 |  |  |  | 2.93 |  |  | Kinga |  | 3 | 3 | 121914
3 | 2.00 | 47 | P/FINAL | 2025-03-27 | 15:04 | 2025-03-27 | 14:09 | TAMARA |  | 1.97 | 1.96 | / | / | 0.978 | 6.312 |  |  | 0.24 |  |  | Kinga |  | 3 | 3 | 121914
1 | 0.00 | 48 | P/FINAL | 2025-03-27 | 15:06 | 2025-03-27 | 14:09 | TAMARA |  | 0.01 | 0.00 | / | / | 0.010 |  |  |  | 4.52 |  |  | Kinga |  | 3 | 1 | 121914
1 | 0.00 | 49 | P/FINAL | 2025-03-27 | 15:07 | 2025-03-27 | 14:09 | TAMARA |  | 0.00 | 0.00 | / | / | 0.005 | 6.382 |  |  | 4.11 |  |  | Kinga |  | 3 | 1 | 121914
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
16 | 32 | 0.48 mg/L | 16 | 32 | 0.48 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
16 | 32 | 1.99 mg/L | 16 | 32 | 1.99 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0 mg/L | 12 | 24 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.46 ÷ 0.55 | 0.48 | YES
2.00 | 1.91 ÷ 2.09 | 1.99 | YES
Validation Date | by