## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1071 | MI526-0 | CP-R25 | W23_2025 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-06-01 | L57 Powder |  |  | Laboratory | TAB3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1071
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2026-06-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-06-04 | 2025-06-04 | Univ Pack 1 H |  |  | 0911 |  | Univ pack 1 H
[6 empty] | Expiration A | Expiration B | Expiration D
2027-01-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.46 | 0.55 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
3 | 2.00 | 1.91 | 2.09
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2025-06-06 | 10:30 | 2025-06-05 | 17:51 | TAMARA |  | 0.47 | 0.46 | / | / | 0.249 |  |  |  | 0.53 |  | 1 | Violeta |  | 3 | 2 | 81321
2 | 0.50 | 2 | P/FINAL | 2025-06-06 | 10:41 | 2025-06-05 | 17:51 | TAMARA |  | 0.47 | 0.46 | / | / | 0.246 |  |  |  | 0.30 | 103 | 1 | Violeta |  | 3 | 2 | 81321
2 | 0.50 | 3 | P/FINAL | 2025-06-06 | 10:42 | 2025-06-05 | 17:51 | TAMARA |  | 0.46 | 0.46 | / | / | 0.245 | 6.311 |  |  | 0.26 | 109 | 1 | Violeta |  | 3 | 2 | 81321
2 | 0.50 | 4 | P/FINAL | 2025-06-06 | 10:45 | 2025-06-05 | 17:51 | TAMARA |  | 0.48 | 0.46 | / | / | 0.253 | 6.508 |  |  | 0.30 |  | 1 | Violeta |  | 3 | 2 | 81321
3 | 2.00 | 5 | Old A | 2025-06-06 | 10:47 | 2025-06-05 | 17:51 | TAMARA |  | 2.04 | 2.07 | / | / | 1.032 |  |  |  | 1.33 | 117 | 1 | Violeta |  | 3 | 3 | 81321
3 | 2.00 | 6 | P/FINAL | 2025-06-06 | 10:49 | 2025-06-05 | 17:51 | TAMARA |  | 2.04 | 2.08 | / | / | 1.033 |  |  |  | 1.19 | 122 | 1 | Violeta |  | 3 | 3 | 81321
3 | 2.00 | 7 | P/FINAL | 2025-06-06 | 10:51 | 2025-06-05 | 17:51 | TAMARA |  | 2.03 | 2.07 | / | / | 1.031 | 6.697 |  |  | 0.34 |  | 1 | Violeta |  | 3 | 3 | 81321
3 | 2.00 | 8 | P/FINAL | 2025-06-06 | 10:52 | 2025-06-05 | 17:51 | TAMARA |  | 2.01 | 2.07 | / | / | 1.018 | 6.944 |  |  | 0.27 | 124 | 1 | Violeta |  | 3 | 3 | 81321
1 | 0.00 | 9 | P/FINAL | 2025-06-06 | 10:57 | 2025-06-05 | 17:51 | TAMARA |  | 0.00 | 0.00 | / | / | 0.004 | 6.584 |  |  | 0.41 |  | 1 | Violeta |  | 3 | 1 | 81321
1 | 0.00 | 10 | P/FINAL | 2025-06-06 | 10:58 | 2025-06-05 | 17:51 | TAMARA |  | 0.00 | 0.00 | / | / | 0.008 | 6.525 |  |  | 0.14 |  | 1 | Violeta |  | 3 | 1 | 81321
2 | 0.50 | 11 | P/FINAL | 2025-06-06 | 11:09 | 2025-06-06 | 08:50 | MARA |  | 0.52 | 0.46 | / | / | 0.275 |  |  |  | 0.19 |  | 1 | Violeta |  | 3 | 2 | 81321
2 | 0.50 | 12 | P/FINAL | 2025-06-06 | 11:10 | 2025-06-06 | 08:50 | MARA |  | 0.48 | 0.47 | / | / | 0.253 | 6.633 |  |  | 0.27 | 105 | 1 | Violeta |  | 3 | 2 | 81321
2 | 0.50 | 13 | P/FINAL | 2025-06-06 | 11:14 | 2025-06-06 | 08:50 | MARA |  | 0.47 | 0.46 | / | / | 0.248 | 6.465 |  |  | 0.29 | 104 | 1 | Violeta |  | 3 | 2 | 81321
3 | 2.00 | 14 | P/FINAL | 2025-06-06 | 11:17 | 2025-06-06 | 08:50 | MARA |  | 2.03 | 2.06 | / | / | 1.028 |  |  |  | 0.12 | 102 | 1 | Violeta |  | 3 | 3 | 81321
3 | 2.00 | 15 | P/FINAL | 2025-06-06 | 11:18 | 2025-06-06 | 08:50 | MARA |  | 1.99 | 2.04 | / | / | 1.010 | 6.650 |  |  | 1.05 | 98 | 1 | Violeta |  | 3 | 3 | 81321
3 | 2.00 | 16 | P/FINAL | 2025-06-06 | 11:21 | 2025-06-06 | 08:50 | MARA |  | 2.00 | 2.06 | / | / | 1.015 | 6.807 |  |  | 0.47 |  | 1 | Violeta |  | 3 | 3 | 81321
1 | 0.00 | 17 | P/FINAL | 2025-06-06 | 11:23 | 2025-06-06 | 08:50 | MARA |  | 0.00 | 0.00 | / | / | 0.003 | 6.549 |  |  | 0.12 | 97 | 1 | Violeta |  | 3 | 1 | 81321
1 | 0.00 | 18 | P/FINAL | 2025-06-06 | 11:23 | 2025-06-06 | 08:50 | MARA |  | 0.00 | 0.00 | / | / | 0.002 | 6.474 |  |  | 0.29 |  | 1 | Violeta |  | 3 | 1 | 81321
2 | 0.50 | 19 | P/FINAL | 2025-06-10 | 08:51 | 2025-06-06 | 06:46 | TAMARA | 1 | 0.51 | 0.48 | / | / | 0.269 |  |  |  | 0.33 |  | 1 | Brigitta P |  | 3 | 2 | 24134
2 | 0.50 | 20 | P/FINAL | 2025-06-10 | 08:51 | 2025-06-06 | 06:46 | TAMARA | 1 | 0.50 | 0.48 | / | / | 0.264 | 6.833 |  |  | 0.34 | 118 | 1 | Brigitta P |  | 3 | 2 | 24134
2 | 0.50 | 21 | P/FINAL | 2025-06-10 | 08:52 | 2025-06-06 | 06:46 | TAMARA | 1 | 0.51 | 0.48 | / | / | 0.266 | 6.775 |  |  | 0.24 | 107 | 1 | Brigitta P |  | 3 | 2 | 24134
3 | 2.00 | 22 | P/FINAL | 2025-06-10 | 08:53 | 2025-06-06 | 06:46 | TAMARA | 1 | 1.91 | 1.99 | / | / | 1.034 | 6.431 |  |  | 4.70 | 121 | 1 | Brigitta P |  | 3 | 3 | 24134
3 | 2.00 | 23 | P/FINAL | 2025-06-10 | 08:54 | 2025-06-06 | 06:46 | TAMARA | 1 | 2.04 | 2.07 | / | / | 1.034 | 6.347 |  |  | 0.35 | 115 | 1 | Brigitta P |  | 3 | 3 | 24134
3 | 2.00 | 24 | P/FINAL | 2025-06-10 | 08:54 | 2025-06-06 | 06:46 | TAMARA | 1 | 2.02 | 2.06 | / | / | 1.024 |  |  |  | 0.40 | 111 | 1 | Brigitta P |  | 3 | 3 | 24134
1 | 0.00 | 25 | P/FINAL | 2025-06-10 | 08:55 | 2025-06-06 | 06:46 | TAMARA | 1 | 0.01 | 0.00 | / | / | 0.006 |  |  |  | 0.35 |  | 1 | Brigitta P |  | 3 | 1 | 24134
1 | 0.00 | 26 | P/FINAL | 2025-06-10 | 08:55 | 2025-06-06 | 06:46 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.31 |  | 1 | Brigitta P |  | 3 | 1 | 24134
3 | 2.00 | 27 | P/FINAL | 2025-06-10 | 09:02 | 2025-06-06 | 14:30 | TAMARA | 1 | 1.98 | 1.98 | / | / | 0.973 | 6.431 |  |  | 1.69 | 120 | 1 | Brigitta P |  | 3 | 3 | 24134
3 | 2.00 | 28 | P/FINAL | 2025-06-10 | 09:02 | 2025-06-06 | 14:30 | TAMARA | 1 | 1.95 | 1.97 | / | / | 0.988 | 6.515 |  |  | 0.45 | 107 | 1 | Brigitta P |  | 3 | 3 | 24134
3 | 2.00 | 29 | P/FINAL | 2025-06-10 | 09:02 | 2025-06-06 | 14:30 | TAMARA | 1 | 1.95 | 1.95 | / | / | 0.988 | 6.517 |  |  | 0.48 | 121 | 1 | Brigitta P |  | 3 | 3 | 24134
2 | 0.50 | 30 | P/FINAL | 2025-06-10 | 09:03 | 2025-06-06 | 14:30 | TAMARA | 1 | 0.50 | 0.48 | / | / | 0.265 | 6.385 |  |  | 0.84 | 115 | 1 | Brigitta P |  | 3 | 2 | 24134
2 | 0.50 | 31 | P/FINAL | 2025-06-10 | 09:04 | 2025-06-06 | 14:30 | TAMARA | 1 | 0.50 | 0.48 | / | / | 0.265 | 6.344 |  |  | 0.58 | 111 | 1 | Brigitta P |  | 3 | 2 | 24134
2 | 0.50 | 32 | P/FINAL | 2025-06-10 | 09:04 | 2025-06-06 | 14:30 | TAMARA | 1 | 0.50 | 0.48 | / | / | 0.262 | 6.354 |  |  | 0.59 |  | 1 | Brigitta P |  | 3 | 2 | 24134
2 | 0.50 | 33 | P/FINAL | 2025-06-10 | 09:04 | 2025-06-06 | 14:30 | TAMARA | 1 | 0.49 | 0.48 | / | / | 0.260 |  |  |  | 0.58 |  | 1 | Brigitta P |  | 3 | 2 | 24134
1 | 0.00 | 34 | P/FINAL | 2025-06-10 | 09:07 | 2025-06-06 | 14:30 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.007 | 6.354 |  |  | 0.94 |  | 1 | Brigitta P |  | 3 | 1 | 24134
1 | 0.00 | 35 | P/FINAL | 2025-06-10 | 09:07 | 2025-06-06 | 14:30 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.012 |  |  |  | 0.37 |  | 1 | Brigitta P |  | 3 | 1 | 24134
1 | 0.00 | 36 | P/FINAL | 2025-06-10 | 15:55 | 2025-06-10 | 14:17 | Mara | 1 | 0.00 | 0.00 | / | / | 0.003 | 6.554 |  |  | 0.18 | 114 | 1 | Violeta |  | 3 | 1
1 | 0.00 | 37 | P/FINAL | 2025-06-10 | 15:57 | 2025-06-10 | 14:17 | Mara | 1 | 0.00 | 0.00 | / | / | 0.007 | 6.567 |  |  | 0.20 |  | 1 | Violeta |  | 3 | 1
2 | 0.50 | 38 | P/FINAL | 2025-06-10 | 15:58 | 2025-06-10 | 14:17 | Mara | 1 | 0.50 | 0.50 | / | / | 0.263 | 6.753 |  |  | 2.46 | 104 | 1 | Violeta |  | 3 | 2 | 24134
2 | 0.50 | 39 | P/FINAL | 2025-06-10 | 15:59 | 2025-06-10 | 14:17 | Mara | 1 | 0.51 | 0.54 | / | / | 0.268 | 6.744 |  |  | 1.60 | 108 | 1 | Violeta |  | 3 | 2 | 24134
2 | 0.50 | 40 | P/FINAL | 2025-06-10 | 15:59 | 2025-06-10 | 14:17 | Mara | 1 | 0.51 | 0.53 | / | / | 0.266 |  |  |  | 9.46 |  | 1 | Violeta |  | 3 | 2 | 24134
3 | 2.00 | 41 | P/FINAL | 2025-06-10 | 16:00 | 2025-06-10 | 14:17 | Mara | 1 | 2.07 | 2.12 | / | / | 1.048 | 6.604 |  |  | 3.21 | 124 | 1 | Violeta |  | 3 | 3 | 24134
3 | 2.00 | 42 | P/FINAL | 2025-06-10 | 16:01 | 2025-06-10 | 14:17 | Mara | 1 | 2.07 | 2.10 | / | / | 1.047 | 6.589 |  |  | 6.59 | 117 | 1 | Violeta |  | 3 | 3 | 24134
3 | 2.00 | 43 | P/FINAL | 2025-06-10 | 16:05 | 2025-06-10 | 14:17 | Mara | 1 | 2.07 | 2.09 | / | / | 1.047 |  |  |  | 0.14 |  | 1 | Violeta |  | 3 | 3 | 24134
3 | 2.00 | 44 | P/FINAL | 2025-06-10 | 16:06 | 2025-06-10 | 14:17 | Mara | 1 | 2.06 | 2.09 | / | / | 1.045 |  |  |  | 0.23 |  | 1 | Violeta |  | 3 | 3 | 24134
2 | 0.50 | 45 | P/FINAL | 2025-06-11 | 11:07 | 2025-06-11 | 06:50 | Tamara | 1 | 0.49 | 0.47 | / | / | 0.258 |  | / | / | 0.23 | 118 | 1 | Violeta |  | 3 | 2 | 24134
2 | 0.50 | 46 | P/FINAL | 2025-06-11 | 11:08 | 2025-06-11 | 06:50 | Tamara | 1 | 0.50 | 0.46 | / | / | 0.262 | 6.275 |  |  | 0.18 | 126 | 1 | Violeta |  | 3 | 2 | 24134
2 | 0.50 | 47 | P/FINAL | 2025-06-11 | 11:11 | 2025-06-11 | 06:50 | Tamara | 1 | 0.48 | 0.46 | / | / | 0.253 | 6.197 |  |  | 0.20 |  | 1 | Violeta |  | 3 | 2 | 24134
3 | 2.00 | 48 | P/FINAL | 2025-06-11 | 11:13 | 2025-06-11 | 06:50 | Tamara | 1 | 2.01 | 2.03 | / | / | 1.018 |  |  |  | 0.26 | 119 | 1 | Violeta |  | 3 | 3 | 24134
3 | 2.00 | 49 | P/FINAL | 2025-06-11 | 11:14 | 2025-06-11 | 06:50 | Tamara | 1 | 1.96 | 1.98 | / | / | 0.996 | 6.458 |  |  | 0.28 | 120 | 1 | Violeta |  | 3 | 3 | 24134
3 | 2.00 | 50 | P/FINAL | 2025-06-11 | 11:16 | 2025-06-11 | 06:50 | Tamara | 1 | 1.95 | 1.94 | / | / | 0.985 | 6.230 |  |  | 0.15 |  | 1 | Violeta |  | 3 | 3 | 24134
1 | 0.00 | 51 | P/FINAL | 2025-06-11 | 11:17 | 2025-06-11 | 06:50 | Tamara | 1 | 0.00 | 0.00 | / | / | 0.006 | 6.581 |  |  | 0.18 | 124 | 1 | Violeta |  | 3 | 1 | 24134
1 | 0.00 | 52 | P/FINAL | 2025-06-11 | 11:17 | 2025-06-11 | 06:50 | Tamara | 1 | 0.00 | 0.00 | / | / | 0.005 | 6.612 |  |  | 0.20 |  | 1 | Violeta |  | 3 | 1 | 24134
2 | 0.50 | 53 | Old A | 2025-06-11 | 11:38 | 2025-06-11 | 06:50 | TAMARA | 1 | 0.51 | 0.48 | / | / | 0.268 |  |  |  | 0.65 |  | 1 | Violeta |  | 3 | 2 | 112612
2 | 0.50 | 54 | Old A | 2025-06-11 | 11:39 | 2025-06-11 | 06:50 | TAMARA | 1 | 0.50 | 0.47 | / | / | 0.265 |  |  |  | 0.50 |  | 1 | Violeta |  | 3 | 2 | 112612
3 | 2.00 | 55 | Old A | 2025-06-11 | 11:41 | 2025-06-11 | 06:50 | TAMARA | 1 | 2.03 | 2.05 | / | / | 1.030 |  |  |  | 0.60 |  | 1 | Violeta |  | 3 | 3 | 112612
3 | 2.00 | 56 | Old A | 2025-06-11 | 11:42 | 2025-06-11 | 06:50 | TAMARA | 1 | 2.03 | 2.05 | / | / | 1.030 |  |  |  | 0.63 |  | 1 | Violeta |  | 3 | 3 | 112612
1 | 0.00 | 57 | Old A | 2025-06-11 | 11:44 | 2025-06-11 | 06:50 | TAMARA | 1 | 0.01 | 0.00 | / | / | 0.009 |  |  |  | 1.12 |  | 1 | Violeta |  | 3 | 1
1 | 0.00 | 58 | Old A | 2025-06-11 | 11:45 | 2025-06-11 | 06:50 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.55 |  | 1 | Violeta |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
19 | 38 | 0.49 mg/L | 19 | 38 | 0.49 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
19 | 38 | 2.02 mg/L | 19 | 38 | 2.02 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0 mg/L | 12 | 24 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.46 ÷ 0.55 | 0.49 | YES
2.00 | 1.91 ÷ 2.09 | 2.02 | YES
Validation Date | by
2025-06-19 | Eugenia