## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI701-0 | HI7014-0 | HI93701-0 | HI96779B-0 | MI526-0
1277 | MI526-0 | CP-R25 | W 50/2 |  | Parameter Formula | Cl2 | Cl2 | Cl2 | ClO2 | Chlorine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Free Chlorine Reagent | 2027-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-12-18 | 2025-12-23 | 1 HEAD |  |  | 1229
[6 empty] | Expiration A | Expiration B | Expiration D
2027-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97104 | CTO-702
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.50 | 0.46 | 0.55
3 | 2.00 | 1.91 | 2.09
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-12-19 | 09:31 | 2025-12-18 | 20:05 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.32 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-12-19 | 09:32 | 2025-12-18 | 20:05 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.50 |  |  | Andrea V |  | 3 | 1
2 | 0.50 | 3 | Old A | 2025-12-19 | 09:32 | 2025-12-18 | 20:05 | TAMARA | 1 | 0.52 | 0.51 | / | / | 0.271 |  |  |  | 0.36 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 4 | Old A | 2025-12-19 | 09:34 | 2025-12-18 | 20:05 | TAMARA | 1 | 0.51 | 0.50 | / | / | 0.266 |  |  |  | 0.38 |  |  | Andrea V |  | 3 | 2
3 | 2.00 | 5 | Old A | 2025-12-19 | 09:36 | 2025-12-18 | 20:05 | TAMARA | 1 | 2.07 | 2.07 | / | / | 1.048 |  |  |  | 0.28 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 6 | Old A | 2025-12-19 | 09:37 | 2025-12-18 | 20:05 | TAMARA | 1 | 2.09 | 2.10 | / | / | 1.056 |  |  |  | 0.32 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 7 | P/FINAL | 2025-12-19 | 09:39 | 2025-12-18 | 20:05 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.28 | 121 |  | Andrea V |  | 3 | 1
1 | 0.00 | 8 | P/FINAL | 2025-12-19 | 09:40 | 2025-12-18 | 20:05 | TAMARA | 1 | 0.00 | 0.00 | / | / | 0.004 | 6.099 |  |  | 0.25 | 118 |  | Andrea V |  | 3 | 1
2 | 0.50 | 9 | P/FINAL | 2025-12-19 | 09:45 | 2025-12-18 | 20:05 | TAMARA | 1 | 0.52 | 0.52 | / | / | 0.275 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 10 | P/FINAL | 2025-12-19 | 09:47 | 2025-12-18 | 20:05 | TAMARA | 1 | 0.51 | 0.51 | / | / | 0.269 | 6.067 |  |  | 0.24 | 113 |  | Andrea V |  | 3 | 2
2 | 0.50 | 11 | P/FINAL | 2025-12-19 | 09:50 | 2025-12-18 | 20:05 | TAMARA | 1 | 0.52 | 0.53 | / | / | 0.274 |  |  |  | 0.32 | 124 |  | Andrea V |  | 3 | 2
3 | 2.00 | 12 | P/FINAL | 2025-12-19 | 09:52 | 2025-12-18 | 20:05 | TAMARA | 1 | 2.09 | 2.11 | / | / | 1.060 |  |  |  | 0.21 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 13 | P/FINAL | 2025-12-19 | 09:54 | 2025-12-18 | 20:05 | TAMARA | 1 | 2.08 | 2.09 | / | / | 1.054 | 6.077 |  |  | 0.30 | 90 |  | Andrea V |  | 3 | 3
3 | 2.00 | 14 | P/FINAL | 2025-12-19 | 09:54 | 2025-12-18 | 20:05 | TAMARA | 1 | 2.06 | 2.08 | / | / | 1.042 |  |  |  | 0.28 | 84 |  | Andrea V |  | 3 | 3
1 | 0.00 | 15 | P/FINAL | 2025-12-19 | 10:59 | 2025-12-19 | 07:06 | MARA | 1 | 0.00 | 0.00 | / | / | 0.003 | 6.036 |  |  | 0.23 | 87 |  | Andrea V |  | 3 | 1
1 | 0.00 | 16 | P/FINAL | 2025-12-19 | 10:59 | 2025-12-19 | 07:06 | MARA | 1 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.28 | 88 |  | Andrea V |  | 3 | 1
2 | 0.50 | 17 | P/FINAL | 2025-12-19 | 11:00 | 2025-12-19 | 07:06 | MARA | 1 | 0.51 | 0.51 | / | / | 0.266 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 18 | P/FINAL | 2025-12-19 | 11:01 | 2025-12-19 | 07:06 | MARA | 1 | 0.51 | 0.51 | / | / | 0.266 | 6.060 |  |  | 0.25 | 100 |  | Andrea V |  | 3 | 2
2 | 0.50 | 19 | P/FINAL | 2025-12-19 | 11:03 | 2025-12-19 | 07:06 | MARA | 1 | 0.51 | 0.51 | / | / | 0.267 |  |  |  | 0.26 | 86 |  | Andrea V |  | 3 | 2
3 | 2.00 | 20 | P/FINAL | 2025-12-19 | 11:06 | 2025-12-19 | 07:06 | MARA | 1 | 2.08 | 2.09 | / | / | 1.055 |  |  |  | 0.21 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 21 | P/FINAL | 2025-12-19 | 11:07 | 2025-12-19 | 07:06 | MARA | 1 | 2.08 | 2.07 | / | / | 1.055 | 6.072 |  |  | 0.24 | 100 |  | Andrea V |  | 3 | 3
3 | 2.00 | 22 | P/FINAL | 2025-12-19 | 11:07 | 2025-12-19 | 07:06 | MARA | 1 | 2.06 | 2.07 | / | / | 1.043 |  |  |  | 0.18 | 100 |  | Andrea V |  | 3 | 3
2 | 0.50 | 23 | P/FINAL | 2025-12-19 | 16:09 | 2025-12-19 | 14:41 | TAMARA | 1 | 0.50 | 0.49 | / | / | 0.263 |  |  |  | 1.53 | 115 |  | Kinga |  | 3 | 2
2 | 0.50 | 24 | P/FINAL | 2025-12-19 | 16:10 | 2025-12-19 | 14:41 | TAMARA | 1 | 0.48 | 0.47 | / | / | 0.252 | 6.027 |  |  | 2.06 | 118 |  | Kinga |  | 3 | 2
2 | 0.50 | 25 | P/FINAL | 2025-12-19 | 16:10 | 2025-12-19 | 14:41 | TAMARA | 1 | 0.49 | 0.49 | / | / | 0.259 |  |  |  | 1.06 | 116 |  | Kinga |  | 3 | 2
3 | 2.00 | 26 | P/FINAL | 2025-12-19 | 16:11 | 2025-12-19 | 14:41 | TAMARA | 1 | 2.06 | 2.04 | / | / | 1.059 | 6.015 |  |  | 0.96 | 111 |  | Kinga |  | 3 | 3
3 | 2.00 | 27 | P/FINAL | 2025-12-19 | 16:11 | 2025-12-19 | 14:41 | TAMARA | 1 | 1.99 | 2.04 | / | / | 1.061 |  |  |  | 6.36 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 28 | P/FINAL | 2025-12-19 | 16:11 | 2025-12-19 | 14:41 | TAMARA | 1 | 2.05 | 2.02 | / | / | 1.056 |  |  |  | 0.93 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 29 | P/FINAL | 2025-12-19 | 16:12 | 2025-12-19 | 14:41 | TAMARA | 1 | 0.00 | 0.00 | / | / | -0.002 | 6.056 |  |  | 1.42 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 30 | P/FINAL | 2025-12-19 | 16:12 | 2025-12-19 | 14:41 | TAMARA | 1 | 0.00 | 0.00 | / | / | -0.004 | 6.056 |  |  | 1.51 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 31 | P/FINAL | 2025-12-22 | 15:31 | 2025-12-22 | 14:38 | MARA | 1 | 0.51 | 0.50 | / | / | 0.263 |  |  |  | 1.58 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 32 | P/FINAL | 2025-12-22 | 15:32 | 2025-12-22 | 14:38 | MARA | 1 | 0.51 | 0.49 | / | / | 0.267 |  |  |  | 0.96 | 113 |  | Andrea V |  | 3 | 2
2 | 0.50 | 33 | P/FINAL | 2025-12-22 | 15:32 | 2025-12-22 | 14:38 | MARA | 1 | 0.49 | 0.48 | / | / | 0.254 | 6.119 |  |  | 10.2 | 117 |  | Andrea V |  | 3 | 2
3 | 2.00 | 34 | P/FINAL | 2025-12-22 | 15:34 | 2025-12-22 | 14:38 | MARA | 1 | 2.09 | 2.03 | / | / | 1.025 |  |  |  | 0.89 | 113 |  | Andrea V |  | 3 | 3
3 | 2.00 | 35 | P/FINAL | 2025-12-22 | 15:35 | 2025-12-22 | 14:38 | MARA | 1 | 2.06 | 1.99 | / | / | 1.005 |  |  |  | 2.28 | 117 |  | Andrea V |  | 3 | 3
3 | 2.00 | 36 | P/FINAL | 2025-12-22 | 15:36 | 2025-12-22 | 14:38 | MARA | 1 | 2.09 | 2.04 | / | / | 1.023 | 6.133 |  |  | 0.58 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 37 | P/FINAL | 2025-12-22 | 15:37 | 2025-12-22 | 14:38 | MARA | 1 | 0.00 | 0.01 | / | / | 0.009 |  |  |  | 0.86 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 38 | P/FINAL | 2025-12-22 | 15:37 | 2025-12-22 | 14:38 | MARA | 1 | 0.00 | 0.00 | / | / | 0.006 | 6.150 |  |  | 0.79 |  |  | Andrea V |  | 3 | 1
2 | 0.50 | 39 | Old A | 2025-12-23 | 10:39 | 2025-12-23 | 08:21 | IRINA | 4 | 0.49 | 0.48 | / | / | 0.259 |  |  |  | 5.68 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 40 | Old A | 2025-12-23 | 10:39 | 2025-12-23 | 08:21 | IRINA | 4 | 0.50 | 0.47 | / | / | 0.262 |  |  |  | 1.80 |  |  | Kinga |  | 3 | 2
3 | 2.00 | 41 | Old A | 2025-12-23 | 10:40 | 2025-12-23 | 08:21 | IRINA | 4 | 2.04 | 2.01 | / | / | 1.035 |  |  |  | 2.64 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 42 | Old A | 2025-12-23 | 10:41 | 2025-12-23 | 08:21 | IRINA | 4 | 1.94 | 1.95 | / | / | 0.986 |  |  |  | 1.88 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 43 | Old A | 2025-12-23 | 10:43 | 2025-12-23 | 08:21 | IRINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 2.50 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 44 | Old A | 2025-12-23 | 10:44 | 2025-12-23 | 08:21 | IRINA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 1.06 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 45 | P/FINAL | 2025-12-23 | 10:49 | 2025-12-23 | 08:21 | IRINA | 4 | 0.53 | 0.47 | / | / | 0.277 |  |  |  | 1.48 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 46 | P/FINAL | 2025-12-23 | 10:50 | 2025-12-23 | 08:21 | IRINA | 4 | 0.46 | 0.46 | / | / | 0.243 | 6.073 |  |  | 0.75 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 47 | P/FINAL | 2025-12-23 | 10:51 | 2025-12-23 | 08:21 | IRINA | 4 | 0.47 | 0.46 | / | / | 0.244 |  |  |  | 1.16 | 119 |  | Kinga |  | 3 | 2
3 | 2.00 | 48 | P/FINAL | 2025-12-23 | 10:53 | 2025-12-23 | 08:21 | IRINA | 4 | 2.01 | 2.01 | / | / | 1.018 |  |  |  | 0.71 | 115 |  | Kinga |  | 3 | 3
3 | 2.00 | 49 | P/FINAL | 2025-12-23 | 10:54 | 2025-12-23 | 08:21 | IRINA | 4 | 1.98 | 1.97 | / | / | 1.005 | 6.140 |  |  | 1.05 | 126 |  | Kinga |  | 3 | 3
3 | 2.00 | 50 | P/FINAL | 2025-12-23 | 10:54 | 2025-12-23 | 08:21 | IRINA | 4 | 1.92 | 1.91 | / | / | 0.975 |  |  |  | 0.75 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 51 | P/FINAL | 2025-12-23 | 10:55 | 2025-12-23 | 08:21 | IRINA | 4 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.57 | 120 |  | Kinga |  | 3 | 1
1 | 0.00 | 52 | P/FINAL | 2025-12-23 | 10:55 | 2025-12-23 | 08:21 | IRINA | 4 | 0.00 | 0.00 | / | / | -0.005 | 6.185 |  |  | 0.61 | 116 |  | Kinga |  | 3 | 1
1 | 0.00 | 53 | P/FINAL | 2025-12-23 | 15:03 | 2025-12-23 | 14:32 | MARA | 1 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.35 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 54 | P/FINAL | 2025-12-23 | 15:04 | 2025-12-23 | 14:32 | MARA | 1 | 0.00 | 0.00 | / | / | 0.006 | 6.073 |  |  | 0.29 | 113 |  | Andrea V |  | 3 | 1
2 | 0.50 | 55 | P/FINAL | 2025-12-23 | 15:05 | 2025-12-23 | 14:32 | MARA | 1 | 0.50 | 0.49 | / | / | 0.262 |  |  |  | 0.31 |  |  | Andrea V |  | 3 | 2 | 103310
2 | 0.50 | 56 | P/FINAL | 2025-12-23 | 15:06 | 2025-12-23 | 14:32 | MARA | 1 | 0.50 | 0.50 | / | / | 0.265 | 6.078 |  |  | 0.30 | 126 |  | Andrea V |  | 3 | 2 | 103310
2 | 0.50 | 57 | P/FINAL | 2025-12-23 | 15:08 | 2025-12-23 | 14:32 | MARA | 1 | 0.48 | 0.48 | / | / | 0.255 |  |  |  | 0.26 | 115 |  | Andrea V |  | 3 | 2 | 103310
3 | 2.00 | 58 | P/FINAL | 2025-12-23 | 15:09 | 2025-12-23 | 14:32 | MARA | 1 | 1.99 | 2.00 | / | / | 1.011 |  |  |  | 0.34 |  |  | Andrea V |  | 3 | 3 | 103310
3 | 2.00 | 59 | P/FINAL | 2025-12-23 | 15:10 | 2025-12-23 | 14:32 | MARA | 1 | 1.99 | 2.00 | / | / | 1.010 | 6.013 |  |  | 0.28 | 101 |  | Andrea V |  | 3 | 3 | 103310
3 | 2.00 | 60 | P/FINAL | 2025-12-23 | 15:11 | 2025-12-23 | 14:32 | MARA | 1 | 1.99 | 2.00 | / | / | 1.012 |  |  |  | 0.21 | 106 |  | Andrea V |  | 3 | 3 | 103310
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0 mg/L | 12 | 24 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 0.5 mg/L | 18 | 36 | 0.5 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 2.03 mg/L | 18 | 36 | 2.03 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.46 ÷ 0.55 | 0.50 | YES
2.00 | 1.91 ÷ 2.09 | 2.03 | YES
Validation Date | by