## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3847-0 | HI3856-0 | HI702-0 | HI7024-0 | HI93702-0
0905 | HI702-0 | CP-R26 | W 05/1 |  | Parameter Formula | Cu | Cu | Cu | Cu | Cu
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Copper HR Reagent | 2030-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
270 | 250 | 290
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | [5 empty] | 0647
[6 empty] | Expiration A | Expiration B | Expiration D
2029-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97702 | CTO-657
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.90 | 1.10 |  | MR44 |  | 0.05 | & | 5% | 100% |  | 6.4 | 6.2 | 6.7
3 | 4.00 | 3.75 | 4.25
1 | 0.00 | 0.00 | 0.05
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97702 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-01-30 | 11:45 | 2025-01-30 | 11:11 | ELENA | 2 | 0.96 | 0.98 | / | / | 0.281 |  |  |  | 1.96 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 2 | Old A | 2025-01-30 | 11:46 | 2025-01-30 | 11:11 | ELENA | 2 | 4.00 | 4.01 | / | / | 1.124 |  |  |  | 0.29 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 3 | Old A | 2025-01-30 | 11:48 | 2025-01-30 | 11:11 | ELENA | 2 | 0.00 | 0.02 | / | / | -0.002 |  |  |  | 0.53 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 4 | P/Prod | 2025-01-30 | 11:53 | 2025-01-30 | 11:11 | ELENA | 2 | 0.95 | 0.97 | / | / | 0.278 | 6.372 |  |  | 0.32 | 265 |  | Kinga |  | 3 | 2
2 | 1.00 | 5 | P/Prod | 2025-01-30 | 11:54 | 2025-01-30 | 11:11 | ELENA | 2 | 0.96 | 0.97 | / | / | 0.273 |  |  |  | 0.85 | 279 |  | Kinga |  | 3 | 2
3 | 4.00 | 6 | P/Prod | 2025-01-30 | 11:57 | 2025-01-30 | 11:11 | ELENA | 2 | 3.94 | 3.97 | / | / | 1.108 | 6.395 |  |  | 0.30 | 269 |  | Kinga |  | 3 | 3
3 | 4.00 | 7 | P/Prod | 2025-01-30 | 11:58 | 2025-01-30 | 11:11 | ELENA | 2 | 3.94 | 4.10 | / | / | 1.108 |  |  |  | 0.23 | 255 |  | Kinga |  | 3 | 3
1 | 0.00 | 8 | P/Prod | 2025-01-30 | 12:01 | 2025-01-30 | 11:11 | ELENA | 2 | 0.00 | 0.00 | / | / | -0.005 | 6.401 |  |  | 0.50 | 259 |  | Kinga |  | 3 | 1
1 | 0.00 | 9 | P/Prod | 2025-01-30 | 12:02 | 2025-01-30 | 11:11 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.65 | 282 |  | Kinga |  | 3 | 1
2 | 1.00 | 10 | P/Prod | 2025-01-30 | 14:52 | 2025-01-30 | 14:22 | ROLAND |  | 0.92 | 0.92 | / | / | 0.271 | 6.425 |  |  | 0.30 | 220 |  | Kinga |  | 3 | 2
2 | 1.00 | 11 | P/Prod | 2025-01-30 | 14:53 | 2025-01-30 | 14:22 | ROLAND |  | 0.94 | 0.93 | / | / | 0.275 |  |  |  | 0.47 | 249 |  | Kinga |  | 3 | 2
3 | 4.00 | 12 | P/Prod | 2025-01-30 | 14:56 | 2025-01-30 | 14:22 | ROLAND |  | 3.93 | 3.92 | / | / | 1.104 | 6.410 |  |  | 1.10 | 250 |  | Kinga |  | 3 | 3
3 | 4.00 | 13 | P/Prod | 2025-01-30 | 14:57 | 2025-01-30 | 14:22 | ROLAND |  | 3.90 | 3.91 | / | / | 1.097 |  |  |  | 0.33 | 250 |  | Kinga |  | 3 | 3
1 | 0.00 | 14 | P/Prod | 2025-01-30 | 14:59 | 2025-01-30 | 14:22 | ROLAND |  | 0.00 | 0.00 | / | / | -0.008 | 6.384 |  |  | 0.32 | 258 |  | Kinga |  | 3 | 1
1 | 0.00 | 15 | P/Prod | 2025-01-30 | 15:00 | 2025-01-30 | 14:22 | ROLAND |  | 0.00 | 0.00 | / | / | -0.004 |  |  |  | 0.45 | 254 |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.95 mg/L | 4 | 8 | 0.95 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 3.95 mg/L | 4 | 8 | 3.95 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.05 | 0.00 | YES
1.00 | 0.90 ÷ 1.10 | 0.95 | YES
4.00 | 3.75 ÷ 4.25 | 3.95 | YES
Validation Date | by