## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3847-0 | HI3856-0 | HI702-0 | HI7024-0 | HI93702-0
1063 | HI702-0 | CP-R26 | W 22/1 |  | Parameter Formula | Cu | Cu | Cu | Cu | Cu
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Copper HR Reagent | 2030-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
270 | 250 | 290
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ELENA | 2025-06-13 | 2025-06-13 | 2HEAD |  |  | 0842 |  | 2 head
[6 empty] | Expiration A | Expiration B | Expiration D
2029-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97702 | CTO-657
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.90 | 1.10 |  | MR44 |  | 0.05 | & | 5% | 100% |  | 6.4 | 6.2 | 6.7
3 | 4.00 | 3.75 | 4.25
1 | 0.00 | 0.00 | 0.05
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97702 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-06-13 | 08:55 | 2025-06-12 | 15:21 | ELENA |  | 1.09 | 1.09 | / | / | 0.319 |  |  |  | 2.22 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 2 | Old A | 2025-06-13 | 08:56 | 2025-06-12 | 15:21 | ELENA |  | 1.00 | 1.04 | / | / | 0.293 |  |  |  | 1.93 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 3 | Old A | 2025-06-13 | 08:57 | 2025-06-12 | 15:21 | ELENA |  | 4.07 | 4.08 | / | / | 1.142 |  |  |  | 1.44 |  |  | Kinga |  | 3 | 3 | 34847
3 | 4.00 | 4 | Old A | 2025-06-13 | 08:58 | 2025-06-12 | 15:21 | ELENA |  | 4.03 | 4.06 | / | / | 1.132 |  |  |  | 1.58 |  |  | Kinga |  | 3 | 3 | 34847
1 | 0.00 | 5 | Old A | 2025-06-13 | 09:00 | 2025-06-12 | 15:21 | ELENA |  | 0.04 | 0.00 | / | / | 0.013 |  |  |  | 1.85 |  |  | Kinga |  | 3 | 1 | 34847
1 | 0.00 | 6 | Old A | 2025-06-13 | 09:01 | 2025-06-12 | 15:21 | ELENA |  | 0.02 | 0.00 | / | / | 0.010 |  |  |  | 1.85 |  |  | Kinga |  | 3 | 1 | 34847
2 | 1.00 | 7 | P/FINAL | 2025-06-13 | 09:04 | 2025-06-12 | 15:21 | ELENA |  | 1.05 | 1.10 | / | / | 0.308 |  |  |  | 1.50 |  |  | Kinga |  | 3 | 2 | 34847
2 | 1.00 | 8 | P/FINAL | 2025-06-13 | 09:06 | 2025-06-12 | 15:21 | ELENA |  | 0.98 | 1.02 | / | / | 0.287 |  |  |  | 1.47 |  |  | Kinga |  | 3 | 2 | 34847
2 | 1.00 | 9 | P/FINAL | 2025-06-13 | 09:07 | 2025-06-12 | 15:21 | ELENA |  | 0.96 | 0.97 | / | / | 0.283 | 6.556 |  |  | 1.52 | 250 |  | Kinga |  | 3 | 2 | 34847
3 | 4.00 | 10 | P/FINAL | 2025-06-13 | 09:10 | 2025-06-12 | 15:21 | ELENA |  | 4.07 | 4.09 | / | / | 1.144 |  |  |  | 1.54 | 270 |  | Kinga |  | 3 | 3 | 34847
3 | 4.00 | 11 | P/FINAL | 2025-06-13 | 09:10 | 2025-06-12 | 15:21 | ELENA |  | 4.04 | 4.06 | / | / | 1.134 | 6.583 |  |  | 0.80 | 263 |  | Kinga |  | 3 | 3 | 34847
3 | 4.00 | 12 | P/FINAL | 2025-06-13 | 09:11 | 2025-06-12 | 15:21 | ELENA |  | 4.01 | 4.05 | / | / | 1.126 |  |  |  | 0.76 | 276 |  | Kinga |  | 3 | 3 | 34847
1 | 0.00 | 13 | P/FINAL | 2025-06-13 | 09:12 | 2025-06-12 | 15:21 | ELENA |  | 0.02 | 0.00 | / | / | 0.006 | 6.540 |  |  | 1.20 | 260 |  | Kinga |  | 3 | 1 | 34847
1 | 0.00 | 14 | P/FINAL | 2025-06-13 | 09:13 | 2025-06-12 | 15:21 | ELENA |  | 0.01 | 0.00 | / | / | 0.002 |  |  |  | 0.89 | 250 |  | Kinga |  | 3 | 1 | 34847
2 | 1.00 | 15 | P/FINAL | 2025-06-13 | 09:23 | 2025-06-13 | 07:42 | ROLAND |  | 1.03 | 1.05 | / | / | 0.303 |  |  |  | 3.28 | 275 |  | Kinga |  | 3 | 2 | 34847
2 | 1.00 | 16 | P/FINAL | 2025-06-13 | 09:25 | 2025-06-13 | 07:42 | ROLAND |  | 0.96 | 0.98 | / | / | 0.281 |  |  |  | 0.64 | 257 |  | Kinga |  | 3 | 2 | 34847
2 | 1.00 | 17 | P/FINAL | 2025-06-13 | 09:26 | 2025-06-13 | 07:42 | ROLAND |  | 0.95 | 0.99 | / | / | 0.278 | 6.485 |  |  | 0.51 | 255 |  | Kinga |  | 3 | 2 | 34847
3 | 4.00 | 18 | P/FINAL | 2025-06-13 | 09:29 | 2025-06-13 | 07:42 | ROLAND |  | 3.99 | 4.04 | / | / | 1.122 |  |  |  | 0.69 | 265 |  | Kinga |  | 3 | 3 | 34847
3 | 4.00 | 19 | P/FINAL | 2025-06-13 | 09:29 | 2025-06-13 | 07:42 | ROLAND |  | 3.99 | 4.02 | / | / | 1.122 | 6.479 |  |  | 0.58 | 280 |  | Kinga |  | 3 | 3 | 34847
3 | 4.00 | 20 | P/FINAL | 2025-06-13 | 09:30 | 2025-06-13 | 07:42 | ROLAND |  | 3.99 | 4.04 | / | / | 1.120 |  |  |  | 0.47 | 279 |  | Kinga |  | 3 | 3 | 34847
1 | 0.00 | 21 | P/FINAL | 2025-06-13 | 09:31 | 2025-06-13 | 07:42 | ROLAND |  | 0.01 | 0.00 | / | / | 0.004 | 6.488 |  |  | 0.76 |  |  | Kinga |  | 3 | 1 | 34847
1 | 0.00 | 22 | P/FINAL | 2025-06-13 | 09:32 | 2025-06-13 | 07:42 | ROLAND |  | 0.01 | 0.00 | / | / | 0.002 |  |  |  | 0.58 |  |  | Kinga |  | 3 | 1 | 34847
2 | 1.00 | 23 | P/FINAL | 2025-06-13 | 14:42 | 2025-06-13 | 14:15 | ELENA |  | 0.98 | 0.99 | / | / | 0.277 | 6.496 |  |  | 0.89 | 265 |  | Kinga |  | 3 | 2
2 | 1.00 | 24 | P/FINAL | 2025-06-13 | 14:42 | 2025-06-13 | 14:15 | ELENA |  | 0.94 | 0.97 | / | / | 0.281 | 6.485 |  |  | 0.91 | 252 |  | Kinga |  | 3 | 2
2 | 1.00 | 25 | P/FINAL | 2025-06-13 | 14:43 | 2025-06-13 | 14:15 | ELENA |  | 0.95 | 0.97 | / | / | 0.279 |  |  |  | 0.57 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 26 | P/FINAL | 2025-06-13 | 14:47 | 2025-06-13 | 14:15 | ELENA |  | 3.94 | 3.97 | / | / | 1.108 | 6.496 |  |  | 0.31 | 252 |  | Kinga |  | 3 | 3 | 34847
3 | 4.00 | 27 | P/FINAL | 2025-06-13 | 14:50 | 2025-06-13 | 14:15 | ELENA |  | 3.94 | 3.98 | / | / | 1.108 | 6.483 |  |  | 0.99 | 247 |  | Kinga |  | 3 | 3 | 34847
3 | 4.00 | 28 | P/FINAL | 2025-06-13 | 14:51 | 2025-06-13 | 14:15 | ELENA |  | 3.93 | 3.95 | / | / | 1.104 |  |  |  | 0.46 |  |  | Kinga |  | 3 | 3 | 34847
1 | 0.00 | 29 | P/FINAL | 2025-06-13 | 14:54 | 2025-06-13 | 14:15 | ELENA |  | 0.00 | 0.00 | / | / | 0.001 | 6.544 |  |  | 0.58 | 252 |  | Kinga |  | 3 | 1 | 34847
1 | 0.00 | 30 | P/FINAL | 2025-06-13 | 14:55 | 2025-06-13 | 14:15 | ELENA |  | 0.01 | 0.00 | / | / | 0.003 | 6.535 |  |  | 0.72 | 272 |  | Kinga |  | 3 | 1 | 34847
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.99 mg/L | 9 | 18 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 4.01 mg/L | 9 | 18 | 4.01 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.01 mg/L | 6 | 12 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.05 | 0.01 | YES
1.00 | 0.90 ÷ 1.10 | 0.99 | YES
4.00 | 3.75 ÷ 4.25 | 4.01 | YES
Validation Date | by