## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3847-0 | HI3856-0 | HI702-0 | HI7024-0 | HI93702-0
0905 | HI93702-0 | CP-R26 | W 05/1 |  | Parameter Formula | Cu | Cu | Cu | Cu | Cu
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Copper HR Reagent | 2030-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
270 | 250 | 290
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | [5 empty] | 0732
[6 empty] | Expiration A | Expiration B | Expiration D
2029-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97702 | CTO-657
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 4.00 | 3.82 | 4.18 |  | MR44 |  | 0.02 | & | 4% | 100% |  | 6.4 | 6.2 | 6.7
2 | 1.00 | 0.94 | 1.06
1 | 0.00 | 0.00 | 0.02
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 4.00 | 1 | Valid | 2025-01-28 | 10:23 | 2025-01-28 | 09:15 | ERIKA |  | 3.94 | 3.99 | / | / | 1.107 |  |  |  | 0.24 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 2 | Valid | 2025-01-28 | 10:24 | 2025-01-28 | 09:15 | ERIKA |  | 3.94 | 3.96 | / | / | 1.107 | 6.429 |  |  | 0.21 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 3 | Valid | 2025-01-28 | 10:24 | 2025-01-28 | 09:15 | ERIKA |  | 3.92 | 3.96 | / | / | 1.012 | 6.437 |  |  | 0.20 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 4 | Valid | 2025-01-28 | 10:25 | 2025-01-28 | 09:15 | ERIKA |  | 3.92 | 3.96 | / | / | 1.102 |  |  |  | 0.22 |  |  | Kinga |  | 3 | 3
2 | 1.00 | 5 | Valid | 2025-01-28 | 10:26 | 2025-01-28 | 09:15 | ERIKA |  | 0.93 | 0.98 | / | / | 0.274 | 6.417 |  |  | 0.97 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 6 | Valid | 2025-01-28 | 10:27 | 2025-01-28 | 09:15 | ERIKA |  | 0.95 | 0.99 | / | / | 0.279 | 6.422 |  |  | 1.00 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 7 | Valid | 2025-01-28 | 10:27 | 2025-01-28 | 09:15 | ERIKA |  | 0.94 | 0.97 | / | / | 0.277 |  |  |  | 0.39 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 8 | Valid | 2025-01-28 | 10:28 | 2025-01-28 | 09:15 | ERIKA |  | 0.94 | 0.98 | / | / | 0.277 |  |  |  | 0.38 |  |  | Kinga |  | 3 | 2
1 | 0.00 | 9 | Valid | 2025-01-28 | 10:29 | 2025-01-28 | 09:15 | ERIKA |  | 0.00 | 0.00 | / | / | -0.004 | 5.884 |  |  | 0.61 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 10 | Valid | 2025-01-28 | 10:30 | 2025-01-28 | 09:15 | ERIKA |  | 0.00 | 0.00 | / | / | 0.006 | 6.419 |  |  | 0.32 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 11 | Old A | 2025-01-28 | 10:36 | 2025-01-28 | 09:15 | ERIKA |  | 0.94 | 0.98 | / | / | 0.276 |  |  |  | 1.35 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 12 | Old A | 2025-01-28 | 10:36 | 2025-01-28 | 09:15 | ERIKA |  | 0.95 | 0.99 | / | / | 0.278 |  |  |  | 1.31 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 13 | Old A | 2025-01-28 | 10:37 | 2025-01-28 | 09:15 | ERIKA |  | 3.95 | 3.99 | / | / | 1.110 |  |  |  | 4.05 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 14 | Old A | 2025-01-28 | 10:37 | 2025-01-28 | 09:15 | ERIKA |  | 3.94 | 3.98 | / | / | 1.107 |  |  |  | 1.03 |  |  | Kinga |  | 3 | 3
2 | 1.00 | 15 | P/Prod | 2025-01-29 | 09:21 | 2025-01-28 | 21:10 | ROLAND | 2 | 0.96 | 0.99 | / | / | 0.283 | 6.431 |  |  | 1.43 | 251 |  | Kinga |  | 3 | 2
2 | 1.00 | 16 | P/Prod | 2025-01-29 | 09:22 | 2025-01-28 | 21:10 | ROLAND | 2 | 0.96 | 0.99 | / | / | 0.282 |  |  |  | 0.87 | 253 |  | Kinga |  | 3 | 2
3 | 4.00 | 17 | P/Prod | 2025-01-29 | 09:24 | 2025-01-28 | 21:10 | ROLAND | 2 | 3.95 | 3.98 | / | / | 1.110 | 6.455 |  |  | 0.52 | 258 |  | Kinga |  | 3 | 3
3 | 4.00 | 18 | P/Prod | 2025-01-29 | 09:25 | 2025-01-28 | 21:10 | ROLAND | 2 | 3.94 | 3.98 | / | / | 1.108 |  |  |  | 0.37 | 255 |  | Kinga |  | 3 | 3
1 | 0.00 | 19 | P/Prod | 2025-01-29 | 09:26 | 2025-01-28 | 21:10 | ROLAND | 2 | 0.01 | 0.00 | / | / | 0.002 | 6.464 |  |  | 1.10 | 261 |  | Kinga |  | 3 | 1
1 | 0.00 | 20 | P/Prod | 2025-01-29 | 09:27 | 2025-01-28 | 21:10 | ROLAND | 2 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.53 | 196 |  | Kinga |  | 3 | 1
2 | 1.00 | 21 | P/Prod | 2025-01-29 | 09:35 | 2025-01-29 | 07:05 | ELENA | 2 | 0.94 | 0.96 | / | / | 0.274 | 6.415 |  |  | 0.54 | 260 |  | Kinga |  | 3 | 2
2 | 1.00 | 22 | P/Prod | 2025-01-29 | 09:36 | 2025-01-29 | 07:05 | ELENA | 2 | 0.94 | 0.97 | / | / | 0.277 |  |  |  | 0.92 | 268 |  | Kinga |  | 3 | 2
3 | 4.00 | 23 | P/Prod | 2025-01-29 | 09:38 | 2025-01-29 | 07:05 | ELENA | 2 | 3.96 | 3.97 | / | / | 1.113 | 6.415 |  |  | 1.18 | 240 |  | Kinga |  | 3 | 3
3 | 4.00 | 24 | P/Prod | 2025-01-29 | 09:39 | 2025-01-29 | 07:05 | ELENA | 2 | 3.96 | 3.99 | / | / | 1.113 |  |  |  | 0.69 | 255 |  | Kinga |  | 3 | 3
1 | 0.00 | 25 | P/Prod | 2025-01-29 | 09:41 | 2025-01-29 | 07:05 | ELENA | 2 | 0.00 | 0.00 | / | / | -0.003 | 6.369 |  |  | 0.53 | 241 |  | Kinga |  | 3 | 1
1 | 0.00 | 26 | P/Prod | 2025-01-29 | 09:41 | 2025-01-29 | 07:05 | ELENA | 2 | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 0.48 | 295 |  | Kinga |  | 3 | 1
3 | 4.00 | 27 | P/Prod | 2025-01-29 | 14:47 | 2025-01-29 | 14:24 | ROLAND | 2 | 3.95 | 3.94 | / | / | 1.110 |  |  |  | 0.20 | 270 |  | Brigitta P |  | 3 | 3 | 113840
3 | 4.00 | 28 | P/Prod | 2025-01-29 | 14:47 | 2025-01-29 | 14:24 | ROLAND | 2 | 3.94 | 3.95 | / | / | 1.108 | 6.418 |  |  | 0.19 |  |  | Brigitta P |  | 3 | 3 | 113840
3 | 4.00 | 29 | P/Prod | 2025-01-29 | 14:48 | 2025-01-29 | 14:24 | ROLAND | 2 | 3.93 | 3.94 | / | / | 1.105 |  |  |  | 0.17 | 277 |  | Brigitta P |  | 3 | 3 | 113840
2 | 1.00 | 30 | P/Prod | 2025-01-29 | 14:50 | 2025-01-29 | 14:24 | ROLAND | 2 | 0.95 | 0.95 | / | / | 0.279 | 6.428 |  |  | 0.21 | 273 |  | Brigitta P |  | 3 | 2 | 113840
2 | 1.00 | 31 | P/Prod | 2025-01-29 | 14:50 | 2025-01-29 | 14:24 | ROLAND | 2 | 0.95 | 0.97 | / | / | 0.279 |  |  |  | 0.31 |  |  | Brigitta P |  | 3 | 2 | 113840
2 | 1.00 | 32 | P/Prod | 2025-01-29 | 14:51 | 2025-01-29 | 14:24 | ROLAND | 2 | 0.94 | 0.95 | / | / | 0.277 |  |  |  | 0.30 | 277 |  | Brigitta P |  | 3 | 2 | 113840
1 | 0.00 | 33 | P/Prod | 2025-01-29 | 14:50 | 2025-01-29 | 14:24 | ROLAND | 2 | 0.00 | 0.00 | / | / | -0.001 | 6.411 |  |  | 0.51 | 280 |  | Brigitta P |  | 3 | 2 | 113840
1 | 0.00 | 34 | P/Prod | 2025-01-29 | 14:50 | 2025-01-29 | 14:24 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.42 |  |  | Brigitta P |  | 3 | 2 | 113840
1 | 0.00 | 35 | P/Prod | 2025-01-30 | 08:15 | 2025-01-30 | 07:01 | ELENA | 2 | 0.02 | 0.00 | / | / | 0.006 |  |  |  | 1.39 |  |  | Brigitta P |  | 3 | 1 | 113840
1 | 0.00 | 36 | P/Prod | 2025-01-30 | 08:15 | 2025-01-30 | 07:01 | ELENA | 2 | 0.00 | 0.00 | / | / | -0.002 | 6.359 |  |  | 0.63 |  |  | Brigitta P |  | 3 | 1 | 113840
1 | 0.00 | 37 | Old A | 2025-01-30 | 08:16 | 2025-01-30 | 07:01 | ELENA | 2 | 0.00 | 0.00 | / | / | -0.001 | 6.375 |  |  | 0.33 |  |  | Brigitta P |  | 3 | 1 | 113840
3 | 4.00 | 38 | P/Prod | 2025-01-30 | 08:17 | 2025-01-30 | 07:01 | ELENA | 2 | 4.00 | 4.00 | / | / | 1.123 | 6.377 |  |  | 0.23 | 240 |  | Brigitta P |  | 3 | 3 | 113840
3 | 4.00 | 39 | P/Prod | 2025-01-30 | 08:18 | 2025-01-30 | 07:01 | ELENA | 2 | 4.00 | 4.03 | / | / | 1.125 |  |  |  | 0.18 | 263 |  | Brigitta P |  | 3 | 3 | 113840
3 | 4.00 | 40 | Old A | 2025-01-30 | 08:18 | 2025-01-30 | 07:01 | ELENA | 2 | 4.00 | 4.02 | / | / | 1.125 | 6.355 |  |  | 1.19 | 252 |  | Brigitta P |  | 3 | 3 | 113840
2 | 1.00 | 41 | P/Prod | 2025-01-30 | 08:20 | 2025-01-30 | 07:01 | ELENA | 2 | 0.95 | 0.98 | / | / | 0.280 | 6.372 |  |  | 1.19 | 250 |  | Brigitta P |  | 3 | 2 | 113840
2 | 1.00 | 42 | P/Prod | 2025-01-30 | 08:20 | 2025-01-30 | 07:01 | ELENA | 2 | 0.96 | 0.97 | / | / | 0.281 | 6.368 |  |  | 0.26 | 260 |  | Brigitta P |  | 3 | 2 | 113840
2 | 1.00 | 43 | Old A | 2025-01-30 | 08:21 | 2025-01-30 | 07:01 | ELENA | 2 | 0.96 | 0.99 | / | / | 0.281 |  |  |  | 0.92 | 267 |  | Brigitta P |  | 3 | 2 | 113840
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 3.97 mg/L | 9 | 18 | 3.97 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.96 mg/L | 9 | 18 | 0.96 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0 mg/L | 8 | 16 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.96 | YES
4.00 | 3.82 ÷ 4.18 | 3.97 | YES
Validation Date | by