## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3847-0 | HI3856-0 | HI702-0 | HI7024-0 | HI93702-0
1063 | HI93702-0 | CP-R26 | W 22/1 |  | Parameter Formula | Cu | Cu | Cu | Cu | Cu
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Copper HR Reagent | 2030-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
270 | 250 | 290
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-06-13 | 2025-06-16 | UNIV PACK 2 H
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97702 | CTO-657
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR44 |  | 0.02 | & | 4% | 100% |  | 6.4 | 6.2 | 6.7
3 | 4.00 | 3.82 | 4.18
1 | 0.00 | 0.00 | 0.02
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-05-28 | 11:13 | 2025-05-28 | 10:46 | ERIKA |  | 1.02 | 0.99 | / | / | 0.298 |  |  |  | 2.31 |  |  | Kinga |  | 3 | 2 | 34847
3 | 4.00 | 2 | Old A | 2025-05-28 | 11:14 | 2025-05-28 | 10:46 | ERIKA |  | 3.95 | 3.97 | / | / | 1.110 |  |  |  | 0.80 |  |  | Kinga |  | 3 | 3 | 34847
1 | 0.00 | 3 | Old A | 2025-05-28 | 11:16 | 2025-05-28 | 10:46 | ERIKA |  | 0.02 | 0.00 | / | / | 0.007 |  |  |  | 3.51 |  |  | Kinga |  | 3 | 1 | 34847
2 | 1.00 | 4 | Valid | 2025-05-28 | 11:18 | 2025-05-28 | 10:46 | ERIKA |  | 0.96 | 0.95 | / | / | 0.283 | 6.802 |  |  | 1.20 |  |  | Kinga |  | 3 | 2 | 34847
2 | 1.00 | 5 | Valid | 2025-05-28 | 11:19 | 2025-05-28 | 10:46 | ERIKA |  | 0.95 | 0.95 | / | / | 0.279 |  |  |  | 2.42 |  |  | Kinga |  | 3 | 2 | 34847
2 | 1.00 | 6 | Valid | 2025-05-28 | 11:19 | 2025-05-28 | 10:46 | ERIKA |  | 0.94 | 0.95 | / | / | 0.276 |  |  |  | 0.33 |  |  | Kinga |  | 3 | 2 | 34847
3 | 4.00 | 7 | Valid | 2025-05-28 | 11:23 | 2025-05-28 | 10:46 | ERIKA |  | 3.95 | 3.97 | / | / | 1.111 | 6.741 |  |  | 0.25 |  |  | Kinga |  | 3 | 3 | 34847
3 | 4.00 | 8 | Valid | 2025-05-28 | 11:24 | 2025-05-28 | 10:46 | ERIKA |  | 3.97 | 3.96 | / | / | 1.116 |  |  |  | 0.35 |  |  | Kinga |  | 3 | 3 | 34847
3 | 4.00 | 9 | P/FINAL | 2025-05-28 | 11:25 | 2025-05-28 | 10:46 | ERIKA |  | 3.93 | 3.99 | / | / | 1.105 |  |  |  | 1.03 |  |  | Kinga |  | 3 | 3 | 34847
1 | 0.00 | 10 | Valid | 2025-05-28 | 11:28 | 2025-05-28 | 10:46 | ERIKA |  | 0.02 | 0.00 | / | / | 0.006 | 6.765 |  |  | 0.31 |  |  | Kinga |  | 3 | 1 | 34847
1 | 0.00 | 11 | Valid | 2025-05-28 | 11:28 | 2025-05-28 | 10:46 | ERIKA |  | 0.01 | 0.00 | / | / | 0.003 |  |  |  | 0.32 |  |  | Kinga |  | 3 | 1 | 34847
2 | 1.00 | 12 | Old A | 2025-06-16 | 08:39 | 2025-06-13 | 19:35 | ELENA |  | 1.06 | 1.06 | / | / | 0.311 |  |  |  | 3.83 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 13 | Old A | 2025-06-16 | 08:42 | 2025-06-13 | 19:35 | ELENA |  | 3.99 | 4.05 | / | / | 1.122 |  |  |  | 1.51 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 14 | Old A | 2025-06-16 | 08:44 | 2025-06-13 | 19:35 | ELENA |  | 0.02 | 0.00 | / | / | 0.005 |  |  |  | 1.72 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 15 | P/FINAL | 2025-06-16 | 08:47 | 2025-06-13 | 19:35 | ELENA |  | 0.98 | 1.01 | / | / | 0.288 |  |  |  | 2.70 |  |  | Kinga |  | 3 | 2 | 34847
2 | 1.00 | 16 | P/FINAL | 2025-06-16 | 08:48 | 2025-06-13 | 19:35 | ELENA |  | 0.95 | 0.98 | / | / | 0.278 |  |  |  | 1.11 |  |  | Kinga |  | 3 | 2 | 34847
2 | 1.00 | 17 | P/FINAL | 2025-06-16 | 08:49 | 2025-06-13 | 19:35 | ELENA |  | 0.96 | 0.98 | / | / | 0.278 | 6.487 |  |  | 1.02 | 264 |  | Kinga |  | 3 | 2 | 34847
3 | 4.00 | 18 | P/FINAL | 2025-06-16 | 08:52 | 2025-06-13 | 19:35 | ELENA |  | 4.00 | 4.09 | / | / | 1.123 |  |  |  | 0.94 | 266 |  | Kinga |  | 3 | 3 | 34847
3 | 4.00 | 19 | P/FINAL | 2025-06-16 | 08:53 | 2025-06-13 | 19:35 | ELENA |  | 3.97 | 4.01 | / | / | 1.133 | 6.458 |  |  | 0.72 | 278 |  | Kinga |  | 3 | 3 | 34847
3 | 4.00 | 20 | P/FINAL | 2025-06-16 | 08:54 | 2025-06-13 | 19:35 | ELENA |  | 3.96 | 3.99 | / | / | 1.113 |  |  |  | 0.58 | 276 |  | Kinga |  | 3 | 3 | 34847
1 | 0.00 | 21 | P/FINAL | 2025-06-16 | 08:56 | 2025-06-13 | 19:35 | ELENA |  | 0.02 | 0.00 | / | / | 0.009 | 6.496 |  |  | 1.89 | 270 |  | Kinga |  | 3 | 1 | 34847
1 | 0.00 | 22 | P/FINAL | 2025-06-16 | 08:57 | 2025-06-13 | 19:35 | ELENA |  | 0.01 | 0.00 | / | / | 0.004 |  |  |  | 1.19 | 245 |  | Kinga |  | 3 | 1 | 34847
2 | 1.00 | 23 | P/FINAL | 2025-06-16 | 09:05 | 2025-06-16 | 06:35 | ELENA |  | 1.01 | 1.03 | / | / | 0.296 |  |  |  | 3.35 | 240 |  | Kinga |  | 3 | 2
2 | 1.00 | 24 | P/FINAL | 2025-06-16 | 09:05 | 2025-06-16 | 06:35 | ELENA |  | 0.95 | 0.99 | / | / | 0.280 | 6.461 |  |  | 0.79 | 260 |  | Kinga |  | 3 | 2
2 | 1.00 | 25 | P/FINAL | 2025-06-16 | 09:06 | 2025-06-16 | 06:35 | ELENA |  | 0.94 | 0.98 | / | / | 0.276 |  |  |  | 0.50 | 253 |  | Kinga |  | 3 | 2
2 | 1.00 | 26 | P/FINAL | 2025-06-16 | 09:06 | 2025-06-16 | 06:35 | ELENA |  | 0.94 | 0.97 | / | / | 0.275 |  |  |  | 0.48 | 272 |  | Kinga |  | 3 | 2
3 | 4.00 | 27 | P/FINAL | 2025-06-16 | 09:09 | 2025-06-16 | 06:35 | ELENA |  | 3.97 | 4.01 | / | / | 1.115 |  |  |  | 0.46 | 271 |  | Kinga |  | 3 | 3 | 34847
3 | 4.00 | 28 | P/FINAL | 2025-06-16 | 09:10 | 2025-06-16 | 06:35 | ELENA |  | 3.95 | 3.99 | / | / | 1.110 | 6.497 |  |  | 0.43 | 261 |  | Kinga |  | 3 | 3 | 34847
3 | 4.00 | 29 | P/FINAL | 2025-06-16 | 09:11 | 2025-06-16 | 06:35 | ELENA |  | 3.94 | 3.99 | / | / | 1.108 |  |  |  | 0.36 |  |  | Kinga |  | 3 | 3 | 34847
1 | 0.00 | 30 | P/FINAL | 2025-06-16 | 09:11 | 2025-06-16 | 06:35 | ELENA |  | 0.00 | 0.00 | / | / | 0.001 | 6.499 |  |  | 0.56 |  |  | Kinga |  | 3 | 1 | 34847
1 | 0.00 | 31 | P/FINAL | 2025-06-16 | 09:12 | 2025-06-16 | 06:35 | ELENA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.53 |  |  | Kinga |  | 3 | 1 | 34847
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0.98 mg/L | 7 | 14 | 0.98 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 3.99 mg/L | 7 | 14 | 3.99 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.98 | YES
4.00 | 3.82 ÷ 4.18 | 3.99 | YES
Validation Date | by
2025-06-19 | Eugenia