## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
0752 | HI3833-0 | CP-R29 | W42/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate Reagent | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 5.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/MARK | 2024-10-19 | 2024-10-21 | 2HEAD |  |  | 0486
[6 empty] | Expiration A | Expiration B | Expiration D
2027-02-01
Meter
Meter 1 Family | Meter 1 Code
COLOR CUB | HI3833
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 4.0 | 3.5 | 4.5 |  | MR104 |  | 0.5 | or | 0% | 100% |  | 1.5 | 1.2 | 1.6
1 | 2.0 | 1.5 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 4.0 | 1 | Old A | 2024-10-15 | 14:35 | 2024-10-15 | 13:55 | ERIKA |  | 4.0 | / | / | / |  |  |  |  | 2.88 |  |  | Brigitta P |  | 3 | 2 | 31108
2 | 4.0 | 2 | Old A | 2024-10-15 | 14:36 | 2024-10-15 | 13:55 | ERIKA |  | 4.0 | / | / | / |  |  |  |  | 2.36 |  |  | Brigitta P |  | 3 | 2 | 31108
2 | 4.0 | 3 | Old A | 2024-10-15 | 14:43 | 2024-10-15 | 13:55 | ERIKA/MARK |  | 4.5 | / | / | / |  |  |  |  | 4.47 |  |  | Brigitta P |  | 3 | 2 | 52028
2 | 4.0 | 4 | Old A | 2024-10-15 | 14:43 | 2024-10-15 | 13:55 | ERIKA/MARK |  | 4.5 | / | / | / |  |  |  |  | 4.10 |  |  | Brigitta P |  | 3 | 2 | 52028
2 | 4.0 | 5 | Valid | 2024-10-15 | 14:47 | 2024-10-15 | 13:55 | ERIKA/MARK |  | 4.5 | / | / | / |  |  |  |  | 2.76 |  |  | Brigitta P |  | 3 | 2 | 52028
2 | 4.0 | 6 | Valid | 2024-10-15 | 14:48 | 2024-10-15 | 13:55 | ERIKA/MARK |  | 4.5 | / | / | / |  |  |  |  | 1.03 |  |  | Brigitta P |  | 3 | 2 | 52028
2 | 4.0 | 7 | Valid | 2024-10-15 | 14:50 | 2024-10-15 | 13:55 | ERIKA/MARK |  | 4.5 | / | / | / |  |  |  |  | 1.67 |  |  | Brigitta P |  | 3 | 2 | 52028
1 | 2.0 | 8 | Valid | 2024-10-15 | 14:54 | 2024-10-15 | 13:55 | ERIKA/MARK |  | 2.5 | / | / | / |  |  |  |  | 1.37 |  |  | Brigitta P |  | 3 | 1 | 52028
1 | 2.0 | 9 | Valid | 2024-10-15 | 14:55 | 2024-10-15 | 13:55 | ERIKA/MARK |  | 2.5 | / | / | / |  |  |  |  | 0.90 |  |  | Brigitta P |  | 3 | 1 | 52028
1 | 2.0 | 10 | Valid | 2024-10-15 | 14:55 | 2024-10-15 | 13:55 | ERIKA/MARK |  | 2.5 | / | / | / |  |  |  |  | 0.89 |  |  | Brigitta P |  | 3 | 1 | 52028
1 | 2.0 | 11 | P/Final | 2024-10-19 | 12:30 | 2024-10-18 | 19:35 | FLORICA |  | 2.0 | / | / | / |  |  |  |  | 0.67 |  |  | Brigitta P |  | 3 | 1 | 52028
1 | 2.0 | 12 | P/Final | 2024-10-19 | 12:30 | 2024-10-18 | 19:35 | FLORICA |  | 2.0 | / | / | / |  |  |  |  | 0.90 |  |  | Brigitta P |  | 3 | 1 | 52028
1 | 2.0 | 13 | P/Final | 2024-10-19 | 12:30 | 2024-10-18 | 19:35 | FLORICA |  | 2.0 | / | / | / |  |  |  |  | 0.89 |  |  | Brigitta P |  | 3 | 1 | 52028
2 | 4.0 | 14 | P/Final | 2024-10-19 | 12:30 | 2024-10-18 | 19:35 | FLORICA |  | 4.0 | / | / | / |  |  |  |  | 2.05 |  |  | Brigitta P |  | 3 | 1 | 52028
2 | 4.0 | 15 | P/Final | 2024-10-19 | 12:30 | 2024-10-18 | 19:35 | FLORICA |  | 4.0 | / | / | / |  |  |  |  | 2.88 |  |  | Brigitta P |  | 3 | 1 | 52028
2 | 4.0 | 16 | P/Final | 2024-10-19 | 12:30 | 2024-10-18 | 19:35 | FLORICA |  | 4.0 | / | / | / |  |  |  |  | 2.15 |  |  | Brigitta P |  | 3 | 1 | 52028
2 | 4.0 | 17 | P/Final | 2024-10-21 | 9:20 | 2024-10-21 | 07:25 | FLORICA |  | 4.0 | / | / | / | [7 empty] | Brigitta P |  | 3 | 1 | 52028
2 | 4.0 | 18 | P/Final | 2024-10-21 | 9:20 | 2024-10-21 | 07:25 | FLORICA |  | 4.0 | / | / | / | [7 empty] | Brigitta P |  | 3 | 1 | 52028
2 | 4.0 | 19 | Old A | 2024-10-21 | 9:20 | 2024-10-21 | 07:25 | FLORICA |  | 4.0 | / | / | / | [7 empty] | Brigitta P |  | 3 | 1 | 52028
1 | 2.0 | 20 | Old A | 2024-10-21 | 9:20 | 2024-10-21 | 07:25 | FLORICA |  | 2.5 | / | / | / | [7 empty] | Brigitta P |  | 3 | 1 | 52028
1 | 2.0 | 21 | P/Final | 2024-10-21 | 9:20 | 2024-10-21 | 07:25 | FLORICA |  | 2.5 | / | / | / | [7 empty] | Brigitta P |  | 3 | 1 | 52028
1 | 2.0 | 22 | P/Final | 2024-10-21 | 9:20 | 2024-10-21 | 07:25 | FLORICA |  | 2.5 | / | / | / | [7 empty] | Brigitta P |  | 3 | 1 | 52028
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 5 | 4 mg/L | 5 | 5 | 4 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 5 | 2.2 mg/L | 5 | 5 | 2.2 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
2.0 | 1.5 ÷ 2.5 | 2.2 | YES
4.0 | 3.5 ÷ 4.5 | 4.0 | YES
Validation Date | by