## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
0718 | HI713-0 | CP-R29 | 40/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0718
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2027-10-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-10-04 | 2024-10-10 | 2 HEAD |  |  | 0660
[6 empty] | Expiration A | Expiration B | Expiration D
2027-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
801 | CTO-775 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.44 | 0.56 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
1 | 0.00 | 0.00 | 0.04
3 | 2.00 | 1.88 | 2.12
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2024-10-04 | 14:16 | 2024-10-04 | 09:24 | MARA | 2 | 0.45 | 0.44 | / | / | 0.157 |  |  |  | 2.33 |  | 1 | Kinga |  | 3 | 2 | 81451
1 | 0.00 | 2 | P/Final | 2024-10-04 | 14:20 | 2024-10-04 | 09:24 | MARA | 2 | 0.04 | 0.02 | / | / | 0.033 |  |  |  | 2.33 |  | 1 | Kinga |  | 3 | 1 | 81451
1 | 0.00 | 3 | P/Final | 2024-10-04 | 14:24 | 2024-10-04 | 09:24 | MARA | 2 | 0.00 | 0.00 | / | / | 0.023 |  |  |  | 3.63 |  | 1 | Kinga |  | 3 | 1 | 81451
2 | 0.50 | 4 | P/Final | 2024-10-04 | 14:32 | 2024-10-04 | 09:24 | MARA | 2 | 0.49 | 0.48 | / | / | 0.171 |  |  |  | 4.31 |  | 1 | Kinga |  | 3 | 2 | 81451
2 | 0.50 | 5 | P/Final | 2024-10-04 | 14:32 | 2024-10-04 | 09:24 | MARA | 2 | 0.48 | 0.47 | / | / | 0.167 |  |  |  | 3.88 |  | 1 | Kinga |  | 3 | 2 | 81451
3 | 2.00 | 6 | P/Final | 2024-10-04 | 14:39 | 2024-10-04 | 09:24 | MARA | 2 | 1.99 | 1.96 | / | / | 0.607 |  |  |  | 4.57 |  | 1 | Kinga |  | 3 | 3 | 81451
3 | 2.00 | 7 | P/Final | 2024-10-04 | 14:40 | 2024-10-04 | 09:24 | MARA | 2 | 2.06 | 2.02 | / | / | 0.627 |  |  |  | 4.62 |  | 1 | Kinga |  | 3 | 3 | 81451
1 | 0.00 | 8 | P/Final | 2024-10-04 | 14:53 | 2024-10-04 | 14:30 | ELENA | 2 | 0.01 | 0.00 | / | / | 0.025 |  |  |  | 3.09 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 9 | P/Final | 2024-10-04 | 14:54 | 2024-10-04 | 14:30 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.017 |  |  |  | 4.21 |  | 1 | Kinga |  | 3 | 1
3 | 2.00 | 10 | P/Final | 2024-10-04 | 14:56 | 2024-10-04 | 14:30 | ELENA | 2 | 2.09 | 2.07 | / | / | 0.635 |  |  |  | 4.12 |  | 1 | Kinga |  | 3 | 3
3 | 2.00 | 11 | P/Final | 2024-10-04 | 14:57 | 2024-10-04 | 14:30 | ELENA | 2 | 2.03 | 2.01 | / | / | 0.619 |  |  |  | 4.12 |  | 1 | Kinga |  | 3 | 3
2 | 0.50 | 12 | P/Final | 2024-10-07 | 09:19 | 2024-10-05 | 07:00 | ROLAND | 2 | 0.48 | 0.50 | / | / | 0.167 |  |  |  | 4.47 |  | 1 | Brigitta P |  | 3 | 2 | 85943
2 | 0.50 | 13 | P/Final | 2024-10-07 | 09:20 | 2024-10-05 | 07:00 | ROLAND | 2 | 0.49 | 0.50 | / | / | 0.170 |  |  |  | 4.61 |  | 1 | Brigitta P |  | 3 | 2 | 85943
3 | 2.00 | 14 | P/Final | 2024-10-07 | 09:22 | 2024-10-05 | 07:00 | ROLAND | 2 | 2.01 | 2.02 | / | / | 0.615 |  |  |  | 5.54 |  | 1 | Brigitta P |  | 3 | 3 | 85943
3 | 2.00 | 15 | P/Final | 2024-10-07 | 09:22 | 2024-10-05 | 07:00 | ROLAND | 2 | 1.99 | 2.00 | / | / | 0.609 |  |  |  | 4.98 |  | 1 | Brigitta P |  | 3 | 3 | 85943
1 | 0.00 | 16 | P/Final | 2024-10-07 | 09:26 | 2024-10-05 | 07:00 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 3.4 | 7 | 1 | Brigitta P |  | 3 | 1 | 85943
1 | 0.00 | 17 | P/Final | 2024-10-07 | 09:27 | 2024-10-05 | 07:00 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.023 |  |  |  | 3.74 |  | 1 | Brigitta P |  | 3 | 1 | 85943
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.49 mg/L | 4 | 8 | 0.49 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.01 mg/L | 6 | 12 | 0.01 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 2.02 mg/L | 6 | 12 | 2.02 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.01 | YES
0.50 | 0.44 ÷ 0.56 | 0.49 | YES
2.00 | 1.88 ÷ 2.12 | 2.02 | YES
Validation Date | by