## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
0752 | HI713-0 | CP-R29 | W42/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ROLAND | 2024-10-21 | 2024-10-22 | 2HEAD |  |  | 0660
[6 empty] | Expiration A | Expiration B | Expiration D
2027-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code | Meter 3 Family | Meter 3 Code
HI801 | CTO-833 | HI83399 | CTO-520 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.44 | 0.56 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
3 | 2.00 | 1.88 | 2.12
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2024-10-22 | 09:40 | 2024-10-21 | 21:21 | ROLAND |  | 0.46 | 0.46 | 0.46 | / | 0.161 |  |  |  | 2.04 |  |  | Kinga |  | 3 | 2 | 85943
2 | 0.50 | 2 | P/Final | 2024-10-22 | 09:40 | 2024-10-21 | 21:21 | ROLAND |  | 0.44 | 0.43 | 0.43 | / | 0.155 | 1.320 |  |  | 1.18 |  |  | Kinga |  | 3 | 2 | 85943
2 | 0.50 | 3 | P/Final | 2024-10-22 | 09:41 | 2024-10-21 | 21:21 | ROLAND |  | 0.44 | 0.43 | 0.43 | / | 0.154 | 1.349 |  |  | 1.18 |  |  | Kinga |  | 3 | 2 | 85943
2 | 0.50 | 4 | P/Final | 2024-10-22 | 09:41 | 2024-10-21 | 21:21 | ROLAND |  | 0.44 | 0.43 | 0.43 | / | 0.155 |  |  |  | 0.97 |  |  | Kinga |  | 3 | 2 | 85943
3 | 2.00 | 5 | Old A | 2024-10-22 | 09:42 | 2024-10-21 | 21:21 | ROLAND |  | 1.96 | 1.95 | 1.95 | / | 0.601 | 1.328 |  |  | 2.92 |  |  | Kinga |  | 3 | 3 | 85943
3 | 2.00 | 6 | P/Final | 2024-10-22 | 09:46 | 2024-10-21 | 21:21 | ROLAND |  | 1.96 |  | 1.95 | / | 0.599 | 1.311 |  |  | 1.08 |  |  | Kinga |  | 3 | 3 | 85943
3 | 2.00 | 7 | P/Final | 2024-10-22 | 09:47 | 2024-10-21 | 21:21 | ROLAND |  | 1.94 |  | 1.92 | / | 0.595 |  |  |  | 1.15 |  |  | Kinga |  | 3 | 3 | 85943
1 | 0.00 | 8 | Old A | 2024-10-22 | 09:48 | 2024-10-21 | 21:21 | ROLAND |  | 0.00 |  | 0.00 | / | 0.010 |  |  |  | 2.8 |  |  | Kinga |  | 3 | 1 | 85943
1 | 0.00 | 9 | P/Final | 2024-10-22 | 09:49 | 2024-10-21 | 21:21 | ROLAND |  | 0.00 |  | 0.00 | / | 0.010 |  |  |  | 1.30 |  |  | Kinga |  | 3 | 1 | 85943
2 | 0.50 | 10 | P/Final | 2024-10-22 | 09:55 | 2024-10-21 | 07:19 | ROLAND |  | 0.44 |  | 0.42 | / | 0.155 |  |  |  | 0.53 |  |  | Kinga |  | 3 | 2 | 85943
2 | 0.50 | 11 | P/Final | 2024-10-22 | 09:56 | 2024-10-21 | 07:19 | ROLAND |  | 0.45 |  | 0.45 | / | 0.159 | 1.353 |  |  | 1.22 |  |  | Kinga |  | 3 | 2 | 85943
2 | 0.50 | 12 | P/Final | 2024-10-22 | 10:00 | 2024-10-21 | 07:19 | ROLAND |  | 0.45 |  | 0.44 | / | 0.157 | 1.314 |  |  | 0.73 |  |  | Kinga |  | 3 | 2 | 85943
3 | 2.00 | 13 | P/Final | 2024-10-22 | 10:03 | 2024-10-21 | 07:19 | ROLAND |  | 1.99 |  | 1.98 | / | 0.608 | 1.383 |  |  | 1.05 |  |  | Kinga |  | 3 | 3 | 85943
3 | 2.00 | 14 | P/Final | 2024-10-22 | 10:03 | 2024-10-21 | 07:19 | ROLAND |  | 1.98 |  | 1.97 | / | 0.606 | 1.323 |  |  | 1.04 |  |  | Kinga |  | 3 | 3 | 85943
3 | 2.00 | 15 | P/Final | 2024-10-22 | 10:15 | 2024-10-21 | 07:19 | ROLAND |  | 2.02 |  | 2.01 | / | 0.617 |  |  |  | 3.22 |  |  | Kinga |  | 3 | 3 | 85943
1 | 0.00 | 16 | P/Final | 2024-10-22 | 10:18 | 2024-10-21 | 07:19 | ROLAND |  | 0.00 |  | 0.00 | / | 0.009 |  |  |  | 1.09 |  |  | Kinga |  | 3 | 1 | 85943
1 | 0.00 | 17 | P/Final | 2024-10-22 | 10:18 | 2024-10-21 | 07:19 | ROLAND |  | 0.00 |  | 0.00 | / | 0.013 |  |  |  | 0.81 |  |  | Kinga |  | 3 | 1 | 85943
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 15 | 0.44 mg/L | 6 | 15 | 0.44 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 1.97 mg/L | 5 | 10 | 1.97 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0 mg/L | 3 | 6 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.50 | 0.44 ÷ 0.56 | 0.44 | YES
2.00 | 1.88 ÷ 2.12 | 1.97 | YES
Validation Date | by