## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
0876 | HI713-0 | CP-R29 | W50/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2027-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-12-11 |  |  |  |  | 0594
[6 empty] | Expiration A | Expiration B | Expiration D
2027-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.44 | 0.56 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
3 | 2.00 | 1.88 | 2.12
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97713 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2024-12-11 | 09:02 | 2024-12-11 | 08:22 | ERIKA |  | 0.56 | 0.56 | / | / | 0.195 |  |  |  | 3.40 |  |  | Brigitta P |  | 3 | 2 | 85943
2 | 0.50 | 2 | Valid | 2024-12-11 | 09:03 | 2024-12-11 | 08:22 | ERIKA |  | 0.47 | 0.47 | / | / | 0.163 |  |  |  | 5.47 |  |  | Brigitta P |  | 3 | 2 | 85943
2 | 0.50 | 3 | Valid | 2024-12-11 | 09:03 | 2024-12-11 | 08:22 | ERIKA |  | 0.47 | 0.47 | / | / | 0.163 |  |  |  | 3.20 |  |  | Brigitta P |  | 3 | 2 | 85943
3 | 2.00 | 4 | Old A | 2024-12-11 | 09:04 | 2024-12-11 | 08:22 | ERIKA |  | 2.11 | 2.12 | / | / | 0.644 |  |  |  | 3.32 |  |  | Brigitta P |  | 3 | 3 | 85943
3 | 2.00 | 5 | Valid | 2024-12-11 | 09:04 | 2024-12-11 | 08:22 | ERIKA |  | 2.03 | 2.03 | / | / | 0.619 |  |  |  | 7.38 |  |  | Brigitta P |  | 3 | 3 | 85943
3 | 2.00 | 6 | Valid | 2024-12-11 | 09:05 | 2024-12-11 | 08:22 | ERIKA |  | 2.03 | 2.04 | / | / | 0.621 |  |  |  | 3.40 |  |  | Brigitta P |  | 3 | 3 | 85943
1 | 0.00 | 7 | Old A | 2024-12-11 | 09:05 | 2024-12-11 | 08:22 | ERIKA |  | 0.00 | 0.03 | / | / | 0.019 |  |  |  | 2.11 |  |  | Brigitta P |  | 3 | 1 | 85943
1 | 0.00 | 8 | Valid | 2024-12-11 | 09:06 | 2024-12-11 | 08:22 | ERIKA |  | 0.00 | 0.03 | / | / | 0.019 |  |  |  | 2.11 |  |  | Brigitta P |  | 3 | 1 | 85943
1 | 0.00 | 9 | Valid | 2024-12-11 | 09:06 | 2024-12-11 | 08:22 | ERIKA |  | 0.00 | 0.01 | / | / | 0.020 |  |  |  | 6.93 |  |  | Brigitta P |  | 3 | 1 | 85943
2 | 0.50 | 10 | Old A | 2025-01-09 | 08:51 | 2025-01-09 | 07:07 | TAMARA |  | 0.51 | 0.50 | / | / | 0.269 |  |  |  | 0.54 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 11 | P/Final | 2025-01-09 | 08:52 | 2025-01-09 | 07:07 | TAMARA |  | 0.50 | 0.49 | / | / | 0.261 | 5.907 |  |  | 0.54 | 113 |  | Kinga |  | 3 | 2
2 | 0.50 | 12 | P/Final | 2025-01-09 | 08:52 | 2025-01-09 | 07:07 | TAMARA |  | 0.49 | 0.49 | / | / | 0.260 |  |  |  | 2.48 | 110 |  | Kinga |  | 3 | 2
3 | 2.00 | 13 | Old A | 2025-01-09 | 08:56 | 2025-01-09 | 07:07 | TAMARA |  | 2.05 | 2.10 | / | / | 1.037 |  |  |  | 2.73 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 14 | P/Final | 2025-01-09 | 08:58 | 2025-01-09 | 07:07 | TAMARA |  | 1.96 | 1.99 | / | / | 0.996 | 5.945 |  |  | 1.73 | 113 |  | Kinga |  | 3 | 3
3 | 2.00 | 15 | P/Final | 2025-01-09 | 08:59 | 2025-01-09 | 07:07 | TAMARA |  | 2.04 | 2.09 | / | / | 1.032 |  |  |  | 4.13 | 115 |  | Kinga |  | 3 | 3
1 | 0.00 | 16 | Old A | 2025-01-09 | 09:00 | 2025-01-09 | 07:07 | TAMARA |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 1.36 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 17 | P/Final | 2025-01-09 | 09:01 | 2025-01-09 | 07:07 | TAMARA |  | 0.00 | 0.00 | / | / | -0.001 | 5.913 |  |  | 1.46 | 115 |  | Kinga |  | 3 | 1
1 | 0.00 | 18 | P/Final | 2025-01-09 | 09:01 | 2025-01-09 | 07:07 | TAMARA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 4.21 | 116 |  | Kinga |  | 3 | 1
2 | 0.50 | 19 | Old A | 2025-01-09 | 09:20 | 2025-01-08 | 15:13 | ELENA | 2 | 0.50 | 0.49 | / | / | 0.172 |  |  |  | 3.84 |  |  | Kinga |  | 3 | 2 | 85439
3 | 2.00 | 20 | Old A | 2025-01-09 | 09:21 | 2025-01-08 | 15:13 | ELENA | 2 | 1.99 | 2.00 | / | / | 0.609 |  |  |  | 4.82 |  |  | Kinga |  | 3 | 3 | 85439
1 | 0.00 | 21 | Old A | 2025-01-09 | 09:22 | 2025-01-08 | 15:13 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.019 |  |  |  | 4.34 |  |  | Kinga |  | 3 | 1 | 85439
2 | 0.50 | 22 | P/Final | 2025-01-09 | 09:30 | 2025-01-08 | 15:13 | ELENA | 2 | 0.52 | 0.49 | / | / | 0.178 |  |  |  | 5.34 | 179 |  | Kinga |  | 3 | 2 | 85439
2 | 0.50 | 23 | P/Final | 2025-01-09 | 09:31 | 2025-01-08 | 15:13 | ELENA | 2 | 0.49 | 0.51 | / | / | 0.171 | 1.280 |  |  | 6.39 | 175 |  | Kinga |  | 3 | 2 | 85439
3 | 2.00 | 24 | P/Final | 2025-01-09 | 09:33 | 2025-01-08 | 15:13 | ELENA | 2 | 2.03 | 2.03 | / | / | 0.621 |  |  |  | 7.70 | 177 |  | Kinga |  | 3 | 3 | 85439
3 | 2.00 | 25 | P/Final | 2025-01-09 | 09:33 | 2025-01-08 | 15:13 | ELENA | 2 | 2.02 | 2.03 | / | / | 0.618 | 1.298 |  |  | 8.34 | 176 |  | Kinga |  | 3 | 3 | 85439
1 | 0.00 | 26 | P/Final | 2025-01-09 | 09:39 | 2025-01-08 | 15:13 | ELENA | 2 | 0.01 | 0.02 | / | / | 0.026 |  |  |  | 8.15 | 173 |  | Kinga |  | 3 | 1 | 85439
1 | 0.00 | 27 | P/Final | 2025-01-09 | 09:39 | 2025-01-08 | 15:13 | ELENA | 2 | 0.01 | 0.02 | / | / | 0.025 | 1.285 |  |  | 7.88 | 168 |  | Kinga |  | 3 | 1 | 85439
3 | 2.00 | 28 | P/Final | 2025-01-09 | 09:49 | 2025-01-09 | 07:56 | ROLAND | 2 | 2.00 | 2.01 | / | / | 0.610 |  |  |  | 8.41 | 169 |  | Kinga |  | 3 | 3
2 | 0.50 | 29 | P/Final | 2025-01-09 | 09:50 | 2025-01-09 | 07:56 | ROLAND | 2 | 0.51 | 0.51 | / | / | 0.175 | 1.316 |  |  | 6.36 | 188 |  | Kinga |  | 3 | 2
2 | 0.50 | 30 | P/Final | 2025-01-09 | 09:50 | 2025-01-09 | 07:56 | ROLAND | 2 | 0.50 | 0.50 | / | / | 0.174 |  |  |  | 8.16 | 184 |  | Kinga |  | 3 | 2
3 | 2.00 | 31 | P/Final | 2025-01-09 | 09:51 | 2025-01-09 | 07:56 | ROLAND | 2 | 1.98 | 1.99 | / | / | 0.606 | 1.302 |  |  | 8.20 | 191 |  | Kinga |  | 3 | 3
1 | 0.00 | 32 | P/Final | 2025-01-09 | 09:52 | 2025-01-09 | 07:56 | ROLAND | 2 | 0.03 | 0.04 | / | / | 0.032 | 1.287 |  |  | 8.13 | 195 |  | Kinga |  | 3 | 1
3 | 2.00 | 33 | P/Final | 2025-01-09 | 15:02 | 2025-01-09 | 14:20 | ELENA | 2 | 1.99 | 1.98 | / | / | 0.609 |  |  |  | 1.71 | 155 |  | Kinga |  | 3 | 3 | 85439
3 | 2.00 | 34 | P/Final | 2025-01-09 | 15:03 | 2025-01-09 | 14:20 | ELENA | 2 | 2.01 | 2.00 | / | / | 0.615 | 1.313 |  |  | 9.23 | 152 |  | Kinga |  | 3 | 3 | 85439
2 | 0.50 | 35 | P/Final | 2025-01-09 | 15:04 | 2025-01-09 | 14:20 | ELENA | 2 | 0.49 | 0.48 | / | / | 0.170 |  |  |  | 7.01 | 152 |  | Kinga |  | 3 | 2 | 85439
2 | 0.50 | 36 | P/Final | 2025-01-09 | 15:05 | 2025-01-09 | 14:20 | ELENA | 2 | 0.50 | 0.48 | / | / | 0.174 | 1.304 |  |  | 8.28 | 160 |  | Kinga |  | 3 | 2 | 85439
1 | 0.00 | 37 | P/Final | 2025-01-09 | 15:11 | 2025-01-09 | 14:20 | ELENA | 2 | 0.01 | 0.00 | / | / | 0.026 |  |  |  | 7.07 | 158 |  | Kinga |  | 3 | 1 | 85439
1 | 0.00 | 38 | P/Final | 2025-01-09 | 15:12 | 2025-01-09 | 14:20 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.021 | 1.349 |  |  | 6.40 | 151 |  | Kinga |  | 3 | 1 | 85439
2 | 0.50 | 39 | Old A | 2025-01-10 | 08:58 | 2025-01-10 | 07:55 | ROLAND |  | 0.49 | 0.46 | / | / | 0.169 |  |  |  | 1.92 |  |  | Kinga |  | 3 | 2
3 | 2.00 | 40 | Old A | 2025-01-10 | 08:59 | 2025-01-10 | 07:55 | ROLAND |  | 2.02 | 2.06 | / | / | 0.616 |  |  |  | 3.45 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 41 | Old A | 2025-01-10 | 09:00 | 2025-01-10 | 07:55 | ROLAND |  | 0.00 | 0.00 | / | / | 0.022 |  |  |  | 3.45 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 42 | P/Final | 2025-01-10 | 09:07 | 2025-01-10 | 07:55 | ROLAND |  | 0.55 | 0.55 | / | / | 0.189 |  |  |  | 8.42 | 167 |  | Kinga |  | 3 | 2
2 | 0.50 | 43 | P/Final | 2025-01-10 | 09:07 | 2025-01-10 | 07:55 | ROLAND |  | 0.52 | 0.49 | / | / | 0.180 | 1.251 |  |  | 8.42 | 168 |  | Kinga |  | 3 | 2
3 | 2.00 | 44 | P/Final | 2025-01-10 | 09:09 | 2025-01-10 | 07:55 | ROLAND |  | 2.05 | 2.02 | / | / | 0.625 |  |  |  | 8.65 | 153 |  | Kinga |  | 3 | 3
3 | 2.00 | 45 | P/Final | 2025-01-10 | 09:10 | 2025-01-10 | 07:55 | ROLAND |  | 2.04 | 2.02 | / | / | 0.624 | 1.253 |  |  | 9.51 | 141 |  | Kinga |  | 3 | 3
1 | 0.00 | 46 | P/Final | 2025-01-10 | 09:15 | 2025-01-10 | 07:55 | ROLAND |  | 0.03 | 0.04 | / | / | 0.024 |  |  |  | 11.3 | 158 |  | Kinga |  | 3 | 1
1 | 0.00 | 47 | P/Final | 2025-01-10 | 09:16 | 2025-01-10 | 07:55 | ROLAND |  | 0.01 | 0.00 | / | / | 0.026 | 1.297 |  |  | 8.06 | 170 |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0.5 mg/L | 10 | 20 | 0.5 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 2.01 mg/L | 10 | 20 | 2.01 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.01 mg/L | 9 | 18 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.01 | YES
0.50 | 0.44 ÷ 0.56 | 0.50 | YES
2.00 | 1.88 ÷ 2.12 | 2.01 | YES
Validation Date | by