## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
0886 | HI713-0 | CP-R29 | W51/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2027-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | [5 empty] | 0718
[6 empty] | Expiration A | Expiration B | Expiration D
2027-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 2.00 | 1.88 | 2.12 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
2 | 0.50 | 0.44 | 0.56
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97713 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 2.00 | 1 | Valid | 2024-12-19 | 15:13 | 2024-12-19 | 14:40 | ERIKA |  | 2.40 | 2.37 | / | / | 0.725 | 1.335 |  |  | 57.2 | TEORETICAL WEIGHT |  | Brigitta P |  | 3 | 3
3 | 2.00 | 2 | Valid | 2024-12-19 | 15:13 | 2024-12-19 | 14:40 | ERIKA |  | 2.41 | 2.37 | / | / | 0.729 | 1.338 |  |  | 54.4 |  |  | Brigitta P |  | 3 | 3
3 | 2.00 | 3 | Valid | 2024-12-19 | 15:15 | 2024-12-19 | 14:40 | ERIKA |  | 2.41 | 2.35 | / | / | 0.727 |  |  |  | 57.5 |  |  | Brigitta P |  | 3 | 3
2 | 0.50 | 4 | Valid | 2024-12-19 | 15:16 | 2024-12-19 | 14:40 | ERIKA |  | 0.90 | 0.87 | / | / | 0.293 |  |  |  | 51.0 |  |  | Brigitta P |  | 3 | 2
2 | 0.50 | 5 | Valid | 2024-12-19 | 15:16 | 2024-12-19 | 14:40 | ERIKA |  | 0.86 | 0.83 | / | / | 0.280 | 1.426 |  |  | 43.3 |  |  | Brigitta P |  | 3 | 2
2 | 0.50 | 6 | Valid | 2024-12-19 | 15:17 | 2024-12-19 | 14:40 | ERIKA |  | 0.80 | 0.85 | / | / | 0.285 | 1.372 |  |  | 47.3 |  |  | Brigitta P |  | 3 | 2
1 | 0.00 | 7 | Valid | 2024-12-19 | 15:17 | 2024-12-19 | 14:40 | ERIKA |  | 0.35 | 0.43 | / | / | 0.129 |  |  |  | 45.4 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 8 | Valid | 2024-12-19 | 15:17 | 2024-12-19 | 14:40 | ERIKA |  | 0.33 | 0.31 | / | / | 0.123 |  |  |  | 44.4 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 9 | Old A | 2024-12-19 | 15:18 | 2024-12-19 | 14:40 | ERIKA |  | 0.03 | 0.03 | / | / | 0.030 |  |  |  | 5.31 |  |  | Brigitta P |  | 3 | 1
2 | 0.50 | 10 | Old A | 2024-12-19 | 15:19 | 2024-12-19 | 14:40 | ERIKA |  | 0.52 | 0.52 | / | / | 0.180 |  |  |  | 5.24 |  |  | Brigitta P |  | 3 | 2
3 | 2.00 | 11 | Old A | 2024-12-19 | 15:19 | 2024-12-19 | 14:40 | ERIKA |  | 2.08 | 2.08 | / | / | 0.643 |  |  |  | 8.05 |  |  | Brigitta P |  | 3 | 3
3 | 2.00 | 12 | Old A | 2024-12-19 | 15:20 | 2024-12-19 | 14:40 | ERIKA |  | 2.08 | 2.08 | / | / | 0.640 |  |  |  | 7.31 |  |  | Brigitta P |  | 3 | 3
2 | 0.50 | 13 | Old A | 2024-12-19 | 15:20 | 2024-12-19 | 14:40 | ERIKA |  | 0.50 | 0.51 | / | / | 0.173 |  |  |  | 4.10 |  |  | Brigitta P |  | 3 | 3
2 | 0.50 | 14 | Valid | 2024-12-19 | 17:35 | 2024-12-19 | 14:40 | ERIKA |  | 0.68 | 0.67 | / | / | 0.227 |  |  |  | 20.9 | 98 |  | Brigitta P |  | 3 | 3
3 | 2.00 | 15 | Valid | 2024-12-19 | 17:35 | 2024-12-19 | 14:40 | ERIKA |  | 2.17 | 2.17 | / | / | 0.661 |  |  |  | 30.0 | 102 |  | Brigitta P |  | 3 | 3
1 | 0.00 | 16 | Valid | 2024-12-19 | 17:35 | 2024-12-19 | 14:40 | ERIKA |  | 0.25 | 0.24 | / | / | 0.097 |  |  |  | 27.4 | 98 |  | Brigitta P |  | 3 | 3
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0.85 mg/L | 3 | 6 | 0.85 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0.39 mg/L | 1 | 2 | 0.39 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
2.00 | 1.88 ÷ 2.12 | 0.00 | NO
0.00 | 0.00 ÷ 0.04 | 0.39 | NO
0.50 | 0.44 ÷ 0.56 | 0.85 | NO
Validation Date | by