## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
0962 | HI713-0 | CP-R29 | W 11/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2028-03-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-17 | 2025-03-19 | 2HEAD |  |  | 0752
[6 empty] | Expiration A | Expiration B | Expiration D
2027-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.44 | 0.56 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
3 | 2.00 | 1.88 | 2.12
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2025-03-17 | 08:47 | 2025-03-17 | 08:10 | ELENA |  | 0.53 | 0.52 | / | / | 0.183 |  |  |  | 6.30 |  |  | Kinga |  | 3 | 2 | 85439
3 | 2.00 | 2 | Old A | 2025-03-17 | 08:48 | 2025-03-17 | 08:10 | ELENA |  | 2.05 | 2.03 | / | / | 0.623 |  |  |  | 6.45 | 166 |  | Kinga |  | 3 | 3 | 85439
1 | 0.00 | 3 | Old A | 2025-03-17 | 08:49 | 2025-03-17 | 08:10 | ELENA |  | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 2.76 | 184 |  | Kinga |  | 3 | 1 | 85439
2 | 0.50 | 4 | P/Prod | 2025-03-17 | 08:53 | 2025-03-17 | 08:10 | ELENA | 2 | 0.52 | 0.51 | / | / | 0.180 | 1.617 |  |  | 8.23 | 162 |  | Kinga |  | 3 | 2 | 85439
2 | 0.50 | 5 | P/Prod | 2025-03-17 | 08:54 | 2025-03-17 | 08:10 | ELENA | 2 | 0.51 | 0.50 | / | / | 0.175 |  |  |  | 2.25 | 155 |  | Kinga |  | 3 | 2 | 85439
3 | 2.00 | 6 | P/Prod | 2025-03-17 | 08:56 | 2025-03-17 | 08:10 | ELENA | 2 | 2.08 | 2.12 | / | / | 0.521 | 1.530 |  |  | 2.03 | 162 |  | Kinga |  | 3 | 3 | 85439
3 | 2.00 | 7 | P/Prod | 2025-03-17 | 08:57 | 2025-03-17 | 08:10 | ELENA | 2 | 2.11 | 2.12 | / | / | 0.634 |  |  |  | 1.68 | 153 |  | Kinga |  | 3 | 3 | 85439
1 | 0.00 | 8 | P/Prod | 2025-03-17 | 09:01 | 2025-03-17 | 08:10 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.018 | 1.568 |  |  | 4.31 |  |  | Kinga |  | 3 | 1 | 85439
1 | 0.00 | 9 | P/Prod | 2025-03-17 | 09:01 | 2025-03-17 | 08:10 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.016 |  |  |  | 3.29 |  |  | Kinga |  | 3 | 1 | 85439
2 | 0.50 | 10 | Old A | 2025-03-18 | 08:21 | 2025-03-18 | 07:16 | ELENA | 2 | 0.56 | 0.56 | / | / | 0.195 |  |  |  | 17.8 |  |  | Kinga |  | 3 | 2 | 85439
3 | 2.00 | 11 | Old A | 2025-03-18 | 08:21 | 2025-03-18 | 07:16 | ELENA | 2 | 2.05 | 2.03 | / | / | 0.626 |  |  |  | 15.4 |  |  | Kinga |  | 3 | 3 | 85439
1 | 0.00 | 12 | Old A | 2025-03-18 | 08:23 | 2025-03-18 | 07:16 | ELENA | 2 | 0.02 | 0.02 | / | / | 0.028 |  |  |  | 12.2 |  |  | Kinga |  | 3 | 1 | 85439
2 | 0.50 | 13 | P/Prod | 2025-03-18 | 08:28 | 2025-03-18 | 07:16 | ELENA | 2 | 0.48 | 0.47 | / | / | 0.166 | 1.600 |  |  | 7.40 | 164 |  | Kinga |  | 3 | 2 | 85439
2 | 0.50 | 14 | P/Prod | 2025-03-18 | 08:29 | 2025-03-18 | 07:16 | ELENA | 2 | 0.50 | 0.49 | / | / | 0.172 |  |  |  | 10.8 | 173 |  | Kinga |  | 3 | 2 | 85439
3 | 2.00 | 15 | P/Prod | 2025-03-18 | 08:32 | 2025-03-18 | 07:16 | ELENA | 2 | 1.98 | 1.98 | / | / | 0.606 | 1.600 |  |  | 6.65 | 162 |  | Kinga |  | 3 | 3 | 85439
3 | 2.00 | 16 | P/Prod | 2025-03-18 | 08:33 | 2025-03-18 | 07:16 | ELENA | 2 | 2.00 | 2.00 | / | / | 0.611 |  |  |  | 4.88 | 185 |  | Kinga |  | 3 | 3 | 85439
1 | 0.00 | 17 | P/Prod | 2025-03-18 | 08:34 | 2025-03-18 | 07:16 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.010 | 1.570 |  |  | 3.34 | 166 |  | Kinga |  | 3 | 1 | 85439
1 | 0.00 | 18 | P/Prod | 2025-03-18 | 08:34 | 2025-03-18 | 07:16 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 3.31 | 160 |  | Kinga |  | 3 | 1 | 85439
2 | 0.50 | 19 | Old A | 2025-03-19 | 08:20 | 2025-03-19 | 07:15 | ELENA | 2 | 0.46 | 0.48 | / | / | 0.161 |  |  |  | 2.29 |  |  | Kinga |  | 3 | 2 | 85439
3 | 2.00 | 20 | Old A | 2025-03-19 | 08:21 | 2025-03-19 | 07:15 | ELENA | 2 | 1.94 | 1.94 | / | / | 0.594 |  |  |  | 1.56 |  |  | Kinga |  | 3 | 3 | 85439
1 | 0.00 | 21 | Old A | 2025-03-19 | 08:22 | 2025-03-19 | 07:15 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 3.23 |  |  | Kinga |  | 3 | 1 | 85439
2 | 0.50 | 22 | P/FINAL | 2025-03-19 | 08:28 | 2025-03-19 | 07:15 | ELENA | 2 | 0.45 | 0.45 | / | / | 0.159 |  |  |  | 3.82 | 163 |  | Kinga |  | 3 | 2 | 85439
2 | 0.50 | 23 | P/FINAL | 2025-03-19 | 08:29 | 2025-03-19 | 07:15 | ELENA | 2 | 0.46 | 0.46 | / | / | 0.161 | 1.504 |  |  | 3.16 | 140 |  | Kinga |  | 3 | 2 | 85439
3 | 2.00 | 24 | P/FINAL | 2025-03-19 | 08:30 | 2025-03-19 | 07:15 | ELENA | 2 | 1.94 | 1.94 | / | / | 0.594 |  |  |  | 1.67 | 170 |  | Kinga |  | 3 | 3 | 85439
3 | 2.00 | 25 | P/FINAL | 2025-03-19 | 08:32 | 2025-03-19 | 07:15 | ELENA | 2 | 1.97 | 1.95 | / | / | 0.603 | 1.504 |  |  | 1.80 | 176 |  | Kinga |  | 3 | 3 | 85439
1 | 0.00 | 26 | P/FINAL | 2025-03-19 | 08:33 | 2025-03-19 | 07:15 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 1.71 | 176 |  | Kinga |  | 3 | 1 | 85439
1 | 0.00 | 27 | P/FINAL | 2025-03-19 | 08:33 | 2025-03-19 | 07:15 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.002 | 1.472 |  |  | 1.62 | 172 |  | Kinga |  | 3 | 1 | 85439
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.48 mg/L | 6 | 12 | 0.48 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 2.02 mg/L | 6 | 12 | 2.02 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.50 | 0.44 ÷ 0.56 | 0.48 | YES
2.00 | 1.88 ÷ 2.12 | 2.02 | YES
Validation Date | by