## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
1086 | HI713-0 | CP-R29 | W 26/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2028-06-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-03 | 2025-07-07 | 2 HEAD |  |  | 0780
[6 empty] | Expiration A | Expiration B | Expiration D
2027-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CT0-775 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.44 | 0.56 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
1 | 0.00 | 0.00 | 0.04
3 | 2.00 | 1.88 | 2.12
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97713 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2025-07-03 | 12:46 | 2025-07-03 | 12:00 | GIORGIANA | 4 | 0.52 | 0.50 | / | / | 0.179 |  |  |  | 3.25 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 2 | Old A | 2025-07-03 | 12:46 | 2025-07-03 | 12:00 | GIORGIANA | 4 | 0.51 | 0.50 | / | / | 0.177 |  |  |  | 3.51 |  |  | Kinga |  | 3 | 2
1 | 0.00 | 3 | Old A | 2025-07-03 | 12:47 | 2025-07-03 | 12:00 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.012 |  |  |  | 1.30 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 4 | Old A | 2025-07-03 | 12:47 | 2025-07-03 | 12:00 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.015 |  |  |  | 1.63 |  |  | Kinga |  | 3 | 1
3 | 2.00 | 5 | Old A | 2025-07-03 | 12:48 | 2025-07-03 | 12:00 | GIORGIANA | 4 | 2.00 | 1.98 | / | / | 0.611 |  |  |  | 4.16 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 6 | P/FINAL | 2025-07-03 | 12:48 | 2025-07-03 | 12:00 | GIORGIANA | 4 | 2.01 | 1.99 | / | / | 0.614 |  |  |  | 4.18 | 134 |  | Kinga |  | 3 | 3
2 | 0.50 | 7 | P/FINAL | 2025-07-03 | 13:45 | 2025-07-03 | 12:00 | GIORGIANA | 2 | 0.54 | 0.54 | / | / | 0.185 |  |  |  | 4.11 | 149 |  | Kinga |  | 3 | 2
2 | 0.50 | 8 | P/FINAL | 2025-07-03 | 13:47 | 2025-07-03 | 12:00 | GIORGIANA | 2 | 0.53 | 0.50 | / | / | 0.172 | 1.594 |  |  | 4.09 | 159 |  | Kinga |  | 3 | 2
2 | 0.50 | 9 | P/FINAL | 2025-07-03 | 13:48 | 2025-07-03 | 12:00 | GIORGIANA | 2 | 0.56 | 0.55 | / | / | 0.192 |  |  |  | 5.58 | 158 |  | Kinga |  | 3 | 2
3 | 2.00 | 10 | P/FINAL | 2025-07-03 | 13:53 | 2025-07-03 | 12:00 | GIORGIANA | 2 | 2.01 | 2.01 | / | / | 0.615 |  |  |  | 4.39 | 150 |  | Kinga |  | 3 | 3
3 | 2.00 | 11 | P/FINAL | 2025-07-03 | 13:54 | 2025-07-03 | 12:00 | GIORGIANA | 2 | 2.02 | 2.00 | / | / | 0.617 | 1.580 |  |  | 4.59 | 148 |  | Kinga |  | 3 | 3
3 | 2.00 | 12 | P/FINAL | 2025-07-03 | 13:56 | 2025-07-03 | 12:00 | GIORGIANA | 2 | 2.01 | 2.01 | / | / | 0.618 |  |  |  | 4.38 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 13 | P/FINAL | 2025-07-03 | 13:59 | 2025-07-03 | 12:00 | GIORGIANA | 2 | 0.02 | 0.03 | / | / | 0.032 |  |  |  | 3.22 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 14 | P/FINAL | 2025-07-03 | 14:00 | 2025-07-03 | 12:00 | GIORGIANA | 2 | 0.04 | 0.04 | / | / | 0.035 | 1.655 |  |  | 3.34 |  |  | Kinga |  | 3 | 1
3 | 2.00 | 15 | P/FINAL | 2025-07-03 | 14:47 | 2025-07-03 | 14:18 | Roland |  | 1.97 | 1.96 | / | / | 0.602 |  |  |  | 4.72 | 186 |  | Kinga |  | 3 | 3
3 | 2.00 | 16 | P/FINAL | 2025-07-03 | 14:48 | 2025-07-03 | 14:18 | Roland |  | 1.98 | 1.95 | / | / | 0.606 | 1.626 |  |  | 4.43 | 178 |  | Kinga |  | 3 | 3
3 | 2.00 | 17 | P/FINAL | 2025-07-03 | 14:49 | 2025-07-03 | 14:18 | Roland |  | 2.04 | 1.99 | / | / | 0.608 |  |  |  | 5.15 | 175 |  | Kinga |  | 3 | 3
2 | 0.50 | 18 | P/FINAL | 2025-07-03 | 14:50 | 2025-07-03 | 14:18 | Roland |  | 0.48 | 0.47 | / | / | 0.168 |  |  |  | 3.32 | 164 |  | Kinga |  | 3 | 2
2 | 0.50 | 19 | P/FINAL | 2025-07-03 | 14:50 | 2025-07-03 | 14:18 | Roland |  | 0.48 | 0.47 | / | / | 0.166 | 1.575 |  |  | 3.29 | 170 |  | Kinga |  | 3 | 2
2 | 0.50 | 20 | P/FINAL | 2025-07-03 | 14:51 | 2025-07-03 | 14:18 | Roland |  | 0.49 | 0.48 | / | / | 0.171 |  |  |  | 3.74 | 175 |  | Kinga |  | 3 | 2
1 | 0.00 | 21 | P/FINAL | 2025-07-03 | 14:57 | 2025-07-03 | 14:18 | Roland |  | 0.01 | 0.02 | / | / | 0.029 | 1.575 |  |  | 3.14 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 22 | Old A | 2025-07-04 | 08:27 | 2025-07-04 | 06:51 | GIORGIANA |  | 0.49 | 0.46 | / | / | 0.169 |  |  |  | 6.00 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 23 | Old A | 2025-07-04 | 08:28 | 2025-07-04 | 06:51 | GIORGIANA |  | 0.49 | 0.48 | / | / | 0.170 |  |  |  | 3.56 |  |  | Kinga |  | 3 | 2
3 | 2.00 | 24 | Old A | 2025-07-04 | 08:31 | 2025-07-04 | 06:51 | GIORGIANA |  | 1.98 | 2.00 | / | / | 0.603 |  |  |  | 3.47 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 25 | Old A | 2025-07-04 | 08:31 | 2025-07-04 | 06:51 | GIORGIANA |  | 1.97 | 2.01 | / | / | 0.609 |  |  |  | 3.54 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 26 | Old A | 2025-07-04 | 08:34 | 2025-07-04 | 06:51 | GIORGIANA |  | 0.00 | 0.00 | / | / | 0.017 |  |  |  | 2.52 | 176 |  | Kinga |  | 3 | 1
1 | 0.00 | 27 | Old A | 2025-07-04 | 08:41 | 2025-07-04 | 06:51 | GIORGIANA |  | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 1.92 | 183 |  | Kinga |  | 3 | 1
2 | 0.50 | 28 | P/FINAL | 2025-07-04 | 08:43 | 2025-07-04 | 06:51 | GIORGIANA |  | 0.50 | 0.49 | / | / | 0.174 |  |  |  | 4.70 | 157 |  | Kinga |  | 3 | 2
2 | 0.50 | 29 | P/FINAL | 2025-07-04 | 08:43 | 2025-07-04 | 06:51 | GIORGIANA |  | 0.46 | 0.45 | / | / | 0.162 |  |  |  | 5.25 | 165 |  | Kinga |  | 3 | 2
2 | 0.50 | 30 | P/FINAL | 2025-07-04 | 08:44 | 2025-07-04 | 06:51 | GIORGIANA |  | 0.50 | 0.45 | / | / | 0.173 | 1.548 |  |  | 6.42 | 164 |  | Kinga |  | 3 | 2
3 | 2.00 | 31 | P/FINAL | 2025-07-04 | 08:51 | 2025-07-04 | 06:51 | GIORGIANA |  | 1.96 | 1.95 | / | / | 0.600 |  |  |  | 4.76 | 176 |  | Kinga |  | 3 | 3
3 | 2.00 | 32 | P/FINAL | 2025-07-04 | 08:51 | 2025-07-04 | 06:51 | GIORGIANA |  | 1.98 | 1.96 | / | / | 0.604 | 1.567 |  |  | 5.64 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 33 | P/FINAL | 2025-07-04 | 08:53 | 2025-07-04 | 06:51 | GIORGIANA |  | 1.96 | 1.94 | / | / | 0.600 |  |  |  | 5.01 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 34 | P/FINAL | 2025-07-04 | 08:56 | 2025-07-04 | 06:51 | GIORGIANA |  | 0.00 | 0.00 | / | / | 0.015 |  |  |  | 5.17 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 35 | P/FINAL | 2025-07-04 | 08:56 | 2025-07-04 | 06:51 | GIORGIANA |  | 0.00 | 0.00 | / | / | 0.010 | 1.533 |  |  | 3.69 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 36 | P/FINAL | 2025-07-04 | 15:32 | 2025-07-04 | 14:59 | ROLAND21749 |  | 0.52 | 0.53 | / | / | 0.179 |  |  |  | 7.30 | 167 |  | Kinga |  | 3 | 2
2 | 0.50 | 37 | P/FINAL | 2025-07-04 | 15:32 | 2025-07-04 | 14:59 | ROLAND21749 |  | 0.49 | 0.49 | / | / | 0.170 |  |  |  | 6.26 | 177 |  | Kinga |  | 3 | 2
2 | 0.50 | 38 | P/FINAL | 2025-07-04 | 15:33 | 2025-07-04 | 14:59 | ROLAND21749 |  | 0.50 | 0.50 | / | / | 0.172 | 1.606 |  |  | 6.09 | 175 |  | Kinga |  | 3 | 2
3 | 2.00 | 39 | P/FINAL | 2025-07-04 | 15:39 | 2025-07-04 | 14:59 | ROLAND |  | 1.93 | 1.94 | / | / | 0.592 |  |  |  | 6.74 | 171 |  | Kinga |  | 3 | 3
3 | 2.00 | 40 | P/FINAL | 2025-07-04 | 15:40 | 2025-07-04 | 14:59 | ROLAND |  | 1.99 | 2.01 | / | / | 0.609 |  |  |  | 6.86 | 161 |  | Kinga |  | 3 | 3
3 | 2.00 | 41 | P/FINAL | 2025-07-04 | 15:41 | 2025-07-04 | 14:59 | ROLAND |  | 1.95 | 1.98 | / | / | 0.598 | 1.654 |  |  | 5.00 | 175 |  | Kinga |  | 3 | 3
1 | 0.00 | 42 | P/FINAL | 2025-07-04 | 15:44 | 2025-07-04 | 14:59 | ROLAND |  | 0.00 | 0.00 | / | / | 0.09 |  |  |  | 4.39 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 43 | P/FINAL | 2025-07-04 | 15:44 | 2025-07-04 | 14:59 | ROLAND |  | 0.00 | 0.00 | / | / | 0.017 | 1.527 |  |  | 3.97 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 44 | Old A | 2025-07-07 | 09:23 | 2025-07-07 | 08:18 | ROLAND |  | 0.47 | 0.46 | / | / | 0.171 |  |  |  | 4.65 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 45 | Old A | 2025-07-07 | 09:24 | 2025-07-07 | 08:18 | ROLAND |  | 0.46 | 0.44 | / | / | 0.161 |  |  |  | 6.29 |  |  | Andrea V |  | 3 | 2
3 | 2.00 | 46 | Old A | 2025-07-07 | 09:24 | 2025-07-07 | 08:18 | ROLAND |  | 1.94 | 1.91 | / | / | 0.595 |  |  |  | 4.49 | 185 |  | Andrea V |  | 3 | 3
3 | 2.00 | 47 | Old A | 2025-07-07 | 09:25 | 2025-07-07 | 08:18 | ROLAND |  | 1.96 | 1.93 | / | / | 0.600 |  |  |  | 5.42 | 186 |  | Andrea V |  | 3 | 3
1 | 0.00 | 48 | Old A | 2025-07-07 | 09:26 | 2025-07-07 | 08:18 | ROLAND |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 4.03 | 187 |  | Andrea V |  | 3 | 1
2 | 0.50 | 49 | P/FINAL | 2025-07-07 | 09:26 | 2025-07-07 | 08:18 | ROLAND |  | 0.51 | 0.48 | / | / | 0.175 |  |  |  | 8.57 | 170 |  | Andrea V |  | 3 | 2
2 | 0.50 | 50 | P/FINAL | 2025-07-07 | 09:27 | 2025-07-07 | 08:18 | ROLAND |  | 0.49 | 0.46 | / | / | 0.171 | 1.861 |  |  | 7.72 | 187 |  | Andrea V |  | 3 | 2
2 | 0.50 | 51 | P/FINAL | 2025-07-07 | 09:27 | 2025-07-07 | 08:18 | ROLAND |  | 0.48 | 0.46 | / | / | 0.168 |  |  |  | 5.19 | 180 |  | Andrea V |  | 3 | 2
3 | 2.00 | 52 | P/FINAL | 2025-07-07 | 09:28 | 2025-07-07 | 08:18 | ROLAND |  | 1.98 | 1.94 | / | / | 0.606 |  |  |  | 5.19 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 53 | P/FINAL | 2025-07-07 | 09:28 | 2025-07-07 | 08:18 | ROLAND |  | 1.99 | 1.96 | / | / | 0.608 | 1.729 |  |  | 5.76 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 54 | P/FINAL | 2025-07-07 | 09:29 | 2025-07-07 | 08:18 | ROLAND |  | 1.92 | 1.89 | / | / | 0.588 |  |  |  | 5.28 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 55 | P/FINAL | 2025-07-07 | 09:30 | 2025-07-07 | 08:18 | ROLAND |  | 0.06 | 0.03 | / | / | 0.040 | 1.745 |  |  | 5.27 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 56 | P/FINAL | 2025-07-07 | 09:31 | 2025-07-07 | 08:18 | ROLAND |  | 0.03 | 0.03 | / | / | 0.023 |  |  |  | 7.29 |  |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 0.5 mg/L | 15 | 30 | 0.5 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.02 mg/L | 9 | 18 | 0.02 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
16 | 32 | 1.97 mg/L | 16 | 32 | 1.97 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.02 | YES
0.50 | 0.44 ÷ 0.56 | 0.50 | YES
2.00 | 1.88 ÷ 2.12 | 1.97 | YES
Validation Date | by