## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
1182 | HI713-0 | CP-R29 | W 41/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2028-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-08 | 2025-10-09 | 2 HEAD |  |  | 1086
[6 empty] | Expiration A | Expiration B | Expiration D
2028-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-830 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.04 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
2 | 0.50 | 0.44 | 0.56
3 | 2.00 | 1.88 | 2.12
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97713 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-10-08 | 14:32 | 2025-10-08 | 09:41 | ELENA |  | 0.00 | 0.00 | / | / | 0.021 |  |  |  | 5.47 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-10-08 | 14:39 | 2025-10-08 | 09:41 | ELENA |  | 0.00 | 0.00 | / | / | 0.013 |  |  |  | 5.75 |  |  | Andrea V |  | 3 | 1
2 | 0.50 | 3 | Old A | 2025-10-08 | 14:40 | 2025-10-08 | 09:41 | ELENA |  | 0.46 | 0.45 | / | / | 0.160 |  |  |  | 7.34 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 4 | Old A | 2025-10-08 | 14:40 | 2025-10-08 | 09:41 | ELENA |  | 0.47 | 0.47 | / | / | 0.165 |  |  |  | 4.86 |  |  | Andrea V |  | 3 | 2
3 | 2.00 | 5 | Old A | 2025-10-08 | 14:40 | 2025-10-08 | 09:41 | ELENA |  | 1.98 | 1.96 | / | / | 0.606 |  |  |  | 4.50 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 6 | Old A | 2025-10-08 | 14:41 | 2025-10-08 | 09:41 | ELENA |  | 1.90 | 1.88 | / | / | 0.582 |  |  |  | 7.33 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 7 | P/FINAL | 2025-10-08 | 14:43 | 2025-10-08 | 09:41 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.008 | 1.340 |  |  | 0.61 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 8 | P/FINAL | 2025-10-08 | 14:43 | 2025-10-08 | 09:41 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.85 |  |  | Andrea V |  | 3 | 1
2 | 0.50 | 9 | P/FINAL | 2025-10-08 | 14:44 | 2025-10-08 | 09:41 | ELENA | 2 | 0.44 | 0.45 | / | / | 0.155 | 1.450 |  |  | 0.69 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 10 | P/FINAL | 2025-10-08 | 14:44 | 2025-10-08 | 09:41 | ELENA | 2 | 0.42 | 0.42 | / | / | 0.148 |  |  |  | 0.48 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 11 | P/FINAL | 2025-10-08 | 14:45 | 2025-10-08 | 09:41 | ELENA | 2 | 0.44 | 0.44 | / | / | 0.154 |  |  |  | 0.63 |  |  | Andrea V |  | 3 | 2
3 | 2.00 | 12 | P/FINAL | 2025-10-08 | 14:45 | 2025-10-08 | 09:41 | ELENA | 2 | 1.98 | 1.97 | / | / | 0.604 | 1.381 |  |  | 0.73 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 13 | P/FINAL | 2025-10-08 | 14:45 | 2025-10-08 | 09:41 | ELENA | 2 | 1.93 | 1.94 | / | / | 0.590 |  |  |  | 1.02 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 14 | P/FINAL | 2025-10-08 | 14:46 | 2025-10-08 | 09:41 | ELENA | 2 | 1.92 | 1.95 | / | / | 0.593 |  |  |  | 0.68 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 15 | P/FINAL | 2025-10-08 | 16:01 | 2025-10-08 | 14:35 | Roland | 2 | 1.90 | 1.89 | / | / | 0.583 |  |  |  | 0.59 | 174 |  | Andrea V |  | 3 | 3 | 122727
3 | 2.00 | 16 | P/FINAL | 2025-10-08 | 16:02 | 2025-10-08 | 14:35 | Roland | 2 | 1.93 | 1.94 | / | / | 0.596 | 1.381 |  |  | 0.57 | 169 |  | Andrea V |  | 3 | 3 | 122727
3 | 2.00 | 17 | P/FINAL | 2025-10-08 | 16:03 | 2025-10-08 | 14:35 | Roland | 2 | 1.92 | 1.91 | / | / | 0.589 |  |  |  | 0.44 | 180 |  | Andrea V |  | 3 | 3 | 122727
2 | 0.50 | 18 | P/FINAL | 2025-10-08 | 16:05 | 2025-10-08 | 14:35 | Roland | 2 | 0.41 | 0.40 | / | / | 0.147 |  |  |  | 0.56 | 179 |  | Andrea V |  | 3 | 2 | 122727
2 | 0.50 | 19 | P/FINAL | 2025-10-08 | 16:05 | 2025-10-08 | 14:35 | Roland | 2 | 0.41 | 0.40 | / | / | 0.146 | 1.371 |  |  | 0.42 | 176 |  | Andrea V |  | 3 | 2 | 122727
2 | 0.50 | 20 | P/FINAL | 2025-10-08 | 16:06 | 2025-10-08 | 14:35 | Roland | 2 | 0.41 | 0.40 | / | / | 0.147 |  |  |  | 0.66 |  |  | Andrea V |  | 3 | 2 | 122727
1 | 0.00 | 21 | P/FINAL | 2025-10-08 | 16:07 | 2025-10-08 | 14:35 | Roland | 2 | 0.00 | 0.00 | / | / | 0.001 | 1.407 |  |  | 0.97 | 186 |  | Andrea V |  | 3 | 1 | 122727
1 | 0.00 | 22 | P/FINAL | 2025-10-08 | 16:07 | 2025-10-08 | 14:35 | Roland | 2 | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 1.21 |  |  | Andrea V |  | 3 | 1 | 122727
3 | 2.00 | 23 | P/FINAL | 2025-10-09 | 14:01 | 2025-10-09 | 07:06 | ELENA | 2 | 2.10 | 2.08 | / | / | 0.640 |  |  |  | 3.31 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 24 | P/FINAL | 2025-10-09 | 14:02 | 2025-10-09 | 07:06 | ELENA | 2 | 2.10 | 2.09 | / | / | 0.641 |  |  |  | 4.62 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 25 | P/FINAL | 2025-10-09 | 14:03 | 2025-10-09 | 07:06 | ELENA | 2 | 2.14 | 2.13 | / | / | 0.650 | 1.347 |  |  | 2.56 |  |  | Andrea V |  | 3 | 3
2 | 0.50 | 26 | P/FINAL | 2025-10-09 | 14:05 | 2025-10-09 | 07:06 | ELENA | 2 | 0.47 | 0.46 | / | / | 0.163 |  |  |  | 0.88 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 27 | P/FINAL | 2025-10-09 | 14:06 | 2025-10-09 | 07:06 | ELENA | 2 | 0.44 | 0.45 | / | / | 0.156 |  |  |  | 0.46 | 166 |  | Andrea V |  | 3 | 2
2 | 0.50 | 28 | P/FINAL | 2025-10-09 | 14:07 | 2025-10-09 | 07:06 | ELENA | 2 | 0.45 | 0.45 | / | / | 0.157 | 1.324 |  |  | 0.90 | 176 |  | Andrea V |  | 3 | 2
3 | 2.00 | 29 | P/FINAL | 2025-10-09 | 14:12 | 2025-10-09 | 07:06 | ELENA | 2 | 1.96 | 1.94 | / | / | 0.599 |  |  |  | 0.88 | 172 |  | Andrea V |  | 3 | 3
1 | 0.00 | 30 | P/FINAL | 2025-10-09 | 14:12 | 2025-10-09 | 07:06 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.69 | 173 |  | Andrea V |  | 3 | 1
1 | 0.00 | 31 | P/FINAL | 2025-10-09 | 14:13 | 2025-10-09 | 07:06 | ELENA | 2 | 0.00 | 0.00 | / | / | -0.001 | 1.299 |  |  | 0.60 | 177 |  | Andrea V |  | 3 | 1
2 | 0.50 | 32 | P/FINAL | 2025-10-09 | 14:18 | 2025-10-09 | 07:06 | ELENA | 2 | 0.45 | 0.45 | / | / | 0.157 |  |  |  | 1.06 | 179 |  | Andrea V |  | 3 | 2
2 | 0.50 | 33 | Old A | 2025-10-09 | 14:20 | 2025-10-09 | 07:06 | ELENA | 2 | 0.46 | 0.47 | / | / | 0.160 |  |  |  | 4.86 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 34 | Old A | 2025-10-09 | 14:20 | 2025-10-09 | 07:06 | ELENA | 2 | 0.49 | 0.49 | / | / | 0.169 |  |  |  | 4.51 |  |  | Andrea V |  | 3 | 2
1 | 0.00 | 35 | Old A | 2025-10-09 | 14:21 | 2025-10-09 | 07:06 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 3.04 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 36 | Old A | 2025-10-09 | 14:22 | 2025-10-09 | 07:06 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 3.13 |  |  | Andrea V |  | 3 | 1
3 | 2.00 | 37 | Old A | 2025-10-09 | 14:22 | 2025-10-09 | 07:06 | ELENA | 2 | 1.98 | 1.97 | / | / | 0.606 |  |  |  | 4.19 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 38 | Old A | 2025-10-09 | 14:23 | 2025-10-09 | 07:06 | ELENA | 2 | 1.94 | 1.92 | / | / | 0.593 |  |  |  | 3.35 |  |  | Andrea V |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0.43 mg/L | 8 | 16 | 0.44 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 1.99 mg/L | 10 | 20 | 1.99 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.50 | 0.44 ÷ 0.56 | 0.44 | YES
2.00 | 1.88 ÷ 2.12 | 1.99 | YES
Validation Date | by