## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
1230 | HI713-0 | CP-R29 | W 45/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2028-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-12 | 2025-11-12 | 2 HEAD |  |  | 0876
[6 empty] | Expiration A | Expiration B | Expiration D
2027-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 2.00 | 1.88 | 2.12 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
2 | 0.50 | 0.44 | 0.56
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97713 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 2.00 | 1 | Old A | 2025-11-12 | 08:25 | 2025-11-11 | 20:03 | ELENA | 2 | 2.02 | 2.01 | / | / | 0.617 |  |  |  | 15.4 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 2 | Old A | 2025-11-12 | 08:26 | 2025-11-11 | 20:03 | ELENA | 2 | 2.04 | 2.03 | / | / | 0.623 |  |  |  | 15.6 |  |  | Kinga |  | 3 | 3
2 | 0.50 | 3 | Old A | 2025-11-12 | 08:27 | 2025-11-11 | 20:03 | ELENA | 2 | 0.55 | 0.55 | / | / | 0.188 |  |  |  | 17.8 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 4 | Old A | 2025-11-12 | 08:28 | 2025-11-11 | 20:03 | ELENA | 2 | 0.54 | 0.53 | / | / | 0.185 |  |  |  | 16.5 |  |  | Kinga |  | 3 | 2
1 | 0.00 | 5 | Old A | 2025-11-12 | 08:28 | 2025-11-11 | 20:03 | ELENA | 2 | 0.00 | 0.02 | / | / | 0.021 |  |  |  | 7.27 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 6 | Old A | 2025-11-12 | 08:29 | 2025-11-11 | 20:03 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.020 |  |  |  | 7.18 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 7 | P/FINAL | 2025-11-12 | 08:35 | 2025-11-11 | 20:03 | ELENA | 2 | 0.44 | 0.45 | / | / | 0.156 |  |  |  | 2.05 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 8 | P/FINAL | 2025-11-12 | 08:35 | 2025-11-11 | 20:03 | ELENA | 2 | 0.46 | 0.46 | / | / | 0.161 | 1.451 |  |  | 2.15 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 9 | P/FINAL | 2025-11-12 | 08:36 | 2025-11-11 | 20:03 | ELENA | 2 | 0.45 | 0.46 | / | / | 0.159 |  |  |  | 1.47 | 165 |  | Kinga |  | 3 | 2
1 | 0.00 | 10 | P/FINAL | 2025-11-12 | 08:37 | 2025-11-11 | 20:03 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.005 | 1.409 |  |  | 1.10 | 168 |  | Kinga |  | 3 | 1
1 | 0.00 | 11 | P/FINAL | 2025-11-12 | 08:38 | 2025-11-11 | 20:03 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 1.45 | 169 |  | Kinga |  | 3 | 1
3 | 2.00 | 12 | P/FINAL | 2025-11-12 | 08:39 | 2025-11-11 | 20:03 | ELENA | 2 | 1.95 | 1.97 | / | / | 0.598 |  |  |  | 1.49 | 153 |  | Kinga |  | 3 | 3
3 | 2.00 | 13 | P/FINAL | 2025-11-12 | 08:40 | 2025-11-11 | 20:03 | ELENA | 2 | 1.98 | 1.99 | / | / | 0.604 |  |  |  | 1.51 | 181 |  | Kinga |  | 3 | 3
3 | 2.00 | 14 | P/FINAL | 2025-11-12 | 08:40 | 2025-11-11 | 20:03 | ELENA | 2 | 2.00 | 2.02 | / | / | 0.609 | 1.437 |  |  | 1.55 | 179 |  | Kinga |  | 3 | 3
3 | 2.00 | 15 | P/FINAL | 2025-11-12 | 08:53 | 2025-11-12 | 08:09 | ROLAND | 2 | 1.93 | 1.94 | / | / | 0.591 |  |  |  | 1.15 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 16 | P/FINAL | 2025-11-12 | 08:54 | 2025-11-12 | 08:09 | ROLAND | 2 | 1.97 | 1.96 | / | / | 0.602 | 1.388 |  |  | 1.49 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 17 | P/FINAL | 2025-11-12 | 08:54 | 2025-11-12 | 08:09 | ROLAND | 2 | 1.99 | 2.00 | / | / | 0.604 |  |  |  | 1.51 | 160 |  | Kinga |  | 3 | 3
2 | 0.50 | 18 | P/FINAL | 2025-11-12 | 08:55 | 2025-11-12 | 08:09 | ROLAND | 2 | 0.44 | 0.44 | / | / | 0.153 |  |  |  | 0.81 | 197 |  | Kinga |  | 3 | 2
2 | 0.50 | 19 | P/FINAL | 2025-11-12 | 08:56 | 2025-11-12 | 08:09 | ROLAND | 2 | 0.50 | 0.49 | / | / | 0.172 | 1.302 |  |  | 1.38 | 175 |  | Kinga |  | 3 | 2
2 | 0.50 | 20 | P/FINAL | 2025-11-12 | 08:57 | 2025-11-12 | 08:09 | ROLAND | 2 | 0.47 | 0.49 | / | / | 0.168 |  |  |  | 1.15 | 167 |  | Kinga |  | 3 | 2
1 | 0.00 | 21 | P/FINAL | 2025-11-12 | 08:57 | 2025-11-12 | 08:09 | ROLAND | 2 | 0.01 | 0.02 | / | / | 0.025 |  |  |  | 1.10 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 22 | P/FINAL | 2025-11-12 | 08:58 | 2025-11-12 | 08:09 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.006 | 1.270 |  |  | 0.97 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 23 | P/FINAL | 2025-11-12 | 14:33 | 2025-11-12 | 14:10 | ELENA | 2 | 0.44 | 0.45 | / | / | 0.154 | 1.426 |  |  | 1.83 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 24 | P/FINAL | 2025-11-12 | 14:34 | 2025-11-12 | 14:10 | ELENA | 2 | 0.45 | 0.46 | / | / | 0.158 |  |  |  | 4.61 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 25 | P/FINAL | 2025-11-12 | 14:35 | 2025-11-12 | 14:10 | ELENA | 2 | 0.44 | 0.45 | / | / | 0.154 |  |  |  | 1.97 |  |  | Kinga |  | 3 | 2
3 | 2.00 | 26 | P/FINAL | 2025-11-12 | 14:36 | 2025-11-12 | 14:10 | ELENA | 2 | 1.95 | 1.94 | / | / | 0.597 |  |  |  | 1.54 | 217 |  | Kinga |  | 3 | 3
3 | 2.00 | 27 | P/FINAL | 2025-11-12 | 14:37 | 2025-11-12 | 14:10 | ELENA | 2 | 1.89 | 1.88 | / | / | 0.580 | 1.662 |  |  | 1.53 | 222 |  | Kinga |  | 3 | 3
3 | 2.00 | 28 | P/FINAL | 2025-11-12 | 14:37 | 2025-11-12 | 14:10 | ELENA | 2 | 1.97 | 1.94 | / | / | 0.602 |  |  |  | 1.52 | 158 |  | Kinga |  | 3 | 3
3 | 2.00 | 29 | P/FINAL | 2025-11-12 | 14:38 | 2025-11-12 | 14:10 | ELENA | 2 | 1.97 | 1.94 | / | / | 0.602 |  |  |  | 1.97 | 187 |  | Kinga |  | 3 | 3
1 | 0.00 | 30 | P/FINAL | 2025-11-12 | 14:41 | 2025-11-12 | 14:10 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 2.47 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 31 | P/FINAL | 2025-11-12 | 14:42 | 2025-11-12 | 14:10 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.013 | 1.440 |  |  | 1.36 |  |  | Kinga |  | 3 | 1
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 1.96 mg/L | 10 | 20 | 1.96 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.46 mg/L | 9 | 18 | 0.46 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.50 | 0.44 ÷ 0.56 | 0.46 | YES
2.00 | 1.88 ÷ 2.12 | 1.96 | YES
Validation Date | by