## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
1086 | HI7134-0 | CP-R29 | W 26/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2028-06-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-07 | 2025-07-09 | 2 HEAD |  |  | 0524
[6 empty] | Expiration A | Expiration B | Expiration D
2027-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97713 | CTO-861
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.04 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
3 | 2.00 | 1.88 | 2.12
2 | 0.50 | 0.44 | 0.56
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97713 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-07-07 | 14:15 | 2025-07-07 | 12:27 | ROLAND |  | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 1.40 |  |  | Kinga |  | 3 | 1 | 21749
1 | 0.00 | 2 | Old A | 2025-07-07 | 14:16 | 2025-07-07 | 12:27 | ROLAND |  | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 0.010 |  |  | Kinga |  | 3 | 1 | 21749
3 | 2.00 | 3 | P/FINAL | 2025-07-07 | 14:18 | 2025-07-07 | 12:27 | ROLAND |  | 1.89 | 1.89 | / | / | 0.579 |  |  |  | 2.02 |  |  | Kinga |  | 3 | 3 | 21749
1 | 0.00 | 4 | P/FINAL | 2025-07-07 | 14:28 | 2025-07-07 | 12:27 | ROLAND |  | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 3.93 |  |  | Kinga |  | 3 | 1 | 21749
1 | 0.00 | 5 | P/FINAL | 2025-07-07 | 14:29 | 2025-07-07 | 12:27 | ROLAND |  | 0.00 | 0.00 | / | / | 0.006 | 1.589 |  |  | 3.42 |  |  | Kinga |  | 3 | 1 | 21749
3 | 2.00 | 6 | P/FINAL | 2025-07-07 | 14:36 | 2025-07-07 | 12:27 | ROLAND |  | 1.95 | 1.95 | / | / | 0.596 |  |  |  | 4.28 | 154 |  | Kinga |  | 3 | 3 | 21749
3 | 2.00 | 7 | P/FINAL | 2025-07-07 | 14:36 | 2025-07-07 | 12:27 | ROLAND |  | 1.94 | 1.94 | / | / | 0.594 | 1.557 |  |  | 4.27 | 164 |  | Kinga |  | 3 | 3 | 21749
3 | 2.00 | 8 | P/FINAL | 2025-07-07 | 14:39 | 2025-07-07 | 12:27 | ROLAND |  | 1.93 | 1.94 | / | / | 0.590 |  |  |  | 4.07 | 157 |  | Kinga |  | 3 | 3 | 21749
2 | 0.50 | 9 | P/FINAL | 2025-07-07 | 14:49 | 2025-07-07 | 12:27 | ROLAND |  | 0.45 | 0.46 | / | / | 0.159 | 1.552 |  |  | 4.51 | 150 |  | Kinga |  | 3 | 2 | 21749
2 | 0.50 | 10 | P/FINAL | 2025-07-07 | 14:50 | 2025-07-07 | 12:27 | ROLAND |  | 0.44 | 0.45 | / | / | 0.156 |  |  |  | 3.82 | 152 |  | Kinga |  | 3 | 2 | 21749
2 | 0.50 | 11 | P/FINAL | 2025-07-07 | 14:53 | 2025-07-07 | 12:27 | ROLAND |  | 0.45 | 0.45 | / | / | 0.158 |  |  |  | 3.90 | 142 |  | Kinga |  | 3 | 2 | 21749
2 | 0.50 | 12 | Old A | 2025-07-07 | 14:58 | 2025-07-07 | 12:27 | ROLAND |  | 0.45 | 0.44 | / | / | 0.159 | 1.557 |  |  | 3.68 |  |  | Kinga |  | 3 | 2 | 21749
2 | 0.50 | 13 | Old A | 2025-07-07 | 14:59 | 2025-07-07 | 12:27 | ROLAND |  | 0.44 | 0.44 | / | / | 0.152 |  |  |  | 2.94 |  |  | Kinga |  | 3 | 2 | 21749
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 1.93 mg/L | 4 | 8 | 1.93 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.45 mg/L | 3 | 6 | 0.45 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.50 | 0.44 ÷ 0.56 | 0.45 | YES
2.00 | 1.88 ÷ 2.12 | 1.93 | YES
Validation Date | by