## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
1222 | HI7134-0 | CP-R29 | W 44/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2028-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-03 | 2025-11-03 | 2 HEAD |  |  | 1086
[6 empty] | Expiration A | Expiration B | Expiration D
2028-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.44 | 0.56 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
3 | 2.00 | 1.88 | 2.12
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2025-11-03 | 11:05 | 2025-11-03 | 09:41 | ELENA |  | 0.55 | 0.56 | / | / | 0.189 |  |  |  | 20.8 |  |  | Kinga |  | 3 | 2 | 22345
2 | 0.50 | 2 | 2 | 2025-11-03 | 11:07 | 2025-11-03 | 09:41 | ELENA |  | 0.56 | 0.53 | / | / | 0.182 |  |  |  | 12.1 |  |  | Kinga |  | 3 | 2 | 22345
3 | 2.00 | 3 | Old A | 2025-11-03 | 11:08 | 2025-11-03 | 09:41 | ELENA |  | 1.95 | 1.95 | / | / | 0.596 |  |  |  | 8.00 |  |  | Kinga |  | 3 | 3 | 22345
3 | 2.00 | 4 | Old A | 2025-11-03 | 11:08 | 2025-11-03 | 09:41 | ELENA |  | 2.01 | 1.99 | / | / | 0.613 |  |  |  | 9.88 |  |  | Kinga |  | 3 | 3 | 22345
1 | 0.00 | 5 | Old A | 2025-11-03 | 11:09 | 2025-11-03 | 09:41 | ELENA |  | 0.00 | 0.00 | / | / | 0.020 |  |  |  | 6.48 |  |  | Kinga |  | 3 | 1 | 22345
1 | 0.00 | 6 | Old A | 2025-11-03 | 11:10 | 2025-11-03 | 09:41 | ELENA |  | 0.01 | 0.00 | / | / | 0.025 |  |  |  | 1.00 |  |  | Kinga |  | 3 | 1 | 22345
1 | 0.00 | 7 | P/FINAL | 2025-11-03 | 11:11 | 2025-11-03 | 09:41 | ELENA |  | 0.00 | 0.00 | / | / | 0.018 | 1.356 |  |  | 6.34 |  |  | Kinga |  | 3 | 1 | 22345
1 | 0.00 | 8 | P/FINAL | 2025-11-03 | 11:11 | 2025-11-03 | 09:41 | ELENA |  | 0.02 | 0.00 | / | / | 0.027 |  |  |  | 6.98 |  |  | Kinga |  | 3 | 1 | 22345
2 | 0.50 | 9 | P/FINAL | 2025-11-03 | 11:17 | 2025-11-03 | 09:41 | ELENA |  | 0.46 | 0.45 | / | / | 0.161 |  |  |  | 2.90 |  |  | Kinga |  | 3 | 2 | 22345
2 | 0.50 | 10 | P/FINAL | 2025-11-03 | 11:18 | 2025-11-03 | 09:41 | ELENA |  | 0.48 | 0.47 | / | / | 0.166 | 1.423 |  |  | 3.35 | 170 |  | Kinga |  | 3 | 2 | 22345
2 | 0.50 | 11 | P/FINAL | 2025-11-03 | 11:19 | 2025-11-03 | 09:41 | ELENA |  | 0.44 | 0.46 | / | / | 0.156 |  |  |  | 3.02 | 174 |  | Kinga |  | 3 | 2 | 22345
3 | 2.00 | 12 | P/FINAL | 2025-11-03 | 11:21 | 2025-11-03 | 09:41 | ELENA |  | 1.95 | 1.95 | / | / | 0.597 |  |  |  | 1.40 | 186 |  | Kinga |  | 3 | 3 | 22345
3 | 2.00 | 13 | P/FINAL | 2025-11-03 | 11:22 | 2025-11-03 | 09:41 | ELENA |  | 1.98 | 1.96 | / | / | 0.605 |  |  |  | 1.39 | 173 |  | Kinga |  | 3 | 3 | 22345
3 | 2.00 | 14 | P/FINAL | 2025-11-03 | 11:22 | 2025-11-03 | 09:41 | ELENA |  | 1.94 | 1.95 | / | / | 0.595 | 1.383 |  |  | 1.74 | 170 |  | Kinga |  | 3 | 3 | 22345
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.46 mg/L | 3 | 6 | 0.46 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.96 mg/L | 3 | 6 | 1.96 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.01 mg/L | 2 | 4 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.01 | YES
0.50 | 0.44 ÷ 0.56 | 0.46 | YES
2.00 | 1.88 ÷ 2.12 | 1.96 | YES
Validation Date | by
2025-11-03 | Eugenia