## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
0718 | HI93713-0 | CP-R29 | W40/1_2024 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
Erika | 2024-10-07 | 2024-10-08 | 2HEAD |  |  | 0660
[6 empty] | Expiration A | Expiration B | Expiration D
2027-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.04 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
2 | 0.50 | 0.44 | 0.56
3 | 2.00 | 1.88 | 2.12
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97713 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Valid | 2024-10-01 | 14:19 | 2024-10-01 | 13:41 | Erika |  | 0.00 | 0.00 | / | / | [7 empty] | Brigitta P |  | 3 | 1
2 | 0.50 | 2 | Old A | 2024-10-01 | 14:28 | 2024-10-01 | 13:41 | Erika |  | 0.45 | 0.44 | / | / | 0.157 | 1.391 | [5 empty] | Brigitta P |  | 3 | 2
2 | 0.50 | 3 | Old A | 2024-10-01 | 14:31 | 2024-10-01 | 13:41 | Erika |  | 0.44 | 0.43 | / | / | 0.154 | [6 empty] | Brigitta P |  | 3 | 2
3 | 2.00 | 4 | Old A | 2024-10-01 | 14:40 | 2024-10-01 | 13:41 | Erika |  | 1.95 | 1.94 | / | / | 0.596 | 1.386 | [5 empty] | Brigitta P |  | 3 | 3
3 | 2.00 | 5 | Old A | 2024-10-01 | 14:41 | 2024-10-01 | 13:41 | Erika |  | 1.94 | 1.94 | / | / | 0.594 | [6 empty] | Brigitta P |  | 3 | 3
2 | 0.50 | 6 | Valid | 2024-10-01 | 14:49 | 2024-10-01 | 13:41 | Erika |  | 0.47 | 0.46 | / | / | 0.163 | 1.355 | [5 empty] | Brigitta P |  | 3 | 2
2 | 0.50 | 7 | Valid | 2024-10-01 | 14:53 | 2024-10-01 | 13:41 | Erika |  | 0.47 | 0.46 | / | / | 0.163 | [6 empty] | Brigitta P |  | 3 | 2
2 | 0.50 | 8 | Valid | 2024-10-01 | 14:55 | 2024-10-01 | 13:41 | Erika |  | 0.47 | 0.46 | / | / | 0.163 | [6 empty] | Brigitta P |  | 3 | 2
3 | 2.00 | 9 | Valid | 2024-10-01 | 15:02 | 2024-10-01 | 13:41 | Erika |  | 1.96 | 1.95 | / | / | 0.601 | 1.346 | [5 empty] | Brigitta P |  | 3 | 3
3 | 2.00 | 10 | Valid | 2024-10-01 | 15:05 | 2024-10-01 | 13:41 | Erika |  | 1.97 | 1.95 | / | / | 0.602 | [6 empty] | Brigitta P |  | 3 | 3
3 | 2.00 | 11 | Valid | 2024-10-01 | 15:09 | 2024-10-01 | 13:41 | Erika |  | 1.97 | 1.96 | / | / | 0.602 | [6 empty] | Brigitta P |  | 3 | 3
1 | 0.00 | 12 | Valid | 2024-10-01 | 15:11 | 2024-10-01 | 13:41 | Erika |  | 0.00 | 0.00 | / | / | 0.011 | 1.356 | [5 empty] | Brigitta P |  | 3 | 1
1 | 0.00 | 13 | P/Final | 2024-10-07 | 09:30 | 2024-10-07 | 06:56 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.028 |  |  |  | 3.74 |  |  | Brigitta P |  | 3 | 1
3 | 2.00 | 14 | P/Final | 2024-10-07 | 09:32 | 2024-10-07 | 06:56 | ELENA | 2 | 1.99 | 2.00 | / | / | 0.609 |  |  |  | 4.19 |  |  | Brigitta P |  | 3 | 3
3 | 2.00 | 15 | P/Final | 2024-10-07 | 9:30 | 2024-10-07 | 06:56 | ELENA | 2 | 1.99 | 1.98 | / | / | 0.609 |  |  |  | 4.14 |  |  | Brigitta P |  | 3 | 3
2 | 0.50 | 16 | P/Final | 2024-10-07 | 9:30 | 2024-10-07 | 06:56 | ELENA | 2 | 0.45 | 0.46 | / | / | 0.157 |  |  |  | 3.56 |  |  | Brigitta P |  | 3 | 3
2 | 0.50 | 17 | P/Final | 2024-10-07 | 9:30 | 2024-10-07 | 06:56 | ELENA | 2 | 0.49 | 0.55 | / | / | 0.171 |  |  |  | 3.86 |  |  | Brigitta P |  | 3 | 3
2 | 0.50 | 18 | P/Final | 2024-10-07 | 16:04 | 2024-10-07 | 15:15 | ROLI | 2 | 0.49 | 0.47 | / | / | 0.169 |  |  |  | 3.59 |  |  | Brigitta P |  | 3 | 2
2 | 0.50 | 19 | P/Final | 2024-10-07 | 16:04 | 2024-10-07 | 15:15 | ROLI | 2 | 0.51 | 0.47 | / | / | 0.175 |  |  |  | 3.47 |  |  | Brigitta P |  | 3 | 2
3 | 2.00 | 20 | P/Final | 2024-10-07 | 16:05 | 2024-10-07 | 15:15 | ROLI | 2 | 2.01 | 1.99 | / | / | 0.615 |  |  |  | 4.66 |  |  | Brigitta P |  | 3 | 3
3 | 2.00 | 21 | P/Final | 2024-10-07 | 16:06 | 2024-10-07 | 15:15 | ROLI | 2 | 2.01 | 1.99 | / | / | 0.613 |  |  |  | 4.35 |  |  | Brigitta P |  | 3 | 3
3 | 2.00 | 22 | Old A | 2024-10-07 | 16:13 | 2024-10-07 | 15:15 | ROLI | 2 | 1.90 | 1.90 | / | / | 0.583 |  |  |  | 1.49 |  |  | Brigitta P |  | 3 | 3
3 | 2.00 | 23 | Old A | 2024-10-07 | 16:14 | 2024-10-07 | 15:15 | ROLI | 2 | 1.95 | 1.96 | / | / | 0.596 |  |  |  | 2.05 |  |  | Brigitta P |  | 3 | 3
2 | 0.50 | 24 | P/Final | 2024-10-08 | 09:28 | 2024-10-08 | 07:20 | ELENA | 2 | 0.51 | 0.49 | / | / | 0.175 |  |  |  | 3.60 |  |  | Kinga |  | 3 | 2 | 85943
2 | 0.50 | 25 | P/Final | 2024-10-08 | 09:29 | 2024-10-08 | 07:20 | ELENA | 2 | 0.56 | 0.56 | / | / | 0.191 |  |  |  | 3.56 |  |  | Kinga |  | 3 | 2 | 85943
3 | 2.00 | 26 | P/Final | 2024-10-08 | 09:31 | 2024-10-08 | 07:20 | ELENA | 2 | 2.04 | 2.04 | / | / | 0.623 |  |  |  | 4.49 |  |  | Kinga |  | 3 | 3 | 85943
3 | 2.00 | 27 | P/Final | 2024-10-08 | 09:31 | 2024-10-08 | 07:20 | ELENA | 2 | 2.00 | 2.02 | / | / | 0.612 |  |  |  | 4.47 |  |  | Kinga |  | 3 | 3 | 85943
2 | 0.50 | 28 | Old B | 2024-10-08 | 09:41 | 2024-10-08 | 07:20 | ELENA | 2 | 0.54 | 0.53 | / | / | 0.184 |  |  |  | 4.91 |  |  | Kinga |  | 3 | 2 | 85943
2 | 0.50 | 29 | Old B | 2024-10-08 | 09:42 | 2024-10-08 | 07:20 | ELENA | 2 | 0.49 | 0.50 | / | / | 0.171 |  |  |  | 4.98 |  |  | Kinga |  | 3 | 2 | 85943
3 | 2.00 | 30 | Old B | 2024-10-08 | 09:44 | 2024-10-08 | 07:20 | ELENA | 2 | 2.01 | 2.01 | / | / | 0.615 |  |  |  | 5.77 |  |  | Kinga |  | 3 | 3 | 85943
3 | 2.00 | 31 | Old B | 2024-10-08 | 09:45 | 2024-10-08 | 07:20 | ELENA | 2 | 2.04 | 2.01 | / | / | 0.624 |  |  |  | 5.51 |  |  | Kinga |  | 3 | 3 | 85943
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 2 | 0 mg/L | 1 | 2 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.5 mg/L | 6 | 12 | 0.5 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 2.01 mg/L | 6 | 12 | 2.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.50 | 0.44 ÷ 0.56 | 0.50 | YES
2.00 | 1.88 ÷ 2.12 | 2.01 | YES
Validation Date | by