## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
0934 | HI93713-0 | CP-R29 | W 08/01 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2028-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-06 | 2025-03-06 | 2HEAD |  |  | 0301
[6 empty] | Expiration A | Expiration B | Expiration D
2026-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.04 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
2 | 0.50 | 0.44 | 0.56
3 | 2.00 | 1.88 | 2.12
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97713 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-02-21 | 09:39 | 2025-02-21 | 07:58 | MARK |  | 0.01 | 0.00 | / | / | 0.024 |  |  |  | 2.85 |  |  | Kinga |  | 3 | 1 | 85439
2 | 0.50 | 2 | Old A | 2025-02-21 | 09:40 | 2025-02-21 | 07:58 | MARK |  | 0.47 | 0.47 | / | / | 0.164 |  |  |  | 2.53 |  |  | Kinga |  | 3 | 2 | 85439
3 | 2.00 | 3 | Old A | 2025-02-21 | 09:40 | 2025-02-21 | 07:58 | MARK |  | 2.00 | 2.01 | / | / | 0.611 |  |  |  | 5.60 |  |  | Kinga |  | 3 | 3 | 85439
2 | 0.50 | 4 | Valid | 2025-02-21 | 09:46 | 2025-02-21 | 07:58 | MARK |  | 0.46 | 0.46 | / | / | 0.160 | 1.400 |  |  | 2.06 |  |  | Kinga |  | 3 | 2 | 85439
2 | 0.50 | 5 | Valid | 2025-02-21 | 09:47 | 2025-02-21 | 07:58 | MARK |  | 0.45 | 0.45 | / | / | 0.156 |  |  |  | 2.52 |  |  | Kinga |  | 3 | 2 | 85439
3 | 2.00 | 6 | Valid | 2025-02-21 | 09:50 | 2025-02-21 | 07:58 | MARK |  | 1.94 | 1.97 | / | / | 0.593 | 1.428 |  |  | 3.06 |  |  | Kinga |  | 3 | 3 | 85439
3 | 2.00 | 7 | Valid | 2025-02-21 | 09:51 | 2025-02-21 | 07:58 | MARK |  | 1.97 | 1.98 | / | / | 0.603 |  |  |  | 8.93 |  |  | Kinga |  | 3 | 3 | 85439
1 | 0.00 | 8 | Valid | 2025-02-21 | 09:54 | 2025-02-21 | 07:58 | MARK |  | 0.00 | 0.00 | / | / | 0.011 | 1.465 |  |  | 1.99 |  |  | Kinga |  | 3 | 1 | 85439
1 | 0.00 | 9 | Valid | 2025-02-21 | 09:54 | 2025-02-21 | 07:58 | MARK |  | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 1.99 | 191 |  | Kinga |  | 3 | 1 | 85439
2 | 0.50 | 10 | P/Prod | 2025-03-06 | 09:50 | 2025-03-06 | 07:56 | ROLAND | 2 | 0.52 | 0.50 | / | / | 0.180 | 1.489 |  |  | 4.85 | 179 |  | Kinga |  | 3 | 2 | 85439
2 | 0.50 | 11 | P/Prod | 2025-03-06 | 09:51 | 2025-03-06 | 07:56 | ROLAND | 2 | 0.48 | 0.47 | / | / | 0.168 |  |  |  | 3.17 | 147 |  | Kinga |  | 3 | 2 | 85439
3 | 2.00 | 12 | P/Prod | 2025-03-06 | 09:54 | 2025-03-06 | 07:56 | ROLAND | 2 | 1.97 | 1.94 | / | / | 0.602 | 1.503 |  |  | 2.08 | 176 |  | Kinga |  | 3 | 3 | 85439
3 | 2.00 | 13 | P/Prod | 2025-03-06 | 09:54 | 2025-03-06 | 07:56 | ROLAND | 2 | 2.01 | 1.97 | / | / | 0.615 |  |  |  | 2.97 | 182 |  | Kinga |  | 3 | 3 | 85439
1 | 0.00 | 14 | P/Prod | 2025-03-06 | 09:56 | 2025-03-06 | 07:56 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.017 | 1.550 |  |  | 3.33 | 181 |  | Kinga |  | 3 | 1 | 85439
1 | 0.00 | 15 | P/Prod | 2025-03-06 | 09:57 | 2025-03-06 | 07:56 | ROLAND | 2 | 0.01 | 0.01 | / | / | 0.025 |  |  |  | 3.32 | 148 |  | Kinga |  | 3 | 1 | 85439
2 | 0.50 | 16 | P/Prod | 2025-03-06 | 14:53 | 2025-03-06 | 14:29 | ELENA | 2 | 0.47 | 0.47 | / | / | 0.165 |  |  |  | 2.75 | 160 |  | Kinga |  | 3 | 2 | 85439
2 | 0.50 | 17 | P/Prod | 2025-03-06 | 14:53 | 2025-03-06 | 14:29 | ELENA | 2 | 0.45 | 0.45 | / | / | 0.159 | 1.569 |  |  | 2.26 | 171 |  | Kinga |  | 3 | 2 | 85439
3 | 2.00 | 18 | P/Prod | 2025-03-06 | 14:56 | 2025-03-06 | 14:29 | ELENA | 2 | 1.96 | 1.95 | / | / | 0.600 |  |  |  | 3.16 | 163 |  | Kinga |  | 3 | 3 | 85439
3 | 2.00 | 19 | P/Prod | 2025-03-06 | 14:57 | 2025-03-06 | 14:29 | ELENA | 2 | 2.02 | 2.00 | / | / | 0.617 | 1.589 |  |  | 3.33 | 181 |  | Kinga |  | 3 | 3 | 85439
1 | 0.00 | 20 | P/Prod | 2025-03-06 | 15:04 | 2025-03-06 | 14:29 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.012 |  |  |  | 3.27 | 172 |  | Kinga |  | 3 | 1 | 85439
1 | 0.00 | 21 | P/Prod | 2025-03-06 | 15:04 | 2025-03-06 | 14:29 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.013 | 1.605 |  |  | 3.27 |  |  | Kinga |  | 3 | 1 | 85439
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.48 mg/L | 4 | 8 | 0.48 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 1.98 mg/L | 4 | 8 | 1.98 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.50 | 0.44 ÷ 0.56 | 0.48 | YES
2.00 | 1.88 ÷ 2.12 | 1.98 | YES
Validation Date | by