## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
0962 | HI93713-0 | CP-R29 | W 11/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2028-03-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-19 | 2025-03-19 | 2HEAD |  |  | 0934
[6 empty] | Expiration A | Expiration B | Expiration D
2028-02-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 2.00 | 1.88 | 2.12 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
2 | 0.50 | 0.44 | 0.56
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 2.00 | 1 | Old A | 2025-03-13 | 15:37 | 2025-03-13 | 15:21 | ERIKA |  | 1.97 | 1.97 | / | / | 0.602 |  |  |  | 2.69 |  |  | Kinga |  | 3 | 3 | 22013
3 | 2.00 | 2 | Old A | 2025-03-13 | 15:38 | 2025-03-13 | 15:21 | ERIKA |  | 1.96 | 1.96 | / | / | 0.601 |  |  |  | 1.92 |  |  | Kinga |  | 3 | 3 | 22013
3 | 2.00 | 3 | P/FINAL | 2025-03-13 | 15:40 | 2025-03-13 | 15:21 | ERIKA |  | 2.01 | 2.02 | / | / | 0.613 |  |  |  | 2.95 |  |  | Kinga |  | 3 | 3 | 22013
3 | 2.00 | 4 | P/FINAL | 2025-03-13 | 15:44 | 2025-03-13 | 15:21 | ERIKA |  | 1.95 | 1.96 | / | / | 0.597 |  |  |  | 1.12 |  |  | Kinga |  | 3 | 3 | 22013
3 | 2.00 | 5 | Valid | 2025-03-13 | 15:45 | 2025-03-13 | 15:21 | ERIKA |  | 1.95 | 1.96 | / | / | 0.597 | 1.562 |  |  | 1.16 |  |  | Kinga |  | 3 | 3 | 22013
3 | 2.00 | 6 | Valid | 2025-03-13 | 15:46 | 2025-03-13 | 15:21 | ERIKA |  | 1.95 | 1.96 | / | / | 0.590 |  |  |  | 1.56 |  |  | Kinga |  | 3 | 3 | 22013
2 | 0.50 | 7 | Valid | 2025-03-13 | 15:47 | 2025-03-13 | 15:21 | ERIKA |  | 0.45 | 0.45 | / | / | 0.157 | 1.561 |  |  | 1.07 |  |  | Kinga |  | 3 | 2 | 22013
2 | 0.50 | 8 | P/FINAL | 2025-03-13 | 15:48 | 2025-03-13 | 15:21 | ERIKA |  | 0.45 | 0.45 | / | / | 0.159 |  |  |  | 1.06 |  |  | Kinga |  | 3 | 2 | 22013
2 | 0.50 | 9 | P/FINAL | 2025-03-13 | 15:48 | 2025-03-13 | 15:21 | ERIKA |  | 0.44 | 0.45 | / | / | 0.156 |  |  |  | 1.06 |  |  | Kinga |  | 3 | 2 | 22013
1 | 0.00 | 10 | P/FINAL | 2025-03-13 | 15:49 | 2025-03-13 | 15:21 | ERIKA |  | 0.00 | 0.00 | / | / | 0.005 | 1.537 |  |  | 1.21 |  |  | Kinga |  | 3 | 1 | 22013
1 | 0.00 | 11 | Old A | 2025-03-13 | 15:49 | 2025-03-13 | 15:21 | ERIKA |  | 0.00 | 0.00 | / | / | -0.003 |  |  |  | 1.10 |  |  | Kinga |  | 3 | 1 | 22013
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 1.99 mg/L | 2 | 4 | 1.99 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.45 mg/L | 2 | 4 | 0.45 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 2 | 0 mg/L | 1 | 2 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.50 | 0.44 ÷ 0.56 | 0.45 | YES
2.00 | 1.88 ÷ 2.12 | 1.99 | YES
Validation Date | by