## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
1086 | HI93713-0 | CP-R29 | W 26/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2028-06-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/MARK | 2025-06-26 | 2025-07-08 | 4 HEAD |  |  | 1052
[6 empty] | Expiration A | Expiration B | Expiration D
05/2028W 93
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CT0-618 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.04 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
2 | 0.50 | 0.44 | 0.56
3 | 2.00 | 1.88 | 2.12
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97713 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-06-26 | 12:44 | 2025-06-26 | 12:12 | ERIKA/MARK |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 1.87 |  |  | Kinga |  | 3 | 1 | 21749
1 | 0.00 | 2 | Old A | 2025-06-26 | 12:44 | 2025-06-26 | 12:12 | ERIKA/MARK |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 2.29 |  |  | Kinga |  | 3 | 1 | 21749
2 | 0.50 | 3 | Old A | 2025-06-26 | 12:45 | 2025-06-26 | 12:12 | ERIKA/MARK |  | 0.44 | 0.44 | / | / | 0.156 |  |  |  | 4.29 |  |  | Kinga |  | 3 | 2 | 21749
2 | 0.50 | 4 | Old A | 2025-06-26 | 12:46 | 2025-06-26 | 12:12 | ERIKA/MARK |  | 0.44 | 0.44 | / | / | 0.156 |  |  |  | 3.87 |  |  | Kinga |  | 3 | 2 | 21749
3 | 2.00 | 5 | Old A | 2025-06-26 | 12:47 | 2025-06-26 | 12:12 | ERIKA/MARK |  | 1.90 | 1.90 | / | / | 0.583 |  |  |  | 2.83 |  |  | Kinga |  | 3 | 3 | 21749
3 | 2.00 | 6 | Old A | 2025-06-26 | 12:48 | 2025-06-26 | 12:12 | ERIKA/MARK |  | 1.89 | 1.90 | / | / | 0.581 |  |  |  | 4.21 |  |  | Kinga |  | 3 | 3 | 21749
2 | 0.50 | 7 | Valid | 2025-06-26 | 12:54 | 2025-06-26 | 12:12 | ERIKA/MARK |  | 0.46 | 0.45 | / | / | 0.161 |  |  |  | 5.10 |  |  | Kinga |  | 3 | 2 | 21749
2 | 0.50 | 8 | Valid | 2025-06-26 | 12:54 | 2025-06-26 | 12:12 | ERIKA/MARK |  | 0.49 | 0.45 | / | / | 0.171 |  |  |  | 6.39 | 1.526 |  | Kinga |  | 3 | 2 | 21749
2 | 0.50 | 9 | Valid | 2025-06-26 | 12:55 | 2025-06-26 | 12:12 | ERIKA/MARK |  | 0.45 | 0.45 | / | / | 0.158 |  |  |  | 3.85 |  |  | Kinga |  | 3 | 2 | 21749
3 | 2.00 | 10 | Valid | 2025-06-26 | 12:56 | 2025-06-26 | 12:12 | ERIKA/MARK |  | 1.94 | 1.93 | / | / | 0.593 |  |  |  | 4.10 |  |  | Kinga |  | 3 | 3 | 21749
3 | 2.00 | 11 | Valid | 2025-06-26 | 12:56 | 2025-06-26 | 12:12 | ERIKA/MARK |  | 1.92 | 2.00 | / | / | 0.589 |  |  |  | 4.01 | 1.522 |  | Kinga |  | 3 | 3 | 21749
3 | 2.00 | 12 | Valid | 2025-06-26 | 12:57 | 2025-06-26 | 12:12 | ERIKA/MARK |  | 1.95 | 1.93 | / | / | 0.596 |  |  |  | 3.66 |  |  | Kinga |  | 3 | 3 | 21749
1 | 0.00 | 13 | Valid | 2025-06-26 | 12:59 | 2025-06-26 | 12:12 | ERIKA/MARK |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 3.71 |  |  | Kinga |  | 3 | 1 | 21749
1 | 0.00 | 14 | Valid | 2025-06-26 | 12:59 | 2025-06-26 | 12:12 | ERIKA/MARK |  | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 4.07 | 1.516 |  | Kinga |  | 3 | 1 | 21749
2 | 0.50 | 15 | Old A | 2025-07-08 | 08:18 | 2025-07-08 | 7:57 | ROLANDANA |  | 0.50 | 0.50 | / | / | 0.172 |  |  |  | 10.9 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 16 | Old A | 2025-07-08 | 08:19 | 2025-07-08 | 7:57 | ROLANDANA |  | 0.46 | 0.48 | / | / | 0.161 |  |  |  | 6.17 |  |  | Kinga |  | 3 | 2
3 | 2.00 | 17 | Old A | 2025-07-08 | 08:20 | 2025-07-08 | 7:57 | ROLANDANA |  | 1.88 | 1.88 | / | / | 0.575 |  |  |  | 4.72 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 18 | Old A | 2025-07-08 | 08:21 | 2025-07-08 | 7:57 | ROLANDANA |  | 1.89 | 1.93 | / | / | 0.577 |  |  |  | 5.45 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 19 | Old A | 2025-07-08 | 08:24 | 2025-07-08 | 7:57 | ROLANDANA |  | 0.00 | 0.00 | / | / | -0.006 |  |  |  | 1.94 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 20 | Old A | 2025-07-08 | 08:25 | 2025-07-08 | 7:57 | ROLANDANA |  | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 1.89 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 21 | P/FINAL | 2025-07-08 | 08:34 | 2025-07-08 | 7:57 | ROLANDANA |  | 0.46 | 0.47 | / | / | 0.160 |  |  |  | 5.64 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 22 | P/FINAL | 2025-07-08 | 08:34 | 2025-07-08 | 7:57 | ROLANDANA |  | 0.47 | 0.49 | / | / | 0.163 |  |  |  | 6.41 | 160 |  | Kinga |  | 3 | 2
2 | 0.50 | 23 | P/FINAL | 2025-07-08 | 08:35 | 2025-07-08 | 7:57 | ROLANDANA |  | 0.47 | 0.48 | / | / | 0.165 | 1.538 |  |  | 4.11 | 169 |  | Kinga |  | 3 | 2
3 | 2.00 | 24 | P/FINAL | 2025-07-08 | 08:36 | 2025-07-08 | 7:57 | ROLANDANA |  | 1.93 | 1.97 | / | / | 0.592 |  |  |  | 6.55 | 145 |  | Kinga |  | 3 | 3
3 | 2.00 | 25 | P/FINAL | 2025-07-08 | 08:36 | 2025-07-08 | 7:57 | ROLANDANA |  | 1.91 | 1.92 | / | / | 0.585 |  |  |  | 6.55 | 165 |  | Kinga |  | 3 | 3
3 | 2.00 | 26 | P/FINAL | 2025-07-08 | 08:37 | 2025-07-08 | 7:57 | ROLANDANA |  | 1.94 | 1.96 | / | / | 0.594 | 1.517 |  |  | 4.64 | 157 |  | Kinga |  | 3 | 3
1 | 0.00 | 27 | P/FINAL | 2025-07-08 | 08:41 | 2025-07-08 | 7:57 | ROLANDANA |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 5.08 | 176 |  | Kinga |  | 3 | 1
1 | 0.00 | 28 | P/FINAL | 2025-07-08 | 08:43 | 2025-07-08 | 7:57 | ROLANDANA |  | 0.00 | 0.00 | / | / | 0.005 | 1.526 |  |  | 4.15 |  |  | Kinga |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.47 mg/L | 3 | 6 | 0.47 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.94 mg/L | 3 | 6 | 1.94 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.50 | 0.44 ÷ 0.56 | 0.47 | YES
2.00 | 1.88 ÷ 2.12 | 1.94 | YES
Validation Date | by