## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
1182 | HI93713-0 | CP-R29 | W 41/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2028-10-01 | L57 Powder |  |  | Laboratory | TAB 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-07 |  |  |  |  | 1086
[6 empty] | Expiration A | Expiration B | Expiration D
2028-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-830 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI93703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.44 | 0.56 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
3 | 2.00 | 1.88 | 2.12
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97713 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | P/FINAL | 2025-10-08 | 12:00 | 2025-10-07 | 16:07 | ROLAND | 2 | 0.44 | 0.43 | / | / | 0.157 |  |  |  | 0.97 | 184 |  | Andrea V |  | 3 | 2 | 122727
2 | 0.50 | 2 | P/FINAL | 2025-10-08 | 12:01 | 2025-10-07 | 16:07 | ROLAND | 2 | 0.45 | 0.43 | / | / | 0.157 |  |  |  | 0.63 | 181 |  | Andrea V |  | 3 | 2 | 122727
2 | 0.50 | 3 | P/FINAL | 2025-10-08 | 12:12 | 2025-10-07 | 16:07 | ROLAND | 2 | 0.45 | 0.43 | / | / | 0.156 |  |  |  | 0.65 |  |  | Andrea V |  | 3 | 2 | 122727
2 | 0.50 | 4 | P/FINAL | 2025-10-08 | 12:13 | 2025-10-07 | 16:07 | ROLAND | 2 | 0.57 | 0.56 | / | / | 0.194 |  |  |  | 0.57 |  |  | Andrea V |  | 3 | 2 | 122727
3 | 2.00 | 5 | P/FINAL | 2025-10-08 | 12:14 | 2025-10-07 | 16:07 | ROLAND | 2 | 1.95 | 1.94 | / | / | 0.596 |  |  |  | 0.61 | 182 |  | Andrea V |  | 3 | 3 | 122727
3 | 2.00 | 6 | P/FINAL | 2025-10-08 | 12:14 | 2025-10-07 | 16:07 | ROLAND | 2 | 1.96 | 1.95 | / | / | 0.601 |  |  |  | 0.66 | 178 |  | Andrea V |  | 3 | 3 | 122727
3 | 2.00 | 7 | P/FINAL | 2025-10-08 | 12:15 | 2025-10-07 | 16:07 | ROLAND | 2 | 1.96 | 1.95 | / | / | 0.600 |  |  |  | 0.58 |  |  | Andrea V |  | 3 | 3 | 122727
1 | 0.00 | 8 | P/FINAL | 2025-10-08 | 12:16 | 2025-10-07 | 16:07 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.61 | 165 |  | Andrea V |  | 3 | 1
1 | 0.00 | 9 | P/FINAL | 2025-10-08 | 12:17 | 2025-10-07 | 16:07 | ROLAND | 2 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.49 | 193 |  | Andrea V |  | 3 | 1
1 | 0.00 | 10 | P/FINAL | 2025-10-08 | 12:24 | 2025-10-07 | 21:36 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.72 | 173 |  | Andrea V |  | 3 | 1
1 | 0.00 | 11 | P/FINAL | 2025-10-08 | 12:24 | 2025-10-07 | 21:36 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.77 | 161 |  | Andrea V |  | 3 | 1
3 | 2.00 | 12 | P/FINAL | 2025-10-08 | 12:30 | 2025-10-07 | 21:36 | ROLAND | 2 | 1.95 | 1.94 | / | / | 0.598 |  |  |  | 1.18 | 180 |  | Andrea V |  | 3 | 3 | 122727
3 | 2.00 | 13 | P/FINAL | 2025-10-08 | 12:31 | 2025-10-07 | 21:36 | ROLAND | 2 | 1.95 | 1.92 | / | / | 0.597 |  |  |  | 0.82 | 200 |  | Andrea V |  | 3 | 3 | 122727
2 | 0.50 | 14 | P/FINAL | 2025-10-08 | 12:34 | 2025-10-07 | 21:36 | ROLAND | 2 | 0.43 | 0.42 | / | / | 0.151 |  |  |  | 0.73 | 182 |  | Andrea V |  | 3 | 2 | 122727
2 | 0.50 | 15 | P/FINAL | 2025-10-08 | 12:35 | 2025-10-07 | 21:36 | ROLAND | 2 | 0.43 | 0.41 | / | / | 0.152 |  |  |  | 0.91 | 189 |  | Andrea V |  | 3 | 2 | 122727
2 | 0.50 | 16 | P/FINAL | 2025-10-08 | 12:36 | 2025-10-07 | 21:36 | ROLAND | 2 | 0.51 | 0.51 | / | / | 0.177 |  |  |  | 1.11 |  |  | Andrea V |  | 3 | 2 | 122727
2 | 0.50 | 17 | P/FINAL | 2025-10-08 | 12:36 | 2025-10-07 | 21:36 | ROLAND | 2 | 0.53 | 0.53 | / | / | 0.182 |  |  |  | 1.91 |  |  | Andrea V |  | 3 | 2 | 122727
2 | 0.50 | 18 | P/FINAL | 2025-10-08 | 12:41 | 2025-10-07 | 07:31 | ELENA | 2 | 0.45 | 0.45 | / | / | 0.157 |  |  |  | 0.53 | 187 |  | Andrea V |  | 3 | 2 | 122727
2 | 0.50 | 19 | P/FINAL | 2025-10-08 | 12:42 | 2025-10-07 | 07:31 | ELENA | 2 | 0.45 | 0.45 | / | / | 0.158 |  |  |  | 1.29 | 177 |  | Andrea V |  | 3 | 2 | 122727
2 | 0.50 | 20 | P/FINAL | 2025-10-08 | 12:43 | 2025-10-07 | 07:31 | ELENA | 2 | 0.45 | 0.44 | / | / | 0.159 | 1.260 |  |  | 1.13 |  |  | Andrea V |  | 3 | 2 | 122727
2 | 0.50 | 21 | P/FINAL | 2025-10-08 | 12:45 | 2025-10-07 | 07:31 | ELENA | 2 | 0.45 | 0.46 | / | / | 0.159 | 1.270 |  |  | 0.82 |  |  | Andrea V |  | 3 | 2 | 122727
3 | 2.00 | 22 | P/FINAL | 2025-10-08 | 12:46 | 2025-10-07 | 07:31 | ELENA | 2 | 2.04 | 2.04 | / | / | 0.622 | 1.236 |  |  | 1.164 | 198 |  | Andrea V |  | 3 | 3 | 122727
3 | 2.00 | 23 | P/FINAL | 2025-10-08 | 12:47 | 2025-10-07 | 07:31 | ELENA | 2 | 2.08 | 2.07 | / | / | 0.634 | 1.245 |  |  | 0.93 | 178 |  | Andrea V |  | 3 | 3 | 122727
1 | 0.00 | 24 | P/FINAL | 2025-10-08 | 12:48 | 2025-10-07 | 07:31 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.005 | 1.263 |  |  | 0.74 | 181 |  | Andrea V |  | 3 | 1
1 | 0.00 | 25 | P/FINAL | 2025-10-08 | 12:48 | 2025-10-07 | 07:31 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.005 | 1.243 |  |  | 0.58 | 187 |  | Andrea V |  | 3 | 1
2 | 0.50 | 26 | Old A | 2025-10-08 | 12:49 | 2025-10-07 | 07:31 | ELENA | 2 | 0.46 | 0.45 | / | / | 0.160 |  |  |  | 7.34 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 27 | Old A | 2025-10-08 | 12:50 | 2025-10-07 | 07:31 | ELENA | 2 | 0.47 | 0.47 | / | / | 0.165 |  |  |  | 4.86 |  |  | Andrea V |  | 3 | 2
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0.46 mg/L | 9 | 18 | 0.48 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 1.98 mg/L | 7 | 14 | 1.98 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 5 | 10 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.50 | 0.44 ÷ 0.56 | 0.48 | YES
2.00 | 1.88 ÷ 2.12 | 1.98 | YES
Validation Date | by