## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
1262 | HI93713-0 | CP-R29 | W 48/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2028-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-27 | 2025-12-08 | 2 HEAD |  |  | 1230
[6 empty] | Expiration A | Expiration B | Expiration D
2028-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI93713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.44 | 0.56 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
3 | 2.00 | 1.88 | 2.12
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI93713 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2025-11-27 | 14:52 | 2025-11-27 | 13:54 | ERIKA |  | 0.48 | 0.44 | / | / | 0.168 |  |  |  | 7.00 |  |  | Andrea V |  | 3 | 2
3 | 2.00 | 2 | Old A | 2025-11-27 | 14:54 | 2025-11-27 | 13:54 | ERIKA |  | 1.95 | 1.92 | / | / | 0.596 |  |  |  | 3.50 |  |  | Andrea V |  | 3 | 3 | 22954
3 | 2.00 | 3 | Old A | 2025-11-27 | 14:54 | 2025-11-27 | 13:54 | ERIKA |  | 1.92 | 1.90 | / | / | 0.588 |  |  |  | 2.43 |  |  | Andrea V |  | 3 | 3 | 22954
1 | 0.00 | 4 | Old A | 2025-11-27 | 14:56 | 2025-11-27 | 13:54 | ERIKA |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 2.79 |  |  | Andrea V |  | 3 | 1 | 22954
1 | 0.00 | 5 | Old A | 2025-11-27 | 14:57 | 2025-11-27 | 13:54 | ERIKA |  | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 1.28 |  |  | Andrea V |  | 3 | 1 | 22954
2 | 0.50 | 6 | Old A | 2025-11-27 | 15:05 | 2025-11-27 | 13:54 | ERIKA |  | 0.44 | 0.43 | / | / | 0.155 |  |  |  | 1.56 |  |  | Andrea V |  | 3 | 2 | 22954
3 | 2.00 | 7 | Valid | 2025-11-27 | 15:08 | 2025-11-27 | 13:54 | ERIKA |  | 1.93 | 1.94 | / | / | 0.591 |  |  |  | 2.21 |  |  | Andrea V |  | 3 | 3 | 22954
3 | 2.00 | 8 | Valid | 2025-11-27 | 15:09 | 2025-11-27 | 13:54 | ERIKA |  | 1.96 | 1.95 | / | / | 0.601 | 1.364 |  |  | 2.09 |  |  | Andrea V |  | 3 | 3 | 22954
3 | 2.00 | 9 | Valid | 2025-11-27 | 15:12 | 2025-11-27 | 13:54 | ERIKA |  | 1.93 | 1.94 | / | / | 0.591 |  |  |  | 1.42 |  |  | Andrea V |  | 3 | 3 | 22954
2 | 0.50 | 10 | Valid | 2025-11-27 | 15:19 | 2025-11-27 | 13:54 | ERIKA |  | 0.45 | 0.44 | / | / | 0.157 |  |  |  | 2.38 |  |  | Andrea V |  | 3 | 2 | 22954
2 | 0.50 | 11 | Valid | 2025-11-27 | 15:22 | 2025-11-27 | 13:54 | ERIKA |  | 0.45 | 0.45 | / | / | 0.158 | 1.365 |  |  | 3.55 |  |  | Andrea V |  | 3 | 2 | 22954
2 | 0.50 | 12 | Valid | 2025-11-27 | 15:24 | 2025-11-27 | 13:54 | ERIKA |  | 0.44 | 0.43 | / | / | 0.156 |  |  |  | 1.82 |  |  | Andrea V |  | 3 | 2 | 22954
1 | 0.00 | 13 | Valid | 2025-11-27 | 15:48 | 2025-11-27 | 13:54 | ERIKA |  | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 2.25 |  |  | Andrea V |  | 3 | 1 | 22954
1 | 0.00 | 14 | Valid | 2025-11-27 | 15:49 | 2025-11-27 | 13:54 | ERIKA |  | 0.00 | 0.00 | / | / | 0.012 | 1.357 |  |  | 3.95 |  |  | Andrea V |  | 3 | 1 | 22954
2 | 0.50 | 15 | Valid | 2025-11-27 | 17:44 | 2025-11-27 | 13:54 | ERIKA |  | 0.44 | 0.45 | / | / | 0.155 |  |  |  | 2.31 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 16 | Old A | 2025-12-05 | 14:38 | 2025-12-05 | 12:42 | ELENA |  | 0.47 | 0.45 | / | / | 0.165 |  |  |  | 2.78 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 17 | Old A | 2025-12-05 | 14:39 | 2025-12-05 | 12:42 | ELENA |  | 0.45 | 0.45 | / | / | 0.158 |  |  |  | 3.82 |  |  | Kinga |  | 3 | 2
3 | 2.00 | 18 | Old A | 2025-12-05 | 14:39 | 2025-12-05 | 12:42 | ELENA |  | 1.95 | 1.97 | / | / | 0.598 |  |  |  | 3.26 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 19 | Old A | 2025-12-05 | 14:40 | 2025-12-05 | 12:42 | ELENA |  | 1.93 | 1.94 | / | / | 0.590 |  |  |  | 3.19 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 20 | Old A | 2025-12-05 | 14:42 | 2025-12-05 | 12:42 | ELENA |  | 0.00 | 0.00 | / | / | 0.015 |  |  |  | 2.95 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 21 | Old A | 2025-12-05 | 14:43 | 2025-12-05 | 12:42 | ELENA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 2.32 |  |  | Andrea V |  | 3 | 1
3 | 2.00 | 22 | P/FINAL | 2025-12-05 | 14:51 | 2025-12-05 | 12:42 | ELENA | 2 | 1.98 | 1.97 | / | / | 0.604 |  |  |  | 2.01 |  |  | Andrea V |  | 3 | 3 | 21757
3 | 2.00 | 23 | P/FINAL | 2025-12-05 | 14:52 | 2025-12-05 | 12:42 | ELENA | 2 | 1.98 | 1.99 | / | / | 0.604 | 1.458 |  |  | 1.99 | 170 |  | Andrea V |  | 3 | 3 | 21757
3 | 2.00 | 24 | P/FINAL | 2025-12-05 | 14:53 | 2025-12-05 | 12:42 | ELENA | 2 | 1.94 | 1.95 | / | / | 0.594 |  |  |  | 1.48 | 165 |  | Andrea V |  | 3 | 3 | 21757
2 | 0.50 | 25 | P/FINAL | 2025-12-05 | 14:54 | 2025-12-05 | 12:42 | ELENA | 2 | 0.42 | 0.43 | / | / | 0.148 |  |  |  | 1.74 | 165 |  | Andrea V |  | 3 | 2 | 21757
2 | 0.50 | 26 | P/FINAL | 2025-12-05 | 14:55 | 2025-12-05 | 12:42 | ELENA | 2 | 0.44 | 0.44 | / | / | 0.154 | 1.549 |  |  | 1.75 | 178 |  | Andrea V |  | 3 | 2 | 21757
1 | 0.00 | 27 | P/FINAL | 2025-12-05 | 14:59 | 2025-12-05 | 12:42 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 3.80 | 172 |  | Andrea V |  | 3 | 1 | 21757
1 | 0.00 | 28 | P/FINAL | 2025-12-05 | 15:00 | 2025-12-05 | 12:42 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.009 | 1.503 |  |  | 2.75 | 168 |  | Andrea V |  | 3 | 1 | 21757
2 | 0.50 | 29 | P/FINAL | 2025-12-05 | 15:03 | 2025-12-05 | 12:42 | ELENA | 2 | 0.44 | 0.45 | / | / | 0.154 |  |  |  | 2.07 |  |  | Andrea V |  | 3 | 2 | 21757
2 | 0.50 | 30 | P/FINAL | 2025-12-05 | 15:03 | 2025-12-05 | 12:42 | ELENA | 2 | 0.44 | 0.44 | / | / | 0.155 | 1.450 |  |  | 2.22 |  |  | Andrea V |  | 3 | 2 | 21757
3 | 2.00 | 31 | P/FINAL | 2025-12-05 | 15:14 | 2025-12-05 | 14:37 | ROLAND | 2 | 1.93 | 1.93 | / | / | 0.590 |  |  |  | 1.42 |  |  | Andrea V |  | 3 | 3 | 21757
3 | 2.00 | 32 | P/FINAL | 2025-12-05 | 15:14 | 2025-12-05 | 14:37 | ROLAND | 2 | 2.01 | 2.01 | / | / | 0.614 |  |  |  | 1.97 | 147 |  | Andrea V |  | 3 | 3 | 21757
3 | 2.00 | 33 | P/FINAL | 2025-12-05 | 15:15 | 2025-12-05 | 14:37 | ROLAND | 2 | 1.95 | 1.96 | / | / | 0.596 | 1.587 |  |  | 1.33 | 155 |  | Andrea V |  | 3 | 3 | 21757
1 | 0.00 | 34 | P/FINAL | 2025-12-05 | 15:18 | 2025-12-05 | 14:37 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 2.32 |  |  | Andrea V |  | 3 | 1 | 21757
1 | 0.00 | 35 | P/FINAL | 2025-12-05 | 15:21 | 2025-12-05 | 14:37 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.006 | 1.494 |  |  | 1.65 | 159 |  | Andrea V |  | 3 | 1 | 21757
2 | 0.50 | 36 | P/FINAL | 2025-12-05 | 15:22 | 2025-12-05 | 14:37 | ROLAND | 2 | 0.43 | 0.43 | / | / | 0.152 |  |  |  | 1.83 | 143 |  | Andrea V |  | 3 | 2 | 21757
2 | 0.50 | 37 | P/FINAL | 2025-12-05 | 15:23 | 2025-12-05 | 14:37 | ROLAND | 2 | 0.44 | 0.44 | / | / | 0.156 |  |  |  | 2.12 |  |  | Andrea V |  | 3 | 2 | 21757
2 | 0.50 | 38 | P/FINAL | 2025-12-05 | 15:28 | 2025-12-05 | 14:37 | ROLAND | 2 | 0.40 | 0.42 | / | / | 0.142 | 1.450 |  |  | 1.43 | 155 |  | Andrea V |  | 3 | 2 | 21757
2 | 0.50 | 39 | P/FINAL | 2025-12-05 | 15:31 | 2025-12-05 | 14:37 | ROLAND | 2 | 0.42 | 0.42 | / | / | 0.149 |  |  |  | 1.18 | 146 |  | Andrea V |  | 3 | 2 | 21757
2 | 0.50 | 40 | P/FINAL | 2025-12-05 | 15:57 | 2025-12-05 | 14:37 | ROLAND | 2 | 0.51 | 0.45 | / | / | 0.177 |  |  |  | 1.38 | 168 |  | Andrea V |  | 3 | 2
2 | 0.50 | 41 | P/FINAL | 2025-12-05 | 15:58 | 2025-12-05 | 14:37 | ROLAND | 2 | 0.44 | 0.44 | / | / | 0.154 |  |  |  | 1.80 | 161 |  | Andrea V |  | 3 | 2
2 | 0.50 | 42 | P/FINAL | 2025-12-05 | 16:04 | 2025-12-05 | 14:37 | ROLAND | 2 | 0.44 | 0.43 | / | / | 0.155 |  |  |  | 2.25 | 184 |  | Andrea V |  | 3 | 2
2 | 0.50 | 43 | P/FINAL | 2025-12-05 | 16:05 | 2025-12-05 | 14:37 | ROLAND | 2 | 0.43 | 0.44 | / | / | 0.152 |  |  |  | 2.49 | 176 |  | Andrea V |  | 3 | 2
2 | 0.50 | 44 | P/FINAL | 2025-12-05 | 16:08 | 2025-12-05 | 14:37 | ROLAND | 2 | 0.44 | 0.45 | / | / | 0.156 |  |  |  | 1.65 | 162 |  | Andrea V |  | 3 | 2
3 | 2.00 | 45 | Old A | 2025-12-08 | 09:14 | 2025-12-08 | 08:16 | ROLAND | 2 | 2.02 | 2.02 | / | / | 0.616 |  |  |  | 1.03 |  |  | Kinga |  | 3 | 3 | 21757
3 | 2.00 | 46 | Old A | 2025-12-08 | 09:14 | 2025-12-08 | 08:16 | ROLAND | 2 | 2.03 | 2.02 | / | / | 0.619 |  |  |  | 6.39 |  |  | Kinga |  | 3 | 3 | 21757
2 | 0.50 | 47 | Old A | 2025-12-08 | 09:21 | 2025-12-08 | 08:16 | ROLAND | 2 | 0.55 | 0.53 | / | / | 0.187 |  |  |  | 11.2 |  |  | Kinga |  | 3 | 2 | 21757
2 | 0.50 | 48 | Old A | 2025-12-08 | 09:23 | 2025-12-08 | 08:16 | ROLAND | 2 | 0.52 | 0.53 | / | / | 0.180 |  |  |  | 9.57 |  |  | Kinga |  | 3 | 2 | 21757
1 | 0.00 | 49 | Old A | 2025-12-08 | 09:24 | 2025-12-08 | 08:16 | ROLAND | 2 | 0.02 | 0.03 | / | / | 0.028 |  |  |  | 13.1 |  |  | Kinga |  | 3 | 1 | 21757
1 | 0.00 | 50 | P/FINAL | 2025-12-08 | 09:25 | 2025-12-08 | 08:16 | ROLAND | 2 | 0.02 | 0.02 | / | / | 0.028 |  |  |  | 10.8 |  |  | Kinga |  | 3 | 1 | 21757
2 | 0.50 | 51 | P/FINAL | 2025-12-08 | 09:31 | 2025-12-08 | 08:16 | ROLAND | 2 | 0.49 | 0.49 | / | / | 0.170 |  |  |  | 5.36 | 170 |  | Kinga |  | 3 | 2 | 21757
2 | 0.50 | 52 | P/FINAL | 2025-12-08 | 09:32 | 2025-12-08 | 08:16 | ROLAND | 2 | 0.50 | 0.49 | / | / | 0.172 | 1.321 |  |  | 4.29 | 186 |  | Kinga |  | 3 | 2 | 21757
2 | 0.50 | 53 | P/FINAL | 2025-12-08 | 09:32 | 2025-12-08 | 08:16 | ROLAND | 2 | 0.48 | 0.46 | / | / | 0166 |  |  |  | 3.24 | 186 |  | Kinga |  | 3 | 2 | 21757
3 | 2.00 | 54 | P/FINAL | 2025-12-08 | 09:40 | 2025-12-08 | 08:16 | ROLAND | 2 | 1.94 | 1.96 | / | / | 1.68 |  |  |  | 1.68 | 167 |  | Kinga |  | 3 | 3 | 21757
3 | 2.00 | 55 | P/FINAL | 2025-12-08 | 09:41 | 2025-12-08 | 08:16 | ROLAND | 2 | 1.95 | 1.95 | / | / | 0.598 | 1.334 |  |  | 1.70 | 160 |  | Kinga |  | 3 | 3 | 21757
1 | 0.00 | 56 | P/FINAL | 2025-12-08 | 09:43 | 2025-12-08 | 08:16 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.021 |  |  |  | 5.33 |  |  | Kinga |  | 3 | 1 | 21757
1 | 0.00 | 57 | P/FINAL | 2025-12-08 | 09:44 | 2025-12-08 | 08:16 | ROLAND | 2 | 0.00 | 0.00 | / | / | 0.013 |  |  |  | 3.53 |  |  | Kinga |  | 3 | 1 | 21757
3 | 2.00 | 58 | P/FINAL | 2025-12-08 | 09:45 | 2025-12-08 | 08:16 | ROLAND | 2 | 1.96 | 1.96 | / | / | 0.599 | 1.577 |  |  | 1.62 | 137 |  | Kinga |  | 3 | 3 | 21757
2 | 0.50 | 59 | P/FINAL | 2025-12-09 | 13:56 | 2025-12-08 | 18:26 | ELENA | 2 | 0.47 | 0.45 | / | / | 0.163 |  |  |  | 4.03 | 168 |  | Kinga |  | 3 | 2
2 | 0.50 | 60 | P/FINAL | 2025-12-09 | 13:56 | 2025-12-08 | 18:26 | ELENA | 2 | 0.47 | 0.48 | / | / | 0.163 |  |  |  | 3.00 | 145 |  | Kinga |  | 3 | 2
2 | 0.50 | 61 | P/FINAL | 2025-12-09 | 13:57 | 2025-12-08 | 18:26 | ELENA | 2 | 0.47 | 0.49 | / | / | 0.169 | 1.578 |  |  | 3.12 | 275 |  | Kinga |  | 3 | 2
3 | 2.00 | 62 | P/FINAL | 2025-12-09 | 13:58 | 2025-12-08 | 18:26 | ELENA | 2 | 1.95 | 1.94 | / | / | 0.597 |  |  |  | 2.64 | 173 |  | Kinga |  | 3 | 3
3 | 2.00 | 63 | P/FINAL | 2025-12-09 | 13:58 | 2025-12-08 | 18:26 | ELENA | 2 | 1.97 | 1.96 | / | / | 0.603 |  |  |  | 2.47 | 177 |  | Kinga |  | 3 | 3
3 | 2.00 | 64 | P/FINAL | 2025-12-09 | 13:59 | 2025-12-08 | 18:26 | ELENA | 2 | 1.98 | 1.96 | / | / | 0.609 |  |  |  | 2.49 | 165 |  | Kinga |  | 3 | 3
1 | 0.00 | 65 | P/FINAL | 2025-12-09 | 14:02 | 2025-12-08 | 18:26 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.019 | 1.579 |  |  | 3.51 | 173 |  | Kinga |  | 3 | 1
1 | 0.00 | 66 | P/FINAL | 2025-12-09 | 14:02 | 2025-12-08 | 18:26 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.014 |  |  |  | 3.63 |  |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
19 | 38 | 0.45 mg/L | 19 | 38 | 0.45 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 1.96 mg/L | 12 | 24 | 1.96 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0 mg/L | 9 | 18 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.50 | 0.44 ÷ 0.56 | 0.45 | YES
2.00 | 1.88 ÷ 2.12 | 1.96 | YES
Validation Date | by