## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
1302 | HI93713-0 | CP-R29 | W 04/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate LR Reagent | 2029-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2026-01-20 | 2026-01-23 | 2 HEAD |  |  | 1262
[6 empty] | Expiration A | Expiration B | Expiration D
2028-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.44 | 0.56 |  | MR104 |  | 0.04 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
3 | 2.00 | 1.88 | 2.12
1 | 0.00 | 0.00 | 0.04
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97713 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2026-01-20 | 14:15 | 2026-01-20 | 14:02 | ERIKA |  | 0.47 | 0.45 | / | / | 0.165 |  |  |  | 4.81 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 2 | Old A | 2026-01-20 | 14:15 | 2026-01-20 | 14:02 | ERIKA |  | 0.52 | 0.53 | / | / | 0.180 |  |  |  | 7.80 |  |  | Andrea V |  | 3 | 2
3 | 2.00 | 3 | Old A | 2026-01-20 | 14:15 | 2026-01-20 | 14:02 | ERIKA |  | 2.08 | 2.08 | / | / | 0.633 |  |  |  | 4.41 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 4 | Old A | 2026-01-20 | 14:15 | 2026-01-20 | 14:02 | ERIKA |  | 2.04 | 2.03 | / | / | 0.622 |  |  |  | 3.51 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 5 | Old A | 2026-01-20 | 14:16 | 2026-01-20 | 14:02 | ERIKA |  | 0.08 | 0.00 | / | / | 0.046 |  |  |  | 5.90 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 6 | Old A | 2026-01-20 | 14:16 | 2026-01-20 | 14:02 | ERIKA |  | 0.06 | 0.00 | / | / | 0.040 |  |  |  | 6.55 |  |  | Andrea V |  | 3 | 1
2 | 0.50 | 7 | Valid | 2026-01-20 | 14:23 | 2026-01-20 | 14:02 | ERIKA |  | 0.46 | 0.46 | / | / | 0.162 |  |  |  | 1.05 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 8 | Valid | 2026-01-20 | 14:24 | 2026-01-20 | 14:02 | ERIKA |  | 0.45 | 0.44 | / | / | 0.158 | 1.512 |  |  | 0.86 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 9 | Valid | 2026-01-20 | 14:24 | 2026-01-20 | 14:02 | ERIKA |  | 0.46 | 0.44 | / | / | 0.160 |  |  |  | 1.09 |  |  | Andrea V |  | 3 | 2
3 | 2.00 | 10 | Valid | 2026-01-20 | 14:25 | 2026-01-20 | 14:02 | ERIKA |  | 2.02 | 2.01 | / | / | 0.617 |  |  |  | 1.03 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 11 | Valid | 2026-01-20 | 14:25 | 2026-01-20 | 14:02 | ERIKA |  | 2.05 | 2.03 | / | / | 0.626 |  |  |  | 1.17 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 12 | Valid | 2026-01-20 | 14:26 | 2026-01-20 | 14:02 | ERIKA |  | 2.04 | 2.03 | / | / | 0.624 | 1.527 |  |  | 0.76 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 13 | Valid | 2026-01-20 | 14:28 | 2026-01-20 | 14:02 | ERIKA |  | 0.06 | 0.06 | / | / | 0.040 |  |  |  | 3.58 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 14 | Valid | 2026-01-20 | 14:29 | 2026-01-20 | 14:02 | ERIKA |  | 0.10 | 0.10 | / | / | 0.042 | 1.518 |  |  | 1.24 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 15 | Old A | 2026-01-20 | 15:06 | 2026-01-20 | 14:02 | ERIKA |  | 0.07 | 0.05 | / | / | 0.043 |  |  |  | 12.0 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 16 | Old A | 2026-01-20 | 15:07 | 2026-01-20 | 14:02 | ERIKA |  | 0.08 | 0.07 | / | / | 0.047 |  |  |  | 13.6 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 17 | Old A | 2026-01-20 | 15:16 | 2026-01-20 | 14:02 | ERIKA |  | 0.00 | 0.00 | / | / | 0.023 |  |  |  | 5.88 |  |  | Andrea V |  | 3 | 1 |  | LOT:1086 EXP:06/2028
1 | 0.00 | 18 | Old A | 2026-01-20 | 15:16 | 2026-01-20 | 14:02 | ERIKA |  | 0.00 | 0.00 | / | / | 0.021 |  |  |  | 5.04 |  |  | Andrea V |  | 3 | 1 |  | LOT:1086 EXP:06/2028
1 | 0.00 | 19 | Old A | 2026-01-20 | 15:25 | 2026-01-20 | 14:02 | ERIKA |  | 0.04 | 0.04 | / | / | 0.035 |  |  |  | 5.77 |  |  | Andrea V |  | 3 | 1 |  | LOT:1052 EXP:05/2028
1 | 0.00 | 20 | Old A | 2026-01-20 | 15:25 | 2026-01-20 | 14:02 | ERIKA |  | 0.03 | 0.03 | / | / | 0.032 |  |  |  | 10.4 |  |  | Andrea V |  | 3 | 1 |  | LOT:1052 EXP:05/2028
2 | 0.50 | 21 | Valid | 2026-01-21 | 10:30 | 2026-01-21 | 08:40 | ERIKA |  | 0.45 | 0.44 | / | / | 0.157 |  |  |  | 2.01 |  |  | Kinga |  | 3 | 2 |  | MIXED MORE
2 | 0.50 | 22 | Valid | 2026-01-21 | 10:30 | 2026-01-21 | 08:40 | ERIKA |  | 0.44 | 0.43 | / | / | 0.152 |  |  |  | 1.65 |  |  | Kinga |  | 3 | 2 |  | MIXED MORE
2 | 0.50 | 23 | Valid | 2026-01-21 | 10:31 | 2026-01-21 | 08:40 | ERIKA |  | 0.45 | 0.44 | / | / | 0.156 |  |  |  | 1.65 |  |  | Kinga |  | 3 | 2 |  | MIXED MORE
3 | 2.00 | 24 | Valid | 2026-01-21 | 10:32 | 2026-01-21 | 08:40 | ERIKA |  | 1.99 | 1.97 | / | / | 0.608 |  |  |  | 1.27 |  |  | Kinga |  | 3 | 3 |  | MIXED MORE
3 | 2.00 | 25 | Valid | 2026-01-21 | 10:32 | 2026-01-21 | 08:40 | ERIKA |  | 1.95 | 1.95 | / | / | 0.597 |  |  |  | 3.18 |  |  | Kinga |  | 3 | 3 |  | MIXED MORE
3 | 2.00 | 26 | Valid | 2026-01-21 | 10:34 | 2026-01-21 | 08:40 | ERIKA |  | 2.22 | 2.19 | / | / | 0.673 |  |  |  | 3.18 |  |  | Kinga |  | 3 | 3 |  | MIXED MORE
1 | 0.00 | 27 | Valid | 2026-01-21 | 10:35 | 2026-01-21 | 08:40 | ERIKA |  | 0.01 | 0.00 | / | / | 0.026 |  |  |  | 1.21 |  |  | Kinga |  | 3 | 1 |  | MIXED MORE
1 | 0.00 | 28 | Valid | 2026-01-21 | 10:36 | 2026-01-21 | 08:40 | ERIKA |  | 0.14 | 0.15 | / | / | 0.066 |  |  |  | 15.1 |  |  | Kinga |  | 3 | 1 |  | MIXED MORE
3 | 2.00 | 29 | Old A | 2026-01-21 | 10:43 | 2026-01-21 | 08:40 | ERIKA |  | 1.92 | 1.91 | / | / | 0.588 |  |  |  | 3.65 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 30 | Old A | 2026-01-21 | 10:44 | 2026-01-21 | 08:40 | ERIKA |  | 2.09 | 2.01 | / | / | 0.638 |  |  |  | 5.45 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 31 | Old A | 2026-01-21 | 10:44 | 2026-01-21 | 08:40 | ERIKA |  | 1.98 | 1.91 | / | / | 0.605 |  |  |  | 3.98 |  |  | Kinga |  | 3 | 3
3 | 2.00 | 32 | Old A | 2026-01-21 | 10:45 | 2026-01-21 | 08:40 | ERIKA |  | 1.97 | 1.90 | / | / | 0.603 |  |  |  | 3.30 |  |  | Kinga |  | 3 | 3
2 | 0.50 | 33 | Old A | 2026-01-21 | 10:50 | 2026-01-21 | 08:40 | ERIKA |  | 0.44 | 0.38 | / | / | 0.156 |  |  |  | 2.53 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 34 | Old A | 2026-01-21 | 10:50 | 2026-01-21 | 08:40 | ERIKA |  | 0.47 | 0.40 | / | / | 0.163 |  |  |  | 2.71 |  |  | Kinga |  | 3 | 2
1 | 0.00 | 35 | Old A | 2026-01-21 | 10:53 | 2026-01-21 | 08:40 | ERIKA |  | 0.04 | 0.00 | / | / | 0.035 |  |  |  | 3.87 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 36 | Old A | 2026-01-21 | 10:53 | 2026-01-21 | 08:40 | ERIKA |  | 0.00 | 0.00 | / | / | 0.016 |  |  |  | 3.51 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 37 | Valid | 2026-01-21 | 12:49 | 2026-01-21 | 08:40 | ERIKA |  | 0.00 | 0.00 | / | / | 0.017 |  |  |  | 0.92 |  |  | Andrea V |  | 3 | 1 |  | MIXED MORE
1 | 0.00 | 38 | Valid | 2026-01-21 | 12:49 | 2026-01-21 | 08:40 | ERIKA |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.94 |  |  | Andrea V |  | 3 | 1 |  | MIXED MORE
3 | 2.00 | 39 | Old A | 2026-01-23 | 15:10 | 2026-01-23 | 14:41 | ELENA | 2 | 2.00 | 1.97 | / | / | 0.611 |  |  |  | 2.55 |  |  | Andrea V |  | 3 | 3 | 21757
3 | 2.00 | 40 | Old A | 2026-01-23 | 15:10 | 2026-01-23 | 14:41 | ELENA | 2 | 1.98 | 1.96 | / | / | 0.604 |  |  |  | 2.63 |  |  | Andrea V |  | 3 | 3 | 21757
2 | 0.50 | 41 | Old A | 2026-01-23 | 15:14 | 2026-01-23 | 14:41 | ELENA | 2 | 0.47 | 0.46 | / | / | 0.164 |  |  |  | 2.23 |  |  | Andrea V |  | 3 | 2 | 21757
2 | 0.50 | 42 | Old A | 2026-01-23 | 15:15 | 2026-01-23 | 14:41 | ELENA | 2 | 0.45 | 0.44 | / | / | 0.158 |  |  |  | 1.47 |  |  | Andrea V |  | 3 | 2 | 21757
1 | 0.00 | 43 | Old A | 2026-01-23 | 15:16 | 2026-01-23 | 14:41 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.014 |  |  |  | 2.54 |  |  | Andrea V |  | 3 | 1 | 21757
1 | 0.00 | 44 | Old A | 2026-01-23 | 15:16 | 2026-01-23 | 14:41 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.015 |  |  |  | 2.50 |  |  | Andrea V |  | 3 | 1 | 21757
3 | 2.00 | 45 | P/FINAL | 2026-01-23 | 15:19 | 2026-01-23 | 14:41 | ELENA | 2 | 2.02 | 2.00 | / | / | 0.616 |  |  |  | 1.33 |  |  | Andrea V |  | 3 | 3 | 21757
3 | 2.00 | 46 | P/FINAL | 2026-01-23 | 15:20 | 2026-01-23 | 14:41 | ELENA | 2 | 1.98 | 1.96 | / | / | 0.606 | 1.451 |  |  | 0.85 | 159 |  | Andrea V |  | 3 | 3 | 21757
3 | 2.00 | 47 | P/FINAL | 2026-01-23 | 15:20 | 2026-01-23 | 14:41 | ELENA | 2 | 2.03 | 1.99 | / | / | 0.619 |  |  |  | 1.23 | 159 |  | Andrea V |  | 3 | 3 | 21757
2 | 0.50 | 48 | P/FINAL | 2026-01-23 | 15:23 | 2026-01-23 | 14:41 | ELENA | 2 | 0.49 | 0.47 | / | / | 0.170 |  |  |  | 1.58 |  |  | Andrea V |  | 3 | 2 | 21757
2 | 0.50 | 49 | P/FINAL | 2026-01-23 | 15:24 | 2026-01-23 | 14:41 | ELENA | 2 | 0.45 | 0.44 | / | / | 0.158 | 1.490 |  |  | 0.92 | 171 |  | Andrea V |  | 3 | 2 | 21757
2 | 0.50 | 50 | P/FINAL | 2026-01-23 | 15:24 | 2026-01-23 | 14:41 | ELENA | 2 | 0.46 | 0.46 | / | / | 0.160 |  |  |  | 1.58 | 115 |  | Andrea V |  | 3 | 2 | 21757
1 | 0.00 | 51 | P/FINAL | 2026-01-23 | 15:27 | 2026-01-23 | 14:41 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.017 |  |  |  | 0.94 | 154 |  | Andrea V |  | 3 | 1 | 21757
1 | 0.00 | 52 | P/FINAL | 2026-01-23 | 15:28 | 2026-01-23 | 14:41 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.010 | 1.462 |  |  | 1.16 | 166 |  | Andrea V |  | 3 | 1 | 21757
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.46 mg/L | 3 | 6 | 0.46 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 2 mg/L | 3 | 6 | 2 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.50 | 0.44 ÷ 0.56 | 0.46 | YES
2.00 | 1.88 ÷ 2.12 | 2.00 | YES
Validation Date | by