## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
0934 | MI512-0 | CP-R29 | W 08/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate Reagent | 2028-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-02-24 | 2025-02-24 | 1HEAD |  |  | 0620
[6 empty] | Expiration A | Expiration B | Expiration D
2027-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.44 | 0.56 |  | MR104 |  | 0.04 | & | 0.04% | 1% |  | 1.5 | 1.2 | 1.6
1 | 0.00 | 0.00 | 0.04
3 | 2.00 | 1.88 | 2.12
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2025-02-24 | 11:13 | 2025-02-24 | 08:55 | MARA |  | 0.53 | 0.52 | / | / | 0.181 |  |  |  | 6.47 |  |  | Kinga |  | 3 | 2 | 85439
1 | 0.00 | 2 | Old A | 2025-02-24 | 11:15 | 2025-02-24 | 08:55 | MARA |  | 0.00 | 0.00 | / | / | 0.015 |  |  |  | 3.14 |  |  | Kinga |  | 3 | 1 | 85439
3 | 2.00 | 3 | Old A | 2025-02-24 | 11:19 | 2025-02-24 | 08:55 | MARA |  | 2.01 | 1.98 | / | / | 0.613 |  |  |  | 9.96 |  |  | Kinga |  | 3 | 3 | 85439
2 | 0.50 | 4 | P/Prod | 2025-02-24 | 11:22 | 2025-02-24 | 08:55 | MARA |  | 0.47 | 0.46 | / | / | 0.165 | 1.529 |  |  | 4.46 | 156 |  | Kinga |  | 3 | 2 | 85439
2 | 0.50 | 5 | P/Prod | 2025-02-24 | 11:23 | 2025-02-24 | 08:55 | MARA |  | 0.51 | 0.50 | / | / | 0.175 |  |  |  | 2.40 | 155 |  | Kinga |  | 3 | 2 | 85439
3 | 2.00 | 6 | P/Prod | 2025-02-24 | 11:27 | 2025-02-24 | 08:55 | MARA |  | 2.09 | 2.08 | / | / | 0.638 | 1.493 |  |  | 5.00 | 156 |  | Kinga |  | 3 | 3 | 85439
3 | 2.00 | 7 | P/Prod | 2025-02-24 | 11:27 | 2025-02-24 | 08:55 | MARA |  | 1.95 | 1.95 | / | / | 0.597 |  |  |  | 3.04 | 152 |  | Kinga |  | 3 | 3 | 85439
1 | 0.00 | 8 | P/Prod | 2025-02-24 | 11:32 | 2025-02-24 | 08:55 | MARA |  | 0.00 | 0.00 | / | / | 0.014 | 1.481 |  |  | 2.53 |  |  | Kinga |  | 3 | 1 | 85439
1 | 0.00 | 9 | P/Prod | 2025-02-24 | 11:32 | 2025-02-24 | 08:55 | MARA |  | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 2.02 |  |  | Kinga |  | 3 | 1 | 85439
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.49 mg/L | 2 | 4 | 0.49 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 2.02 mg/L | 2 | 4 | 2.02 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.50 | 0.44 ÷ 0.56 | 0.49 | YES
2.00 | 1.88 ÷ 2.12 | 2.02 | YES
Validation Date | by