## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3833-0 | HI3895P-0 | HI3896P-0 | HI713-0 | HI7134-0 | HI93713-0 | HI93758-0 | MI512-0 | MT5010-0
1182 | MI512-0 | CP-R29 | W 41/1 |  | Parameter Formula | PO4 | P | P | PO4 | PO4 | PO4 | P-PO4 | PO4 | P
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate Reagent | 2028-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-08 | 2025-10-08 | 2 HEAD |  |  | 0934
[6 empty] | Expiration A | Expiration B | Expiration D
2028-02-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-830 | HI97713 | CTO-627
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.04 |  | MR104 |  | 0.04 | & | 0.04% | 1% |  | 1.5 | 1.2 | 1.6
2 | 0.50 | 0.44 | 0.56
3 | 2.00 | 1.88 | 2.12
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97713 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-10-08 | 14:50 | 2025-10-08 | 09:41 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.021 |  |  |  | 5.47 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-10-08 | 14:51 | 2025-10-08 | 09:41 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.013 |  |  |  | 5.75 |  |  | Andrea V |  | 3 | 1
2 | 0.50 | 3 | Old A | 2025-10-08 | 14:51 | 2025-10-08 | 09:41 | ELENA | 2 | 0.46 | 0.45 | / | / | 0.160 |  |  |  | 7.34 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 4 | Old A | 2025-10-08 | 14:51 | 2025-10-08 | 09:41 | ELENA | 2 | 0.47 | 0.47 | / | / | 0.165 |  |  |  | 4.86 |  |  | Andrea V |  | 3 | 2
3 | 2.00 | 5 | Old A | 2025-10-08 | 14:51 | 2025-10-08 | 09:41 | ELENA | 2 | 1.98 | 1.96 | / | / | 0.606 |  |  |  | 4.50 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 6 | Old A | 2025-10-08 | 14:52 | 2025-10-08 | 09:41 | ELENA | 2 | 1.90 | 1.88 | / | / | 0.582 |  |  |  | 7.33 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 7 | P/FINAL | 2025-10-08 | 14:52 | 2025-10-08 | 09:41 | ELENA | 2 | 1.93 | 1.94 | / | / | 0.592 | 1.355 |  |  | 0.96 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 8 | P/FINAL | 2025-10-08 | 14:52 | 2025-10-08 | 09:41 | ELENA | 2 | 2.01 | 2.02 | / | / | 0.615 |  |  |  | 1.23 |  |  | Andrea V |  | 3 | 3
3 | 2.00 | 9 | P/FINAL | 2025-10-08 | 14:53 | 2025-10-08 | 09:41 | ELENA | 2 | 1.98 | 1.97 | / | / | 0.604 |  |  |  | 1.13 |  |  | Andrea V |  | 3 | 3
2 | 0.50 | 10 | P/FINAL | 2025-10-08 | 14:53 | 2025-10-08 | 09:41 | ELENA | 2 | 0.44 | 0.44 | / | / | 0.154 | 1.351 |  |  | 0.92 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 11 | P/FINAL | 2025-10-08 | 14:54 | 2025-10-08 | 09:41 | ELENA | 2 | 0.43 | 0.43 | / | / | 0.151 |  |  |  | 0.62 |  |  | Andrea V |  | 3 | 2
2 | 0.50 | 12 | P/FINAL | 2025-10-08 | 14:54 | 2025-10-08 | 09:41 | ELENA | 2 | 0.48 | 0.47 | / | / | 0.166 |  |  |  | 0.85 |  |  | Andrea V |  | 3 | 2
1 | 0.00 | 13 | P/FINAL | 2025-10-08 | 14:55 | 2025-10-08 | 09:41 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.83 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 14 | P/FINAL | 2025-10-08 | 14:55 | 2025-10-08 | 09:41 | ELENA | 2 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.80 |  |  | Andrea V |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.45 mg/L | 3 | 6 | 0.45 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.98 mg/L | 3 | 6 | 1.98 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.04 | 0.00 | YES
0.50 | 0.44 ÷ 0.56 | 0.45 | YES
2.00 | 1.88 ÷ 2.12 | 1.98 | YES
Validation Date | by