## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
0682 | HI705C-0 | CP-R30 | W37 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica Reagent C | 2029-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
85 | 75 | 95
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
HI93705A-0 | HI93705B-0 | HI705C-0
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-10-01 | 2029-05-01 | 2029-09-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-11-06 | 2024-10-11 | 1HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.35 | 0.45 |  | MR45 |  | 0.03 | & | 5% | 100% |  | 0.6 | 0.4 | 0.8
3 | 1.60 | 1.49 | 1.71 | [8 empty] | 2.4 | 2.3 | 2.6
1 | 0.00 | 0.00 | 0.03 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old C | 2024-11-06 | 11:08 | 2024-11-06 | 09:15 | MARA | 1 | 0.41 | 0.41 | / | / | 0.112 |  |  |  | 0.73 |  | 1 | Kinga |  | 3 | 2 | 31504
3 | 1.60 | 2 | Old C | 2024-11-06 | 11:16 | 2024-11-06 | 09:15 | MARA | 1 | 1.60 | 1.62 | / | / | 0.421 |  |  |  | 1.21 |  | 1 | Kinga |  | 3 | 3 | 31504
1 | 0.00 | 3 | Old C | 2024-11-06 | 11:22 | 2024-11-06 | 09:15 | MARA | 1 | 0.03 | 0.01 | / | / | 0.007 |  |  |  | 0.84 |  | 1 | Kinga |  | 3 | 1 | 31504
2 | 0.40 | 4 | P/Final | 2024-11-06 | 11:29 | 2024-11-06 | 09:15 | MARA | 1 | 0.41 | 0.41 | / | / | 0.111 | 1.509 |  |  | 0.93 | 82 | 1 | Kinga |  | 3 | 2 | 31504
2 | 0.40 | 5 | P/Final | 2024-11-06 | 11:37 | 2024-11-06 | 09:15 | MARA | 1 | 0.41 | 0.42 | / | / | 0.112 | 1.494 |  |  | 1.02 | 87 | 1 | Kinga |  | 3 | 2 | 31504
3 | 1.60 | 6 | P/Final | 2024-11-06 | 11:43 | 2024-11-06 | 09:15 | MARA | 1 | 1.53 | 1.68 | / | / | 0.404 | 1.454 |  |  | 1.13 | 70 | 1 | Kinga |  | 3 | 3 | 31504
3 | 1.60 | 7 | P/Final | 2024-11-06 | 11:48 | 2024-11-06 | 09:15 | MARA | 1 | 1.49 | 1.51 | / | / | 0.395 | 1.474 |  |  | 0.78 | 86 | 1 | Kinga |  | 3 | 3 | 31504
1 | 0.00 | 8 | P/Final | 2024-11-06 | 11:52 | 2024-11-06 | 09:15 | MARA | 1 | 0.01 | 0.02 | / | / | 0.003 | 1.465 |  |  | 0.66 |  | 1 | Kinga |  | 3 | 1 | 31504
1 | 0.00 | 9 | P/Final | 2024-11-06 | 11:59 | 2024-11-06 | 09:15 | MARA | 1 | 0.02 | 0.02 | / | / | 0.004 | 1.485 |  |  | 0.79 |  | 1 | Kinga |  | 3 | 1 | 31504
2 | 0.40 | 10 | P/Final | 2024-11-06 | 16:04 | 2024-11-06 | 14:38 | Tamara |  | 0.41 | 0.41 | / | / | 0.110 | 1.506 |  |  | 0.65 | 86 | 1 | Monika |  | 3 | 2
2 | 0.40 | 11 | P/Final | 2024-11-06 | 16:05 | 2024-11-06 | 14:38 | Tamara |  | 0.36 | 0.35 | / | / | 0.098 | 1.465 |  |  | 0.63 | 109 | 1 | Monika |  | 3 | 2
3 | 1.60 | 12 | P/Final | 2024-11-06 | 16:06 | 2024-11-06 | 14:38 | Tamara |  | 1.58 | 1.60 | / | / | 0.415 | 1.481 |  |  | 2.46 | 63 | 1 | Monika |  | 3 | 3
3 | 1.60 | 13 | P/Final | 2024-11-06 | 16:06 | 2024-11-06 | 14:38 | Tamara |  | 1.50 | 1.51 | / | / | 0.393 | 1.419 |  |  | 2.46 |  | 1 | Monika |  | 3 | 3
1 | 0.00 | 14 | P/Final | 2024-11-06 | 16:07 | 2024-11-06 | 14:38 | Tamara |  | 0.01 | 0.02 | / | / | 0.002 |  |  |  | 0.83 |  | 1 | Monika |  | 3 | 1
1 | 0.00 | 15 | P/Final | 2024-11-06 | 16:07 | 2024-11-06 | 14:38 | Tamara |  | 0.02 | 0.03 | / | / | 0.003 |  |  |  | 0.78 |  | 1 | Monika |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.4 mg/L | 4 | 8 | 0.4 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 1.55 mg/L | 4 | 8 | 1.55 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.02 mg/L | 4 | 8 | 0.02 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.02 | YES
0.40 | 0.35 ÷ 0.45 | 0.40 | YES
1.60 | 1.49 ÷ 1.71 | 1.55 | YES
Validation Date | by