## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1070 | HI705C-0 | CP-R30 | W24/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica LR Reagent C | 2030-06-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
85 | 75 | 95
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1722 | 0868 | 1070
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-03-01 | 2029-12-01 | 2030-06-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-06-10 | 2025-06-23 | 1 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR45 |  | 0.03 | & | 5% | 100% |  | 0.6 | 0.4 | 0.8
2 | 0.40 | 0.35 | 0.45 | [8 empty] | 2.4 | 2.3 | 2.6
3 | 1.60 | 1.49 | 1.71 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old C | 2025-06-23 | 08:42 | 2025-06-23 | 07:27 | TAMARA | 1 | 0.03 | 0.04 | / | / | 0.007 |  |  |  | 2.17 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 2 | Old C | 2025-06-23 | 08:43 | 2025-06-23 | 07:27 | TAMARA | 1 | 0.01 | 0.03 | / | / | 0.003 |  |  |  | 1.53 |  | 1 | Kinga |  | 3 | 1
2 | 0.40 | 3 | Old C | 2025-06-23 | 08:44 | 2025-06-23 | 07:27 | TAMARA | 1 | 0.42 | 0.44 | / | / | 0.113 |  |  |  | 2.24 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 4 | Old C | 2025-06-23 | 08:45 | 2025-06-23 | 07:27 | TAMARA | 1 | 0.41 | 0.42 | / | / | 0.112 |  |  |  | 1.17 |  | 1 | Kinga |  | 3 | 2
3 | 1.60 | 5 | Old C | 2025-06-23 | 08:57 | 2025-06-23 | 07:27 | TAMARA | 1 | 1.60 | 1.61 | / | / | 0.421 |  |  |  | 1.90 |  | 1 | Kinga |  | 3 | 3
3 | 1.60 | 6 | Old C | 2025-06-23 | 08:57 | 2025-06-23 | 07:27 | TAMARA | 1 | 1.59 | 1.61 | / | / | 0.418 |  |  |  | 1.72 |  | 1 | Kinga |  | 3 | 3
1 | 0.00 | 7 | P/FINAL | 2025-06-23 | 08:59 | 2025-06-23 | 07:27 | TAMARA | 1 | 0.03 | 0.05 | / | / | 0.007 | - |  | 1.396 | 0.80 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 8 | P/FINAL | 2025-06-23 | 09:16 | 2025-06-23 | 07:27 | TAMARA | 1 | 0.02 | 0.02 | / | / | 0.004 |  |  |  | 0.56 |  | 1 | Kinga |  | 3 | 1
2 | 0.40 | 9 | P/FINAL | 2025-06-23 | 09:17 | 2025-06-23 | 07:27 | TAMARA | 1 | 0.42 | 0.43 | / | / | 0.113 | - |  | 1.402 | 1.60 | 76 | 1 | Kinga |  | 3 | 2
2 | 0.40 | 10 | P/FINAL | 2025-06-23 | 09:18 | 2025-06-23 | 07:27 | TAMARA | 1 | 0.41 | 0.43 | / | / | 0.112 |  |  |  | 0.95 | 80 | 1 | Kinga |  | 3 | 2
2 | 0.40 | 11 | P/FINAL | 2025-06-23 | 09:19 | 2025-06-23 | 07:27 | TAMARA | 1 | 0.41 | 0.42 | / | / | 0.110 |  |  |  | 0.91 | 74 | 1 | Kinga |  | 3 | 2
3 | 1.60 | 12 | P/FINAL | 2025-06-23 | 09:27 | 2025-06-23 | 07:27 | TAMARA | 1 | 1.54 | 1.56 | / | / | 0.407 | - |  | 1.418 | 1.39 | 82 | 1 | Kinga |  | 3 | 3
3 | 1.60 | 13 | P/FINAL | 2025-06-23 | 09:27 | 2025-06-23 | 07:27 | TAMARA | 1 | 1.59 | 1.61 | / | / | 0.419 |  |  |  | 1.22 | 82 | 1 | Kinga |  | 3 | 3
3 | 1.60 | 14 | P/FINAL | 2025-06-23 | 09:28 | 2025-06-23 | 07:27 | TAMARA | 1 | 1.56 | 1.58 | / | / | 0.411 |  |  |  | 1.45 | 83 | 1 | Kinga |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.03 mg/L | 2 | 4 | 0.03 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.42 mg/L | 3 | 6 | 0.42 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.57 mg/L | 3 | 6 | 1.57 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.03 | YES
0.40 | 0.35 ÷ 0.45 | 0.42 | YES
1.60 | 1.49 ÷ 1.71 | 1.57 | YES
Validation Date | by
2025-07-03 | Eugenia