## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
0860 | HI706B-0 | CP-R30 | W49/1_2024 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphorus High Range Reagent B | 2029-12-01 | L57 Powder |  |  | Laboratory | TAB 3 | Production
Ref Weight. | Min (mg) | Max (mg)
170 | 160 | 180
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1913 | 0860
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-07-01 | 2029-12-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 15.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
Erika | 2024-12-06 | 2024-12-09 | 1HEAD |  |  |  | 0626
[6 empty] | Expiration A | Expiration B | Expiration D
2029-07-01
Meter
Meter 1 Family | Meter 1 Code
HI97706 | CTO-625
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-320 | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 3.1 | 2.6 | 3.6 |  | MR104 |  | 0.3 | & | 5% | 100% |  | 0.6 | 0.4 | 0.8
3 | 12.0 | 11.1 | 12.9 | [8 empty] | 1.4 | 1.2 | 1.6
1 | 0.0 | 0.0 | 0.3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97706 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 3.1 | 1 | Old B | 2024-12-09 | 12:13 | 2024-12-06 | 19:41 | Tamara |  | 3.3 | / | / | / |  |  |  |  | 41.6 |  | 1 | Kinga |  | 3 | 2 | 100707
3 | 12.0 | 2 | Old B | 2024-12-09 | 12:14 | 2024-12-06 | 19:41 | Tamara |  | 11.9 | / | / | / | [6 empty] | 1 | Kinga |  | 3 | 3 | 100707
1 | 0.0 | 3 | Old B | 2024-12-09 | 12:15 | 2024-12-06 | 19:41 | Tamara |  | 0.0 | / | / | / |  |  |  |  | 4.26 |  | 1 | Kinga |  | 3 | 1
2 | 3.1 | 4 | P/Final | 2024-12-09 | 12:15 | 2024-12-06 | 19:41 | Tamara |  | 3.3 | / | / | / |  |  |  |  | 24.4 |  | 1 | Kinga |  | 3 | 2
2 | 3.1 | 5 | P/Final | 2024-12-09 | 12:16 | 2024-12-06 | 19:41 | Tamara |  | 3.3 | / | / | / |  | 0.518 |  |  | 27.8 |  | 1 | Kinga |  | 3 | 2
3 | 12.0 | 6 | P/Final | 2024-12-09 | 12:16 | 2024-12-06 | 19:41 | Tamara |  | 11.9 | / | / | / | [6 empty] | 1 | Kinga |  | 3 | 3 | 100507
3 | 12.0 | 7 | P/Final | 2024-12-09 | 12:17 | 2024-12-06 | 19:41 | Tamara |  | 12.0 | / | / | / |  | 0.495 |  |  |  |  | 1 | Kinga |  | 3 | 3 | 100507
1 | 0.0 | 8 | P/Final | 2024-12-09 | 12:17 | 2024-12-06 | 19:41 | Tamara |  | 0.5 | / | / | / |  |  |  |  | 23.7 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 9 | P/Final | 2024-12-09 | 12:17 | 2024-12-06 | 19:41 | Tamara |  | 0.2 | / | / | / |  | 0.488 |  |  | 32.0 | 177 | 1 | Kinga |  | 3 | 1
2 | 3.1 | 10 | P/Final | 2024-12-09 | 12:18 | 2024-12-06 | 07:14 | Tamara |  | 3.4 | / | / | / |  |  |  |  | 29.4 | 193 | 1 | Kinga |  | 3 | 2 | 100507
2 | 3.1 | 11 | P/Final | 2024-12-09 | 12:18 | 2024-12-06 | 07:14 | Tamara |  | 3.2 | / | / | / |  | 0.501 |  |  | 25.9 | 180 | 1 | Kinga |  | 3 | 2 | 100507
3 | 12.0 | 12 | P/Final | 2024-12-09 | 12:21 | 2024-12-06 | 07:14 | Tamara |  | 12.2 | / | / | / |  |  |  |  | 26.0 | 183 | 1 | Kinga |  | 3 | 3 | 100507
3 | 12.0 | 13 | P/Final | 2024-12-09 | 12:22 | 2024-12-06 | 07:14 | Tamara |  | 12.4 | / | / | / |  | 0.491 |  |  |  | 179 | 1 | Kinga |  | 3 | 3 | 100507
1 | 0.0 | 14 | P/Final | 2024-12-09 | 12:22 | 2024-12-06 | 07:14 | Tamara |  | 0.3 | / | / | / |  |  |  |  | 26.2 | 182 | 1 | Kinga |  | 3 | 1 | 100507
1 | 0.0 | 15 | P/Final | 2024-12-09 | 12:22 | 2024-12-06 | 07:14 | Tamara |  | 0.3 | / | / | / |  | 0.489 |  |  | 30.5 | 189 | 1 | Kinga |  | 3 | 1 | 100507
1 | 0.0 | 16 | P/Final | 2024-12-09 | 16:57 | 2024-12-09 | 14:51 | MARA | 1 | 0.0 | / | / | / |  |  |  |  | 12.0 | 173 | 1 | Brigitta P |  | 3 | 1 | 100507
1 | 0.0 | 17 | P/Final | 2024-12-09 | 16:57 | 2024-12-09 | 14:51 | MARA | 1 | 0.0 | / | / | / |  |  | 1.017 |  | 12.1 | 175 | 1 | Brigitta P |  | 3 | 1 | 100507
2 | 3.1 | 18 | P/Final | 2024-12-09 | 16:59 | 2024-12-09 | 14:51 | MARA | 1 | 3.1 | / | / | / |  |  | 0.665 |  | 12.5 |  | 1 | Brigitta P |  | 3 | 2 | 100507
2 | 3.1 | 19 | P/Final | 2024-12-09 | 16:59 | 2024-12-09 | 14:51 | MARA | 1 | 3.0 | / | / | / |  |  | 0.655 |  | 5.96 | 155 | 1 | Brigitta P |  | 3 | 2 | 100507
2 | 3.1 | 20 | P/Final | 2024-12-09 | 17:00 | 2024-12-09 | 14:51 | MARA | 1 | 3.0 | / | / | / |  |  | 0.611 |  | 6.96 | 176 | 1 | Brigitta P |  | 3 | 2 | 100507
3 | 12.0 | 21 | P/Final | 2024-12-09 | 17:01 | 2024-12-09 | 14:51 | MARA | 1 | 12.4 | / | / | / |  |  | 0.698 |  |  | 170 | 1 | Brigitta P |  | 3 | 3 | 100507
3 | 12.0 | 22 | P/Final | 2024-12-09 | 17:01 | 2024-12-09 | 14:51 | MARA | 1 | 12.4 | / | / | / |  |  | 0.641 |  |  | 176 | 1 | Brigitta P |  | 3 | 3 | 100507
3 | 12.0 | 23 | P/Final | 2024-12-09 | 17:02 | 2024-12-09 | 14:51 | MARA | 1 | 12.3 | / | / | / |  |  | 0.536 |  |  | 169 | 1 | Brigitta P |  | 3 | 3 | 100507
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 7 | 3.2 mg/L | 7 | 7 | 3.2 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 7 | 12.2 mg/L | 7 | 7 | 12.2 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 6 | 0.2 mg/L | 6 | 6 | 0.2 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.3 | 0.2 | YES
3.1 | 2.6 ÷ 3.6 | 3.2 | YES
12.0 | 11.1 ÷ 12.9 | 12.2 | YES
Validation Date | by