## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1031 | HI706B-0 | CP-R30 | W 18/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphorus HR Reagent B | 2030-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
170 | 160 | 180
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2049 | 1031
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-10-01 | 2030-05-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 15.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-16 | 2025-05-19 | 1HEAD |  |  |  | 0626
[6 empty] | Expiration A | Expiration B | Expiration D
2029-07-01
Meter
Meter 1 Family | Meter 1 Code
HI97706 | CTO-625
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 3.1 | 2.6 | 3.6 |  | MR104 |  | 0.3 | & | 5% | 100% |  | 0.6 | 0.4 | 0.8
3 | 12.0 | 11.1 | 12.9 | [8 empty] | 1.4 | 1.2 | 1.6
1 | 0.0 | 0.0 | 0.3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 3.1 | 1 | Old B | 2025-05-01 | 11:47 | 2025-05-01 | 11:31 | MARK |  | 3.3 | / | / | / |  |  |  |  | 0.77 |  | 1 | Kinga |  | 3 | 2 | 82048
2 | 3.1 | 2 | Old B | 2025-05-01 | 11:47 | 2025-05-01 | 11:31 | MARK |  | 3.2 | / | / | / |  |  |  |  | 11.0 |  | 1 | Kinga |  | 3 | 2 | 82048
3 | 12.0 | 3 | Old B | 2025-05-01 | 11:47 | 2025-05-01 | 11:31 | MARK |  | 12.6 | / | / | / | [6 empty] | 1 | Kinga |  | 3 | 3 | 82048
3 | 12.0 | 4 | Old B | 2025-05-01 | 11:48 | 2025-05-01 | 11:31 | MARK |  | 12.7 | / | / | / | [6 empty] | 1 | Kinga |  | 3 | 3 | 82048
1 | 0.0 | 5 | Old B | 2025-05-01 | 11:48 | 2025-05-01 | 11:31 | MARK |  | 0.2 | / | / | / |  |  |  |  | 27.3 |  | 1 | Kinga |  | 3 | 1 | 82048
1 | 0.0 | 6 | Old B | 2025-05-01 | 11:48 | 2025-05-01 | 11:31 | MARK |  | 0.3 | / | / | / |  |  |  |  | 27.5 |  | 1 | Kinga |  | 3 | 1 | 82048
2 | 3.1 | 7 | Valid | 2025-05-01 | 11:52 | 2025-05-01 | 11:31 | MARK |  | 3.1 | / | / | / |  |  |  |  | 13.1 |  | 1 | Kinga |  | 3 | 2 | 82048
2 | 3.1 | 8 | Valid | 2025-05-01 | 11:52 | 2025-05-01 | 11:31 | MARK |  | 3.2 | / | / | / |  |  |  |  | 13.8 |  | 1 | Kinga |  | 3 | 2 | 82048
2 | 3.1 | 9 | Valid | 2025-05-01 | 11:53 | 2025-05-01 | 11:31 | MARK |  | 3.1 | / | / | / |  |  |  |  | 12.5 |  | 1 | Kinga |  | 3 | 2 | 82048
3 | 12.0 | 10 | Valid | 2025-05-01 | 11:54 | 2025-05-01 | 11:31 | MARK |  | 12.2 | / | / | / |  |  | 0.865 |  |  |  | 1 | Kinga |  | 3 | 3 | 82048
3 | 12.0 | 11 | Valid | 2025-05-01 | 11:54 | 2025-05-01 | 11:31 | MARK |  | 12.4 | / | / | / | [6 empty] | 1 | Kinga |  | 3 | 3 | 82048
3 | 12.0 | 12 | Valid | 2025-05-01 | 11:55 | 2025-05-01 | 11:31 | MARK |  | 12.3 | / | / | / |  |  | 0.858 |  |  |  | 1 | Kinga |  | 3 | 3 | 82048
1 | 0.0 | 13 | Valid | 2025-05-01 | 11:55 | 2025-05-01 | 11:31 | MARK |  | 0.1 | / | / | / |  |  |  |  | 18.7 |  | 1 | Kinga |  | 3 | 1 | 82048
1 | 0.0 | 14 | Valid | 2025-05-01 | 11:55 | 2025-05-01 | 11:31 | MARK |  | 0.1 | / | / | / |  |  | 0.832 |  | 18.9 |  | 1 | Kinga |  | 3 | 1 | 82048
2 | 3.1 | 15 | Old B | 2025-05-19 | 11:41 | 2025-05-19 | 09:52 | MARA |  | 3.1 | / | / | / |  |  |  |  | 14.8 |  | 1 | Kinga |  | 3 | 2
3 | 12.0 | 16 | Old B | 2025-05-19 | 11:42 | 2025-05-19 | 09:52 | MARA |  | 12.3 | / | / | / | [6 empty] | 1 | Kinga |  | 3 | 3
3 | 12.0 | 17 | Old B | 2025-05-19 | 11:42 | 2025-05-19 | 09:52 | MARA |  | 12.1 | / | / | / | [6 empty] | 1 | Kinga |  | 3 | 3
1 | 0.0 | 18 | Old B | 2025-05-19 | 11:42 | 2025-05-19 | 09:52 | MARA |  | 0.0 | / | / | / |  |  |  |  | 17.2 |  | 1 | Kinga |  | 3 | 1
2 | 3.1 | 19 | P/FINAL | 2025-05-19 | 11:50 | 2025-05-19 | 09:52 | MARA |  | 3.3 | / | / | / |  |  |  |  | 28.0 |  | 1 | Kinga |  | 3 | 2 | 82048
2 | 3.1 | 20 | P/FINAL | 2025-05-19 | 11:52 | 2025-05-19 | 09:52 | MARA |  | 3.2 | / | / | / |  |  |  |  | 16.1 |  | 1 | Kinga |  | 3 | 2 | 82048
3 | 12.0 | 21 | P/FINAL | 2025-05-19 | 11:53 | 2025-05-19 | 09:52 | MARA |  | 12.5 | / | / | / |  |  | 5.984 |  |  | 146 | 1 | Kinga |  | 3 | 3 | 82048
3 | 12.0 | 22 | P/FINAL | 2025-05-19 | 11:53 | 2025-05-19 | 09:52 | MARA |  | 12.6 | / | / | / | [5 empty] | 147 | 1 | Kinga |  | 3 | 3 | 82048
3 | 12.0 | 23 | P/FINAL | 2025-05-19 | 11:53 | 2025-05-19 | 09:52 | MARA |  | 12.4 | / | / | / |  |  | 5.991 |  |  | 173 | 1 | Kinga |  | 3 | 3 | 82048
1 | 0.0 | 24 | P/FINAL | 2025-05-19 | 11:54 | 2025-05-19 | 09:52 | MARA |  | 0.0 | / | / | / |  |  |  |  | 17.7 | 166 | 1 | Kinga |  | 3 | 1 | 82048
1 | 0.0 | 25 | P/FINAL | 2025-05-19 | 11:54 | 2025-05-19 | 09:52 | MARA |  | 0.0 | / | / | / |  |  | 5.955 |  | 17.7 |  | 1 | Kinga |  | 3 | 1 | 82048
2 | 3.1 | 26 | P/FINAL | 2025-05-19 | 15:01 | 2025-05-19 | 14:26 | TAMARA |  | 3.1 | / | / | / |  |  |  |  | 10.4 |  | 1 | Kinga |  | 3 | 2 | 82048
2 | 3.1 | 27 | P/FINAL | 2025-05-19 | 15:01 | 2025-05-19 | 14:26 | TAMARA |  | 3.2 | / | / | / |  |  | 5.966 |  | 15.1 | 173 | 1 | Kinga |  | 3 | 2 | 82048
3 | 12.0 | 28 | P/FINAL | 2025-05-19 | 15:02 | 2025-05-19 | 14:26 | TAMARA |  | 12.4 | / | / | / | [5 empty] | 171 | 1 | Kinga |  | 3 | 3 | 82048
3 | 12.0 | 29 | P/FINAL | 2025-05-19 | 15:02 | 2025-05-19 | 14:26 | TAMARA |  | 12.5 | / | / | / |  |  | 5.998 |  |  | 177 | 1 | Kinga |  | 3 | 3 | 82048
1 | 0.0 | 30 | P/FINAL | 2025-05-19 | 15:03 | 2025-05-19 | 14:26 | TAMARA |  | 0.0 | / | / | / |  |  |  |  | 18.0 | 163 | 1 | Kinga |  | 3 | 1 | 82048
1 | 0.0 | 31 | P/FINAL | 2025-05-19 | 15:03 | 2025-05-19 | 14:26 | TAMARA |  | 0.0 | / | / | / |  |  | 5.987 |  | 17.8 |  | 1 | Kinga |  | 3 | 1 | 82048
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 3.2 mg/L | 4 | 4 | 3.2 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 5 | 12.5 mg/L | 5 | 5 | 12.5 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 0 mg/L | 4 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.3 | 0.0 | YES
3.1 | 2.6 ÷ 3.6 | 3.2 | YES
12.0 | 11.1 ÷ 12.9 | 12.5 | YES
Validation Date | by