## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1031 | HI717B-0 | CP-R30 | W18/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate HR Reagent B | 2030-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
170 | 160 | 180
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 30.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-05-19 | 2025-05-20 | 1HEAD |  |  | 0946
[6 empty] | Expiration A | Expiration B | Expiration D
2030-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97717 | CTO-635
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.0 | 0.0 | 1.0 |  | MR104 |  | 1.0 | & | 5% | 100% |  | 0.6 | 0.4 | 0.8
3 | 24.0 | 21.8 | 26.2 | [8 empty] | 1.4 | 1.2 | 1.6
2 | 6.0 | 4.7 | 7.3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.0 | 1 | P/FINAL | 2025-05-19 | 07:01 | 2025-05-19 | 15:57 | TAMARA | 1 | 0.3 | 0.1 | / | / | 0.066 |  | 0.789 |  | 20.1 | 175 |  | Brigitta P |  | 3 | 1 | 103754
1 | 0.0 | 2 | P/FINAL | 2025-05-19 | 07:02 | 2025-05-19 | 15:57 | TAMARA | 1 | 0.3 | 0.1 | / | / | 0.065 |  | 0.790 |  | 21.1 | 152 |  | Brigitta P |  | 3 | 1 | 103754
3 | 24.0 | 3 | P/FINAL | 2025-05-19 | 07:02 | 2025-05-19 | 15:57 | TAMARA | 1 | 26.1 | 25.6 | / | / | 1.163 |  | 0.633 |  |  | 173 |  | Brigitta P |  | 3 | 3 | 103754
3 | 24.0 | 4 | P/FINAL | 2025-05-19 | 07:03 | 2025-05-19 | 15:57 | TAMARA | 1 | 24.7 | 24.4 | / | / | 1.104 |  |  |  | 1.106 | 185 |  | Brigitta P |  | 3 | 3 | 103754
2 | 6.0 | 5 | P/FINAL | 2025-05-19 | 07:03 | 2025-05-19 | 15:57 | TAMARA | 1 | 7.1 | 7.2 | / | / | 0.363 |  | 0.755 |  | 31.4 | 180 |  | Brigitta P |  | 3 | 2 | 103754
2 | 6.0 | 6 | P/FINAL | 2025-05-19 | 07:04 | 2025-05-19 | 15:57 | TAMARA | 1 | 6.4 | 6.3 | / | / | 0.332 |  |  |  | 19.4 |  |  | Brigitta P |  | 3 | 2 | 103754
2 | 6.0 | 7 | P/FINAL | 2025-05-19 | 07:05 | 2025-05-20 | 06:22 | MARA | 1 | 6.6 | 6.6 | / | / | 0.340 |  |  |  | 22.9 | 175 |  | Brigitta P |  | 3 | 2 | 103754
2 | 6.0 | 8 | P/FINAL | 2025-05-19 | 07:05 | 2025-05-20 | 06:22 | MARA | 1 | 6.7 | 6.6 | / | / | 0.342 |  | 0.671 |  | 22.5 | 181 |  | Brigitta P |  | 3 | 2 | 103754
3 | 24.0 | 9 | P/FINAL | 2025-05-19 | 07:06 | 2025-05-20 | 06:22 | MARA | 1 | 24.6 | 24.3 | / | / | 1.099 |  |  |  |  | 192 |  | Brigitta P |  | 3 | 3 | 103754
3 | 24.0 | 10 | P/FINAL | 2025-05-19 | 07:06 | 2025-05-20 | 06:22 | MARA | 1 | 24.3 | 23.9 | / | / | 1.089 |  | 0.657 |  |  | 184 |  | Brigitta P |  | 3 | 3 | 103754
2 | 6.0 | 11 | Old B | 2025-05-19 | 07:06 | 2025-05-20 | 06:22 | MARA | 1 | 6.7 | 6.7 | / | / | 0.346 |  |  |  | 25.2 | 174 |  | Brigitta P |  | 3 | 2 | 103754
2 | 6.0 | 12 | Old B | 2025-05-19 | 07:07 | 2025-05-20 | 06:22 | MARA | 1 | 6.7 | 6.8 | / | / | 0.348 |  |  |  | 34.4 |  |  | Brigitta P |  | 3 | 2 | 103754
3 | 24.0 | 13 | Old B | 2025-05-19 | 07:08 | 2025-05-20 | 06:22 | MARA | 1 | 24.7 | 24.4 | / | / | 1.104 | [6 empty] | Brigitta P |  | 3 | 3 | 103754
3 | 24.0 | 14 | Old B | 2025-05-19 | 07:08 | 2025-05-20 | 06:22 | MARA | 1 | 26.1 | 26.0 | / | / | 1.163 | [6 empty] | Brigitta P |  | 3 | 3 | 103754
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.2 mg/L | 2 | 4 | 0.2 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 24.7 mg/L | 4 | 8 | 24.7 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 6.7 mg/L | 4 | 8 | 6.7 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 1.0 | 0.2 | YES
6.0 | 4.7 ÷ 7.3 | 6.7 | YES
24.0 | 21.8 ÷ 26.2 | 24.7 | YES
Validation Date | by