## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1070 | HI717B-0 | CP-R30 | W24/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate HR Reagent B | 2030-06-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
170 | 160 | 180
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2571 | 1070
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-06-01 | 2030-06-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 30.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-10 | 2025-05-23 | 1 HEAD |  |  |  | 1031
[6 empty] | Expiration A | Expiration B | Expiration D
2030-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97717 | CTO-635
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.0 | 0.0 | 1.0 |  | MR104 |  | 1.0 | & | 5% | 100% |  | 0.6 | 0.4 | 0.8
2 | 6.0 | 4.7 | 7.3 | [8 empty] | 1.4 | 1.2 | 1.6
3 | 24.0 | 21.8 | 26.2
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.0 | 1 | Old B | 2025-06-20 | 08:59 | 2025-06-20 | 08:22 | MARA |  | 0.0 | 0.0 | / | / | 0.036 |  |  |  | 13.2 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 2 | Old B | 2025-06-20 | 08:59 | 2025-06-20 | 08:22 | MARA |  | 1.6 | 1.5 | / | / | 0.125 |  |  |  | 49.5 |  | 1 | Kinga |  | 3 | 1
2 | 6.0 | 3 | Old B | 2025-06-20 | 09:00 | 2025-06-20 | 08:22 | MARA |  | 7.2 | 7.0 | / | / | 0.367 |  |  |  | 38.4 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 4 | Old B | 2025-06-20 | 09:00 | 2025-06-20 | 08:22 | MARA |  | 6.1 | 6.1 | / | / | 0.320 |  |  |  | 18.4 |  | 1 | Kinga |  | 3 | 2
3 | 24.0 | 5 | Old B | 2025-06-20 | 09:01 | 2025-06-20 | 08:22 | MARA |  | 24.0 | 23.5 | / | / | 1.075 | [5 empty] | 1 | Kinga |  | 3 | 3
3 | 24.0 | 6 | Old B | 2025-06-20 | 09:01 | 2025-06-20 | 08:22 | MARA |  | 24.3 | 23.8 | / | / | 1.089 | [5 empty] | 1 | Kinga |  | 3 | 3
1 | 0.0 | 7 | P/FINAL | 2025-06-20 | 09:12 | 2025-06-20 | 08:22 | MARA |  | 0.0 | 0.0 | / | / | 0.052 |  |  |  | 18.0 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 8 | P/FINAL | 2025-06-20 | 09:13 | 2025-06-20 | 08:22 | MARA |  | 0.6 | 0.6 | / | / | 0.081 |  |  |  | 27.8 |  | 1 | Kinga |  | 3 | 1
2 | 6.0 | 9 | P/FINAL | 2025-06-20 | 09:15 | 2025-06-20 | 08:22 | MARA |  | 6.2 | 6.3 | / | / | 0.325 |  |  |  | 20.0 | 163 | 1 | Kinga |  | 3 | 2
2 | 6.0 | 10 | P/FINAL | 2025-06-20 | 09:16 | 2025-06-20 | 08:22 | MARA |  | 6.3 | 6.3 | / | / | 0.328 |  |  |  | 21.7 | 162 | 1 | Kinga |  | 3 | 2
2 | 6.0 | 11 | P/FINAL | 2025-06-20 | 09:17 | 2025-06-20 | 08:22 | MARA |  | 6.0 | 6.1 | / | / | 0.317 |  |  |  | 16.7 | 180 | 1 | Kinga |  | 3 | 2
3 | 24.0 | 12 | P/FINAL | 2025-06-20 | 09:24 | 2025-06-20 | 08:22 | MARA |  | 23.9 | 23.7 | / | / | 1.073 |  |  |  |  | 162 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 13 | P/FINAL | 2025-06-20 | 09:24 | 2025-06-20 | 08:22 | MARA |  | 24.4 | 24.2 | / | / | 1.093 |  |  |  |  | 153 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 14 | P/FINAL | 2025-06-20 | 09:24 | 2025-06-20 | 08:22 | MARA |  | 24.2 | 23.8 | / | / | 1.083 | [5 empty] | 1 | Kinga |  | 3 | 3
1 | 0.0 | 15 | P/FINAL | 2025-06-20 | 15:00 | 2025-06-20 | 14:26 | TAMARA |  | 0.2 | 0.0 | / | / | 0.063 | 0.756 |  |  | 20.4 |  | 1 | Eugenia |  | 3 | 1
1 | 0.0 | 16 | P/FINAL | 2025-06-20 | 15:01 | 2025-06-20 | 14:26 | TAMARA |  | 0.2 | 0.0 | / | / | 0.059 |  |  |  | 19.9 |  | 1 | Eugenia |  | 3 | 1
2 | 6.0 | 17 | P/FINAL | 2025-06-20 | 15:09 | 2025-06-20 | 14:26 | TAMARA |  | 6.1 | 6.1 | / | / | 0.318 | 0.729 |  |  | 17.7 | 166 | 1 | Kinga |  | 3 | 2
2 | 6.0 | 18 | P/FINAL | 2025-06-20 | 15:10 | 2025-06-20 | 14:26 | TAMARA |  | 6.4 | 6.4 | / | / | 0.334 |  |  |  | 22.9 | 160 | 1 | Kinga |  | 3 | 2
2 | 6.0 | 19 | P/FINAL | 2025-06-20 | 15:10 | 2025-06-20 | 14:26 | TAMARA |  | 6.4 | 6.2 | / | / | 0.332 |  |  |  | 20.5 | 164 | 1 | Kinga |  | 3 | 2
3 | 24.0 | 20 | P/FINAL | 2025-06-20 | 15:20 | 2025-06-20 | 14:26 | TAMARA |  | 24.1 | 23.5 | / | / | 1.078 | 0.909 |  |  |  | 166 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 21 | P/FINAL | 2025-06-20 | 15:21 | 2025-06-20 | 14:26 | TAMARA |  | 24.2 | 23.7 | / | / | 1.084 |  |  |  |  | 169 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 22 | P/FINAL | 2025-06-20 | 15:21 | 2025-06-20 | 14:26 | TAMARA |  | 24.4 | 24.0 | / | / | 1.092 | [5 empty] | 1 | Kinga |  | 3 | 3
3 | 24.0 | 23 | Old A | 2025-06-23 | 09:39 | 2025-06-23 | 06:45 | TAMARA |  | 23.8 | 23.3 | / | / | 1.069 |  |  |  | 23.3 |  | 1 | Kinga |  | 3 | 3
3 | 24.0 | 24 | Old A | 2025-06-23 | 09:39 | 2025-06-23 | 06:45 | TAMARA |  | 24.1 | 23.2 | / | / | 1.078 |  |  |  | 23.2 |  | 1 | Kinga |  | 3 | 3
2 | 6.0 | 25 | Old A | 2025-06-23 | 09:40 | 2025-06-23 | 06:45 | TAMARA |  | 6.3 | 6.0 | / | / | 0.327 |  |  |  | 14.2 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 26 | Old A | 2025-06-23 | 09:41 | 2025-06-23 | 06:45 | TAMARA |  | 6.3 | 6.1 | / | / | 0.328 |  |  |  | 14.6 |  | 1 | Kinga |  | 3 | 2
1 | 0.0 | 27 | Old A | 2025-06-23 | 09:41 | 2025-06-23 | 06:45 | TAMARA |  | 0.5 | 0.0 | / | / | 0.073 |  |  |  | 20.8 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 28 | Old A | 2025-06-23 | 09:42 | 2025-06-23 | 06:45 | TAMARA |  | 0.4 | 0.0 | / | / | 0.071 |  |  |  | 22.6 |  | 1 | Kinga |  | 3 | 1
2 | 6.0 | 29 | P/FINAL | 2025-06-23 | 09:42 | 2025-06-23 | 06:45 | TAMARA |  | 6.5 | 6.0 | / | / | 0.036 |  |  |  | 14.9 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 30 | P/FINAL | 2025-06-23 | 09:43 | 2025-06-23 | 06:45 | TAMARA |  | 6.4 | 5.9 | / | / | 0.332 |  |  |  | 15.3 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 31 | P/FINAL | 2025-06-23 | 09:44 | 2025-06-23 | 06:45 | TAMARA |  | 6.5 | 6.1 | / | / | 0.337 |  | 0.925 |  | 16.0 | 154 | 1 | Kinga |  | 3 | 2
3 | 24.0 | 32 | P/FINAL | 2025-06-23 | 09:44 | 2025-06-23 | 06:45 | TAMARA |  | 23.8 | 23.1 | / | / | 1.069 |  |  |  |  | 157 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 33 | P/FINAL | 2025-06-23 | 09:45 | 2025-06-23 | 06:45 | TAMARA |  | 23.8 | 23.0 | / | / | 1.069 |  |  |  |  | 151 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 34 | P/FINAL | 2025-06-23 | 09:45 | 2025-06-23 | 06:45 | TAMARA |  | 23.9 | 23.7 | / | / | 1.071 |  | 0.917 |  |  | 160 | 1 | Kinga |  | 3 | 3
1 | 0.0 | 35 | P/FINAL | 2025-06-23 | 09:46 | 2025-06-23 | 06:45 | TAMARA |  | 0.0 | 0.0 | / | / | 0.028 |  | 0.841 |  | 6.74 | 165 | 1 | Kinga |  | 3 | 1
1 | 0.0 | 36 | P/FINAL | 2025-06-23 | 09:46 | 2025-06-23 | 06:45 | TAMARA |  | 0.0 | 0.0 | / | / | 0.040 |  |  |  | 1.17 |  | 1 | Kinga |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.1 mg/L | 6 | 12 | 0.1 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 6.2 mg/L | 9 | 18 | 6.2 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 23.9 mg/L | 9 | 18 | 23.9 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 1.0 | 0.1 | YES
6.0 | 4.7 ÷ 7.3 | 6.2 | YES
24.0 | 21.8 ÷ 26.2 | 23.9 | YES
Validation Date | by
2025-07-03 | Eugenia