## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1152 | HI717B-0 | CP-R30 | W 37/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate HR Reagent B | 2030-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
170 | 160 | 180
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2571 | 1152 |  |  | 1152
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-06-01 | 2030-09-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 30.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-09-09 | 2025-09-19 | 1 HEAD |  |  |  | 1116
[6 empty] | Expiration A | Expiration B | Expiration D
2030-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97717 | CTO-635
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 6.0 | 4.7 | 7.3 |  | MR104 |  | 1.0 | & | 5% | 100% |  | 0.6 | 0.4 | 0.8
3 | 24.0 | 21.8 | 26.2 | [8 empty] | 1.4 | 1.2 | 1.6
1 | 0.0 | 0.0 | 1.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97717 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 6.0 | 1 | Old B | 2025-09-09 | 09:44 | 2025-09-09 | 08:20 | MARK |  | 7.2 | 7.1 | / | / | 0.366 |  |  |  | 40.2 |  | 1 | Kinga |  | 3 | 2 | 83418
2 | 6.0 | 2 | Old B | 2025-09-09 | 09:45 | 2025-09-09 | 08:20 | MARK |  | 6.6 | 6.5 | / | / | 0.343 |  |  |  | 44.5 |  | 1 | Kinga |  | 3 | 2 | 83418
3 | 24.0 | 3 | P/FINAL | 2025-09-09 | 09:46 | 2025-09-09 | 08:20 | MARK |  | 24.5 | 24.4 | / | / | 1.098 | [5 empty] | 1 | Kinga |  | 3 | 3 | 83418
3 | 24.0 | 4 | Old B | 2025-09-09 | 09:46 | 2025-09-09 | 08:20 | MARK |  | 24.2 | 25.1 | / | / | 1.084 | [5 empty] | 1 | Kinga |  | 3 | 3 | 83418
1 | 0.0 | 5 | Old B | 2025-09-09 | 09:48 | 2025-09-09 | 08:20 | MARK |  | 1.0 | 1.0 | / | / |  |  |  |  | 55.6 |  | 1 | Kinga |  | 3 | 1 | 83418
1 | 0.0 | 6 | Old B | 2025-09-09 | 09:48 | 2025-09-09 | 08:20 | MARK |  | 1.2 | 1.0 | / | / | 0.105 |  |  |  | 51.4 |  | 1 | Kinga |  | 3 | 1 | 83418
2 | 6.0 | 7 | Valid | 2025-09-09 | 09:54 | 2025-09-09 | 08:20 | MARK |  | 5.6 | 5.5 | / | / | 0.300 |  |  |  | 7.20 |  | 1 | Kinga |  | 3 | 2 | 83418
2 | 6.0 | 8 | Valid | 2025-09-09 | 09:54 | 2025-09-09 | 08:20 | MARK |  | 5.9 | 6.5 | / | / | 0.312 |  |  |  | 12.5 |  | 1 | Kinga |  | 3 | 2 | 83418
2 | 6.0 | 9 | Valid | 2025-09-09 | 09:55 | 2025-09-09 | 08:20 | MARK |  | 6.1 | 6.3 | / | / | 0.319 |  | 0.861 |  | 17.8 |  | 1 | Kinga |  | 3 | 2 | 83418
3 | 24.0 | 10 | Valid | 2025-09-09 | 09:55 | 2025-09-09 | 08:20 | MARK |  | 24.0 | 23.8 | / | / | 1.076 | [5 empty] | 1 | Kinga |  | 3 | 3 | 83418
3 | 24.0 | 11 | Valid | 2025-09-09 | 09:56 | 2025-09-09 | 08:20 | MARK |  | 24.2 | 24.0 | / | / | 1.082 | [5 empty] | 1 | Kinga |  | 3 | 3 | 83418
3 | 24.0 | 12 | Valid | 2025-09-09 | 09:56 | 2025-09-09 | 08:20 | MARK |  | 24.2 | 23.9 | / | / | 1.084 |  | 0.859 |  |  |  | 1 | Kinga |  | 3 | 3 | 83418
1 | 0.0 | 13 | Valid | 2025-09-09 | 09:57 | 2025-09-09 | 08:20 | MARK |  | 0.3 | 0.1 | / | / | 0.066 |  |  |  | 19.8 |  | 1 | Kinga |  | 3 | 1 | 83418
1 | 0.0 | 14 | Valid | 2025-09-09 | 09:58 | 2025-09-09 | 08:20 | MARK |  | 0.4 | 0.2 | / | / | 0.070 |  | 0.840 |  | 21.7 |  | 1 | Kinga |  | 3 | 1 | 83418
1 | 0.0 | 15 | Old B | 2025-09-17 | 21:02 | 2025-09-17 | 19:33 | GIORGIANA | 1 | 0.0 | 0.0 | / | / | 0.004 |  |  |  | 1.41 |  | 1 | Andrea V |  | 3 | 1
1 | 0.0 | 16 | P/FINAL | 2025-09-17 | 21:03 | 2025-09-17 | 19:33 | GIORGIANA | 1 | 0.0 | 0.0 | / | / | 0.038 |  |  |  | 12.0 |  | 1 | Andrea V |  | 3 | 1
2 | 6.0 | 17 | Old B | 2025-09-17 | 21:04 | 2025-09-17 | 19:33 | GIORGIANA | 1 | 5.8 | 5.6 | / | / | 0.309 |  |  |  | 12.2 |  | 1 | Andrea V |  | 3 | 2 | 81014
2 | 6.0 | 18 | Old B | 2025-09-17 | 21:05 | 2025-09-17 | 19:33 | GIORGIANA | 1 | 5.8 | 5.5 | / | / | 0.308 |  |  |  | 10.6 |  | 1 | Andrea V |  | 3 | 2 | 81014
3 | 24.0 | 19 | Old B | 2025-09-17 | 21:06 | 2025-09-17 | 19:33 | GIORGIANA | 1 | 24.9 | 24.3 | / | / | 1.112 | [5 empty] | 1 | Andrea V |  | 3 | 3 | 81014
3 | 24.0 | 20 | Old B | 2025-09-17 | 21:07 | 2025-09-17 | 19:33 | GIORGIANA | 1 | 25.4 | 24.7 | / | / | 1.135 | [5 empty] | 1 | Andrea V |  | 3 | 3 | 81014
1 | 0.0 | 21 | P/FINAL | 2025-09-17 | 21:07 | 2025-09-17 | 19:33 | GIORGIANA | 1 | 0.0 | 0.0 | / | / | 0.049 |  |  |  | 13.1 | 168 | 1 | Andrea V |  | 3 | 1 | 81014
1 | 0.0 | 22 | P/FINAL | 2025-09-17 | 21:08 | 2025-09-17 | 19:33 | GIORGIANA | 1 | 0.0 | 0.0 | / | / | 0.052 |  | 0.683 |  | 15.9 |  | 1 | Andrea V |  | 3 | 1 | 81014
2 | 6.0 | 23 | P/FINAL | 2025-09-17 | 21:12 | 2025-09-17 | 19:33 | GIORGIANA | 1 | 6.5 | 6.2 | / | / | 0.338 |  |  |  | 24.8 | 176 | 1 | Andrea V |  | 3 | 2 | 81014
2 | 6.0 | 24 | P/FINAL | 2025-09-17 | 21:13 | 2025-09-17 | 19:33 | GIORGIANA | 1 | 7.0 | 6.6 | / | / | 0.359 |  | 0.661 |  | 30.2 | 196 | 1 | Andrea V |  | 3 | 2 | 81014
2 | 6.0 | 25 | P/FINAL | 2025-09-17 | 21:16 | 2025-09-17 | 19:33 | GIORGIANA | 1 | 6.1 | 5.9 | / | / | 0.321 |  |  |  | 15.2 |  | 1 | Andrea V |  | 3 | 2 | 81014
3 | 24.0 | 26 | P/FINAL | 2025-09-17 | 21:17 | 2025-09-17 | 19:33 | GIORGIANA | 1 | 24.4 | 23.8 | / | / | 1.092 |  |  |  |  | 180 | 1 | Andrea V |  | 3 | 3 | 81014
3 | 24.0 | 27 | P/FINAL | 2025-09-17 | 21:17 | 2025-09-17 | 19:33 | GIORGIANA | 1 | 24.6 | 24.0 | / | / | 1.102 |  | 0.666 |  |  | 175 | 1 | Andrea V |  | 3 | 3 | 81014
3 | 24.0 | 28 | P/FINAL | 2025-09-17 | 21:18 | 2025-09-17 | 19:33 | GIORGIANA | 1 | 24.5 | 23.9 | / | / | 1.095 | [5 empty] | 1 | Andrea V |  | 3 | 3 | 81014
1 | 0.0 | 29 | Old B | 2025-09-19 | 15:02 | 2025-09-19 | 11:59 | TAMARA | 1 | 0.4 | 0.1 | / | / | 0.069 |  |  |  | 34.6 |  | 1 | Andrea V |  | 3 | 1 | 81014
1 | 0.0 | 30 | Old B | 2025-09-19 | 15:03 | 2025-09-19 | 11:59 | TAMARA | 1 | 0.4 | 0.3 | / | / | 0.071 |  |  |  | 38.6 |  | 1 | Andrea V |  | 3 | 1 | 81014
2 | 6.0 | 31 | Old B | 2025-09-19 | 15:04 | 2025-09-19 | 11:59 | TAMARA | 1 | 6.0 | 6.0 | / | / | 0.317 |  |  |  | 20.3 |  | 1 | Andrea V |  | 3 | 2 | 81014
2 | 6.0 | 32 | Old B | 2025-09-19 | 15:06 | 2025-09-19 | 11:59 | TAMARA | 1 | 6.1 | 6.2 | / | / | 0.321 |  |  |  | 22.5 |  | 1 | Andrea V |  | 3 | 2 | 81014
3 | 24.0 | 33 | Old B | 2025-09-19 | 15:08 | 2025-09-19 | 11:59 | TAMARA | 1 | 25.0 | 24.5 | / | / | 1.116 | [5 empty] | 1 | Andrea V |  | 3 | 3 | 81014
3 | 24.0 | 34 | Old B | 2025-09-19 | 15:08 | 2025-09-19 | 11:59 | TAMARA | 1 | 25.0 | 24.4 | / | / | 1.116 | [5 empty] | 1 | Andrea V |  | 3 | 3 | 81014
1 | 0.0 | 35 | P/FINAL | 2025-09-19 | 15:11 | 2025-09-19 | 11:59 | TAMARA | 1 | 0.0 | 0.0 | / | / | 0.028 |  |  |  | 9.13 | 165 | 1 | Andrea V |  | 3 | 1 | 81014
1 | 0.0 | 36 | P/FINAL | 2025-09-19 | 15:13 | 2025-09-19 | 11:59 | TAMARA | 1 | 0.0 | 0.0 | / | / | 0.033 |  | 1.047 |  | 11.3 | 155 | 1 | Andrea V |  | 3 | 1 | 81014
2 | 6.0 | 37 | P/FINAL | 2025-09-19 | 15:17 | 2025-09-19 | 11:59 | TAMARA | 1 | 5.6 | 5.8 | / | / | 0.299 |  |  |  | 12.0 | 170 | 1 | Andrea V |  | 3 | 2 | 81014
2 | 6.0 | 38 | P/FINAL | 2025-09-19 | 15:19 | 2025-09-19 | 11:59 | TAMARA | 1 | 5.9 | 6.0 | / | / | 0.311 |  | 1.086 |  | 13.9 | 159 | 1 | Andrea V |  | 3 | 2 | 81014
2 | 6.0 | 39 | P/FINAL | 2025-09-19 | 15:19 | 2025-09-19 | 11:59 | TAMARA | 1 | 6.1 | 6.1 | / | / | 0.319 |  |  |  | 18.0 |  | 1 | Andrea V |  | 3 | 2 | 81014
3 | 24.0 | 40 | P/FINAL | 2025-09-19 | 15:24 | 2025-09-19 | 11:59 | TAMARA | 1 | 24.4 | 24.0 | / | / | 1.094 | [5 empty] | 1 | Andrea V |  | 3 | 3 | 81014
3 | 24.0 | 41 | P/FINAL | 2025-09-19 | 15:24 | 2025-09-19 | 11:59 | TAMARA | 1 | 24.5 | 24.0 | / | / | 1.095 | [5 empty] | 1 | Andrea V |  | 3 | 3 | 81014
3 | 24.0 | 42 | P/FINAL | 2025-09-19 | 15:25 | 2025-09-19 | 11:59 | TAMARA | 1 | 24.6 | 24.2 | / | / | 1.100 |  | 1.042 |  |  |  | 1 | Andrea V |  | 3 | 3 | 81014
1 | 0.0 | 43 | P/FINAL | 2025-09-19 | 15:26 | 2025-09-19 | 14:29 | FLORICA | 4 | 0.0 | 0.0 | / | / | 0.042 |  |  |  | 13.5 | 172 | 1 | Andrea V |  | 3 | 1 | 81014
1 | 0.0 | 44 | P/FINAL | 2025-09-19 | 15:27 | 2025-09-19 | 14:29 | FLORICA | 4 | 0.0 | 0.0 | / | / | 0.03011.0 |  | 0.958 |  |  | 163 | 1 | Andrea V |  | 3 | 1 | 81014
2 | 6.0 | 45 | P/FINAL | 2025-09-19 | 15:27 | 2025-09-19 | 14:29 | FLORICA | 4 | 5.6 | 5.6 | / | / | 0.297 |  |  |  | 9.55 | 174 | 1 | Andrea V |  | 3 | 2 | 81014
2 | 6.0 | 46 | P/FINAL | 2025-09-19 | 15:28 | 2025-09-19 | 14:29 | FLORICA | 4 | 5.7 | 5.7 | / | / | 0.305 |  | 0.992 |  | 12.5 | 164 | 1 | Andrea V |  | 3 | 2 | 81014
2 | 6.0 | 47 | P/FINAL | 2025-09-19 | 15:28 | 2025-09-19 | 14:29 | FLORICA | 4 | 5.8 | 5.9 | / | / | 0.308 |  |  |  | 15.5 |  | 1 | Andrea V |  | 3 | 2 | 81014
3 | 24.0 | 48 | P/FINAL | 2025-09-19 | 15:29 | 2025-09-19 | 14:29 | FLORICA | 4 | 24.1 | 23.6 | / | / | 1.079 |  | 1.028 |  |  |  | 1 | Andrea V |  | 3 | 3 | 81014
3 | 24.0 | 49 | P/FINAL | 2025-09-19 | 15:30 | 2025-09-19 | 14:29 | FLORICA | 4 | 24.5 | 24.0 | / | / | 1.097 | [5 empty] | 1 | Andrea V |  | 3 | 3 | 81014
3 | 24.0 | 50 | P/FINAL | 2025-09-19 | 15:30 | 2025-09-19 | 14:29 | FLORICA | 4 | 24.4 | 23.9 | / | / | 1.093 | [5 empty] | 1 | Andrea V |  | 3 | 3 | 81014
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 6 mg/L | 9 | 18 | 6 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 24.2 mg/L | 10 | 20 | 24.2 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0 mg/L | 7 | 14 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 1.0 | 0.0 | YES
6.0 | 4.7 ÷ 7.3 | 6.0 | YES
24.0 | 21.8 ÷ 26.2 | 24.2 | YES
Validation Date | by