## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
0738 | HI93705C-0 | CP-R30 | W41/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica Reagent C | 2029-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
85 | 75 | 95
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1436 | 0564 | 0738
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2028-11-01 | 2029-05-01 | 2029-10-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-11-05 | 2024-11-05 | 1HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 1.60 | 1.55 | 1.65 |  | MR45 |  | 0.03 | & | 1% | 95% |  | 0.6 | 0.4 | 0.8
2 | 0.40 | 0.37 | 0.43 | [8 empty] | 2.4 | 2.3 | 2.6
1 | 0.00 | 0.00 | 0.03 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97705 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 1.60 | 1 | Valid | 2024-10-09 | 14:47 | 2024-10-09 |  | ERIKA |  | 1.59 | 1.60 | / | / | 0.417 |  |  |  | 0.62 |  | 1 | Brigitta P |  | 3 | 3 | 83941
3 | 1.60 | 2 | Valid | 2024-10-09 | 14:47 | 2024-10-09 |  | ERIKA |  | 1.63 | 1.62 | / | / | 0.427 |  |  |  | 0.64 |  | 1 | Brigitta P |  | 3 | 3 | 83941
3 | 1.60 | 3 | Valid | 2024-10-09 | 14:48 | 2024-10-09 |  | ERIKA |  | 1.60 | 1.60 | / | / | 0.421 |  |  |  | 0.74 |  | 1 | Brigitta P |  | 3 | 3 | 83941
3 | 1.60 | 4 | Old C | 2024-10-09 | 14:49 | 2024-10-09 |  | ERIKA |  | 1.59 | 1.60 | / | / | 0.419 |  |  |  | 1.49 |  | 1 | Brigitta P |  | 3 | 3 | 83941
2 | 0.40 | 5 | Old C | 2024-10-09 | 15:05 | 2024-10-09 |  | ERIKA |  | 0.40 | 0.42 | / | / | 0.109 |  |  |  | 0.49 |  | 1 | Brigitta P |  | 3 | 3 | 83941
2 | 0.40 | 6 | Valid | 2024-10-09 | 15:05 | 2024-10-09 |  | ERIKA |  | 0.40 | 0.42 | / | / | 0.109 |  |  |  | 0.57 |  | 1 | Brigitta P |  | 3 | 3 | 83941
2 | 0.40 | 7 | Valid | 2024-10-09 | 15:05 | 2024-10-09 |  | ERIKA |  | 0.40 | 0.43 | / | / | 0.109 |  |  |  | 0.53 |  | 1 | Brigitta P |  | 3 | 3 | 83941
1 | 0.00 | 8 | Valid | 2024-10-09 | 15:54 | 2024-10-09 |  | ERIKA |  | 0.01 | 0.02 | / | / | 0.003 |  |  |  | 0.72 |  | 1 | Brigitta P |  | 3 | 1 | 83941
1 | 0.00 | 9 | Valid | 2024-10-09 | 15:54 | 2024-10-09 |  | ERIKA |  | 0.01 | 0.02 | / | / | 0.003 |  |  |  | 0.49 |  | 1 | Brigitta P |  | 3 | 1 | 83941
2 | 0.40 | 10 | P/Final | 2024-11-05 | 11:55 | 2024-11-05 | 09:58 | MARA |  | 0.39 | 0.43 | / | / | 0.106 |  |  |  | 0.52 |  | 1 | Brigitta P |  | 3 | 1 | 83941
2 | 0.40 | 11 | P/Final | 2024-11-05 | 11:55 | 2024-11-05 | 09:58 | MARA |  | 0.39 | 0.43 | / | / | 0.107 |  |  | 1.471 | 0.72 | 0.092 | 1 | Brigitta P |  | 3 | 1 | 83941
2 | 0.40 | 12 | P/Final | 2024-11-05 | 11:55 | 2024-11-05 | 09:58 | MARA |  | 0.37 | 0.40 | / | / | 0.107 |  |  | 1.549 | 0.76 | 0.087 | 1 | Brigitta P |  | 3 | 1 | 83941
3 | 1.60 | 13 | P/Final | 2024-11-05 | 12:00 | 2024-11-05 | 09:58 | MARA |  | 1.55 | 1.56 | / | / | 0.397 |  |  | 1.442 | 0.60 | 0.088 | 1 | Brigitta P |  | 3 | 1 | 83941
3 | 1.60 | 14 | P/Final | 2024-11-05 | 12:00 | 2024-11-05 | 09:58 | MARA |  | 1.55 | 1.60 | / | / | 0.409 |  |  | 1.448 | 0.85 | 0.093 | 1 | Brigitta P |  | 3 | 1 | 83941
1 | 0.00 | 15 | P/Final | 2024-11-05 | 12:00 | 2024-11-05 | 09:58 | MARA |  | 0.00 | 0.01 | / | / | -0.012 |  |  |  | 0.14 |  | 1 | Brigitta P |  | 3 | 1 | 83941
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 1.57 mg/L | 2 | 4 | 1.57 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.4 mg/L | 3 | 6 | 0.4 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 2 | 0.01 mg/L | 1 | 2 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.01 | YES
0.40 | 0.37 ÷ 0.43 | 0.40 | YES
1.60 | 1.55 ÷ 1.65 | 1.57 | YES
Validation Date | by