## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1070 | HI93705C-0 | CP-R30 | W24-2025 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica LR Reagent C | 2030-06-01 | L57 Powder |  |  | Laboratory | TAB 3 | Production
Ref Weight. | Min (mg) | Max (mg)
85 | 75 | 95
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2090 | 0676 | 1070
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-10-01 | 2029-09-01 | 2030-06-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-06-10 | 2025-06-23 | 1 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.36 | 0.44 |  | MR45 |  | 0.03 | & | 3% | 100% |  | 0.6 | 0.4 | 0.8
3 | 1.63 | 1.55 | 1.71 | [8 empty] | 2.4 | 2.3 | 2.6
1 | 0.00 | 0.00 | 0.03 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old C | 2025-06-11 | 09:13 | 2025-06-10 | 13:35 | ERIKA |  | 0.38 | 0.39 | / | / | 0.103 |  |  |  | 0.60 |  | 1 | Violeta |  | 3 | 2
3 | 1.63 | 2 | Old C | 2025-06-11 | 09:20 | 2025-06-10 | 13:35 | ERIKA |  | 1.55 | 1.56 | / | / | 0.408 |  |  |  | 1.39 |  | 1 | Violeta |  | 3 | 3
1 | 0.00 | 3 | Old C | 2025-06-11 | 09:28 | 2025-06-10 | 13:35 | ERIKA |  | 0.01 | 0.01 | / | / | 0.003 |  |  |  | 0.60 |  | 1 | Violeta |  | 3 | 1
2 | 0.40 | 4 | Valid | 2025-06-11 | 09:35 | 2025-06-10 | 13:35 | ERIKA |  | 0.41 | 0.41 | / | / | 0.111 |  |  |  | 1.23 |  | 1 | Violeta |  | 3 | 2
2 | 0.40 | 5 | Valid | 2025-06-11 | 09:42 | 2025-06-10 | 13:35 | ERIKA |  | 0.42 | 0.41 | / | / | 0.114 |  |  | 1.525 | 1.02 |  | 1 | Violeta |  | 3 | 2
2 | 0.40 | 6 | Valid | 2025-06-11 | 09:46 | 2025-06-10 | 13:35 | ERIKA |  | 0.41 | 0.40 | / | / | 0.112 |  |  |  | 1.13 |  | 1 | Violeta |  | 3 | 2
3 | 1.63 | 7 | Valid | 2025-06-11 | 09:53 | 2025-06-10 | 13:35 | ERIKA |  | 1.59 | 1.57 | / | / | 0.419 |  |  |  | 0.95 |  | 1 | Violeta |  | 3 | 3
3 | 1.63 | 8 | Valid | 2025-06-11 | 09:53 | 2025-06-10 | 13:35 | ERIKA |  | 1.60 | 1.58 | / | / | 0.420 |  |  | 1.515 | 1.27 |  | 1 | Violeta |  | 3 | 3
3 | 1.63 | 9 | Valid | 2025-06-11 | 09:53 | 2025-06-10 | 13:35 | ERIKA |  | 1.61 | 1.60 | / | / | 0.422 |  |  |  | 1.41 |  | 1 | Violeta |  | 3 | 3
1 | 0.00 | 10 | Valid | 2025-06-11 | 09:59 | 2025-06-10 | 13:35 | ERIKA |  | 0.02 | 0.03 | / | / | 0.006 |  |  |  | 0.63 |  | 1 | Violeta |  | 3 | 1
1 | 0.00 | 11 | Valid | 2025-06-11 | 09:59 | 2025-06-10 | 13:35 | ERIKA |  | 0.00 | 0.03 | / | / | -0.001 |  |  | 1.436 | 0.59 |  | 1 | Violeta |  | 3 | 1
1 | 0.00 | 12 | Old C | 2025-06-23 | 11:08 | 2025-06-23 | 09:42 | TAMARA |  | 0.02 | 0.04 | / | / | 0.005 |  |  |  | 1.68 |  | 1 | Kinga |  | 3 | 1 | 124111
1 | 0.00 | 13 | Old C | 2025-06-23 | 11:09 | 2025-06-23 | 09:42 | TAMARA |  | 0.03 | 0.04 | / | / | 0.007 |  |  |  | 1.77 |  | 1 | Kinga |  | 3 | 1 | 124111
2 | 0.40 | 14 | Old C | 2025-06-23 | 11:10 | 2025-06-23 | 09:42 | TAMARA |  | 0.44 | 0.44 | / | / | 0.118 |  |  |  | 2.02 |  | 1 | Kinga |  | 3 | 2 | 124111
2 | 0.40 | 15 | Old C | 2025-06-23 | 11:12 | 2025-06-23 | 09:42 | TAMARA |  | 0.44 | 0.45 | / | / | 0.119 |  |  |  | 1.43 |  | 1 | Kinga |  | 3 | 2 | 124111
3 | 1.63 | 16 | Old C | 2025-06-23 | 11:13 | 2025-06-23 | 09:42 | TAMARA |  | 1.61 | 1.64 | / | / | 0.424 |  |  |  | 2.22 |  | 1 | Kinga |  | 3 | 3 | 124111
3 | 1.63 | 17 | Old C | 2025-06-23 | 11:13 | 2025-06-23 | 09:42 | TAMARA |  | 1.63 | 1.65 | / | / | 0.428 |  |  |  | 2.26 |  | 1 | Kinga |  | 3 | 3 | 124111
1 | 0.00 | 18 | P/FINAL | 2025-06-23 | 11:25 | 2025-06-23 | 09:42 | TAMARA |  | 0.02 | 0.03 | / | / | 0.004 |  |  |  | 0.61 |  | 1 | Kinga |  | 3 | 1 | 124111
1 | 0.00 | 19 | P/FINAL | 2025-06-23 | 11:26 | 2025-06-23 | 09:42 | TAMARA |  | 0.02 | 0.04 | / | / | 0.010 |  |  | 1.502 | 1.08 |  | 1 | Kinga |  | 3 | 1 | 124111
2 | 0.40 | 20 | P/FINAL | 2025-06-23 | 11:27 | 2025-06-23 | 09:42 | TAMARA |  | 0.42 | 0.43 | / | / | 0.113 |  |  | 1.496 | 0.96 | 87 | 1 | Kinga |  | 3 | 2 | 124111
2 | 0.40 | 21 | P/FINAL | 2025-06-23 | 11:28 | 2025-06-23 | 09:42 | TAMARA |  | 0.41 | 0.43 | / | / | 0.110 |  |  |  | 0.74 | 84 | 1 | Kinga |  | 3 | 2 | 124111
2 | 0.40 | 22 | P/FINAL | 2025-06-23 | 11:30 | 2025-06-23 | 09:42 | TAMARA |  | 0.42 | 0.42 | / | / | 0.114 |  |  |  | 0.40 |  | 1 | Kinga |  | 3 | 2 | 124111
3 | 1.63 | 23 | P/FINAL | 2025-06-23 | 11:41 | 2025-06-23 | 09:42 | TAMARA |  | 1.59 | 1.62 | / | / | 0.418 |  |  | 1.543 | 2.54 |  | 1 | Kinga |  | 3 | 3 | 124111
3 | 1.63 | 24 | P/FINAL | 2025-06-23 | 11:41 | 2025-06-23 | 09:42 | TAMARA |  | 1.64 | 1.63 | / | / | 0.429 |  |  |  | 2.34 | 99 | 1 | Kinga |  | 3 | 3 | 124111
3 | 1.63 | 25 | P/FINAL | 2025-06-23 | 11:42 | 2025-06-23 | 09:42 | TAMARA |  | 1.60 | 1.61 | / | / | 0.420 |  |  |  | 1.21 | 85 | 1 | Kinga |  | 3 | 3 | 124111
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.42 mg/L | 3 | 6 | 0.42 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.62 mg/L | 3 | 6 | 1.62 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.03 mg/L | 2 | 4 | 0.03 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.03 | YES
0.40 | 0.36 ÷ 0.44 | 0.42 | YES
1.63 | 1.55 ÷ 1.71 | 1.62 | YES
Validation Date | by
2025-07-03 | Eugenia