## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1116 | HI93705C-0 | CP-R30 | W 29/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica LR Reagent C | 2030-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
85 | 75 | 95
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2301 | 1080 | 1116
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-02-01 | 2030-06-01 | 2030-07-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-18 | 2025-08-13 | 1 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-803
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.36 | 0.44 |  | MR45 |  | 0.03 | & | 3% | 100% |  | 0.6 | 0.4 | 0.8
3 | 1.63 | 1.55 | 1.71 | [8 empty] | 2.4 | 2.3 | 2.6
1 | 0.00 | 0.00 | 0.03 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97705 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old C | 2025-07-18 | 14:31 | 2025-07-18 | 13:49 | ERIKA |  | 0.37 | 0.36 | / | / | 0.096 |  |  |  | 2.50 |  | 1 | Kinga |  | 3 | 2 | 83105
2 | 0.40 | 2 | Old C | 2025-07-18 | 14:32 | 2025-07-18 | 13:49 | ERIKA |  | 0.36 | 0.36 | / | / | 0.095 |  |  |  | 2.50 |  | 1 | Kinga |  | 3 | 2 | 83105
3 | 1.63 | 3 | Old C | 2025-07-18 | 14:34 | 2025-07-18 | 13:49 | ERIKA |  | 1.57 | 1.55 | / | / | 0.413 |  |  |  | 1.15 |  | 1 | Kinga |  | 3 | 3 | 83105
3 | 1.63 | 4 | Old C | 2025-07-18 | 14:34 | 2025-07-18 | 13:49 | ERIKA |  | 1.57 | 1.55 | / | / | 0.413 |  |  |  | 1.30 |  | 1 | Kinga |  | 3 | 3 | 83105
2 | 0.40 | 5 | Valid | 2025-07-18 | 14:48 | 2025-07-18 | 13:49 | ERIKA |  | 0.38 | 0.37 | / | / | 0.103 |  |  |  | 0.38 |  | 1 | Kinga |  | 3 | 2 | 83105
2 | 0.40 | 6 | Valid | 2025-07-18 | 14:49 | 2025-07-18 | 13:49 | ERIKA |  | 0.39 | 0.39 | / | / | 0.106 |  |  |  | 0.43 |  | 1 | Kinga |  | 3 | 2 | 83105
2 | 0.40 | 7 | P/FINAL | 2025-07-18 | 14:50 | 2025-07-18 | 13:49 | ERIKA |  | 0.41 | 0.38 | / | / | 0.111 |  |  |  | 0.38 |  | 1 | Kinga |  | 3 | 2 | 83105
3 | 1.63 | 8 | Valid | 2025-07-18 | 14:50 | 2025-07-18 | 13:49 | ERIKA |  | 1.59 | 1.58 | / | / | 0.417 |  |  | 1.629 | 0.47 |  | 1 | Kinga |  | 3 | 3 | 83105
3 | 1.63 | 9 | Valid | 2025-07-18 | 14:51 | 2025-07-18 | 13:49 | ERIKA |  | 1.56 | 1.55 | / | / | 0.412 |  |  |  | 0.32 |  | 1 | Kinga |  | 3 | 3 | 83105
3 | 1.63 | 10 | Valid | 2025-07-18 | 14:52 | 2025-07-18 | 13:49 | ERIKA |  | 1.60 | 1.60 | / | / | 0.420 |  |  | 1.364 | 0.51 |  | 1 | Kinga |  | 3 | 3 | 83105
1 | 0.00 | 11 | Valid | 2025-07-18 | 14:52 | 2025-07-18 | 13:49 | ERIKA |  | 0.02 | 0.02 | / | / | 0.006 |  |  |  | 0.48 |  | 1 | Kinga |  | 3 | 1 | 83105
1 | 0.00 | 12 | Valid | 2025-07-18 | 14:53 | 2025-07-18 | 13:49 | ERIKA |  | 0.02 | 0.03 | / | / | 0.005 |  |  | 1.488 | 0.36 |  | 1 | Kinga |  | 3 | 1 | 83105
1 | 0.00 | 13 | Old C | 2025-08-13 | 10:47 | 2025-08-13 | 07:06 | MARA | 1 | 0.04 | 0.02 | / | / |  |  |  |  | 0.92 | 85 | 1 | Andrea V |  | 3 | 1
1 | 0.00 | 14 | Old C | 2025-08-13 | 10:48 | 2025-08-13 | 07:06 | MARA | 1 | 0.04 | 0.03 | / | / |  |  |  |  | 0.83 | 80 | 1 | Andrea V |  | 3 | 1
2 | 0.40 | 15 | Old C | 2025-08-13 | 10:50 | 2025-08-13 | 07:06 | MARA | 1 | 0.41 | 0.43 | / | / | 0.111 |  |  |  | 0.87 | 73 | 1 | Andrea V |  | 3 | 2
2 | 0.40 | 16 | Old C | 2025-08-13 | 10:51 | 2025-08-13 | 07:06 | MARA | 1 | 0.42 | 0.42 | / | / | 0.114 |  |  |  | 3.74 | 111 | 1 | Andrea V |  | 3 | 2
1 | 0.00 | 17 | P/FINAL | 2025-08-13 | 11:48 | 2025-08-13 | 07:06 | MARA | 1 | 0.06 | 0.06 | / | / | 0.015 |  |  | - | 0.61 | 75 | 1 | Andrea V |  | 3 | 1 |  | CUVETTE OMPI
1 | 0.00 | 18 | P/FINAL | 2025-08-13 | 11:49 | 2025-08-13 | 07:06 | MARA | 1 | 0.07 | 0.07 | / | / | 0.018 |  |  | - | 1.27 | 114 | 1 | Andrea V |  | 3 | 1 |  | CUVETTE OMPI
3 | 1.63 | 19 | Old C | 2025-08-13 | 12:50 | 2025-08-13 | 07:06 | MARA | 1 | 1.74 | 1.71 | / | / | 0.453 |  |  |  | 1.31 |  | 1 | Andrea V |  | 3 | 3
3 | 1.63 | 20 | Old C | 2025-08-13 | 13:59 | 2025-08-13 | 07:06 | MARA | 1 | 1.76 | 1.78 | / | / | 0.459 |  |  |  | 3.46 |  | 1 | Andrea V |  | 3 | 3
2 | 0.40 | 21 | P/FINAL | 2025-08-13 | 14:00 | 2025-08-13 | 07:06 | MARA | 1 | 0.46 | 0.44 | / | / | 0.124 |  |  |  | 4.50 | 123 | 1 | Andrea V |  | 3 | 2 | 95004
2 | 0.40 | 22 | P/FINAL | 2025-08-13 | 14:01 | 2025-08-13 | 07:06 | MARA | 1 | 0.41 | 0.41 | / | / | 0.111 |  |  | 1.525 | 0.41 | 62 | 1 | Andrea V |  | 3 | 2 | 95004
2 | 0.40 | 23 | P/FINAL | 2025-08-13 | 14:16 | 2025-08-13 | 07:06 | MARA | 1 | 0.43 | 0.42 | / | / | 0.116 |  |  |  | 0.52 | 83 | 1 | Andrea V |  | 3 | 2 | 95004
3 | 1.63 | 24 | P/FINAL | 2025-08-13 | 14:16 | 2025-08-13 | 07:06 | MARA | 1 | 1.66 | 1.66 | / | / | 0.434 |  |  |  | 0.75 | 63 | 1 | Andrea V |  | 3 | 3 | 95004
3 | 1.63 | 25 | P/FINAL | 2025-08-13 | 14:18 | 2025-08-13 | 07:06 | MARA | 1 | 1.60 | 1.60 | / | / | 0.420 |  |  |  | 0.81 | 58 | 1 | Andrea V |  | 3 | 3 | 95004
3 | 1.63 | 26 | P/FINAL | 2025-08-13 | 14:19 | 2025-08-13 | 07:06 | MARA | 1 | 1.76 | 1.75 | / | / | 0.458 |  |  | 1.590 | 4.48 | 121 | 1 | Andrea V |  | 3 | 3 | 95004
1 | 0.00 | 27 | P/FINAL | 2025-08-13 | 14:25 | 2025-08-13 | 07:06 | MARA | 1 | 0.03 | 0.02 | / | / | 0.007 |  |  |  | 3.75 | 129 | 1 | Andrea V |  | 3 | 1 |  | CUVETTE SPALATE CU HCl
1 | 0.00 | 28 | P/FINAL | 2025-08-13 | 14:26 | 2025-08-13 | 07:06 | MARA | 1 | 0.02 | 0.02 | / | / | 0.005 |  |  | 1.502 | 0.70 | 90 | 1 | Andrea V |  | 3 | 1 |  | CUVETTE SPALATE CU HCl
3 | 1.63 | 29 | Old C | 2025-08-13 | 14:46 | 2025-08-13 | 07:06 | MARA | 1 | 1.70 | 1.72 | / | / | 0.444 |  |  |  | 2.81 |  | 1 | Andrea V |  | 3 | 3 | 95004
3 | 1.63 | 30 | P/FINAL | 2025-08-13 | 14:47 | 2025-08-13 | 07:06 | MARA | 1 | 1.76 | 1.75 | / | / | 0.459 |  |  |  | 6.19 | 132 | 1 | Andrea V |  | 3 | 3 | 95004
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.42 mg/L | 4 | 8 | 0.42 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.67 mg/L | 3 | 6 | 1.67 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.04 mg/L | 4 | 8 | 0.04 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.04 | NO
0.40 | 0.36 ÷ 0.44 | 0.42 | YES
1.63 | 1.55 ÷ 1.71 | 1.67 | YES
Validation Date | by