## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1152 | HI93705C-0 | CP-R30 | W 37/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica LR Reagent C | 2030-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
85 | 75 | 95
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2301 | 0868 | 1152
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-02-01 | 2029-12-01 | 2030-09-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-09-09 | 2025-09-23 | 1 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.36 | 0.44 |  | MR45 |  | 0.03 | & | 3% | 100% |  | 0.6 | 0.4 | 0.8
3 | 1.63 | 1.55 | 1.71 | [8 empty] | 2.4 | 2.3 | 2.6
1 | 0.00 | 0.00 | 0.03 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97705 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old C | 2025-09-09 | 10:50 | 2025-09-09 | 08:20 | MARK |  | 0.40 | 0.39 | / | / | 0.109 |  |  |  | 21.7 |  | 1 | Kinga |  | 3 | 2 | 95004
2 | 0.40 | 2 | Old C | 2025-09-09 | 10:50 | 2025-09-09 | 08:20 | MARK |  | 0.40 | 0.37 | / | / | 0.101 |  |  |  | 21.7 |  | 1 | Kinga |  | 3 | 2 | 95004
3 | 1.63 | 3 | Old C | 2025-09-09 | 10:52 | 2025-09-09 | 08:20 | MARK |  | 1.67 | 1.67 | / | / | 0.436 |  |  |  | 21.7 |  | 1 | Kinga |  | 3 | 3 | 95004
3 | 1.63 | 4 | Old C | 2025-09-09 | 10:53 | 2025-09-09 | 08:20 | MARK |  | 1.63 | 1.62 | / | / | 0.435 |  |  |  | 21.7 |  | 1 | Kinga |  | 3 | 3 | 95004
1 | 0.00 | 5 | Old C | 2025-09-09 | 10:55 | 2025-09-09 | 08:20 | MARK |  | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 1.44 |  | 1 | Kinga |  | 3 | 1 | 95004
2 | 0.40 | 6 | Valid | 2025-09-09 | 11:04 | 2025-09-09 | 08:20 | MARK |  | 0.38 | 0.39 | / | / | 0.104 |  |  |  | 2.84 |  | 1 | Kinga |  | 3 | 2 | 95004
2 | 0.40 | 7 | Valid | 2025-09-09 | 11:05 | 2025-09-09 | 08:20 | MARK |  | 0.41 | 0.39 | / | / | 0.111 |  |  |  | 1.29 |  | 1 | Kinga |  | 3 | 2 | 95004
2 | 0.40 | 8 | Valid | 2025-09-09 | 11:05 | 2025-09-09 | 08:20 | MARK |  | 0.40 | 0.41 | / | / | 0.108 |  |  | 1.585 | 1.54 |  | 1 | Kinga |  | 3 | 2 | 95004
3 | 1.63 | 9 | Valid | 2025-09-09 | 11:06 | 2025-09-09 | 08:20 | MARK |  | 1.65 | 1.66 | / | / | 0.432 |  |  |  | 1.68 |  | 1 | Kinga |  | 3 | 3 | 95004
3 | 1.63 | 10 | Valid | 2025-09-09 | 11:07 | 2025-09-09 | 08:20 | MARK |  | 1.66 | 1.67 | / | / | 0.432 |  |  |  | 1.69 |  | 1 | Kinga |  | 3 | 3 | 95004
3 | 1.63 | 11 | Valid | 2025-09-09 | 11:08 | 2025-09-09 | 08:20 | MARK |  | 1.70 | 1.70 | / | / | 0.445 |  |  | 1.658 | 1.28 |  | 1 | Kinga |  | 3 | 3 | 95004
1 | 0.00 | 12 | Valid | 2025-09-09 | 11:09 | 2025-09-09 | 08:20 | MARK |  | 0.00 | 0.00 | / | / | -0.008 |  |  | 1.595 | 0.88 |  | 1 | Kinga |  | 3 | 1 | 95004
1 | 0.00 | 13 | Valid | 2025-09-09 | 11:09 | 2025-09-09 | 08:20 | MARK |  | 0.00 | 0.00 | / | / | -0.005 |  |  |  | 0.80 |  | 1 | Kinga |  | 3 | 1 | 95004
2 | 0.40 | 14 | Old C | 2025-09-23 | 12:59 | 2025-09-22 | 15:51 | TAMARA |  | 0.44 | 0.44 | / | / | 0.118 |  |  | 1.449 | 4.37 | 89 | 1 | Kinga |  | 3 | 2 | 95004
2 | 0.40 | 15 | P/FINAL | 2025-09-23 | 13:00 | 2025-09-22 | 15:51 | TAMARA |  | 0.43 | 0.44 | / | / | 0.117 |  |  |  | 4.45 | 79 | 1 | Kinga |  | 3 | 2 | 95004
3 | 1.63 | 16 | P/FINAL | 2025-09-23 | 13:49 | 2025-09-22 | 15:51 | TAMARA |  | 1.59 | 1.68 | / | / | 0.418 |  |  |  | 1.11 | 89 | 1 | Kinga |  | 3 | 3 | 95004
3 | 1.63 | 17 | P/FINAL | 2025-09-23 | 13:50 | 2025-09-22 | 15:51 | TAMARA |  | 1.69 | 1.71 | / | / | 0.442 |  |  | 1.437 | 2.23 | 94 | 1 | Kinga |  | 3 | 3 | 95004
1 | 0.00 | 18 | P/FINAL | 2025-09-23 | 13:51 | 2025-09-22 | 15:51 | TAMARA |  | 0.03 | 0.05 | / | / | 0.009 |  |  |  | 3.69 | 87 | 1 | Kinga |  | 3 | 1 | 95004
1 | 0.00 | 19 | P/FINAL | 2025-09-23 | 13:51 | 2025-09-22 | 15:51 | TAMARA |  | 0.03 | 0.04 | / | / | 0.007 |  |  | 1.494 | 3.11 |  | 1 | Kinga |  | 3 | 1 | 95004
2 | 0.40 | 20 | P/FINAL | 2025-09-23 | 14:05 | 2025-09-23 | 06:33 | MARA |  | 0.40 | 0.40 | / | / | 0.108 |  |  |  | 1.00 | 70 | 1 | Kinga |  | 3 | 2 | 95004
2 | 0.40 | 21 | P/FINAL | 2025-09-23 | 14:05 | 2025-09-23 | 06:33 | MARA |  | 0.42 | 0.42 | / | / | 0.114 |  |  | 1.477 | 1.12 | 75 | 1 | Kinga |  | 3 | 2 | 95004
3 | 1.63 | 22 | P/FINAL | 2025-09-23 | 14:06 | 2025-09-23 | 06:33 | MARA |  | 1.71 | 1.70 | / | / | 0.447 |  |  |  | 1.87 | 97 | 1 | Kinga |  | 3 | 3 | 95004
3 | 1.63 | 23 | P/FINAL | 2025-09-23 | 14:07 | 2025-09-23 | 06:33 | MARA |  | 1.70 | 1.67 | / | / | 0.450 |  |  | 1.473 | 1.87 | 69 | 1 | Kinga |  | 3 | 3 | 95004
1 | 0.00 | 24 | P/FINAL | 2025-09-23 | 14:18 | 2025-09-23 | 06:33 | MARA |  | 0.03 | 0.02 | / | / | 0.009 |  |  |  | 0.60 |  | 1 | Kinga |  | 3 | 1 | 95004
1 | 0.00 | 25 | P/FINAL | 2025-09-23 | 14:19 | 2025-09-23 | 06:33 | MARA |  | 0.03 | 0.03 | / | / | 0.007 |  |  | 1.481 | 0.62 |  | 1 | Kinga |  | 3 | 1 | 95004
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.42 mg/L | 3 | 6 | 0.42 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 1.68 mg/L | 4 | 8 | 1.68 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.03 mg/L | 4 | 8 | 0.03 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.03 | YES
0.40 | 0.36 ÷ 0.44 | 0.42 | YES
1.63 | 1.55 ÷ 1.71 | 1.68 | YES
Validation Date | by