## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1204 | HI93705C-0 | CP-R30 | W 43/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica LR Reagent C | 2030-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
85 | 75 | 95
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2301 | 1080 | 1204
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-02-01 | 2030-06-01 | 2030-10-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-21 | 2025-10-27 | 2 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97705 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.36 | 0.44 |  | MR45 |  | 0.03 | & | 3% | 100% |  | 0.6 | 0.4 | 0.8
3 | 1.63 | 1.55 | 1.71 | [8 empty] | 2.4 | 2.3 | 2.6
1 | 0.00 | 0.00 | 0.03 | [8 empty] | 1.4 | 1.2 | 1.6
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97705 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old C | 2025-10-21 | 14:18 | 2025-10-21 | 13:02 | ERIKA |  | 0.40 | 0.41 | / | / | 0.107 |  |  |  | 2.60 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 2 | Old C | 2025-10-21 | 14:18 | 2025-10-21 | 13:02 | ERIKA |  | 0.44 | 0.43 | / | / | 0.119 |  |  |  | 7.15 |  | 1 | Kinga |  | 3 | 2
3 | 1.63 | 3 | Old C | 2025-10-21 | 14:19 | 2025-10-21 | 13:02 | ERIKA |  | 1.60 | 1.64 | / | / | 0.420 |  |  |  | 3.80 |  | 1 | Kinga |  | 3 | 3
3 | 1.63 | 4 | Old C | 2025-10-21 | 14:19 | 2025-10-21 | 13:02 | ERIKA |  | 1.69 | 1.70 | / | / | 0.471 |  |  |  | 3.92 |  | 1 | Kinga |  | 3 | 3
1 | 0.00 | 5 | Old C | 2025-10-21 | 14:20 | 2025-10-21 | 13:02 | ERIKA |  | 0.09 | 0.12 | / | / | 0.030 |  |  |  | 2.64 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 6 | Old C | 2025-10-21 | 14:21 | 2025-10-21 | 13:02 | ERIKA |  | 0.09 | 0.12 | / | / | 0.023 |  |  |  | 1.96 |  | 1 | Kinga |  | 3 | 1
2 | 0.40 | 7 | Valid | 2025-10-21 | 14:33 | 2025-10-21 | 13:02 | ERIKA |  | 0.47 | 0.48 | / | / | 0.128 |  |  |  | 1.15 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 8 | Valid | 2025-10-21 | 14:34 | 2025-10-21 | 13:02 | ERIKA |  | 0.49 | 0.49 | / | / | 0.132 |  |  |  | 0.99 |  | 1 | Kinga |  | 3 | 2
3 | 1.63 | 9 | Valid | 2025-10-21 | 14:42 | 2025-10-21 | 13:02 | ERIKA |  | 1.81 | 1.81 | / | / | 0.470 |  |  |  | 1.14 |  | 1 | Kinga |  | 3 | 3
3 | 1.63 | 10 | Valid | 2025-10-21 | 14:53 | 2025-10-21 | 13:02 | ERIKA |  | 1.62 | 1.69 | / | / | 0.426 |  |  |  | 1.07 |  | 1 | Kinga |  | 3 | 3
3 | 1.63 | 11 | Valid | 2025-10-21 | 14:53 | 2025-10-21 | 13:02 | ERIKA |  | 1.69 | 1.71 | / | / | 0.442 |  |  | 1.449 | 1.07 |  | 1 | Kinga |  | 3 | 3
2 | 0.40 | 12 | Valid | 2025-10-21 | 15:10 | 2025-10-21 | 13:02 | ERIKA |  | 0.38 | 0.42 | / | / | 0.102 |  |  |  | 0.93 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 13 | Valid | 2025-10-21 | 15:11 | 2025-10-21 | 13:02 | ERIKA |  | 0.40 | 0.44 | / | / | 0.109 |  |  |  | 0.82 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 14 | Valid | 2025-10-21 | 15:12 | 2025-10-21 | 13:02 | ERIKA |  | 0.40 | 0.44 | / | / | 0.108 |  |  | 1.645 | 0.96 |  | 1 | Kinga |  | 3 | 2 |  | STICLA SPALATA FRESH HCL
3 | 1.63 | 15 | Valid | 2025-10-21 | 15:17 | 2025-10-21 | 13:02 | ERIKA |  | 1.58 | 1.57 | / | / | 0.415 |  |  |  | 1.83 |  | 1 | Kinga |  | 3 | 3 |  | STICLA SPALATA FRESH HCL
3 | 1.63 | 16 | Valid | 2025-10-21 | 15:19 | 2025-10-21 | 13:02 | ERIKA |  | 1.69 | 1.70 | / | / | 0.441 |  |  |  | 1.17 |  | 1 | Kinga |  | 3 | 3 |  | STICLA SPALATA FRESH HCL
1 | 0.00 | 17 | Valid | 2025-10-21 | 15:19 | 2025-10-21 | 13:02 | ERIKA |  | 0.03 | 0.00 | / | / | 0.009 |  |  |  | 0.91 |  | 1 | Kinga |  | 3 | 1 |  | STICLA SPALATA FRESH HCL
1 | 0.00 | 18 | Valid | 2025-10-21 | 15:21 | 2025-10-21 | 13:02 | ERIKA |  | 0.02 | 0.01 | / | / | 0.008 |  |  | 1.515 | 1.41 |  | 1 | Kinga |  | 3 | 1 |  | STICLA SPALATA FRESH HCL
1 | 0.00 | 19 | Old C | 2025-10-28 | 09:18 | 2025-10-27 | 18:38 | ELENA | 2 | 0.05 | 0.05 | / | / | 0.013 |  |  |  | 1.37 |  | 1 | Andrea V |  | 3 | 1 |  | HI93705A-0 LOT:2301 EXP:02/2030
1 | 0.00 | 20 | Old C | 2025-10-28 | 09:19 | 2025-10-27 | 18:38 | ELENA | 2 | 0.03 | 0.03 | / | / | 0.007 |  |  |  | 2.26 |  | 1 | Andrea V |  | 3 | 1
2 | 0.40 | 21 | Old C | 2025-10-28 | 09:21 | 2025-10-27 | 18:38 | ELENA | 2 | 0.63 | 0.64 | / | / | 0.172 |  |  |  | 1.74 |  | 1 | Andrea V |  | 3 | 2
2 | 0.40 | 22 | Old C | 2025-10-28 | 09:22 | 2025-10-27 | 18:38 | ELENA | 2 | 0.61 | 0.61 | / | / | 0.166 |  |  |  | 1.77 |  | 1 | Andrea V |  | 3 | 2
3 | 1.63 | 23 | Old C | 2025-10-28 | 09:24 | 2025-10-27 | 18:38 | ELENA | 2 | 1.71 | 1.70 | / | / | 0.446 |  |  |  | 5.42 |  | 1 | Andrea V |  | 3 | 3
3 | 1.63 | 24 | Old C | 2025-10-28 | 09:25 | 2025-10-27 | 18:38 | ELENA | 2 | 1.76 | 1.75 | / | / | 0.457 |  |  |  | 5.17 |  | 1 | Andrea V |  | 3 | 3
2 | 0.40 | 25 | Old C | 2025-10-28 | 10:01 | 2025-10-27 | 18:38 | ELENA | 2 | 0.59 | 0.60 | / | / | 0.159 |  |  |  | 7.52 |  | 1 | Andrea V |  | 3 | 2 | 95004 | CUVETA PROASPATA SPALATA CU HCL
2 | 0.40 | 26 | Old C | 2025-10-28 | 10:02 | 2025-10-27 | 18:38 | ELENA | 2 | 0.61 | 0.63 | / | / | 0.166 |  |  |  | 6.94 |  | 1 | Andrea V |  | 3 | 2 | 95004 | CUVETA PROASPATA SPALATA CU HCL
3 | 1.63 | 27 | Old C | 2025-10-28 | 10:02 | 2025-10-27 | 18:38 | ELENA | 2 | 1.70 | 1.71 | / | / | 0.444 |  |  |  | 8.32 |  | 1 | Andrea V |  | 3 | 3 | 95004 | CUVETA PROASPATA SPALATA CU HCL
1 | 0.00 | 28 | Old C | 2025-10-28 | 10:03 | 2025-10-27 | 18:38 | ELENA | 2 | 0.04 | 0.05 | / | / | 0.010 |  |  |  | 5.00 |  | 1 | Andrea V |  | 3 | 1 | 95004 | CUVETA PROASPATA SPALATA CU HCL
1 | 0.00 | 29 | P/FINAL | 2025-10-28 | 10:35 | 2025-10-27 | 18:38 | ELENA | 2 | 0.01 | 0.01 | / | / | 0.003 |  |  |  | 1.63 |  | 1 | Andrea V |  | 3 | 1 | 95004
1 | 0.00 | 30 | P/FINAL | 2025-10-28 | 10:36 | 2025-10-27 | 18:38 | ELENA | 2 | 0.01 | 0.01 | / | / | 0.001 |  |  | 1.566 | 1.51 |  | 1 | Andrea V |  | 3 | 1 | 95004
2 | 0.40 | 31 | P/FINAL | 2025-10-28 | 10:51 | 2025-10-27 | 18:38 | ELENA | 2 | 0.58 | 0.58 | / | / | 0.158 |  |  |  | 1.20 |  | 1 | Andrea V |  | 3 | 2 | 95004
2 | 0.40 | 32 | P/FINAL | 2025-10-28 | 10:52 | 2025-10-27 | 18:38 | ELENA | 2 | 0.60 | 0.60 | / | / | 0.164 |  |  |  | 1.42 |  | 1 | Andrea V |  | 3 | 2 | 95004
3 | 1.63 | 33 | P/FINAL | 2025-10-28 | 11:00 | 2025-10-27 | 18:38 | ELENA | 2 | 1.69 | 1.70 | / | / | 0.441 |  |  | 1.508 | 1.86 |  | 1 | Andrea V |  | 3 | 3 | 95004
3 | 1.63 | 34 | P/FINAL | 2025-10-28 | 11:09 | 2025-10-27 | 18:38 | ELENA | 2 | 1.67 | 1.68 | / | / | 0.436 |  |  |  | 2.50 |  | 1 | Andrea V |  | 3 | 3 | 95004
3 | 1.63 | 35 | P/FINAL | 2025-10-28 | 11:10 | 2025-10-27 | 18:38 | ELENA | 2 | 1.69 | 1.70 | / | / | 0.442 |  |  |  | 2.17 |  | 1 | Andrea V |  | 3 | 3 | 95004
2 | 0.40 | 36 | P/FINAL | 2025-10-28 | 14:19 | 2025-10-27 | 18:38 | ELENA | 2 | 0.46 | 0.44 | / | / | 0.125 |  |  |  | 1.71 |  | 1 | Andrea V |  | 3 | 2 |  | HI93705A-0 LOT:1436 EXP:11/2028
2 | 0.40 | 37 | P/FINAL | 2025-10-28 | 14:43 | 2025-10-27 | 18:38 | ELENA | 2 | 0.40 | 0.40 | / | / | 0.107 |  |  |  | 1.51 |  | 1 | Andrea V |  | 3 | 2 | 112447 | HI93705A-0 LOT:1436 EXP:11/2028
2 | 0.40 | 38 | P/FINAL | 2025-10-28 | 14:44 | 2025-10-27 | 18:38 | ELENA | 2 | 0.38 | 0.38 | / | / | 0.104 |  |  |  | 1.79 |  | 1 | Andrea V |  | 3 | 2 | 112447 | HI93705A-0 LOT:1436 EXP:11/2028
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0.48 mg/L | 3 | 6 | 0.41 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.69 mg/L | 3 | 6 | 1.69 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.01 mg/L | 2 | 4 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.01 | YES
0.40 | 0.36 ÷ 0.44 | 0.41 | YES
1.63 | 1.55 ÷ 1.71 | 1.69 | YES
Validation Date | by