## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
0626 | HI93706B-0 | CP-R30 | W27/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphorus Reagent B | 2029-07-01 | L57 Powder |  |  | Laboratory | QC TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
170 | 160 | 180
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1913
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-07-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 15.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-07-02 | 2024-09-11 | 1HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code
HI97706 | CTO-625
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-224 | HI98703 | CTO-782
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 3.1 | 2.7 | 3.5 |  | MR104 |  | 0.3 | & | 4% | 100% |  | 0.6 | 0.4 | 0.8
3 | 12.0 | 11.2 | 12.8 | [8 empty] | 1.4 | 1.2 | 1.6
1 | 0.0 | 0.0 | 0.3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97706 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 3.1 | 1 | Old A | 2024-07-02 | 16:10 |  |  |  |  | 3.3 | / | / | / |  |  |  |  | 24.3 |  | 1 | David |  | 3 | 2 | 82809
3 | 12.0 | 2 | Old A | 2024-07-02 | 16:10 |  |  |  |  | 12.7 | / | / | / | [6 empty] | 1 | David |  | 3 | 3 | 82809
2 | 3.1 | 3 | Valid | 2024-07-02 | 16:12 | 2024-07-02 | 13:41 | MARK |  | 3.4 | / | / | / |  |  | 0.801 |  | 34 |  | 1 | David |  | 3 | 2 | 82809
3 | 12.0 | 4 | Valid | 2024-07-02 | 16:14 | 2024-07-02 | 13:41 | MARK |  | 12.8 | / | / | / | [6 empty] | 1 | David |  | 3 | 3 | 82809
2 | 3.1 | 5 | Valid | 2024-07-03 | 11:17 | 2024-07-02 | 13:41 | MARK |  | 3.5 | / | / | / |  |  |  |  | 30 |  | 1 | David |  | 3 | 2 | 82809
3 | 12.0 | 6 | Valid | 2024-07-03 | 11:18 | 2024-07-02 | 13:41 | MARK |  | 12.7 | / | / | / |  |  | 0.876 |  |  |  | 1 | David |  | 3 | 3 | 82809
1 | 0.0 | 7 | Valid | 2024-07-03 | 11:23 | 2024-07-02 | 13:41 | MARK |  | 0.4 | / | / | / |  |  |  |  | 38.1 |  | 1 | David |  | 3 | 1 | 82809
1 | 0.0 | 8 | Valid | 2024-07-03 | 11:35 | 2024-07-02 | 13:41 | MARK |  | 0.3 | / | / | / |  |  | 0.802 |  | 33.0 |  | 1 | David |  | 3 | 1 | 82809
1 | 0.0 | 9 | Valid | 2024-07-03 | 11:37 | 2024-07-02 | 13:41 | MARK |  | 0.3 | / | / | / |  |  |  |  | 31.2 |  | 1 | David |  | 3 | 1 | 82809
1 | 0.0 | 10 | Valid | 2024-07-03 | 12:50 | 2024-07-02 | 13:41 | MARK |  | 0.3 | / | / | / |  |  |  |  | 39.3 |  | 1 | David |  | 3 | 1 | 82809
2 | 3.1 | 11 | P/Final | 2024-09-12 | 13:05 | 2024-09-11 | 14:57 | IRINA |  | 3.1 | / | / | / | [6 empty] | 1 | Brigitta P |  | 3 | 1 | 82809
2 | 3.1 | 12 | P/Final | 2024-09-12 | 13:10 | 2024-09-11 | 14:57 | IRINA |  | 3.2 | / | / | / | [6 empty] | 1 | Brigitta P |  | 3 | 1 | 82809
1 | 0.0 | 13 | P/Final | 2024-09-12 | 13:10 | 2024-09-11 | 14:57 | IRINA |  | 0.0 | / | / | / | [6 empty] | 1 | Brigitta P |  | 3 | 1 | 82809
3 | 12.0 | 14 | P/Final | 2024-09-12 | 13:10 | 2024-09-11 | 14:57 | IRINA |  | 12.6 | / | / | / | [6 empty] | 1 | Brigitta P |  | 3 | 1 | 82809
3 | 12.0 | 15 | P/Final | 2024-09-12 | 13:10 | 2024-09-11 | 14:57 | IRINA |  | 12.6 | / | / | / | [6 empty] | 1 | Brigitta P |  | 3 | 1 | 82809
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 3.2 mg/L | 2 | 2 | 3.2 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 12.6 mg/L | 2 | 2 | 12.6 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 1 | 0 mg/L | 1 | 1 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.3 | 0.0 | YES
3.1 | 2.7 ÷ 3.5 | 3.2 | YES
12.0 | 11.2 ÷ 12.8 | 12.6 | YES
Validation Date | by