## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1070 | HI93706B-0 | CP-R30 | W24_2025 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphorus Reagent B | 2030-06-01 | L57 Powder |  |  | Laboratory | TAB3 | Production
Ref Weight. | Min (mg) | Max (mg)
170 | 160 | 180
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1070 | 2501
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-06-01 | 2030-05-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 15.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-06-10 | 2025-06-20 | 1 HEAD |  |  |  | 1031
[6 empty] | Expiration A | Expiration B | Expiration D
2030-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97706 | CTO-625 | HI83399 | CTO-528
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 3.1 | 2.7 | 3.5 |  | MR104 |  | 0.3 | & | 4% | 100% |  | 0.6 | 0.4 | 0.8
3 | 12.0 | 11.2 | 12.8 | [8 empty] | 1.4 | 1.2 | 1.6
1 | 0.0 | 0.0 | 0.3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 3.1 | 1 | Old A | 2025-06-10 | 14:05 | 2025-06-10 | 13:35 | ERIKA |  | 3.3 | . | / | / |  |  |  |  | 29.4 |  | 1 | Violeta |  | 3 | 2 | 82048
2 | 3.1 | 2 | Valid | 32025/06/10 | 14:14 | 2025-06-10 | 13:35 | ERIKA |  | 3.3 | 3.4 | / | / |  |  |  |  | 19.2 |  | 1 | Violeta |  | 3 | 2 | 82048
2 | 3.1 | 3 | Valid | 32025/06/10 | 14:14 | 2025-06-10 | 13:35 | ERIKA |  | 3.3 | 3.5 | / | / |  |  |  |  | 26.8 |  | 1 | Violeta |  | 3 | 2 | 82048
2 | 3.1 | 4 | Valid | 32025/06/10 | 14:21 | 2025-06-10 | 13:35 | ERIKA |  | 3.5 | 3.5 | / | / |  |  |  |  | 34.7 |  | 1 | Violeta |  | 3 | 2 | 82048
3 | 12.0 | 5 | Old A | 32025/06/10 | 14:23 | 2025-06-10 | 13:35 | ERIKA |  | 12.8 |  | / | / | [6 empty] | 1 | Violeta |  | 3 | 3 | 82048 | LLO-TURBIDITI
3 | 12.0 | 6 | Old A | 32025/06/10 | 14:23 | 2025-06-10 | 13:35 | ERIKA |  | 12.6 |  | / | / | [6 empty] | 1 | Violeta |  | 3 | 3 | 82048 | LLO
3 | 12.0 | 7 | Valid | 32025/06/10 | 14:25 | 2025-06-10 | 13:35 | ERIKA |  | 12.7 |  | / | / | [6 empty] | 1 | Violeta |  | 3 | 3 | 82048 | LL0-TURBIDITY
3 | 12.0 | 8 | Valid | 2025-06-10 | 14:26 | 2025-06-10 | 13:35 | ERIKA |  | 12.8 |  | / | / | [6 empty] | 1 | Violeta |  | 3 | 3 | 82048 | LL0
3 | 12.0 | 9 | Valid | 2025-06-10 | 14:29 | 2025-06-10 | 13:35 | ERIKA |  | 12.9 |  | / | / | [6 empty] | 1 | Violeta |  | 3 | 3 | 82048
1 | 0.0 | 10 | Valid | 2025-06-10 | 14:30 | 2025-06-10 | 13:35 | ERIKA |  | 0.1 | 0.1 | / | / |  |  |  |  | 23 |  | 1 | Violeta |  | 3 | 1 | 82048
1 | 0.0 | 11 | Old B | 2025-06-19 | 09:55 | 2025-06-18 | 18:56 | TAMARA |  | 0.0 |  | / | / |  |  |  |  | 21.6 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 12 | Old B | 2025-06-19 | 09:55 | 2025-06-18 | 18:56 | TAMARA |  | 0.0 |  | / | / |  |  |  |  | 24.5 |  | 1 | Kinga |  | 3 | 1
2 | 3.1 | 13 | Old B | 2025-06-19 | 09:56 | 2025-06-18 | 18:56 | TAMARA |  | 3.3 |  | / | / |  |  |  |  | 32.9 |  | 1 | Kinga |  | 3 | 2
2 | 3.1 | 14 | Old B | 2025-06-19 | 09:56 | 2025-06-18 | 18:56 | TAMARA |  | 3.3 |  | / | / |  |  |  |  | 27.0 |  | 1 | Kinga |  | 3 | 2
3 | 12.0 | 15 | Old B | 2025-06-19 | 09:56 | 2025-06-18 | 18:56 | TAMARA |  | 12.8 |  | / | / | [6 empty] | 1 | Kinga |  | 3 | 3
3 | 12.0 | 16 | Old B | 2025-06-19 | 09:57 | 2025-06-18 | 18:56 | TAMARA |  | 12.9 |  | / | / | [6 empty] | 1 | Kinga |  | 3 | 3
1 | 0.0 | 17 | P/FINAL | 2025-06-19 | 09:58 | 2025-06-18 | 18:56 | TAMARA |  | 0.0 |  | / | / |  | 0.952 |  |  | 14.7 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 18 | P/FINAL | 2025-06-19 | 09:58 | 2025-06-18 | 18:56 | TAMARA |  | 0.0 |  | / | / |  |  |  |  | 16.9 |  | 1 | Kinga |  | 3 | 1
2 | 3.1 | 19 | P/FINAL | 2025-06-19 | 09:59 | 2025-06-18 | 18:56 | TAMARA |  | 3.1 |  | / | / |  | 0.890 |  |  | 11.0 | 161 | 1 | Kinga |  | 3 | 2
2 | 3.1 | 20 | P/FINAL | 2025-06-19 | 10:14 | 2025-06-18 | 18:56 | TAMARA |  | 3.1 |  | / | / |  |  |  |  | 15.1 | 148 | 1 | Kinga |  | 3 | 2
2 | 3.1 | 21 | P/FINAL | 2025-06-19 | 10:15 | 2025-06-18 | 18:56 | TAMARA |  | 3.0 |  | / | / |  |  |  |  | 6.21 | 158 | 1 | Kinga |  | 3 | 2
3 | 12.0 | 22 | P/FINAL | 2025-06-19 | 10:15 | 2025-06-18 | 18:56 | TAMARA |  | 12.6 |  | / | / |  | 0.890 |  |  |  | 146 | 1 | Kinga |  | 3 | 3
3 | 12.0 | 23 | P/FINAL | 2025-06-19 | 10:15 | 2025-06-18 | 18:56 | TAMARA |  | 12.7 |  | / | / | [5 empty] | 169 | 1 | Kinga |  | 3 | 3
3 | 12.0 | 24 | P/FINAL | 2025-06-19 | 10:16 | 2025-06-18 | 18:56 | TAMARA |  | 12.5 |  | / | / | [5 empty] | 157 | 1 | Kinga |  | 3 | 3
1 | 0.0 | 25 | P/FINAL | 2025-06-19 | 10:19 | 2025-06-19 | 06:43 | MARA |  | 0.0 |  | / | / |  | 0.936 |  |  | 18.3 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 26 | P/FINAL | 2025-06-19 | 10:19 | 2025-06-19 | 06:43 | MARA |  | 0.0 |  | / | / |  |  |  |  | 15.3 |  | 1 | Kinga |  | 3 | 1
2 | 3.1 | 27 | P/FINAL | 2025-06-19 | 10:28 | 2025-06-19 | 06:43 | MARA |  | 3.2 |  | / | / |  | 0.873 |  |  | 18.2 | 145 | 1 | Kinga |  | 3 | 2
2 | 3.1 | 28 | P/FINAL | 2025-06-19 | 10:28 | 2025-06-19 | 06:43 | MARA |  | 3.2 |  | / | / |  |  |  |  | 17.2 | 133 | 1 | Kinga |  | 3 | 2
2 | 3.1 | 29 | P/FINAL | 2025-06-19 | 10:29 | 2025-06-19 | 06:43 | MARA |  | 3.2 |  | / | / |  |  |  |  | 17.3 | 156 | 1 | Kinga |  | 3 | 2
3 | 12.0 | 30 | P/FINAL | 2025-06-19 | 10:33 | 2025-06-19 | 06:43 | MARA |  | 12.7 |  | / | / |  | 0.853 |  |  |  | 156 | 1 | Kinga |  | 3 | 3
3 | 12.0 | 31 | P/FINAL | 2025-06-19 | 10:33 | 2025-06-19 | 06:43 | MARA |  | 12.7 |  | / | / | [5 empty] | 162 | 1 | Kinga |  | 3 | 3
3 | 12.0 | 32 | P/FINAL | 2025-06-19 | 10:34 | 2025-06-19 | 06:43 | MARA |  | 12.7 |  | / | / | [6 empty] | 1 | Kinga |  | 3 | 3
1 | 0.0 | 33 | P/FINAL | 2025-06-19 | 14:43 | 2025-06-19 | 14:14 | TAMARA |  | 0.1 |  | / | / |  | 0.823 |  |  | 22.1 |  | 1 | Kinga |  | 3 | 1 | 82048
1 | 0.0 | 34 | P/FINAL | 2025-06-19 | 14:44 | 2025-06-19 | 14:14 | TAMARA |  | 0.2 |  | / | / |  |  |  |  | 25.1 | 160 | 1 | Kinga |  | 3 | 1 | 82048
2 | 3.1 | 35 | P/FINAL | 2025-06-19 | 14:46 | 2025-06-19 | 14:14 | TAMARA |  | 3.1 |  | / | / |  | 0.800 |  |  | 12.7 | 163 | 1 | Kinga |  | 3 | 2 | 82048
2 | 3.1 | 36 | P/FINAL | 2025-06-19 | 14:47 | 2025-06-19 | 14:14 | TAMARA |  | 3.4 |  | / | / |  |  |  |  | 22.4 | 165 | 1 | Kinga |  | 3 | 2 | 82048
2 | 3.1 | 37 | P/FINAL | 2025-06-19 | 14:51 | 2025-06-19 | 14:14 | TAMARA |  | 3.3 |  | / | / |  |  |  |  | 24.3 | 168 | 1 | Kinga |  | 3 | 2 | 82048
3 | 12.0 | 38 | P/FINAL | 2025-06-19 | 14:54 | 2025-06-19 | 14:14 | TAMARA |  | 12.7 |  | / | / |  | 0.777 |  |  |  | 155 | 1 | Kinga |  | 3 | 3 | 82048
3 | 12.0 | 39 | P/FINAL | 2025-06-19 | 14:54 | 2025-06-19 | 14:14 | TAMARA |  | 12.7 |  | / | / | [6 empty] | 1 | Kinga |  | 3 | 3 | 82048
3 | 12.0 | 40 | P/FINAL | 2025-06-19 | 14:56 | 2025-06-19 | 14:14 | TAMARA |  | 12.8 |  | / | / | [6 empty] | 1 | Kinga |  | 3 | 3 | 82048
2 | 3.1 | 41 | P/FINAL | 2025-06-20 | 08:22 | 2025-06-20 | 06:46 | MARA |  | 3.2 |  | / | / |  | 0.800 |  |  | 18.9 |  | 1 | Kinga |  | 3 | 2
2 | 3.1 | 42 | P/FINAL | 2025-06-20 | 08:22 | 2025-06-20 | 06:46 | MARA |  | 3.1 |  | / | / |  |  |  |  | 9.18 |  | 1 | Kinga |  | 3 | 2
2 | 3.1 | 43 | P/FINAL | 2025-06-20 | 08:23 | 2025-06-20 | 06:46 | MARA |  | 3.2 |  | / | / |  |  |  |  | 19.1 |  | 1 | Kinga |  | 3 | 2
3 | 12.0 | 44 | P/FINAL | 2025-06-20 | 08:25 | 2025-06-20 | 06:46 | MARA |  | 12.7 |  | / | / | [6 empty] | 1 | Kinga |  | 3 | 3
3 | 12.0 | 45 | P/FINAL | 2025-06-20 | 08:25 | 2025-06-20 | 06:46 | MARA |  | 12.8 |  | / | / |  | 0.756 |  |  |  |  | 1 | Kinga |  | 3 | 3
3 | 12.0 | 46 | P/FINAL | 2025-06-20 | 08:27 | 2025-06-20 | 06:46 | MARA |  | 12.6 |  | / | / | [6 empty] | 1 | Kinga |  | 3 | 3
1 | 0.0 | 47 | P/FINAL | 2025-06-20 | 08:31 | 2025-06-20 | 06:46 | MARA |  | 0.1 |  | / | / |  | 0.764 |  |  | 23.1 | 169 | 1 | Kinga |  | 3 | 1
1 | 0.0 | 48 | P/FINAL | 2025-06-20 | 08:31 | 2025-06-20 | 06:46 | MARA |  | 0.0 |  | / | / |  |  |  |  | 19.5 | 180 | 1 | Kinga |  | 3 | 1
1 | 0.0 | 49 | Old B | 2025-06-20 | 08:34 | 2025-06-20 | 06:46 | MARA |  | 0.0 |  | / | / |  | - |  |  | 0.97 | 174 | 1 | Kinga |  | 3 | 1
1 | 0.0 | 50 | Old B | 2025-06-20 | 08:35 | 2025-06-20 | 06:46 | MARA |  | 0.0 |  | / | / |  |  |  |  | 1.06 | 182 | 1 | Kinga |  | 3 | 1
2 | 3.1 | 51 | Old B | 2025-06-20 | 08:36 | 2025-06-20 | 06:46 | MARA |  | 3.4 |  | / | / |  |  |  |  | 26.3 | 159 | 1 | Kinga |  | 3 | 2
2 | 3.1 | 52 | Old B | 2025-06-20 | 08:37 | 2025-06-20 | 06:46 | MARA |  | 3.2 |  | / | / |  |  |  |  | 11.3 |  | 1 | Kinga |  | 3 | 2
3 | 12.0 | 53 | Old B | 2025-06-20 | 08:38 | 2025-06-20 | 06:46 | MARA |  | 12.7 |  | / | / | [6 empty] | 1 | Kinga |  | 3 | 3
3 | 12.0 | 54 | Old B | 2025-06-20 | 08:38 | 2025-06-20 | 06:46 | MARA |  | 12.6 |  | / | / | [6 empty] | 1 | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 12 | 3.2 mg/L | 12 | 12 | 3.2 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 12 | 12.7 mg/L | 12 | 12 | 12.7 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 8 | 0.1 mg/L | 8 | 8 | 0.1 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.3 | 0.1 | YES
3.1 | 2.7 ÷ 3.5 | 3.2 | YES
12.0 | 11.2 ÷ 12.8 | 12.7 | YES
Validation Date | by
2025-07-03 | Eugenia