## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1152 | HI93706B-0 | CP-R30 | W 37/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphorus Reagent B | 2030-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
170 | 160 | 180
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2049 | 1152
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-10-01 | 2030-09-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 15.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-17 | 2025-09-17 | 1 HEAD |  |  |  | 1116
[6 empty] | Expiration A | Expiration B | Expiration D
2030-07-01
Meter
Meter 1 Family | Meter 1 Code
HI97706 | CTO-625
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 3.1 | 2.7 | 3.5 |  | MR104 |  | 0.3 | & | 4% | 100% |  | 0.6 | 0.4 | 0.8
3 | 12.0 | 11.2 | 12.8 | [8 empty] | 1.4 | 1.2 | 1.6
1 | 0.0 | 0.0 | 0.3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97706 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 3.1 | 1 | Old B | 2025-09-17 | 08:24 | 2025-09-17 | 06:47 | TAMARA | 1 | 3.5 | / | / | / |  |  |  |  | 50.8 |  | 1 | Kinga |  | 3 | 2
2 | 3.1 | 2 | Old B | 2025-09-17 | 08:24 | 2025-09-17 | 06:47 | TAMARA | 1 | 3.5 | / | / | / |  |  |  |  | 51.9 |  | 1 | Kinga |  | 3 | 2
3 | 12.0 | 3 | P/FINAL | 2025-09-17 | 08:25 | 2025-09-17 | 06:47 | TAMARA | 1 | 12.1 | / | / | / | [6 empty] | 1 | Kinga |  | 3 | 3 | 114744
3 | 12.0 | 4 | Old B | 2025-09-17 | 08:26 | 2025-09-17 | 06:47 | TAMARA | 1 | 12.2 | / | / | / | [6 empty] | 1 | Kinga |  | 3 | 3 | 114744
1 | 0.0 | 5 | Old B | 2025-09-17 | 08:28 | 2025-09-17 | 06:47 | TAMARA | 1 | 0.6 | / | / | / |  |  |  |  | 77.4 |  | 1 | Kinga |  | 3 | 1 | 114744
1 | 0.0 | 6 | Old A | 2025-09-17 | 08:29 | 2025-09-17 | 06:47 | TAMARA | 1 | 0.3 | / | / | / |  |  |  |  | 63.4 |  | 1 | Kinga |  | 3 | 1 | 114744
2 | 3.1 | 7 | P/FINAL | 2025-09-17 | 08:36 | 2025-09-17 | 06:47 | TAMARA | 1 | 3.1 | / | / | / |  |  |  |  | 7.64 |  | 1 | Kinga |  | 3 | 2 | 114744
2 | 3.1 | 8 | P/FINAL | 2025-09-17 | 08:37 | 2025-09-17 | 06:47 | TAMARA | 1 | 3.2 | / | / | / |  |  |  |  | 11.7 | 170 | 1 | Kinga |  | 3 | 2 | 114744
2 | 3.1 | 9 | P/FINAL | 2025-09-17 | 08:37 | 2025-09-17 | 06:47 | TAMARA | 1 | 3.0 | / | / | / |  |  | 0.642 |  | 0.65 | 185 | 1 | Kinga |  | 3 | 2 | 114744
1 | 0.0 | 10 | P/FINAL | 2025-09-17 | 08:38 | 2025-09-17 | 06:47 | TAMARA | 1 | 0.1 | / | / | / |  |  |  |  | 23.5 | 186 | 1 | Kinga |  | 3 | 1 | 114744
1 | 0.0 | 11 | P/FINAL | 2025-09-17 | 08:39 | 2025-09-17 | 06:47 | TAMARA | 1 | 0.0 | / | / | / |  |  | 0.596 |  | 17.8 | 176 | 1 | Kinga |  | 3 | 1 | 114744
3 | 12.0 | 12 | P/FINAL | 2025-09-17 | 08:48 | 2025-09-17 | 06:47 | TAMARA | 1 | 12.2 | / | / | / | [5 empty] | 165 | 1 | Kinga |  | 3 | 3 | 31137
3 | 12.0 | 13 | P/FINAL | 2025-09-17 | 08:48 | 2025-09-17 | 06:47 | TAMARA | 1 | 12.4 | / | / | / | [5 empty] | 165 | 1 | Kinga |  | 3 | 3 | 31137
3 | 12.0 | 14 | P/FINAL | 2025-09-17 | 08:48 | 2025-09-17 | 06:47 | TAMARA | 1 | 12.5 | / | / | / |  |  | 0.599 |  |  |  | 1 | Kinga |  | 3 | 3 | 31137
1 | 0.0 | 15 | P/FINAL | 2025-09-17 | 15:37 | 2025-09-17 | 14:23 | GIORGIANA | 1 | 0.0 | / | / | / |  |  |  |  | 14.8 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 16 | P/FINAL | 2025-09-17 | 15:37 | 2025-09-17 | 14:23 | GIORGIANA | 1 | 0.0 | / | / | / |  |  | 0.604 |  | 14.6 | 166 | 1 | Kinga |  | 3 | 1
2 | 3.1 | 17 | P/FINAL | 2025-09-17 | 15:38 | 2025-09-17 | 14:23 | GIORGIANA | 1 | 3.2 | / | / | / |  |  |  |  | 15.4 | 154 | 1 | Kinga |  | 3 | 2
2 | 3.1 | 18 | P/FINAL | 2025-09-17 | 15:38 | 2025-09-17 | 14:23 | GIORGIANA | 1 | 3.1 | / | / | / |  |  | 0.645 |  | 8.78 | 160 | 1 | Kinga |  | 3 | 2
2 | 3.1 | 19 | P/FINAL | 2025-09-17 | 15:38 | 2025-09-17 | 14:23 | GIORGIANA | 1 | 3.2 | / | / | / |  |  |  |  | 13.4 | 191 | 1 | Kinga |  | 3 | 2
3 | 12.0 | 20 | P/FINAL | 2025-09-17 | 15:38 | 2025-09-17 | 14:23 | GIORGIANA | 1 | 12.3 | / | / | / | [5 empty] | 171 | 1 | Kinga |  | 3 | 3
3 | 12.0 | 21 | P/FINAL | 2025-09-17 | 15:39 | 2025-09-17 | 14:23 | GIORGIANA | 1 | 12.4 | / | / | / |  |  | 0.685 |  |  | 183 | 1 | Kinga |  | 3 | 3
3 | 12.0 | 22 | P/FINAL | 2025-09-17 | 15:39 | 2025-09-17 | 14:23 | GIORGIANA | 1 | 12.4 | / | / | / | [6 empty] | 1 | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 6 | 3.1 mg/L | 6 | 6 | 3.1 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 7 | 12.3 mg/L | 7 | 7 | 12.3 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 0 mg/L | 4 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.3 | 0.0 | YES
3.1 | 2.7 ÷ 3.5 | 3.1 | YES
12.0 | 11.2 ÷ 12.8 | 12.3 | YES
Validation Date | by