## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
0912 | HI93717B-0 | CP-R30 | W06/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate HR Reagent B | 2030-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
170 | 160 | 180
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1679 | 0912
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-03-01 | 2030-02-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 30.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-02-11 | 2025-02-12 | 1HEAD |  |  |  | 0860
[6 empty] | Expiration A | Expiration B | Expiration D
2029-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97717 | CTO-635
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 6.0 | 4.8 | 7.2 |  | MR104 |  | 1.0 | & | 4% | 100% |  | 0.6 | 0.4 | 0.8
3 | 24.0 | 22.0 | 26.0 | [8 empty] | 1.4 | 1.2 | 1.6
1 | 0.0 | 0.0 | 1.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 6.0 | 1 | P/Prod | 2025-02-11 | 21:20 | 2025-02-11 | 20:04 | TAMARA | 1 | 6.4 | 6.5 | / | / | 0.334 |  |  |  | 23.1 | 179 | 1 | Brigitta P |  | 3 | 2 | 105846
2 | 6.0 | 2 | P/Prod | 2025-02-11 | 21:21 | 2025-02-11 | 20:04 | TAMARA | 1 | 6.1 | 6.2 | / | / | 0.322 |  |  |  | 17.6 | 167 | 1 | Brigitta P |  | 3 | 2 | 105846
2 | 6.0 | 3 | P/Prod | 2025-02-11 | 21:21 | 2025-02-11 | 20:04 | TAMARA | 1 | 6.1 | 6.2 | / | / |  |  |  |  | 17.9 | 160 | 1 | Brigitta P |  | 3 | 2 | 105846
2 | 6.0 | 4 | Old B | 2025-02-11 | 21:22 | 2025-02-11 | 20:04 | TAMARA | 1 | 5.9 | 6.0 | / | / | 0.312 |  |  |  | 10.5 |  | 1 | Brigitta P |  | 3 | 2 | 105846
3 | 24.0 | 5 | Valid | 2025-02-11 | 21:23 | 2025-02-11 | 20:04 | TAMARA | 1 | 24.6 | 24.2 | / | / | 1.101 |  |  |  | 175 |  | 1 | Brigitta P |  | 3 | 3 | 105846
3 | 24.0 | 6 | P/Prod | 2025-02-11 | 21:24 | 2025-02-11 | 20:04 | TAMARA | 1 | 24.6 | 24.3 | / | / | 1.101 | [5 empty] | 1 | Brigitta P |  | 3 | 3 | 105846
3 | 24.0 | 7 | P/Prod | 2025-02-11 | 21:24 | 2025-02-11 | 20:04 | TAMARA | 1 | 24.8 | 24.4 | / | / | [6 empty] | 1 | Brigitta P |  | 3 | 3 | 105846
2 | 6.0 | 8 | Old B | 2025-02-12 | 09:28 | 2025-02-12 | 06:54 | MARA | 1 | 5.8 | 5.8 | / | / | 0.309 |  |  |  | 16.2 |  | 1 | Kinga |  | 3 | 2 | 105846
3 | 24.0 | 9 | Old B | 2025-02-12 | 09:29 | 2025-02-12 | 06:54 | MARA | 1 | 24.5 | 24.1 | / | / | 1.098 | [5 empty] | 1 | Kinga |  | 3 | 3 | 105846
1 | 0.0 | 10 | Old B | 2025-02-12 | 09:31 | 2025-02-12 | 06:54 | MARA | 1 | 0.4 | 0.3 | / | / | 0.071 |  |  |  | 22.7 |  | 1 | Kinga |  | 3 | 1 | 105846
2 | 6.0 | 11 | P/Prod | 2025-02-12 | 09:39 | 2025-02-12 | 06:54 | MARA | 1 | 6.5 | 6.3 | / | / | 0.337 |  | 0.961 |  | 23.6 | 171 | 1 | Kinga |  | 3 | 2 | 105846
2 | 6.0 | 12 | P/Prod | 2025-02-12 | 09:40 | 2025-02-12 | 06:54 | MARA | 1 | 6.7 | 4.9 | / | / | 0.343 |  |  |  | 24.8 | 162 | 1 | Kinga |  | 3 | 2 | 105846
3 | 24.0 | 13 | P/Prod | 2025-02-12 | 09:45 | 2025-02-12 | 06:54 | MARA | 1 | 24.4 | 22.4 | / | / | 1.094 |  | 0.949 |  |  | 184 | 1 | Kinga |  | 3 | 3 | 105846
3 | 24.0 | 14 | P/Prod | 2025-02-12 | 09:45 | 2025-02-12 | 06:54 | MARA | 1 | 24.7 | 22.5 | / | / | 1.103 |  |  |  |  | 187 | 1 | Kinga |  | 3 | 3 | 105846
1 | 0.0 | 15 | P/Prod | 2025-02-12 | 09:48 | 2025-02-12 | 06:54 | MARA | 1 | 0.5 | 0.0 | / | / | 0.074 |  | 0.946 |  | 28.0 |  | 1 | Kinga |  | 3 | 1 | 105846
1 | 0.0 | 16 | P/Prod | 2025-02-12 | 09:50 | 2025-02-12 | 06:54 | MARA | 1 | 0.4 | 0.0 | / | / | 0.070 |  |  |  | 22.4 |  | 1 | Kinga |  | 3 | 1 | 105846
2 | 6.0 | 17 | P/Prod | 2025-02-12 | 15:17 | 2025-02-12 | 14:26 | TAMARA |  | 6.2 | 6.2 | / | / | 0.324 |  |  |  | 19.6 | 178 | 1 | Kinga |  | 3 | 2
2 | 6.0 | 18 | P/Prod | 2025-02-12 | 15:18 | 2025-02-12 | 14:26 | TAMARA |  | 6.2 | 6.1 | / | / | 0.324 |  |  |  | 17.3 | 176 | 1 | Kinga |  | 3 | 2
3 | 24.0 | 19 | P/Prod | 2025-02-12 | 15:19 | 2025-02-12 | 14:26 | TAMARA |  | 24.8 | 24.3 | / | / | 1.108 |  |  |  |  | 163 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 20 | P/Prod | 2025-02-12 | 15:20 | 2025-02-12 | 14:26 | TAMARA |  | 24.6 | 24.1 | / | / | 1.102 |  |  |  |  | 171 | 1 | Kinga |  | 3 | 3
1 | 0.0 | 21 | P/Prod | 2025-02-12 | 15:25 | 2025-02-12 | 14:26 | TAMARA |  | 0.0 | 0.0 | / | / | 0.047 |  |  |  | 13.8 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 22 | P/Prod | 2025-02-12 | 15:25 | 2025-02-12 | 14:26 | TAMARA |  | 0.0 | 0.0 | / | / | 0047 |  |  |  | 18.5 |  | 1 | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 6.2 mg/L | 7 | 14 | 6.2 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 24.2 mg/L | 6 | 12 | 24.2 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.1 mg/L | 4 | 8 | 0.1 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 1.0 | 0.1 | YES
6.0 | 4.8 ÷ 7.2 | 6.2 | YES
24.0 | 22.0 ÷ 26.0 | 24.2 | YES
Validation Date | by