## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1031 | HI93717B-0 | CP-R30 | W 18/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate HR Reagent B | 2030-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
170 | 160 | 180
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2049 | 1031
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-10-01 | 2030-05-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 30.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-05-13 | 2025-05-16 | 1HEAD |  |  |  | 0682
[6 empty] | Expiration A | Expiration B | Expiration D
2029-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97717 | CTO-635
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 6.0 | 4.8 | 7.2 |  | MR104 |  | 1.0 | & | 4% | 100% |  | 0.6 | 0.4 | 0.8
3 | 24.0 | 22.0 | 26.0 | [8 empty] | 1.4 | 1.2 | 1.6
1 | 0.0 | 0.0 | 1.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97717 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 6.0 | 1 | Old B | 2025-05-01 | 12:12 | 2025-05-01 | 11:31 | MARK |  | 6.3 | 6.2 | / | / | 0.329 |  |  |  | 15.1 |  | 1 | Kinga |  | 3 | 2 | 103754
2 | 6.0 | 2 | Old B | 2025-05-01 | 12:12 | 2025-05-01 | 11:31 | MARK |  | 6.4 | 6.3 | / | / | 0.331 |  |  |  | 19.2 |  | 1 | Kinga |  | 3 | 2 | 103754
3 | 24.0 | 3 | Old B | 2025-05-01 | 12:13 | 2025-05-01 | 11:31 | MARK |  | 24.4 | 24.0 | / | / | 1.094 | [5 empty] | 1 | Kinga |  | 3 | 3 | 103754
3 | 24.0 | 4 | Old B | 2025-05-01 | 12:13 | 2025-05-01 | 11:31 | MARK |  | 24.4 | 24.0 | / | / | 1.091 | [5 empty] | 1 | Kinga |  | 3 | 3 | 103754
2 | 6.0 | 5 | Valid | 2025-05-01 | 12:21 | 2025-05-01 | 11:31 | MARK |  | 6.8 | 6.8 | / | / | 0.352 |  |  |  | 25.2 |  | 1 | Kinga |  | 3 | 2 | 103754
2 | 6.0 | 6 | Valid | 2025-05-01 | 12:22 | 2025-05-01 | 11:31 | MARK |  | 7.0 | 6.9 | / | / | 0.359 |  | 0.833 |  | 28.1 |  | 1 | Kinga |  | 3 | 2 | 103754
2 | 6.0 | 7 | Valid | 2025-05-01 | 12:23 | 2025-05-01 | 11:31 | MARK |  | 7.1 | 7.0 | / | / | 0.362 |  |  |  | 29.1 |  | 1 | Kinga |  | 3 | 2 | 103754
3 | 24.0 | 8 | Valid | 2025-05-01 | 12:23 | 2025-05-01 | 11:31 | MARK |  | 24.9 | 24.3 | / | / | 1.112 | [5 empty] | 1 | Kinga |  | 3 | 3 | 103754
3 | 24.0 | 9 | Valid | 2025-05-01 | 12:24 | 2025-05-01 | 11:31 | MARK |  | 25.1 | 24.6 | / | / | 1.123 |  | 0.868 |  |  |  | 1 | Kinga |  | 3 | 3 | 103754
3 | 24.0 | 10 | Valid | 2025-05-01 | 12:24 | 2025-05-01 | 11:31 | MARK |  | 25.1 | 24.7 | / | / | 1.123 | [5 empty] | 1 | Kinga |  | 3 | 3 | 103754
1 | 0.0 | 11 | Valid | 2025-05-01 | 12:25 | 2025-05-01 | 11:31 | MARK |  | 1.0 | 0.7 | / | / | 0.096 |  |  |  | 25.5 |  | 1 | Kinga |  | 3 | 1 | 103754
1 | 0.0 | 12 | Valid | 2025-05-01 | 12:26 | 2025-05-01 | 11:31 | MARK |  | 0.3 | 0.8 | / | / | 0.065 |  | 0.835 |  | 25.4 |  | 1 | Kinga |  | 3 | 1 | 103754
3 | 24.0 | 13 | Old A | 2025-05-14 | 09:18 | 2025-05-13 | 19:28 | MARA |  | 25.2 | 24.8 | / | / | 1.125 |  |  |  | - | 177 | 1 | Kinga |  | 3 | 3 | 103754
3 | 24.0 | 14 | P/FINAL | 2025-05-14 | 09:19 | 2025-05-13 | 19:28 | MARA |  | 25.1 | 24.8 | / | / | 1.121 |  |  |  | - | 182 | 1 | Kinga |  | 3 | 3 | 103754
3 | 24.0 | 15 | P/FINAL | 2025-05-14 | 09:19 | 2025-05-13 | 19:28 | MARA |  | 25.0 | 24.8 | / | / | 1.112 |  |  |  | - | 187 | 1 | Kinga |  | 3 | 3 | 103754
2 | 6.0 | 16 | Old A | 2025-05-14 | 09:20 | 2025-05-13 | 19:28 | MARA |  | 5.4 | 5.4 | / | / | 0.280 |  | 0.755 |  | 0.78 | 172 | 1 | Kinga |  | 3 | 2 | 103754
2 | 6.0 | 17 | P/FINAL | 2025-05-14 | 09:20 | 2025-05-13 | 19:28 | MARA |  | 5.2 | 5.5 | / | / | 0.282 |  |  |  | 0.70 | 171 | 1 | Kinga |  | 3 | 2 | 103754
2 | 6.0 | 18 | P/FINAL | 2025-05-14 | 09:20 | 2025-05-13 | 19:28 | MARA |  | 5.4 | 5.7 | / | / | 0.288 |  |  |  | 0.65 | 165 | 1 | Kinga |  | 3 | 2 | 103754
1 | 0.0 | 19 | P/FINAL | 2025-05-14 | 09:21 | 2025-05-13 | 19:28 | MARA |  | 0.7 | 0.6 | / | / | 0.082 |  | 0.725 |  | 22.6 | 181 | 1 | Kinga |  | 3 | 1 | 103754
1 | 0.0 | 20 | P/FINAL | 2025-05-14 | 09:21 | 2025-05-13 | 19:28 | MARA |  | 0.7 | 0.6 | / | / | 0.082 |  |  |  | 21.8 | 166 | 1 | Kinga |  | 3 | 1 | 103754
3 | 24.0 | 21 | Old A | 2025-05-14 | 09:22 | 2025-05-14 | 06:52 | TAMARA |  | 24.7 | 24.3 | / | / | 1.103 |  | 0.768 |  |  | 171 | 1 | Kinga |  | 3 | 3 | 103754
3 | 24.0 | 22 | P/FINAL | 2025-05-14 | 09:23 | 2025-05-14 | 06:52 | TAMARA |  | 24.4 | 24.2 | / | / | 1.097 |  |  |  |  | 173 | 1 | Kinga |  | 3 | 3 | 103754
3 | 24.0 | 23 | P/FINAL | 2025-05-14 | 09:23 | 2025-05-14 | 06:52 | TAMARA |  | 25.2 | 24.6 | / | / | 1.125 | [5 empty] | 1 | Kinga |  | 3 | 3 | 103754
2 | 6.0 | 24 | Old A | 2025-05-14 | 09:24 | 2025-05-14 | 06:52 | TAMARA |  | 5.4 | 5.4 | / | / | 0.291 |  | 0.742 |  | 21.3 |  | 1 | Kinga |  | 3 | 2 | 103754
2 | 6.0 | 25 | P/FINAL | 2025-05-14 | 09:25 | 2025-05-14 | 06:52 | TAMARA |  | 5.4 | 5.5 | / | / | 0.288 |  |  |  | 17.5 |  | 1 | Kinga |  | 3 | 2 | 103754
2 | 6.0 | 26 | P/FINAL | 2025-05-14 | 09:25 | 2025-05-14 | 06:52 | TAMARA |  | 5.4 | 5.3 | / | / | 0.290 |  |  |  | 10.6 |  | 1 | Kinga |  | 3 | 2 | 103754
1 | 0.0 | 27 | P/FINAL | 2025-05-14 | 09:26 | 2025-05-14 | 06:52 | TAMARA |  | 0.4 | 0.4 | / | / | 0.070 |  |  |  | 20.4 |  | 1 | Kinga |  | 3 | 1 | 103754
1 | 0.0 | 28 | P/FINAL | 2025-05-14 | 09:26 | 2025-05-14 | 06:52 | TAMARA |  | 1.0 | 1.0 | / | / | 0.095 |  |  |  | 26.4 |  | 1 | Kinga |  | 3 | 1 | 103754
1 | 0.0 | 29 | Old A | 2025-05-15 | 6:55 | 2025-05-14 | 15:38 | MARA |  | 1.0 | 1.0 | / | / | 0.095 |  |  |  | 24.1 |  | 1 | Brigitta P |  | 3 | 1 | 103754
2 | 6.0 | 30 | Old A | 2025-05-15 | 6:55 | 2025-05-14 | 15:38 | MARA |  | 6.4 | 6.3 | / | / | 0.332 |  |  |  | 15.1 |  | 1 | Brigitta P |  | 3 | 1 | 103754
3 | 24.0 | 31 | Old A | 2025-05-15 | 6:55 | 2025-05-14 | 15:38 | MARA |  | 25.1 | 24.8 | / | / | 1.124 | [5 empty] | 1 | Brigitta P |  | 3 | 1 | 103754
1 | 0.0 | 32 | P/FINAL | 2025-05-15 | 07:02 | 2025-05-14 | 15:38 | MARA | 1 | 0.0 | 0.0 | / | / | 0.052 |  | 1.039 |  | 12.0 | 178 | 1 | Brigitta P |  | 3 | 1 | 103754
1 | 0.0 | 33 | P/FINAL | 2025-05-15 | 07:02 | 2025-05-14 | 15:38 | MARA | 1 | 0.0 | 0.0 | / | / | 0.048 |  |  |  | 12.1 |  | 1 | Brigitta P |  | 3 | 1 | 103754
2 | 6.0 | 34 | P/FINAL | 2025-05-15 | 07:03 | 2025-05-14 | 15:38 | MARA | 1 | 7.0 | 7.0 | / | / | 0.361 |  | 1.098 |  | 34.3 |  | 1 | Brigitta P |  | 3 | 2 | 103754
2 | 6.0 | 35 | P/FINAL | 2025-05-15 | 07:03 | 2025-05-14 | 15:38 | MARA | 1 | 7.0 | 7.0 | / | / | 0.358 |  | 1.079 |  | 34.5 | 182 | 1 | Brigitta P |  | 3 | 2 | 103754
2 | 6.0 | 36 | P/FINAL | 2025-05-15 | 07:04 | 2025-05-14 | 15:38 | MARA | 1 | 7.0 | 6.9 | / | / | 0.359 |  | 1.105 |  | 33.9 | 161 | 1 | Brigitta P |  | 3 | 2 | 103754
3 | 24.0 | 37 | P/FINAL | 2025-05-15 | 07:04 | 2025-05-14 | 15:38 | MARA | 1 | 24.0 | 23.6 | / | / | 1.076 |  | 1.145 |  |  | 151 | 1 | Brigitta P |  | 3 | 3 | 103754
3 | 24.0 | 38 | P/FINAL | 2025-05-15 | 07:05 | 2025-05-14 | 15:38 | MARA | 1 | 24.2 | 23.8 | / | / | 1.082 |  |  |  |  | 150 | 1 | Brigitta P |  | 3 | 3 | 103754
2 | 6.0 | 39 | P/FINAL | 2025-05-15 | 07:42 | 2025-05-15 | 06:48 | TAMARA | 1 | 6.8 | 6.8 | / | / | 0.349 |  | 0.980 |  | 42.6 |  | 1 | Brigitta P |  | 3 | 2 | 103754
2 | 6.0 | 40 | P/FINAL | 2025-05-15 | 07:42 | 2025-05-15 | 06:48 | TAMARA | 1 | 6.8 | 6.8 | / | / | 0.350 |  |  |  | 30.2 | 152 | 1 | Brigitta P |  | 3 | 2 | 103754
2 | 6.0 | 41 | P/FINAL | 2025-05-15 | 07:43 | 2025-05-15 | 06:48 | TAMARA | 1 | 7.8 | 7.7 | / | / | 0.394 |  |  |  | 44.2 | 155 | 1 | Brigitta P |  | 3 | 2 | 103754
3 | 24.0 | 42 | P/FINAL | 2025-05-15 | 07:43 | 2025-05-15 | 06:48 | TAMARA | 1 | 24.9 | 24.8 | / | / | 1.114 |  | 0.916 |  |  | 158 | 1 | Brigitta P |  | 3 | 3 | 103754
3 | 24.0 | 43 | P/FINAL | 2025-05-15 | 07:44 | 2025-05-15 | 06:48 | TAMARA | 1 | 25.0 | 24.6 | / | / | 1.117 |  |  |  |  | 168 | 1 | Brigitta P |  | 3 | 3 | 103754
3 | 24.0 | 44 | P/FINAL | 2025-05-15 | 07:44 | 2025-05-15 | 06:48 | TAMARA | 1 | 24.8 | 24.3 | / | / | 1.108 | [5 empty] | 1 | Brigitta P |  | 3 | 3 | 103754
1 | 0.0 | 45 | P/FINAL | 2025-05-15 | 7:40 | 2025-05-15 | 06:48 | TAMARA | 1 | 0.0 | 0.0 | / | / | 0.048 |  | 0.845 |  |  | 149 | 1 | Brigitta P |  | 3 | 3 | 103754
2 | 6.0 | 46 | P/FINAL | 2025-05-15 | 14:50 | 2025-05-15 | 14:18 | MARA | 1 | 5.7 | 5.6 | / | / | 0.302 |  |  | / | 5.04 | 168 | 1 | Kinga |  | 3 | 2 | 103754
2 | 6.0 | 47 | P/FINAL | 2025-05-15 | 14:50 | 2025-05-15 | 14:18 | MARA | 1 | 5.8 | 5.8 | / | / | 0.308 |  |  |  | 6.99 | 165 | 1 | Kinga |  | 3 | 2 | 103754
3 | 24.0 | 48 | P/FINAL | 2025-05-15 | 14:52 | 2025-05-15 | 14:18 | MARA | 1 | 24.3 | 24.1 | / | / | 1.090 |  |  |  |  | 173 | 1 | Kinga |  | 3 | 3 | 103754
3 | 24.0 | 49 | P/FINAL | 2025-05-15 | 14:53 | 2025-05-15 | 14:18 | MARA | 1 | 24.6 | 24.2 | / | / | 1.102 |  |  |  |  | 172 | 1 | Kinga |  | 3 | 3 | 103754
1 | 0.0 | 50 | P/FINAL | 2025-05-15 | 14:54 | 2025-05-15 | 14:18 | MARA | 1 | 1.0 | 0.0 | / | / | 0.100 |  |  |  | 17.5 | 172 | 1 | Kinga |  | 3 | 1 | 103754
1 | 0.0 | 51 | P/FINAL | 2025-05-16 | 7:05 | 2025-05-15 | 06:32 | TAMARA | 1 | 1.0 | 0.0 | / | / | 0.095 |  |  |  | 15.5 | 166 | 1 | Brigitta P |  | 3 | 1 | 103754
2 | 6.0 | 52 | P/FINAL | 2025-05-16 | 7:05 | 2025-05-15 | 06:32 | TAMARA | 1 | 5.8 | 5.8 | / | / | 0.308 |  |  |  | 16.1 | 152 | 1 | Brigitta P |  | 3 | 1 | 103754
2 | 6.0 | 53 | P/FINAL | 2025-05-16 | 7:05 | 2025-05-15 | 06:32 | TAMARA | 1 | 6.8 | 6.8 | / | / | 0.352 |  |  |  | 19.2 | 147 | 1 | Brigitta P |  | 3 | 1 | 103754
3 | 24.0 | 54 | P/FINAL | 2025-05-16 | 7:05 | 2025-05-15 | 06:32 | TAMARA | 1 | 25.0 | 24.8 | / | / | 1.118 |  |  |  |  | 167 | 1 | Brigitta P |  | 3 | 1 | 103754
3 | 24.0 | 55 | P/FINAL | 2025-05-16 | 7:05 | 2025-05-15 | 06:32 | TAMARA | 1 | 25.1 | 24.8 | / | / | 1.124 |  |  |  |  | 180 | 1 | Brigitta P |  | 3 | 1 | 103754
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
14 | 28 | 6.3 mg/L | 14 | 28 | 6.3 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
13 | 26 | 24.6 mg/L | 13 | 26 | 24.6 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.4 mg/L | 9 | 18 | 0.4 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 1.0 | 0.4 | YES
6.0 | 4.8 ÷ 7.2 | 6.3 | YES
24.0 | 22.0 ÷ 26.0 | 24.6 | YES
Validation Date | by