## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1070 | HI93717B-0 | CP-R30 | W24_2025 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate HR Reagent B | 2030-06-01 | L57 Powder |  |  | Laboratory | TAB 3 | Production
Ref Weight. | Min (mg) | Max (mg)
170 | 160 | 180
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2390 | 1070
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-03-01 | 2030-06-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 30.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-06-26 | 2025-06-01 | 1 HEAD |  |  |  | 1031
[6 empty] | Expiration A | Expiration B | Expiration D
2030-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97717 | CTO-635
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 6.0 | 4.8 | 7.2 |  | MR104 |  | 1.0 | & | 4% | 100% |  | 0.6 | 0.4 | 0.8
3 | 24.0 | 22.0 | 26.0 | [8 empty] | 1.4 | 1.2 | 1.6
1 | 0.0 | 0.0 | 1.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 6.0 | 1 | Old B | 2025-06-10 | 14:43 | 2025-06-10 |  | ERIKA |  | 6.0 | 6.0 | / | / | 0.316 |  |  |  | 64.0 |  | 1 | Violeta |  | 3 | 2
3 | 24.0 | 2 | Old B | 2025-06-10 | 14:44 | 2025-06-10 |  | ERIKA |  | 24.6 | 24.3 | / | / | 1.099 | [5 empty] | 1 | Violeta |  | 3 | 3
3 | 24.0 | 3 | Old B | 2025-06-10 | 14:44 | 2025-06-10 |  | ERIKA |  | 25.4 | 25.6 | / | / | 1.133 | [5 empty] | 1 | Violeta |  | 3 | 3
2 | 6.0 | 4 | Valid | 2025-06-10 | 14:49 | 2025-06-10 |  | ERIKA |  | 6.6 | 6.5 | / | / | 0.340 |  |  |  | 26.0 |  | 1 | Violeta |  | 3 | 2
2 | 6.0 | 5 | Valid | 2025-06-10 | 14:50 | 2025-06-10 |  | ERIKA |  | 6.3 | 6.5 | / | / | 0.329 |  |  |  | 20.2 |  | 1 | Violeta |  | 3 | 2
2 | 6.0 | 6 | Valid | 2025-06-10 | 14:50 | 2025-06-10 |  | ERIKA |  | 6.9 | 6.8 | / | / | 0.353 |  |  |  | 30.3 |  | 1 | Violeta |  | 3 | 2
3 | 24.0 | 7 | Valid | 2025-06-10 | 14:57 | 2025-06-10 |  | ERIKA |  | 23.5 | 23.1 | / | / | 1.057 | [5 empty] | 1 | Violeta |  | 3 | 3 |  | LLO TURBIDITY
3 | 24.0 | 8 | Valid | 2025-06-10 | 14:57 | 2025-06-10 |  | ERIKA |  | 23.6 | 23.3 | / | / | 1.062 | [5 empty] | 1 | Violeta |  | 3 | 3 |  | LLO TURBIDITY
3 | 24.0 | 9 | Valid | 2025-06-10 | 14:58 | 2025-06-10 |  | ERIKA |  | 23.8 | 23.5 | / | / | 1.067 | [5 empty] | 1 | Violeta |  | 3 | 3 |  | LLO TURBIDITY
1 | 0.0 | 10 | Valid | 2025-06-10 | 14:59 | 2025-06-10 |  | ERIKA |  | 1.1 | 0.9 | / | / | 0.103 |  |  |  | 30.6 |  | 1 | Violeta |  | 3 | 1
1 | 0.0 | 11 | Valid | 2025-06-10 | 14:59 | 2025-06-10 |  | ERIKA |  | 0.6 | 0.4 | / | / | 0.078 |  |  |  | 24.3 |  | 1 | Violeta |  | 3 | 1
2 | 6.0 | 12 | Old B | 2025-06-17 | 08:54 | 2025-06-17 | 07:43 | MARA |  | 6.0 | 6.2 | / | / | 0.317 |  |  |  | 18.5 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 13 | Old B | 2025-06-17 | 08:54 | 2025-06-17 | 07:43 | MARA |  | 6.0 | 6.2 | / | / | 0.317 |  |  |  | 19.6 |  | 1 | Kinga |  | 3 | 2
3 | 24.0 | 14 | Old B | 2025-06-17 | 08:55 | 2025-06-17 | 07:43 | MARA |  | 23.5 | 23.2 | / | / | 1.054 | [5 empty] | 1 | Kinga |  | 3 | 3
3 | 24.0 | 15 | Old B | 2025-06-17 | 08:56 | 2025-06-17 | 07:43 | MARA |  | 23.5 | 23.3 | / | / | 1.055 | [5 empty] | 1 | Kinga |  | 3 | 3
1 | 0.0 | 16 | Old B | 2025-06-17 | 08:56 | 2025-06-17 | 07:43 | MARA |  | 0.0 | 0.0 | / | / | 0.044 |  |  |  | 13.5 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 17 | Old B | 2025-06-17 | 08:57 | 2025-06-17 | 07:43 | MARA |  | 0.0 | 0.0 | / | / | 0.038 |  |  |  | 13.9 | 166 | 1 | Kinga |  | 3 | 1
3 | 24.0 | 18 | P/FINAL | 2025-06-17 | 09:11 | 2025-06-17 | 07:43 | MARA |  | 23.7 | 23.3 | / | / | 1.063 |  |  |  |  | 157 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 19 | P/FINAL | 2025-06-17 | 09:12 | 2025-06-17 | 07:43 | MARA |  | 23.6 | 23.4 | / | / | 1.076 |  |  |  |  | 164 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 20 | P/FINAL | 2025-06-17 | 09:12 | 2025-06-17 | 07:43 | MARA |  | 24.0 | 23.3 | / | / | 1.076 |  | 0.737 |  |  | 168 | 1 | Kinga |  | 3 | 3
2 | 6.0 | 21 | P/FINAL | 2025-06-17 | 09:13 | 2025-06-17 | 07:43 | MARA |  | 5.5 | 5.6 | / | / | 0.295 |  |  |  | 10.1 | 185 | 1 | Kinga |  | 3 | 2
2 | 6.0 | 22 | P/FINAL | 2025-06-17 | 09:13 | 2025-06-17 | 07:43 | MARA |  | 5.8 | 5.8 | / | / | 0.308 |  | 0.705 |  | 16.5 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 23 | P/FINAL | 2025-06-17 | 09:14 | 2025-06-17 | 07:43 | MARA |  | 6.0 | 5.9 | / | / | 0.315 |  |  |  | 18.5 |  | 1 | Kinga |  | 3 | 2
1 | 0.0 | 24 | P/FINAL | 2025-06-17 | 09:22 | 2025-06-17 | 07:43 | MARA |  | 0.6 | 0.5 | / | / | 0.078 |  |  |  | 25.7 |  | 1 | Kinga |  | 3 | 2
1 | 0.0 | 25 | P/FINAL | 2025-06-17 | 09:24 | 2025-06-17 | 07:43 | MARA |  | 0.9 | 1.3 | / | / | 0.092 |  | 0.756 |  | 31.1 |  | 1 | Kinga |  | 3 | 1
2 | 6.0 | 26 | Old B | 2025-06-18 | 10:33 | 2025-06-17 | 14:21 | TAMARA |  | 6.1 | 6.0 | / | / | 0.320 |  |  |  | 20.3 |  | 1 | Kinga |  | 3 | 2
3 | 24.0 | 27 | Old B | 2025-06-18 | 10:41 | 2025-06-17 | 14:21 | TAMARA |  | 23.9 | 23.5 | / | / | 1.071 |  |  |  | 13.0 |  | 1 | Kinga |  | 3 | 3
2 | 6.0 | 28 | Old B | 2025-06-18 | 10:43 | 2025-06-17 | 14:21 | TAMARA |  | 6.6 | 6.4 | / | / | 0.340 |  |  |  | 31.2 |  | 1 | Kinga |  | 3 | 2
3 | 24.0 | 29 | Old B | 2025-06-18 | 10:44 | 2025-06-17 | 14:21 | TAMARA |  | 25.0 | 24.3 | / | / | 1.116 |  |  |  | 45.6 |  | 1 | Kinga |  | 3 | 3
1 | 0.0 | 30 | Old B | 2025-06-18 | 10:52 | 2025-06-17 | 14:21 | TAMARA |  | 0.4 | 0.1 | / | / | 0.068 |  |  |  | 21.1 |  | 1 | Kinga |  | 3 | 1
2 | 6.0 | 31 | P/FINAL | 2025-06-18 | 10:53 | 2025-06-17 | 14:21 | TAMARA |  | 6.2 | 6.2 | / | / | 0.325 |  |  |  | 14.2 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 32 | P/FINAL | 2025-06-18 | 10:54 | 2025-06-17 | 14:21 | TAMARA |  | 6.5 | 6.4 | / | / | 0.339 | - | 0.872 |  | 18.6 | 172 | 1 | Kinga |  | 3 | 2
2 | 6.0 | 33 | P/FINAL | 2025-06-18 | 10:55 | 2025-06-17 | 14:21 | TAMARA |  | 6.5 | 6.4 | / | / | 0.336 |  |  |  | 18.6 | 157 | 1 | Kinga |  | 3 | 2
3 | 24.0 | 34 | P/FINAL | 2025-06-18 | 10:58 | 2025-06-17 | 14:21 | TAMARA |  | 24.1 | 23.5 | / | / | 1.080 |  |  |  | 13.5 |  | 1 | Kinga |  | 3 | 3
3 | 24.0 | 35 | P/FINAL | 2025-06-18 | 10:58 | 2025-06-17 | 14:21 | TAMARA |  | 24.1 | 23.7 | / | / | 1.079 | - | 0.757 |  | 12.0 | 159 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 36 | P/FINAL | 2025-06-18 | 11:00 | 2025-06-17 | 14:21 | TAMARA |  | 24.7 | 24.2 | / | / | 1.105 |  |  |  | 4.27 |  | 1 | Kinga |  | 3 | 3
1 | 0.0 | 37 | P/FINAL | 2025-06-18 | 11:03 | 2025-06-17 | 14:21 | TAMARA |  | 0.0 | 0.0 | / | / | 0.044 | - | 0.864 |  | 14.9 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 38 | P/FINAL | 2025-06-18 | 11:03 | 2025-06-17 | 14:21 | TAMARA |  | 0.0 | 0.1 | / | / | 0.052 |  |  |  | 18.2 | 166 | 1 | Kinga |  | 3 | 1
3 | 24.0 | 39 | Old B | 2025-06-18 | 11:07 | 2025-06-17 | 14:21 | TAMARA |  | 1.1 | 0.8 | / | / | 0.099 |  |  |  | 58.1 |  | 1 | Kinga |  | 3 | 3
2 | 6.0 | 40 | P/FINAL | 2025-06-18 | 11:21 | 2025-06-18 | 06:46 | MARA |  | 6.3 | 6.4 | / | / | 0.329 |  |  |  | 16.0 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 41 | P/FINAL | 2025-06-18 | 11:23 | 2025-06-18 | 06:46 | MARA |  | 6.1 | 6.0 | / | / | 0.318 | - | 0.908 |  | 12.0 | 168 | 1 | Kinga |  | 3 | 2
2 | 6.0 | 42 | P/FINAL | 2025-06-18 | 11:24 | 2025-06-18 | 06:46 | MARA |  | 6.8 | 6.7 | / | / | 0.349 |  |  |  | 20.5 | 159 | 1 | Kinga |  | 3 | 2
3 | 24.0 | 43 | P/FINAL | 2025-06-18 | 11:26 | 2025-06-18 | 06:46 | MARA |  | 23.8 | 23.4 | / | / | 1.067 |  |  |  | 8.65 | 161 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 44 | P/FINAL | 2025-06-18 | 11:30 | 2025-06-18 | 06:46 | MARA |  | 24.0 | 23.5 | / | / | 1.074 | - | 0.834 |  | 11.4 | 160 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 45 | P/FINAL | 2025-06-18 | 11:30 | 2025-06-18 | 06:46 | MARA |  | 23.9 | 23.5 | / | / | 1.073 |  |  |  | 5.39 | 160 | 1 | Kinga |  | 3 | 3
1 | 0.0 | 46 | P/FINAL | 2025-06-18 | 11:32 | 2025-06-18 | 06:46 | MARA |  | 0.2 | 0.1 | / | / | 0.059 | - | 0.850 |  | 19.2 | 160 | 1 | Kinga |  | 3 | 1
1 | 0.0 | 47 | P/FINAL | 2025-06-18 | 11:33 | 2025-06-18 | 06:46 | MARA |  | 0.3 | 0.0 | / | / | 0.064 |  |  |  | 18.4 |  | 1 | Kinga |  | 3 | 1
2 | 6.0 | 48 | P/FINAL | 2025-06-18 | 15:38 | 2025-06-18 | 14:37 | TAMARA |  | 6.1 | 6.1 | / | / | 0.322 |  | 0.900 |  | 21.7 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 49 | P/FINAL | 42025/06/18 | 15:38 | 2025-06-18 | 14:37 | TAMARA |  | 5.7 | 5.6 | / | / | 0.303 |  |  |  | 15.9 | 142 | 1 | Kinga |  | 3 | 2
2 | 6.0 | 50 | P/FINAL | 42025/06/18 | 15:39 | 2025-06-18 | 14:37 | TAMARA |  | 5.5 | 5.7 | / | / | 0.292 |  |  |  | 13.6 | 160 | 1 | Kinga |  | 3 | 2
3 | 24.0 | 51 | P/FINAL | 42025/06/18 | 15:39 | 2025-06-18 | 14:37 | TAMARA |  | 23.6 | 23.4 | / | / | 1.058 |  | 0.897 |  |  | 156 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 52 | P/FINAL | 2025-06-18 | 15:45 | 2025-06-18 | 14:37 | TAMARA |  | 23.5 | 23.2 | / | / | 1.056 |  |  |  |  | 203 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 53 | P/FINAL | 2025-06-18 | 15:46 | 2025-06-18 | 14:37 | TAMARA |  | 23.9 | 23.8 | / | / | 1.070 |  |  |  |  | 160 | 1 | Kinga |  | 3 | 3
1 | 0.0 | 54 | P/FINAL | 2025-06-18 | 15:48 | 2025-06-18 | 14:37 | TAMARA |  | 0.0 | 0.0 | / | / | 0.040 |  |  |  | 19.5 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 55 | P/FINAL | 2025-06-18 | 15:50 | 2025-06-18 | 14:37 | TAMARA |  | 0.0 | 0.0 | / | / | 0.035 |  | 0.871 |  | 18.7 |  | 1 | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 6.1 mg/L | 12 | 24 | 6.1 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 23.7 mg/L | 12 | 24 | 23.7 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.3 mg/L | 8 | 16 | 0.3 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 1.0 | 0.3 | YES
6.0 | 4.8 ÷ 7.2 | 6.1 | YES
24.0 | 22.0 ÷ 26.0 | 23.7 | YES
Validation Date | by
2025-07-03 | Eugenia