## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1152 | HI93717B-0 | CP-R30 | W 37/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate HR Reagent B | 2030-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
170 | 160 | 180
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2390 | 1152
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-03-01 | 2030-09-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 30.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-15 | 2025-09-16 | 1 HEAD |  |  |  | 0860
[6 empty] | Expiration A | Expiration B | Expiration D
2029-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97717 | CTO-635
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.0 | 0.0 | 1.0 |  | MR104 |  | 1.0 | & | 4% | 100% |  | 0.6 | 0.4 | 0.8
2 | 6.0 | 4.8 | 7.2 | [8 empty] | 1.4 | 1.2 | 1.6
3 | 24.0 | 22.0 | 26.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97717 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.0 | 1 | Old B | 2025-09-15 | 10:56 | 2025-09-15 | 07:00 | TAMARA | 1 | 0.3 | 0.1 | / | / | 0.064 |  |  |  | 26.2 |  | 1 | Kinga |  | 3 | 1 | 83418
1 | 0.0 | 2 | Old B | 2025-09-15 | 10:56 | 2025-09-15 | 07:00 | TAMARA | 1 | 0.0 | 0.0 | / | / | 0.037 |  |  |  | 11.0 |  | 1 | Kinga |  | 3 | 1 | 83418
2 | 6.0 | 3 | Old B | 2025-09-15 | 10:57 | 2025-09-15 | 07:00 | TAMARA | 1 | 6.5 | 6.5 | / | / | 0.338 |  |  |  | 15.0 |  | 1 | Kinga |  | 3 | 2 | 83418
2 | 6.0 | 4 | Old B | 2025-09-15 | 10:58 | 2025-09-15 | 07:00 | TAMARA | 1 | 6.6 | 6.4 | / | / | 0.340 |  |  |  | 14.7 |  | 1 | Kinga |  | 3 | 2 | 83418
3 | 24.0 | 5 | Old B | 2025-09-15 | 10:59 | 2025-09-15 | 07:00 | TAMARA | 1 | 24.6 | 24.0 | / | / | 1.099 | [5 empty] | 1 | Kinga |  | 3 | 3 | 83418
3 | 24.0 | 6 | Old B | 2025-09-15 | 10:59 | 2025-09-15 | 07:00 | TAMARA | 1 | 24.7 | 24.0 | / | / | 1.103 |  |  |  |  | 177 | 1 | Kinga |  | 3 | 3 | 83418
2 | 6.0 | 7 | P/FINAL | 2025-09-15 | 11:08 | 2025-09-15 | 07:00 | TAMARA | 1 | 6.0 | 6.0 | / | / | 0.314 |  |  |  | 13.1 | 189 | 1 | Kinga |  | 3 | 2 | 83418
2 | 6.0 | 8 | P/FINAL | 2025-09-15 | 11:08 | 2025-09-15 | 07:00 | TAMARA | 1 | 5.6 | 5.5 | / | / | 0.299 |  | 0.867 |  | 8.29 | 180 | 1 | Kinga |  | 3 | 2 | 83418
2 | 6.0 | 9 | P/FINAL | 2025-09-15 | 11:09 | 2025-09-15 | 07:00 | TAMARA | 1 | 6.1 | 5.9 | / | / | 0.300 |  |  |  | 8.29 | 145 | 1 | Kinga |  | 3 | 2 | 83418
1 | 0.0 | 10 | P/FINAL | 2025-09-15 | 11:10 | 2025-09-15 | 07:00 | TAMARA | 1 | 0.0 | 0.0 | / | / | 0.00 |  |  |  | 18.9 | 164 | 1 | Kinga |  | 3 | 1 | 83418
1 | 0.0 | 11 | P/FINAL | 2025-09-15 | 11:11 | 2025-09-15 | 07:00 | TAMARA | 1 | 0.0 | 0.0 | / | / | 0.032 |  | 0.872 |  | 26.7 | 158 | 1 | Kinga |  | 3 | 1 | 83418
3 | 24.0 | 12 | P/FINAL | 2025-09-15 | 11:18 | 2025-09-15 | 07:00 | TAMARA | 1 | 22.9 | 22.6 | / | / | 1.031 | [5 empty] | 1 | Kinga |  | 3 | 3 | 83418
3 | 24.0 | 13 | P/FINAL | 2025-09-15 | 11:19 | 2025-09-15 | 07:00 | TAMARA | 1 | 22.8 | 22.5 | / | / | 1.027 | [5 empty] | 1 | Kinga |  | 3 | 3 | 83418
3 | 24.0 | 14 | P/FINAL | 2025-09-15 | 11:19 | 2025-09-15 | 07:00 | TAMARA | 1 | 23.2 | 22.9 | / | / | 1.044 |  | 0.846 |  |  |  | 1 | Kinga |  | 3 | 3 | 83418
2 | 6.0 | 15 | P/FINAL | 2025-09-15 | 14:43 | 2025-09-15 | 14:21 | MARA | 1 | 5.5 | 5.2 | / | / | 0.294 |  |  |  | 4.86 | 164 | 1 | Kinga |  | 3 | 2 | 83418
2 | 6.0 | 16 | P/FINAL | 2025-09-15 | 14:44 | 2025-09-15 | 14:21 | MARA | 1 | 5.9 | 5.7 | / | / | 0.303 |  |  |  | 4.76 | 151 | 1 | Kinga |  | 3 | 2 | 83418
3 | 24.0 | 17 | P/FINAL | 2025-09-15 | 14:48 | 2025-09-15 | 14:21 | MARA | 1 | 23.6 | 23.2 | / | / | 1.057 |  | 0.869 |  |  | 169 | 1 | Kinga |  | 3 | 3 | 83418
3 | 24.0 | 18 | P/FINAL | 2025-09-15 | 14:48 | 2025-09-15 | 14:21 | MARA | 1 | 23.9 | 23.5 | / | / | 1.070 |  |  |  |  | 150 | 1 | Kinga |  | 3 | 3 | 83418
3 | 24.0 | 19 | P/FINAL | 2025-09-15 | 14:49 | 2025-09-15 | 14:21 | MARA | 1 | 24.3 | 24.0 | / | / | 1.087 |  | 0.877 |  |  | 142 | 1 | Kinga |  | 3 | 3 | 83418
3 | 24.0 | 20 | P/FINAL | 2025-09-15 | 14:49 | 2025-09-15 | 14:21 | MARA | 1 | 24.3 | 24.0 | / | / | 1.087 |  |  |  |  | 172 | 1 | Kinga |  | 3 | 3 | 83418
1 | 0.0 | 21 | P/FINAL | 2025-09-15 | 14:50 | 2025-09-15 | 14:21 | MARA | 1 | 0.0 | 0.0 | / | / | 0.025 |  |  |  | 7.12 |  | 1 | Kinga |  | 3 | 1 | 83418
1 | 0.0 | 22 | P/FINAL | 2025-09-15 | 14:51 | 2025-09-15 | 14:21 | MARA | 1 | 0.2 | 0.0 | / | / | 0.063 |  | 0.873 |  | 17.7 |  | 1 | Kinga |  | 3 | 1 | 83418
2 | 6.0 | 23 | Old B | 2025-09-16 | 08:28 | 2025-09-16 | 06:40 | TAMARA | 1 | 6.1 | 6.3 | / | / | 0.321 |  |  |  | 31.7 |  | 1 | Kinga |  | 3 | 2 | 81014
2 | 6.0 | 24 | Old B | 2025-09-16 | 08:29 | 2025-09-16 | 06:40 | TAMARA | 1 | 7.2 | 7.2 | / | / | 0.368 |  |  |  | 59.2 |  | 1 | Kinga |  | 3 | 2 | 81014
1 | 0.0 | 25 | P/FINAL | 2025-09-16 | 08:32 | 2025-09-16 | 06:40 | TAMARA | 1 | 0.9 | 1.0 | / | / | 0.098 |  |  |  | 54.4 |  | 1 | Kinga |  | 3 | 1 | 81014
1 | 0.0 | 26 | Old B | 2025-09-16 | 08:34 | 2025-09-16 | 06:40 | TAMARA | 1 | 0.8 | 0.9 | / | / | 0.089 |  |  |  | 42.7 |  | 1 | Kinga |  | 3 | 1 | 81014
3 | 24.0 | 27 | Old B | 2025-09-16 | 08:36 | 2025-09-16 | 06:40 | TAMARA | 1 | 24.4 | 24.3 | / | / | 1.093 | [5 empty] | 1 | Kinga |  | 3 | 3 | 81014
3 | 24.0 | 28 | Old B | 2025-09-16 | 08:36 | 2025-09-16 | 06:40 | TAMARA | 1 | 24.8 | 24.5 | / | / | 1.109 | [5 empty] | 1 | Kinga |  | 3 | 3 | 81014
1 | 0.0 | 29 | P/FINAL | 2025-09-16 | 08:42 | 2025-09-16 | 06:40 | TAMARA | 1 | 0.0 | 0.2 | / | / | 0.001 |  | 0.743 |  | 20.5 |  | 1 | Kinga |  | 3 | 1 | 81014
1 | 0.0 | 30 | P/FINAL | 2025-09-16 | 08:43 | 2025-09-16 | 06:40 | TAMARA | 1 | 0.0 | 0.0 | / | / | -0.012 |  |  |  | 14.5 | 160 | 1 | Kinga |  | 3 | 1 | 81014
2 | 6.0 | 31 | P/FINAL | 2025-09-16 | 08:47 | 2025-09-16 | 06:40 | TAMARA | 1 | 4.8 | 5.8 | / | / | 0.267 |  |  |  | 10.5 | 174 | 1 | Kinga |  | 3 | 2 | 81014
2 | 6.0 | 32 | P/FINAL | 2025-09-16 | 08:47 | 2025-09-16 | 06:40 | TAMARA | 1 | 4.9 | 6.4 | / | / | 0.268 |  |  |  | 21.4 | 164 | 1 | Kinga |  | 3 | 2 | 81014
2 | 6.0 | 33 | P/FINAL | 2025-09-16 | 08:48 | 2025-09-16 | 06:40 | TAMARA | 1 | 4.9 | 6.4 | / | / | 0.271 |  | 0.762 |  | 16.8 | 167 | 1 | Kinga |  | 3 | 2 | 81014
3 | 24.0 | 34 | P/FINAL | 2025-09-16 | 08:49 | 2025-09-16 | 06:40 | TAMARA | 1 | 22.3 | 23.3 | / | / | 1.007 |  |  |  |  | 186 | 1 | Kinga |  | 3 | 3 | 81014
3 | 24.0 | 35 | P/FINAL | 2025-09-16 | 08:49 | 2025-09-16 | 06:40 | TAMARA | 1 | 22.6 | 23.7 | / | / | 1.016 |  |  |  |  | 187 | 1 | Kinga |  | 3 | 3 | 81014
3 | 24.0 | 36 | P/FINAL | 2025-09-16 | 08:50 | 2025-09-16 | 06:40 | TAMARA | 1 | 22.8 | 23.9 | / | / | 1.024 |  | 0.766 |  |  |  | 1 | Kinga |  | 3 | 3 | 81014
1 | 0.0 | 37 | P/FINAL | 2025-09-16 | 15:33 | 2025-09-16 | 14:40 | MARA | 1 | 0.0 | 0.0 | / | / | 0.046 |  |  |  | 14.7 |  | 1 | Andrea V |  | 3 | 1
1 | 0.0 | 38 | P/FINAL | 2025-09-16 | 15:34 | 2025-09-16 | 14:40 | MARA | 1 | 0.0 | 0.0 | / | / | 0.040 |  | 0.811 |  | 12.2 | 161 | 1 | Andrea V |  | 3 | 1
2 | 6.0 | 39 | P/FINAL | 2025-09-16 | 15:36 | 2025-09-16 | 14:40 | MARA | 1 | 5.6 | 5.6 | / | / | 0.297 |  |  |  | 10.0 | 183 | 1 | Andrea V |  | 3 | 2
2 | 6.0 | 40 | P/FINAL | 2025-09-16 | 15:36 | 2025-09-16 | 14:40 | MARA | 1 | 5.7 | 5.8 | / | / | 0.303 |  |  |  | 11.7 |  | 1 | Andrea V |  | 3 | 2
2 | 6.0 | 41 | P/FINAL | 2025-09-16 | 15:37 | 2025-09-16 | 14:40 | MARA | 1 | 5.9 | 6.0 | / | / | 0.310 |  | 0.783 |  | 13.8 | 180 | 1 | Andrea V |  | 3 | 2
3 | 24.0 | 42 | P/FINAL | 2025-09-16 | 15:38 | 2025-09-16 | 14:40 | MARA | 1 | 24.2 | 23.8 | / | / | 1.085 |  |  |  |  | 164 | 1 | Andrea V |  | 3 | 3 | 81014
3 | 24.0 | 43 | P/FINAL | 2025-09-16 | 15:39 | 2025-09-16 | 14:40 | MARA | 1 | 24.4 | 24.1 | / | / | 1.093 |  | 0.756 |  |  | 154 | 1 | Andrea V |  | 3 | 3 | 81014
3 | 24.0 | 44 | P/FINAL | 2025-09-16 | 15:39 | 2025-09-16 | 14:40 | MARA | 1 | 24.6 | 24.2 | / | / | 1.099 |  |  |  |  | 190 | 1 | Andrea V |  | 3 | 3 | 81014
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.1 mg/L | 9 | 18 | 0.1 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 5.7 mg/L | 11 | 22 | 5.7 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
13 | 26 | 23.5 mg/L | 13 | 26 | 23.5 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 1.0 | 0.1 | YES
6.0 | 4.8 ÷ 7.2 | 5.7 | YES
24.0 | 22.0 ÷ 26.0 | 23.5 | YES
Validation Date | by