## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI705C-0 | HI706B-0 | HI717B-0 | HI93705C-0 | HI93706B-0 | HI93717B-0
1204 | HI93717B-0 | CP-R30 | W 43/1 |  | Parameter Formula | SiO2 | P-PO4 | PO4 | SiO2 | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate HR Reagent B | 2030-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
170 | 160 | 180
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2390 | 1204
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-03-01 | 2030-10-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 30.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-21 | 2025-10-24 | 2 HEAD |  |  |  | 572
[6 empty] | Expiration A | Expiration B | Expiration D
2029-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97717 | CTO-654
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 6.0 | 4.8 | 7.2 |  | MR104 |  | 1.0 | & | 4% | 100% |  | 0.6 | 0.4 | 0.8
3 | 24.0 | 22.0 | 26.0 | [8 empty] | 1.4 | 1.2 | 1.6
1 | 0.0 | 0.0 | 1.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97717 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 6.0 | 1 | Old B | 2025-10-21 | 13:49 | 2025-10-21 | 13:02 | ERIKA |  | 6.6 | 6.9 | / | / | 0.343 |  |  |  | 46.0 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 2 | Old B | 2025-10-21 | 13:49 | 2025-10-21 | 13:02 | ERIKA |  | 7.1 | 6.8 | / | / | 0.375 |  |  |  | 45.7 |  | 1 | Kinga |  | 3 | 2
3 | 24.0 | 3 | Old B | 2025-10-21 | 13:50 | 2025-10-21 | 13:02 | ERIKA |  | 25.3 | 24.9 | / | / | 1.129 | [5 empty] | 1 | Kinga |  | 3 | 3
3 | 24.0 | 4 | Old B | 2025-10-21 | 13:51 | 2025-10-21 | 13:02 | ERIKA |  | 24.9 | 24.7 | / | / | 1.129 |  |  |  | 24.7 |  | 1 | Kinga |  | 3 | 3
1 | 0.0 | 5 | Old B | 2025-10-21 | 13:51 | 2025-10-21 | 13:02 | ERIKA |  | 0.0 | 0.0 | / | / | 0.005 |  |  |  | 1.57 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 6 | Old B | 2025-10-21 | 13:51 | 2025-10-21 | 13:02 | ERIKA |  | 0.0 | 0.0 | / | / | 0.004 |  |  |  | 1.62 |  | 1 | Kinga |  | 3 | 1
2 | 6.0 | 7 | Valid | 2025-10-21 | 14:01 | 2025-10-21 | 13:02 | ERIKA |  | 6.8 | 6.6 | / | / | 0.351 |  |  |  | 29.2 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 8 | Valid | 2025-10-21 | 14:02 | 2025-10-21 | 13:02 | ERIKA |  | 5.9 | 5.8 | / | / | 0.311 |  | 0.817 |  | 15.3 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 9 | Valid | 2025-10-21 | 14:03 | 2025-10-21 | 13:02 | ERIKA |  | 6.7 | 6.7 | / | / | 0.352 |  |  |  | 31.7 |  | 1 | Kinga |  | 3 | 2
3 | 24.0 | 10 | Valid | 2025-10-21 | 14:04 | 2025-10-21 | 13:02 | ERIKA |  | 23.9 | 23.4 | / | / | 1.071 | [5 empty] | 1 | Kinga |  | 3 | 3
3 | 24.0 | 11 | Valid | 2025-10-21 | 14:04 | 2025-10-21 | 13:02 | ERIKA |  | 24.0 | 23.6 | / | / | 1.074 |  | 0.783 |  |  |  | 1 | Kinga |  | 3 | 3
3 | 24.0 | 12 | Valid | 2025-10-21 | 14:05 | 2025-10-21 | 13:02 | ERIKA |  | 24.0 | 23.5 | / | / | 1.075 | [5 empty] | 1 | Kinga |  | 3 | 3
1 | 0.0 | 13 | Valid | 2025-10-21 | 14:08 | 2025-10-21 | 13:02 | ERIKA |  | 1.0 | 0.6 | / | / | 0.097 |  | 0.744 |  | 27.1 |  | 1 | Kinga |  | 3 | 1
2 | 6.0 | 14 | Old B | 2025-10-22 | 13:42 | 2025-10-22 | 11:24 | ELENA |  | 6.2 | 6.1 | / | / | 0.323 |  |  |  | 21.7 |  | 1 | Kinga |  | 3 | 2 | 81014
2 | 6.0 | 15 | Old B | 2025-10-22 | 13:42 | 2025-10-22 | 11:24 | ELENA |  | 5.5 | 5.6 | / | / | 0.292 |  |  |  | 7.81 |  | 1 | Kinga |  | 3 | 2 | 81014
3 | 24.0 | 16 | Old B | 2025-10-22 | 13:43 | 2025-10-22 | 11:24 | ELENA |  | 24.6 | 24.2 | / | / | 1.102 | [5 empty] | 1 | Kinga |  | 3 | 3 | 81014
3 | 24.0 | 17 | Old B | 2025-10-22 | 13:44 | 2025-10-22 | 11:24 | ELENA |  | 24.2 | 23.9 | / | / | 1.083 | [5 empty] | 1 | Kinga |  | 3 | 3 | 81014
1 | 0.0 | 18 | Old B | 2025-10-22 | 13:44 | 2025-10-22 | 11:24 | ELENA |  | 0.0 | 0.0 | / | / | 0.048 |  |  |  | 15.2 |  | 1 | Kinga |  | 3 | 1 | 81014
1 | 0.0 | 19 | Old B | 2025-10-22 | 13:45 | 2025-10-22 | 11:24 | ELENA |  | 0.0 | 0.0 | / | / | 0.034 |  |  |  | 9.93 |  | 1 | Kinga |  | 3 | 1 | 81014
2 | 6.0 | 20 | P/FINAL | 2025-10-22 | 13:46 | 2025-10-22 | 11:24 | ELENA |  | 5.6 | 5.7 | / | / | 0.298 |  |  |  | 10.4 |  | 1 | Kinga |  | 3 | 2 | 81014
2 | 6.0 | 21 | P/FINAL | 2025-10-22 | 13:47 | 2025-10-22 | 11:24 | ELENA |  | 5.4 | 5.5 | / | / | 0.291 |  | 1.254 |  | 6.24 | 174 | 1 | Kinga |  | 3 | 2 | 81014
2 | 6.0 | 22 | P/FINAL | 2025-10-22 | 13:48 | 2025-10-22 | 11:24 | ELENA |  | 5.9 | 6.0 | / | / | 0.312 |  |  |  | 13.5 | 158 | 1 | Kinga |  | 3 | 2 | 81014
3 | 24.0 | 23 | P/FINAL | 2025-10-22 | 13:58 | 2025-10-22 | 11:24 | ELENA |  | 23.5 | 23.4 | / | / | 1.057 |  |  |  |  | 169 | 1 | Kinga |  | 3 | 3 | 81014
3 | 24.0 | 24 | P/FINAL | 2025-10-22 | 13:58 | 2025-10-22 | 11:24 | ELENA |  | 24.2 | 23.8 | / | / | 1.082 |  | 0.808 |  |  | 158 | 1 | Kinga |  | 3 | 3 | 81014
3 | 24.0 | 25 | P/FINAL | 2025-10-22 | 13:58 | 2025-10-22 | 11:24 | ELENA |  | 23.9 | 23.6 | / | / | 1.071 |  |  |  |  | 169 | 1 | Kinga |  | 3 | 3 | 81014
1 | 0.0 | 26 | P/FINAL | 2025-10-22 | 13:59 | 2025-10-22 | 11:24 | ELENA |  | 0.0 | 0.0 | / | / | 0.036 |  |  |  | 9.83 | 169 | 1 | Kinga |  | 3 | 1 | 81014
1 | 0.0 | 27 | P/FINAL | 2025-10-22 | 14:00 | 2025-10-22 | 11:24 | ELENA |  | 0.0 | 0.0 | / | / | 0.028 |  | 0.665 |  | 7.38 | 162 | 1 | Kinga |  | 3 | 1 | 81014
2 | 6.0 | 28 | P/FINAL | 2025-10-22 | 15:53 | 2025-10-22 | 14:54 | ROLAND |  | 5.8 | 5.9 | / | / | 0.305 |  |  |  | 16.5 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 29 | P/FINAL | 2025-10-22 | 15:54 | 2025-10-22 | 14:54 | ROLAND |  | 5.6 | 5.5 | / | / | 0.298 |  |  |  | 12.4 | 170 | 1 | Kinga |  | 3 | 2
2 | 6.0 | 30 | P/FINAL | 2025-10-22 | 15:54 | 2025-10-22 | 14:54 | ROLAND |  | 5.8 | 5.9 | / | / | 0.308 |  |  |  | 15.2 | 169 | 1 | Kinga |  | 3 | 2
3 | 24.0 | 31 | P/FINAL | 2025-10-22 | 15:55 | 2025-10-22 | 14:54 | ROLAND |  | 23.5 | 23.2 | / | / | 1.053 |  |  |  |  | 167 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 32 | P/FINAL | 2025-10-22 | 15:55 | 2025-10-22 | 14:54 | ROLAND |  | 23.5 | 23.2 | / | / | 1.057 |  |  |  |  | 170 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 33 | P/FINAL | 2025-10-22 | 15:55 | 2025-10-22 | 14:54 | ROLAND |  | 25.0 | 23.4 | / | / | 1.118 |  |  |  |  | 169 | 1 | Kinga |  | 3 | 3
1 | 0.0 | 34 | P/FINAL | 2025-10-22 | 15:56 | 2025-10-22 | 14:54 | ROLAND |  | 0.0 | 0.0 | / | / | 0.027 |  |  |  | 7.73 | 165 | 1 | Kinga |  | 3 | 1
1 | 0.0 | 35 | P/FINAL | 2025-10-22 | 15:56 | 2025-10-22 | 14:54 | ROLAND |  | 0.0 | 0.0 | / | / | 0.037 |  |  |  | 10.8 |  | 1 | Kinga |  | 3 | 1
2 | 6.0 | 36 | Old B | 2025-10-23 | 11:23 | 2025-10-23 | 07:10 | ELENA |  | 5.9 | 5.8 | / | / | 0.313 |  |  |  | 16.3 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 37 | Old B | 2025-10-23 | 11:24 | 2025-10-23 | 07:10 | ELENA |  | 6.0 | 5.8 | / | / | 0.313 |  |  |  | 17.4 |  | 1 | Kinga |  | 3 | 2
3 | 24.0 | 38 | Old B | 2025-10-23 | 11:25 | 2025-10-23 | 07:10 | ELENA |  | 24.7 | 24.1 | / | / | 1.103 | [5 empty] | 1 | Kinga |  | 3 | 3
3 | 24.0 | 39 | Old B | 2025-10-23 | 11:25 | 2025-10-23 | 07:10 | ELENA |  | 24.2 | 23.7 | / | / | 1.086 | [5 empty] | 1 | Kinga |  | 3 | 3
1 | 0.0 | 40 | Old B | 2025-10-23 | 11:26 | 2025-10-23 | 07:10 | ELENA |  | 0.0 | 0.0 | / | / | 0.052 |  |  |  | 17.2 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 41 | Old B | 2025-10-23 | 11:26 | 2025-10-23 | 07:10 | ELENA |  | 0.0 | 0.0 | / | / | 0.050 |  |  |  | 17.0 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 42 | P/FINAL | 2025-10-23 | 11:32 | 2025-10-23 | 07:10 | ELENA |  | 0.0 | 0.0 | / | / | 0.061 |  |  |  | 18.4 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 43 | P/FINAL | 2025-10-23 | 11:32 | 2025-10-23 | 07:10 | ELENA |  | 0.0 | 0.0 | / | / | 0.065 |  | 0.615 |  | 19.1 |  | 1 | Kinga |  | 3 | 1
2 | 6.0 | 44 | P/FINAL | 2025-10-23 | 11:33 | 2025-10-23 | 07:10 | ELENA |  | 5.4 | 5.3 | / | / | 0.291 |  |  |  | 9.87 | 150 | 1 | Kinga |  | 3 | 2
2 | 6.0 | 45 | P/FINAL | 2025-10-23 | 11:34 | 2025-10-23 | 07:10 | ELENA |  | 5.6 | 5.5 | / | / | 0.300 |  |  |  | 9.83 | 167 | 1 | Kinga |  | 3 | 2
2 | 6.0 | 46 | P/FINAL | 2025-10-23 | 11:35 | 2025-10-23 | 07:10 | ELENA |  | 5.7 | 5.7 | / | / | 0.303 |  | 0.616 |  | 13.2 | 174 | 1 | Kinga |  | 3 | 2
3 | 24.0 | 47 | P/FINAL | 2025-10-23 | 11:36 | 2025-10-23 | 07:10 | ELENA |  | 23.9 | 23.4 | / | / | 1.073 |  |  |  |  | 160 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 48 | P/FINAL | 2025-10-23 | 11:37 | 2025-10-23 | 07:10 | ELENA |  | 24.1 | 23.6 | / | / | 1.081 |  |  |  |  | 175 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 49 | P/FINAL | 2025-10-23 | 11:37 | 2025-10-23 | 07:10 | ELENA |  | 24.0 | 23.5 | / | / | 1.077 |  | 0.631 |  |  | 166 | 1 | Kinga |  | 3 | 3
2 | 6.0 | 50 | P/FINAL | 2025-10-23 | 15:06 | 2025-10-23 | 14:38 | ROLAND |  | 5.4 | 5.5 | / | / | 0.291 |  |  |  | 9.86 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 51 | P/FINAL | 2025-10-23 | 15:06 | 2025-10-23 | 14:38 | ROLAND |  | 5.3 | 5.4 | / | / | 0.284 |  | 0.623 |  | 4.65 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 52 | P/FINAL | 2025-10-23 | 15:07 | 2025-10-23 | 14:38 | ROLAND |  | 5.5 | 5.4 | / | / | 0.308 |  |  |  | 4.76 | 161 | 1 | Kinga |  | 3 | 2
3 | 24.0 | 53 | P/FINAL | 2025-10-23 | 15:08 | 2025-10-23 | 14:38 | ROLAND |  | 23.7 | 23.6 | / | / | 1.061 | [5 empty] | 1 | Kinga |  | 3 | 3
3 | 24.0 | 54 | P/FINAL | 2025-10-23 | 15:08 | 2025-10-23 | 14:38 | ROLAND |  | 23.8 | 23.6 | / | / | 1.067 |  |  |  |  | 177 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 55 | P/FINAL | 2025-10-23 | 15:08 | 2025-10-23 | 14:38 | ROLAND |  | 23.9 | 24.2 | / | / | 1.069 |  | 0.638 |  |  | 173 | 1 | Kinga |  | 3 | 3
1 | 0.0 | 56 | P/FINAL | 2025-10-23 | 15:09 | 2025-10-23 | 14:38 | ROLAND |  | 0.0 | 0.0 | / | / | 0.033 |  |  |  | 9.68 | 164 | 1 | Kinga |  | 3 | 1
1 | 0.0 | 57 | P/FINAL | 2025-10-23 | 15:10 | 2025-10-23 | 14:38 | ROLAND |  | 0.0 | 0.0 | / | / | 0.045 |  |  |  | 12.2 | 168 | 1 | Kinga |  | 3 | 1
2 | 6.0 | 58 | Old B | 2025-10-24 | 09:29 | 2025-10-24 | 08:19 | ELENA |  | 5.4 | 5.4 | / | / | 0.289 |  |  |  | 6.59 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 59 | Old B | 2025-10-24 | 09:30 | 2025-10-24 | 08:19 | ELENA |  | 5.5 | 5.3 | / | / | 0.289 |  |  |  | 6.59 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 60 | P/FINAL | 2025-10-24 | 09:31 | 2025-10-24 | 08:19 | ELENA |  | 5.6 | 5.7 | / | / | 0.297 |  |  |  | 9.64 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 61 | P/FINAL | 2025-10-24 | 09:32 | 2025-10-24 | 08:19 | ELENA |  | 5.6 | 5.8 | / | / | 0.300 |  |  |  | 9.63 |  | 1 | Kinga |  | 3 | 2
2 | 6.0 | 62 | P/FINAL | 2025-10-24 | 09:32 | 2025-10-24 | 08:19 | ELENA |  | 5.7 | 5.9 | / | / | 0.300 |  |  |  | 9.90 |  | 1 | Kinga |  | 3 | 2
3 | 24.0 | 63 | Old B | 2025-10-24 | 09:33 | 2025-10-24 | 08:19 | ELENA |  | 24.1 | 23.7 | / | / | 1.079 |  | 0.638 |  |  |  | 1 | Kinga |  | 3 | 3
3 | 24.0 | 64 | Old B | 2025-10-24 | 09:33 | 2025-10-24 | 08:19 | ELENA |  | 24.4 | 24.6 | / | / | 1.078 | [5 empty] | 1 | Kinga |  | 3 | 3
3 | 24.0 | 65 | P/FINAL | 2025-10-24 | 09:34 | 2025-10-24 | 08:19 | ELENA |  | 24.0 | 23.6 | / | / | 1.076 |  |  |  |  | 166 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 66 | P/FINAL | 2025-10-24 | 09:34 | 2025-10-24 | 08:19 | ELENA |  | 23.9 | 23.5 | / | / | 1.071 |  |  |  |  | 170 | 1 | Kinga |  | 3 | 3
3 | 24.0 | 67 | P/FINAL | 2025-10-24 | 09:35 | 2025-10-24 | 08:19 | ELENA |  | 24.4 | 24.0 | / | / | 1.091 |  | 0.633 |  |  | 176 | 1 | Kinga |  | 3 | 3
1 | 0.0 | 68 | Old C | 2025-10-24 | 09:38 | 2025-10-24 | 08:19 | ELENA |  | 0.3 | 0.3 | / | / | 0.070 |  |  |  | 19.0 | 183 | 1 | Kinga |  | 3 | 1
1 | 0.0 | 69 | Old B | 2025-10-24 | 09:40 | 2025-10-24 | 08:19 | ELENA |  | 0.2 | 0.1 | / | / | 0.059 |  |  |  | 18.1 | 171 | 1 | Kinga |  | 3 | 1
1 | 0.0 | 70 | P/FINAL | 2025-10-24 | 09:40 | 2025-10-24 | 08:19 | ELENA |  | 0.6 | 0.5 | / | / | 0.078 |  |  |  | 21.1 | 169 | 1 | Kinga |  | 3 | 1
1 | 0.0 | 71 | P/FINAL | 2025-10-24 | 09:41 | 2025-10-24 | 08:19 | ELENA |  | 0.3 | 0.1 | / | / | 0.065 |  | 0.629 |  | 18.9 |  | 1 | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 5.6 mg/L | 15 | 30 | 5.6 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 23.8 mg/L | 15 | 30 | 23.8 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0.1 mg/L | 10 | 20 | 0.1 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 1.0 | 0.1 | YES
6.0 | 4.8 ÷ 7.2 | 5.6 | YES
24.0 | 22.0 ÷ 26.0 | 23.8 | YES
Validation Date | by